## MEAP
TYPE THE NAME OF YOUR LAB HERE
PMT LINEARITY QC RECORD
[8 empty] | TABLE NO. 1 |  | CROSS CALIBRATION TABLE
[8 empty] | 1024 REL. CH# |  | FOR UNKNOWN SAMPLES
| PEAK # | CH # | MEAP | MEAP LOG | CALC. | RESIDUAL | CALC. MEAP | to 256 REL. CH# |  | Sample | CH# | Calc. | Calc. MEAP
| 1 | 10.7083 |  |  | 2.405 |  | 254.0747 | CONVERSION |  |  |  | 2.2629 | 183.1849
| 2 | 124.6295 | 7880 | 3.8965 | 3.9164 | 0.5075% | 8249.0297 | 1024 CH# | 256 CH# |  |  | 2.2629 | 183.1849
| 3 | 151.3721 | 17400 | 4.2405 | 4.2712 | 0.7178% | 18672.7434 |  | 0 |  |  | 2.2629 | 183.1849
| 4 | 181.3414 | 53100 | 4.7251 | 4.6688 | 1.205% | 46647.0803 |  | 0 |  |  | 2.2629 | 183.1849
| 5 | 209.8462 | 130000 | 5.1139 | 5.047 | 1.326% | 111432.0794 |  | 0 |  |  | 2.2629 | 183.1849
| 6 | 235.7533 | 208000 | 5.3181 | 5.3907 | 1.348% | 245884.401 |  | 0 |  |  | 2.2629 | 183.1849
|  |  |  | Ave Residual |  | 1.021% |  |  | 0 |  |  | 2.2629 | 183.1849
[6 empty] | Slope: | 0.013267 |  | 0 |  |  | 2.2629 | 183.1849
[6 empty] | Intercept: | 2.2629 |  |  |  |  | 2.2629 | 183.1849
[6 empty] | Rsq: | 0.98983 |  |  |  |  | 2.2629 | 183.1849
[8 empty] | TABLE NO. 2 |  |  |  | 2.2629 | 183.1849
[8 empty] | 1024 MEAN CH# |  |  |  | 2.2629 | 183.1849
to 256 REL. CH#
CONVERSION
[8 empty] | 1024 CH# | 256 CH#
[9 empty] | #NUM! | CONVERTED VALUES
[9 empty] | #NUM! | CAN BE COPIED TO
[9 empty] | #NUM! | THE CH# COLUMN BY
[9 empty] | #NUM! | SELECTING THE CELLS
[9 empty] | #NUM! | TO BE COPIED; THEN,
[9 empty] | #NUM! | CLICKING [COPY],
[PASTE SPECIAL], AND
FINALLY [PASTE VALUES]
TABLE NO. 3
104 MEAN CH#
to 256 REL. CH#
CONVERSION
[8 empty] | 104 CH# | 256 CH#
[8 empty] | 1.47 | 10.7083
[8 empty] | 88.58 | 124.6295
[8 empty] | 231.84 | 151.3721
[8 empty] | 681.49 | 181.3414
[8 empty] | 1900.41 | 209.8462
[8 empty] | 4826.65 | 235.7533
Rainbow Calibration Particles (ACP-30-5K) |  |  |  | Lot No.: |  | File #
Acceptable: |  |  | By: |  |  | Date:
Action taken if not linear:
Note on C6: ACP-30-5K Relative Channel Numbers obtained with your Instrument in 256 Channel Scale.
Note on J18: Use this Table to convert Beckman-Coulter 1024 Mean CH # to 256 Relative CH#
Note on J31: Use this Table to convert BD-FACS 104 Mean CH # to 256 Relative CH#