## MEFL
TYPE THE NAME OF YOUR LAB HERE
| PMT LINEARITY QC RECORD | [12 empty] | Normalization Graph for Instrument B
[8 empty] | TABLE NO. 1 |  | CROSS CALIBRATION TABLE
| PEAK # | CH # | MEFL | MEFL LOG | CALC. | RESIDUAL | CALC. MEFL | 1024 REL. CH# |  | FOR UNKNOWN SAMPLES |  |  |  |  | PEAK # | CH # | MEFL | MEFL LOG | CALC. | RESIDUAL | CALC. MEFL | CROSS CALIBRATION TABLE
| 1 | 83.3135 | [5 empty] | to 256 REL. CH# |  | Sample | CH# | Calc. | Calc. MEFL |  | 1 | 0 | 2.5309 | 0.40328 | #DIV/0! | #DIV/0! | #DIV/0! | FOR NORMALIZATION GRAPH
| 2 | 143.8214 | 2615 | 3.4175 | 3.421 | 1.034% | 2636.3894 | CONVERSION |  |  |  | 0.40328 | 2.5309 |  | 2 | 0 | 2.5309 | 0.40328 | #DIV/0! | #DIV/0! | #DIV/0! | Sample | CH# | Calc. | Calc. MEFL
| 3 | 187.9973 | 22590 | 4.3539 | 4.3479 | 1.377% | 22280.8188 | 1024 CH# | 256 CH# |  |  | 0.40328 | 2.5309 |  | 3 | 0 | 2.5309 | 0.40328 | #DIV/0! | #DIV/0! | #DIV/0! |  | 200 | #DIV/0! | #DIV/0!
| 4 | 209.5181 | 63305 | 4.8014 | 4.7995 | 0.4058% | 63021.7581 |  | 0 |  |  | 0.40328 | 2.5309 |  | 4 | 0 | 2.5309 | 0.40328 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
| 5 | 228.3972 | 155800 | 5.1926 | 5.1956 | 0.5874% | 156898.7417 |  | 0 |  |  | 0.40328 | 2.5309 |  | 5 | 0 | 2.5309 | 0.40328 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
| 6 | 243.7796 | 328880 | 5.517 | 5.5184 | 0.2433% | 329898.377 |  | 0 |  |  | 0.40328 | 2.5309 |  | 6 | 0 | 2.5309 | 0.40328 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
|  |  |  | Ave Residual |  | 0.7294% |  |  | 0 |  |  | 0.40328 | 2.5309 |  |  |  |  | Ave Residual |  | #DIV/0! |  |  |  | #DIV/0! | #DIV/0!
[6 empty] | Slope: | 0.020982 |  | 0 |  |  | 0.40328 | 2.5309 | [6 empty] | Slope: | #DIV/0! |  |  | #DIV/0! | #DIV/0!
[6 empty] | Intercept: | 0.40328 |  | 0 |  |  | 0.40328 | 2.5309 | [6 empty] | Intercept: | #DIV/0! |  |  | #DIV/0! | #DIV/0!
[6 empty] | Rsq: | 0.99998 |  | 0 |  |  | 0.40328 | 2.5309 | [6 empty] | Rsq: | #DIV/0! |  |  | #DIV/0! | #DIV/0!
[9 empty] | 0 |  |  | 0.40328 | 2.5309 | [10 empty] | #DIV/0! | #DIV/0!
[12 empty] | 0.40328 | 2.5309 | [10 empty] | #DIV/0! | #DIV/0!
[12 empty] | 0.40328 | 2.5309 | [10 empty] | #DIV/0! | #DIV/0!
[8 empty] | TABLE NO. 2 | [15 empty] | #DIV/0! | #DIV/0!
[8 empty] | 1024 MEAN CH# |  | CONVERTED VALUES
[8 empty] | to 256 REL. CH# |  | CAN BE COPIED TO
[8 empty] | CONVERSION |  | THE CH# COLUMN BY
[8 empty] | 1024 CH# | 256 CH# | SELECTING THE CELLS
[9 empty] | #NUM! | TO BE COPIED; THEN,
[9 empty] | #NUM! | CLICKING [COPY],
[9 empty] | #NUM! | [PASTE SPECIAL], AND
[9 empty] | #NUM! | FINALLY [PASTE VALUE]
#NUM!
#NUM!
#NUM!
#NUM!
[8 empty] | TABLE NO. 3 |  | TABLE NO. 5
[8 empty] | 104 MEAN CH# |  | Determination of the
[8 empty] | to 256 REL. CH# |  | MEFL/CH# for the
[8 empty] | CONVERSION |  | normalization cell or particle
[8 empty] | 104 CH# | 256 CH# | 256 CH# | 104 CH# | Calc. MEFL | MEFL/CH#
[9 empty] | #NUM! | 0 | 1 | 2.5309 | 2.5309
[9 empty] | #NUM! | 0 | 1 | 2.5309 | 2.5309
[9 empty] | #NUM! | 0 | 1 | 2.5309 | 2.5309
[9 empty] | #NUM! | 0 | 1 | 2.5309 | 2.5309
[9 empty] | #NUM! | 0 | 1 | 2.5309 | 2.5309
|  |  |  | Lot No.: |  | File # |  |  | #NUM!
Ultra Rainbow Calibration Particles (URCP-50-2K) |  |  |  | Lot No.: |  | File # |  |  | #NUM! | TABLE NO. 6
[9 empty] | #NUM! | Determination of New MEFL
Acceptable: |  |  | By: |  |  | Date: |  |  |  | values for URCP-50-2K
Action taken if not linear: | [7 empty] | TABLE NO. 4 |  | 256 CH# | 104 CH# | New MEFL
[8 empty] | 105 MEAN CH# |  |  | 1 | 2.5309
[8 empty] | to 256 REL. CH# |  |  | 1 | 2.5309
[8 empty] | CONVERSION |  |  | 1 | 2.5309
[8 empty] | 105 CH# | 256 CH# |  | 1 | 2.5309
[8 empty] | 58 | 83.3135 |  | 1 | 2.5309
[8 empty] | 1107 | 143.8214 |  | 1 | 2.5309
[8 empty] | 9532 | 187.9973
[8 empty] | 27208 | 209.5181
[8 empty] | 68280 | 228.3972
[8 empty] | 144504 | 243.7796
#NUM!
#NUM!
Note on J20: Use this Table to convert Beckman-Coulter 1024 Mean CH # to 256 Relative CH#
Note on J35: Use this Table to convert BD-FACS 104 Mean CH # to 256 Relative CH#
Note on J50: Use this Table to convert BD-FACS Canto 105 Mean CH # to 384 Relative CH#

## MEPE
TYPE THE NAME OF YOUR LAB HERE
| PMT LINEARITY QC RECORD | [12 empty] | Normalization Graph for Instrument B
[8 empty] | TABLE NO. 1 |  | CROSS CALIBRATION TABLE
| PEAK # | CH # | MEPE | MEPE LOG | CALC. | RESIDUAL | CALC. MEPE | 1024 REL. CH# |  | FOR UNKNOWN SAMPLES |  |  |  | PEAK # | CH # | MEPE | MEPE LOG | CALC. | RESIDUAL | CALC. MEPE | CROSS CALIBRATION TABLE
| 1 | 89.9119 | [5 empty] | to 256 REL. CH# |  | Sample | CH# | Calc. | Calc. MEPE | 1 | 0 | 2.8294 | 0.4517 | #DIV/0! | #DIV/0! | #DIV/0! | FOR NORMALIZATION GRAPH
| 2 | 138.7836 | 2205 | 3.3434 | 3.3508 | 2.21% | 2242.9288 | CONVERSION |  |  |  | 0.4517 | 2.8294 | 2 | 0 | 2.8294 | 0.4517 | #DIV/0! | #DIV/0! | #DIV/0! | Sample | CH# | Calc. | Calc. MEPE
| 3 | 183.1026 | 19085 | 4.2807 | 4.2766 | 0.9527% | 18906.7851 | 1024 CH# | 256 CH# |  |  | 0.4517 | 2.8294 | 3 | 0 | 2.8294 | 0.4517 | #DIV/0! | #DIV/0! | #DIV/0! |  | 200 | #DIV/0! | #DIV/0!
| 4 | 204.5634 | 54450 | 4.736 | 4.7249 | 2.344% | 53079.0013 |  | 0 |  |  | 0.4517 | 2.8294 | 4 | 0 | 2.8294 | 0.4517 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
| 5 | 223.4663 | 134910 | 5.13 | 5.1198 | 2.002% | 131763.0666 |  | 0 |  |  | 0.4517 | 2.8294 | 5 | 0 | 2.8294 | 0.4517 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
| 6 | 237.5507 | 248895 | 5.396 | 5.414 | 3.323% | 259423.5208 |  | 0 |  |  | 0.4517 | 2.8294 | 6 | 0 | 2.8294 | 0.4517 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
|  |  |  | Ave Residual |  | 2.167% |  |  | 0 |  |  | 0.4517 | 2.8294 |  |  |  | Ave Residual |  | #DIV/0! |  |  |  | #DIV/0! | #DIV/0!
[6 empty] | Slope: | 0.020889 |  | 0 |  |  | 0.4517 | 2.8294 | [5 empty] | Slope: | #DIV/0! |  |  | #DIV/0! | #DIV/0!
[6 empty] | Intercept: | 0.4517 |  | 0 |  |  | 0.4517 | 2.8294 | [5 empty] | Intercept: | #DIV/0! |  |  | #DIV/0! | #DIV/0!
[6 empty] | Rsq: | 0.99976 |  | 0 |  |  | 0.4517 | 2.8294 | [5 empty] | Rsq: | #DIV/0! |  |  | #DIV/0! | #DIV/0!
[9 empty] | 0 |  |  | 0.4517 | 2.8294 | [9 empty] | #DIV/0! | #DIV/0!
[12 empty] | 0.4517 | 2.8294 | [9 empty] | #DIV/0! | #DIV/0!
[12 empty] | 0.4517 | 2.8294 | [9 empty] | #DIV/0! | #DIV/0!
[7 empty] | 21 | TABLE NO. 2 | [14 empty] | #DIV/0! | #DIV/0!
[7 empty] | 56.5 | 1024 MEAN CH# |  | CONVERTED VALUES | [9 empty] | 21
[8 empty] | to 256 REL. CH# |  | CAN BE COPIED TO | [9 empty] | 56.5
[8 empty] | CONVERSION |  | THE CH# COLUMN BY
[8 empty] | 1024 CH# | 256 CH# | SELECTING THE CELLS
[9 empty] | #NUM! | TO BE COPIED; THEN,
[9 empty] | #NUM! | CLICKING [COPY],
[9 empty] | #NUM! | [PASTE SPECIAL], AND
[9 empty] | #NUM! | FINALLY [PASTE VALUE]
#NUM!
#NUM!
#NUM!
#NUM!
[8 empty] | TABLE NO. 3 |  | TABLE NO. 5
[8 empty] | 104 MEAN CH# |  | Determination of the
[8 empty] | to 256 REL. CH# |  | MEPE/CH# for the
[8 empty] | CONVERSION |  | normalization cell or particle
[8 empty] | 104 CH# | 256 CH# | 256 CH# | 104 CH# | Calc. MEPE | MEPE/CH#
[9 empty] | #NUM! | 0 | 1 | 2.8294 | 2.8294
[9 empty] | #NUM! | 0 | 1 | 2.8294 | 2.8294
[9 empty] | #NUM! | 0 | 1 | 2.8294 | 2.8294
[9 empty] | #NUM! | 0 | 1 | 2.8294 | 2.8294
[9 empty] | #NUM! | 0 | 1 | 2.8294 | 2.8294
|  |  |  | Lot No.: |  | File # |  |  | #NUM!
Ultra Rainbow Calibration Particles (URCP-50-2K) |  |  |  | Lot No.: |  | File # |  |  | #NUM! | TABLE NO. 6
[9 empty] | #NUM! | Determination of New MEPE
Acceptable: |  |  | By: |  |  | Date: |  |  |  | values for URCP-50-2K
Action taken if not linear: | [7 empty] | TABLE NO. 4 |  | 256 CH# | 104 CH# | New MEPE
[8 empty] | 105 MEAN CH# |  |  | 1 | 2.8294
[8 empty] | to 256 REL. CH# |  |  | 1 | 2.8294
[8 empty] | CONVERSION |  |  | 1 | 2.8294
[8 empty] | 105 CH# | 256 CH# |  | 1 | 2.8294
[8 empty] | 80 | 89.9119 |  | 1 | 2.8294
[8 empty] | 866 | 138.7836 |  | 1 | 2.8294
[8 empty] | 7509 | 183.1026
[8 empty] | 21371 | 204.5634
[8 empty] | 53694 | 223.4663
[8 empty] | 106669 | 237.5507
#NUM!
#NUM!
Note on J20: Use this Table to convert Beckman-Coulter 1024 Mean CH # to 256 Relative CH#
Note on J35: Use this Table to convert BD-FACS 104 Mean CH # to 256 Relative CH#
Note on T5: RCP-30-5 Relative Channel Numbers obtained with your Instrument in 256 Channel Scale.
Note on J50: Use this Table to convert BD-FACS Canto 105 Mean CH # to 384 Relative CH#

## MEPTR
TYPE THE NAME OF YOUR LAB HERE
| PMT LINEARITY QC RECORD | [12 empty] | Normalization Graph for Instrument B
[8 empty] | TABLE NO. 1 |  | CROSS CALIBRATION TABLE
[8 empty] | 1024 REL. CH# |  | FOR UNKNOWN SAMPLES |  |  |  |  | PEAK # | CH # | MEPTR | MEPTR LOG | CALC. | RESIDUAL | CALC. MEPTR | CROSS CALIBRATION TABLE
| PEAK # | CH # | MEPTR | MEPTR LOG | CALC. | RESIDUAL | CALC. MEPTR | to 256 REL. CH# |  | Sample | CH# | Calc. | Calc. MEPTR |  | 1 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | FOR NORMALIZATION GRAPH
| 1 | [6 empty] | CONVERSION |  |  |  | #DIV/0! | #DIV/0! |  | 2 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | Sample | CH# | Calc. | Calc. MEPTR
| 2 |  | 1390 | 3.143 | #DIV/0! | #DIV/0! | #DIV/0! | 1024 CH# | 256 CH# |  |  | #DIV/0! | #DIV/0! |  | 3 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | 200 | #DIV/0! | #DIV/0!
| 3 |  | 12155 | 4.0848 | #DIV/0! | #DIV/0! | #DIV/0! |  | 0 |  |  | #DIV/0! | #DIV/0! |  | 4 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | 125 | #DIV/0! | #DIV/0!
| 4 |  | 35370 | 4.5486 | #DIV/0! | #DIV/0! | #DIV/0! |  | 0 |  |  | #DIV/0! | #DIV/0! |  | 5 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
| 5 |  | 92185 | 4.9647 | #DIV/0! | #DIV/0! | #DIV/0! |  | 0 |  |  | #DIV/0! | #DIV/0! |  | 6 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
| 6 |  | 199280 | 5.2995 | #DIV/0! | #DIV/0! | #DIV/0! |  | 0 |  |  | #DIV/0! | #DIV/0! |  |  |  |  | Ave Residual |  | #DIV/0! |  |  |  | #DIV/0! | #DIV/0!
|  |  |  | Ave Residual |  | #DIV/0! |  |  | 0 |  |  | #DIV/0! | #DIV/0! | [6 empty] | Slope: | #DIV/0! |  |  | #DIV/0! | #DIV/0!
[6 empty] | Slope: | #DIV/0! |  | 0 |  |  | #DIV/0! | #DIV/0! | [6 empty] | Intercept: | #DIV/0! |  |  | #DIV/0! | #DIV/0!
[6 empty] | Intercept: | #DIV/0! |  | 0 |  |  | #DIV/0! | #DIV/0! | [6 empty] | Rsq: | #DIV/0! |  |  | #DIV/0! | #DIV/0!
[6 empty] | Rsq: | #DIV/0! |  | 0 |  |  | #DIV/0! | #DIV/0! | [10 empty] | #DIV/0! | #DIV/0!
[12 empty] | #DIV/0! | #DIV/0! | [10 empty] | #DIV/0! | #DIV/0!
[12 empty] | #DIV/0! | #DIV/0! | [10 empty] | #DIV/0! | #DIV/0!
[8 empty] | TABLE NO. 2 | [15 empty] | #DIV/0! | #DIV/0!
[8 empty] | 1024 MEAN CH# |  | CONVERTED VALUES
[8 empty] | to 256 REL. CH# |  | CAN BE COPIED TO
[8 empty] | CONVERSION |  | THE CH# COLUMN BY
[8 empty] | 1024 CH# | 256 CH# | SELECTING THE CELLS
[9 empty] | #NUM! | TO BE COPIED; THEN,
[9 empty] | #NUM! | CLICKING [COPY],
[9 empty] | #NUM! | [PASTE SPECIAL], AND
[9 empty] | #NUM! | FINALLY [PASTE VALUE]
#NUM!
#NUM!
#NUM!
#NUM!
[8 empty] | TABLE NO. 3 |  | TABLE NO. 5
[8 empty] | 104 MEAN CH# |  | Determination of the
[8 empty] | to 256 REL. CH# |  | MEPTR/CH# for the
[8 empty] | CONVERSION |  | normalization cell or particle
[8 empty] | 104 CH# | 256 CH# | 256 CH# | 104 CH# | Calc. MEPTR | MEPTR/CH#
[9 empty] | #NUM! | 0 | 1 | #DIV/0! | #DIV/0!
[9 empty] | #NUM! | 0 | 1 | #DIV/0! | #DIV/0!
[9 empty] | #NUM! | 0 | 1 | #DIV/0! | #DIV/0!
[9 empty] | #NUM! | 0 | 1 | #DIV/0! | #DIV/0!
[9 empty] | #NUM! | 0 | 1 | #DIV/0! | #DIV/0!
#NUM!
|  |  |  | Lot No.: |  | File # |  |  | #NUM! | TABLE NO. 6
Ultra Rainbow Calibration Particles (URCP-50-2K) |  |  |  | Lot No.: |  | File # |  |  | #NUM! | Determination of New MEPTR
values for URCP-50-2K
Acceptable: |  |  | By: |  |  | Date:
[8 empty] | TABLE NO. 4 |  | 256 CH# | 104 CH# | New MEPTR
Action taken if not linear: | [7 empty] | 105 MEAN CH# |  |  | 1 | #DIV/0!
[8 empty] | to 256 REL. CH# |  |  | 1 | #DIV/0!
[8 empty] | CONVERSION |  |  | 1 | #DIV/0!
[8 empty] | 105 CH# | 256 CH# |  | 1 | #DIV/0!
[9 empty] | #NUM! |  | 1 | #DIV/0!
[9 empty] | #NUM! |  | 1 | #DIV/0!
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
Note on J20: Use this Table to convert Beckman-Coulter 1024 Mean CH # to 256 Relative CH#
Note on J35: Use this Table to convert BD-FACS 104 Mean CH # to 256 Relative CH#
Note on J50: Use this Table to convert BD-FACS Canto 105 Mean CH # to 384 Relative CH#

## MEPerCP
TYPE THE NAME OF YOUR LAB HERE
| PMT LINEARITY QC RECORD | [12 empty] | Normalization Graph for Instrument B
[8 empty] | TABLE NO. 1 |  | CROSS CALIBRATION TABLE
| PEAK # | CH # | MEPerCP | MEPerCP LOG | CALC. | RESIDUAL | CALC. MEPerCP | 1024 REL. CH# |  | FOR UNKNOWN SAMPLES |  |  |  |  | PEAK # | CH # | MEPerCP | MEPerCP LOG | CALC. | RESIDUAL | CALC. MEPerCP | CROSS CALIBRATION TABLE
| 1 | 82.5935 | [5 empty] | to 256 REL. CH# |  | Sample | CH# | Calc. | Calc. MEPerCP |  | 1 | 0 | 6.4111 | 0.80693 | #DIV/0! | #DIV/0! | #DIV/0! | FOR NORMALIZATION GRAPH
| 2 | 116.1231 | 1840 | 3.2648 | 3.2648 | 0.01273% | 1839.8239 | CONVERSION |  |  |  | 0.80693 | 6.4111 |  | 2 | 0 | 6.4111 | 0.80693 | #DIV/0! | #DIV/0! | #DIV/0! | Sample | CH# | Calc. | Calc. MEPerCP
| 3 | 161.1189 | 16485 | 4.2171 | 4.2172 | 0.01477% | 16487.3639 | 1024 CH# | 256 CH# |  |  | 0.80693 | 6.4111 |  | 3 | 0 | 6.4111 | 0.80693 | #DIV/0! | #DIV/0! | #DIV/0! |  | 200 | #DIV/0! | #DIV/0!
| 4 | 185.4887 | 54070 | 4.733 | 4.733 | 0.0002827% | 54070.1666 |  | 0 |  |  | 0.80693 | 6.4111 |  | 4 | 0 | 6.4111 | 0.80693 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
| 5 | 211.8293 | 195200 | 5.2905 | 5.2905 | 7.012e-05% | 195200.1667 |  | 0 |  |  | 0.80693 | 6.4111 |  | 5 | 0 | 6.4111 | 0.80693 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
| 6 | 246.8171 | 1074110 | 6.031 | 6.031 | 0.003718% | 1074054.5483 |  | 0 |  |  | 0.80693 | 6.4111 |  | 6 | 0 | 6.4111 | 0.80693 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
|  |  |  | Ave Residual |  | 0.006313% |  |  | 0 |  |  | 0.80693 | 6.4111 |  |  |  |  | Ave Residual |  | #DIV/0! |  |  |  | #DIV/0! | #DIV/0!
[6 empty] | Slope: | 0.021166 |  | 0 |  |  | 0.80693 | 6.4111 | [6 empty] | Slope: | #DIV/0! |  |  | #DIV/0! | #DIV/0!
[6 empty] | Intercept: | 0.80693 |  | 0 |  |  | 0.80693 | 6.4111 | [6 empty] | Intercept: | #DIV/0! |  |  | #DIV/0! | #DIV/0!
[6 empty] | Rsq: | 1 |  | 0 |  |  | 0.80693 | 6.4111 | [6 empty] | Rsq: | #DIV/0! |  |  | #DIV/0! | #DIV/0!
[9 empty] | 0 |  |  | 0.80693 | 6.4111 | [10 empty] | #DIV/0! | #DIV/0!
[12 empty] | 0.80693 | 6.4111 | [10 empty] | #DIV/0! | #DIV/0!
[12 empty] | 0.80693 | 6.4111 | [10 empty] | #DIV/0! | #DIV/0!
[8 empty] | TABLE NO. 2 | [15 empty] | #DIV/0! | #DIV/0!
[8 empty] | 1024 MEAN CH# |  | CONVERTED VALUES
[8 empty] | to 256 REL. CH# |  | CAN BE COPIED TO
[8 empty] | CONVERSION |  | THE CH# COLUMN BY
[8 empty] | 1024 CH# | 256 CH# | SELECTING THE CELLS
[9 empty] | #NUM! | TO BE COPIED; THEN,
[9 empty] | #NUM! | CLICKING [COPY],
[9 empty] | #NUM! | [PASTE SPECIAL], AND
[9 empty] | #NUM! | FINALLY [PASTE VALUE]
#NUM!
#NUM!
#NUM!
#NUM!
[8 empty] | TABLE NO. 3 |  | TABLE NO. 5
[8 empty] | 104 MEAN CH# |  | Determination of the
[8 empty] | to 256 REL. CH# |  | MEPerCP/CH# for the
[8 empty] | CONVERSION |  | normalization cell or particle
[8 empty] | 104 CH# | 256 CH# | 256 CH# | 104 CH# | Calc. MEPerCP | MEPerCP/CH#
[9 empty] | #NUM! | 0 | 1 | 6.4111 | 6.4111
[9 empty] | #NUM! | 0 | 1 | 6.4111 | 6.4111
[9 empty] | #NUM! | 0 | 1 | 6.4111 | 6.4111
[9 empty] | #NUM! | 0 | 1 | 6.4111 | 6.4111
[9 empty] | #NUM! | 0 | 1 | 6.4111 | 6.4111
|  |  |  | Lot No.: |  | File # |  |  | #NUM!
Ultra Rainbow Calibration Particles (URCP-50-2K) |  |  |  | Lot No.: |  | File # |  |  | #NUM! | TABLE NO. 6
[9 empty] | #NUM! | Determination of New MEPerCP
Acceptable: |  |  | By: |  |  | Date: |  |  |  | values for URCP-50-2K
Action taken if not linear: | [7 empty] | TABLE NO. 4 |  | 256 CH# | 104 CH# | New MEPerCP
[8 empty] | 105 MEAN CH# |  |  | 1 | 6.4111
[8 empty] | to 256 REL. CH# |  |  | 1 | 6.4111
[8 empty] | CONVERSION |  |  | 1 | 6.4111
[8 empty] | 105 CH# | 256 CH# |  | 1 | 6.4111
[8 empty] | 56 | 82.5935 |  | 1 | 6.4111
[8 empty] | 287 | 116.1231 |  | 1 | 6.4111
[8 empty] | 2572 | 161.1189
[8 empty] | 8435 | 185.4887
[8 empty] | 30452 | 211.8293
[8 empty] | 167561 | 246.8171
#NUM!
#NUM!
Note on J20: Use this Table to convert Beckman-Coulter 1024 Mean CH # to 256 Relative CH#
Note on J35: Use this Table to convert BD-FACS 104 Mean CH # to 256 Relative CH#
Note on J50: Use this Table to convert BD-FACS Canto 105 Mean CH # to 384 Relative CH#

## MEPCY5
TYPE THE NAME OF YOUR LAB HERE
| PMT LINEARITY QC RECORD | [12 empty] | Normalization Graph for Instrument B
[8 empty] | TABLE NO. 1 |  | CROSS CALIBRATION TABLE
| PEAK # | CH # | MEPCY | MEPCY LOG | CALC. | RESIDUAL | CALC. MEPCY | 1024 REL. CH# |  | FOR UNKNOWN SAMPLES |  |  |  |  | PEAK # | CH # | MEPCY | MEPCY LOG | CALC. | RESIDUAL | CALC. MEPCY | CROSS CALIBRATION TABLE
| 1 | 65.2084 | [5 empty] | to 256 REL. CH# |  | Sample | CH# | Calc. | Calc. MEPCY |  | 1 | 0 | 4.5292 | 0.65602 | #DIV/0! | #DIV/0! | #DIV/0! | FOR NORMALIZATION GRAPH
| 2 | 115.6165 | 1270 | 3.1038 | 3.104 | 0.06451% | 1270.5857 | CONVERSION |  |  |  | 0.65602 | 4.5292 |  | 2 | 0 | 4.5292 | 0.65602 | #DIV/0! | #DIV/0! | #DIV/0! | Sample | CH# | Calc. | Calc. MEPCY
| 3 | 161.3016 | 11790 | 4.0715 | 4.0713 | 0.05042% | 11784.429 | 1024 CH# | 256 CH# |  |  | 0.65602 | 4.5292 |  | 3 | 0 | 4.5292 | 0.65602 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
| 4 | 185.2021 | 37800 | 4.5775 | 4.5774 | 0.02874% | 37788.5519 |  | 0 |  |  | 0.65602 | 4.5292 |  | 4 | 0 | 4.5292 | 0.65602 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
| 5 | 210.1091 | 127280 | 5.1048 | 5.1047 | 0.00724% | 127269.1697 |  | 0 |  |  | 0.65602 | 4.5292 |  | 5 | 0 | 4.5292 | 0.65602 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
| 6 | 242.5434 | 618430 | 5.7913 | 5.7915 | 0.02996% | 618677.129 |  | 0 |  |  | 0.65602 | 4.5292 |  | 6 | 0 | 4.5292 | 0.65602 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
|  |  |  | Ave Residual |  | 0.03617% |  |  | 0 |  |  | 0.65602 | 4.5292 |  |  |  |  | Ave Residual |  | #DIV/0! |  |  |  | #DIV/0! | #DIV/0!
[6 empty] | Slope: | 0.021173 |  | 0 |  |  | 0.65602 | 4.5292 | [6 empty] | Slope: | #DIV/0! |  |  | #DIV/0! | #DIV/0!
[6 empty] | Intercept: | 0.65602 |  | 0 |  |  | 0.65602 | 4.5292 | [6 empty] | Intercept: | #DIV/0! |  |  | #DIV/0! | #DIV/0!
[6 empty] | Rsq: | 1 |  | 0 |  |  | 0.65602 | 4.5292 | [6 empty] | Rsq: | #DIV/0! |  |  | #DIV/0! | #DIV/0!
[9 empty] | 0 |  |  | 0.65602 | 4.5292 | [10 empty] | #DIV/0! | #DIV/0!
[12 empty] | 0.65602 | 4.5292 | [10 empty] | #DIV/0! | #DIV/0!
[12 empty] | 0.65602 | 4.5292 | [10 empty] | #DIV/0! | #DIV/0!
[8 empty] | TABLE NO. 2 | [15 empty] | #DIV/0! | #DIV/0!
[8 empty] | 1024 MEAN CH# |  | CONVERTED VALUES
[8 empty] | to 256 REL. CH# |  | CAN BE COPIED TO
[8 empty] | CONVERSION |  | THE CH# COLUMN BY
[8 empty] | 1024 CH# | 256 CH# | SELECTING THE CELLS
[9 empty] | #NUM! | TO BE COPIED; THEN,
[9 empty] | #NUM! | CLICKING [COPY],
[9 empty] | #NUM! | [PASTE SPECIAL], AND
[9 empty] | #NUM! | FINALLY [PASTE VALUE]
#NUM!
#NUM!
#NUM!
#NUM!
[8 empty] | TABLE NO. 3 |  | TABLE NO. 5
[8 empty] | 104 MEAN CH# |  | Determination of the
[8 empty] | to 256 REL. CH# |  | MEPCY/CH# for the
[8 empty] | CONVERSION |  | normalization cell or particle
[8 empty] | 104 CH# | 256 CH# | 256 CH# | 104 CH# | Calc. MEPCY | MEPCY/CH#
[9 empty] | #NUM! | 0 | 1 | 4.5292 | 4.5292
[9 empty] | #NUM! | 0 | 1 | 4.5292 | 4.5292
[9 empty] | #NUM! | 0 | 1 | 4.5292 | 4.5292
[9 empty] | #NUM! | 0 | 1 | 4.5292 | 4.5292
[9 empty] | #NUM! | 0 | 1 | 4.5292 | 4.5292
|  |  |  | Lot No.: |  | File # |  |  | #NUM!
Ultra Rainbow Calibration Particles (URCP-50-2K) |  |  |  | Lot No.: |  | File # |  |  | #NUM! | TABLE NO. 6
[9 empty] | #NUM! | Determination of New MEPCY
Acceptable: |  |  | By: |  |  | Date: |  |  |  | values for URCP-50-2K
Action taken if not linear: | [7 empty] | TABLE NO. 4 |  | 256 CH# | 104 CH# | New MEPCY
[8 empty] | 105 MEAN CH# |  |  | 1 | 4.5292
[8 empty] | to 256 REL. CH# |  |  | 1 | 4.5292
[8 empty] | CONVERSION |  |  | 1 | 4.5292
[8 empty] | 105 CH# | 256 CH# |  | 1 | 4.5292
[9 empty] | #NUM! |  | 1 | 4.5292
[9 empty] | #NUM! |  | 1 | 4.5292
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
Note on J20: Use this Table to convert Beckman-Coulter 1024 Mean CH # to 256 Relative CH#
Note on J35: Use this Table to convert BD-FACS 104 Mean CH # to 256 Relative CH#
Note on J50: Use this Table to convert BD-FACS Canto 105 Mean CH # to 384 Relative CH#

## MEPerCPCY5.5
TYPE THE NAME OF YOUR LAB HERE
| PMT LINEARITY QC RECORD | [12 empty] | Normalization Graph for Instrument B
[8 empty] | TABLE NO. 1 |  | CROSS CALIBRATION TABLE
| PEAK # | CH # | MEPerCPCY5.5 | MEPerCPCY5.5 LOG | CALC. | RESIDUAL | CALC. MEPerCPCY5.5 | 1024 REL. CH# |  | FOR UNKNOWN SAMPLES |  |  |  |  | PEAK # | CH # | MEPerCPCY5.5 | MEPerCPCY5.5 LOG | CALC. | RESIDUAL | CALC. MEPerCPCY5.5 | CROSS CALIBRATION TABLE
| 1 | 69.0913 | [5 empty] | to 256 REL. CH# |  | Sample | CH# | Calc. | Calc. MEPerCPCY5.5 |  | 1 | 0 | 3.599 | 0.55618 | #DIV/0! | #DIV/0! | #DIV/0! | FOR NORMALIZATION GRAPH
| 2 | 119.4792 | 1280 | 3.1072 | 3.1075 | 0.1023% | 1280.9369 | CONVERSION |  |  |  | 0.55618 | 3.599 |  | 2 | 0 | 3.599 | 0.55618 | #DIV/0! | #DIV/0! | #DIV/0! | Sample | CH# | Calc. | Calc. MEPerCPCY5.5
| 3 | 164.4068 | 11675 | 4.0673 | 4.0669 | 0.08601% | 11665.6008 | 1024 CH# | 256 CH# |  |  | 0.55618 | 3.599 |  | 3 | 0 | 3.599 | 0.55618 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
| 4 | 188.1133 | 37440 | 4.5733 | 4.5731 | 0.04476% | 37422.3569 |  | 0 |  |  | 0.55618 | 3.599 |  | 4 | 0 | 3.599 | 0.55618 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
| 5 | 213.0382 | 127460 | 5.1054 | 5.1054 | 0.000146% | 127460.2188 |  | 0 |  |  | 0.55618 | 3.599 |  | 5 | 0 | 3.599 | 0.55618 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
| 6 | 245.3257 | 623165 | 5.7946 | 5.7948 | 0.04072% | 623503.6663 |  | 0 |  |  | 0.55618 | 3.599 |  | 6 | 0 | 3.599 | 0.55618 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
|  |  |  | Ave Residual |  | 0.05478% |  |  | 0 |  |  | 0.55618 | 3.599 |  |  |  |  | Ave Residual |  | #DIV/0! |  |  |  | #DIV/0! | #DIV/0!
[6 empty] | Slope: | 0.021354 |  | 0 |  |  | 0.55618 | 3.599 | [6 empty] | Slope: | #DIV/0! |  |  | #DIV/0! | #DIV/0!
[6 empty] | Intercept: | 0.55618 |  | 0 |  |  | 0.55618 | 3.599 | [6 empty] | Intercept: | #DIV/0! |  |  | #DIV/0! | #DIV/0!
[6 empty] | Rsq: | 1 |  | 0 |  |  | 0.55618 | 3.599 | [6 empty] | Rsq: | #DIV/0! |  |  | #DIV/0! | #DIV/0!
[9 empty] | 0 |  |  | 0.55618 | 3.599 | [10 empty] | #DIV/0! | #DIV/0!
[12 empty] | 0.55618 | 3.599 | [10 empty] | #DIV/0! | #DIV/0!
[12 empty] | 0.55618 | 3.599 | [10 empty] | #DIV/0! | #DIV/0!
[8 empty] | TABLE NO. 2 | [15 empty] | #DIV/0! | #DIV/0!
[8 empty] | 1024 MEAN CH# |  | CONVERTED VALUES
[8 empty] | to 256 REL. CH# |  | CAN BE COPIED TO
[8 empty] | CONVERSION |  | THE CH# COLUMN BY
[8 empty] | 1024 CH# | 256 CH# | SELECTING THE CELLS
[9 empty] | #NUM! | TO BE COPIED; THEN,
[9 empty] | #NUM! | CLICKING [COPY],
[9 empty] | #NUM! | [PASTE SPECIAL], AND
[9 empty] | #NUM! | FINALLY [PASTE VALUE]
#NUM!
#NUM!
#NUM!
#NUM!
[8 empty] | TABLE NO. 3 |  | TABLE NO. 5
[8 empty] | 104 MEAN CH# |  | Determination of the
[8 empty] | to 256 REL. CH# |  | MEPCY5.5/CH# for the
[8 empty] | CONVERSION |  | normalization cell or particle
[8 empty] | 104 CH# | 256 CH# | 256 CH# | 104 CH# | Calc. MEPerCPCY5.5 | MEPerCPCY5.5/CH#
[9 empty] | #NUM! | 0 | 1 | 3.599 | 3.599
[9 empty] | #NUM! | 0 | 1 | 3.599 | 3.599
[9 empty] | #NUM! | 0 | 1 | 3.599 | 3.599
[9 empty] | #NUM! | 0 | 1 | 3.599 | 3.599
[9 empty] | #NUM! | 0 | 1 | 3.599 | 3.599
|  |  |  | Lot No.: |  | File # |  |  | #NUM!
Ultra Rainbow Calibration Particles (URCP-50-2K) |  |  |  | Lot No.: |  | File # |  |  | #NUM! | TABLE NO. 6
[9 empty] | #NUM! | Determination of New MEPerCPCY5.5
Acceptable: |  |  | By: |  |  | Date: |  |  |  | values for URCP-50-2K
Action taken if not linear: | [7 empty] | TABLE NO. 4 |  | 256 CH# | 104 CH# | New MEPerCPCY5.5
[8 empty] | 105 MEAN CH# |  |  | 1 | 3.599
[8 empty] | to 256 REL. CH# |  |  | 1 | 3.599
[8 empty] | CONVERSION |  |  | 1 | 3.599
[8 empty] | 105 CH# | 256 CH# |  | 1 | 3.599
[8 empty] | 29 | 69.0913 |  | 1 | 3.599
[8 empty] | 338 | 119.4792 |  | 1 | 3.599
[8 empty] | 3019 | 164.4068
[8 empty] | 9586 | 188.1133
[8 empty] | 32300 | 213.0382
[8 empty] | 155814 | 245.3257
#NUM!
#NUM!
Note on J20: Use this Table to convert Beckman-Coulter 1024 Mean CH # to 256 Relative CH#
Note on J35: Use this Table to convert BD-FACS 104 Mean CH # to 256 Relative CH#
Note on J50: Use this Table to convert BD-FACS Canto 105 Mean CH # to 384 Relative CH#

## MEPCY7
TYPE THE NAME OF YOUR LAB HERE
| PMT LINEARITY QC RECORD | [12 empty] | Normalization Graph for Instrument B
[8 empty] | TABLE NO. 1 |  | CROSS CALIBRATION TABLE
| PEAK # | CH # | MEPCY7 | MEPCY7 LOG | CALC. | RESIDUAL | CALC. MEPCY7 | 1024 REL. CH# |  | FOR UNKNOWN SAMPLES |  |  |  |  | PEAK # | CH # | MEPCY7 | MEPCY7 LOG | CALC. | RESIDUAL | CALC. MEPCY7 | CROSS CALIBRATION TABLE
| 1 | 84.6819 | [5 empty] | to 256 REL. CH# |  | Sample | CH# | Calc. | Calc. MEPCY7 |  | 1 | 0 | 6.3952 | 0.80585 | #DIV/0! | #DIV/0! | #DIV/0! | FOR NORMALIZATION GRAPH
| 2 | 112.7084 | 1555 | 3.1917 | 3.192 | 0.08721% | 1555.997 | CONVERSION |  |  |  | 0.80585 | 6.3952 |  | 2 | 0 | 6.3952 | 0.80585 | #DIV/0! | #DIV/0! | #DIV/0! | Sample | CH# | Calc. | Calc. MEPCY7
| 3 | 152.6473 | 10910 | 4.0378 | 4.0376 | 0.06621% | 10903.2864 | 1024 CH# | 256 CH# |  |  | 0.80585 | 6.3952 |  | 3 | 0 | 6.3952 | 0.80585 | #DIV/0! | #DIV/0! | #DIV/0! |  | 200 | #DIV/0! | #DIV/0!
| 4 | 177.98 | 37500 | 4.574 | 4.5739 | 0.03359% | 37486.7381 |  | 0 |  |  | 0.80585 | 6.3952 |  | 4 | 0 | 6.3952 | 0.80585 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
| 5 | 206.3287 | 149310 | 5.1741 | 5.174 | 0.007789% | 149296.1455 |  | 0 |  |  | 0.80585 | 6.3952 |  | 5 | 0 | 6.3952 | 0.80585 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
| 6 | 246.5526 | 1060350 | 6.0254 | 6.0256 | 0.03035% | 1060796.5887 |  | 0 |  |  | 0.80585 | 6.3952 |  | 6 | 0 | 6.3952 | 0.80585 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
|  |  |  | Ave Residual |  | 0.04503% |  |  | 0 |  |  | 0.80585 | 6.3952 |  |  |  |  | Ave Residual |  | #DIV/0! |  |  |  | #DIV/0! | #DIV/0!
[6 empty] | Slope: | 0.021171 |  | 0 |  |  | 0.80585 | 6.3952 | [6 empty] | Slope: | #DIV/0! |  |  | #DIV/0! | #DIV/0!
[6 empty] | Intercept: | 0.80585 |  | 0 |  |  | 0.80585 | 6.3952 | [6 empty] | Intercept: | #DIV/0! |  |  | #DIV/0! | #DIV/0!
[6 empty] | Rsq: | 1 |  | 0 |  |  | 0.80585 | 6.3952 | [6 empty] | Rsq: | #DIV/0! |  |  | #DIV/0! | #DIV/0!
[9 empty] | 0 |  |  | 0.80585 | 6.3952 | [10 empty] | #DIV/0! | #DIV/0!
[12 empty] | 0.80585 | 6.3952 | [10 empty] | #DIV/0! | #DIV/0!
[12 empty] | 0.80585 | 6.3952 | [10 empty] | #DIV/0! | #DIV/0!
[8 empty] | TABLE NO. 2 | [15 empty] | #DIV/0! | #DIV/0!
[8 empty] | 1024 MEAN CH# |  | CONVERTED VALUES
[8 empty] | to 256 REL. CH# |  | CAN BE COPIED TO
[8 empty] | CONVERSION |  | THE CH# COLUMN BY
[8 empty] | 1024 CH# | 256 CH# | SELECTING THE CELLS
[9 empty] | #NUM! | TO BE COPIED; THEN,
[9 empty] | #NUM! | CLICKING [COPY],
[9 empty] | #NUM! | [PASTE SPECIAL], AND
[9 empty] | #NUM! | FINALLY [PASTE VALUE]
#NUM!
#NUM!
#NUM!
#NUM!
[8 empty] | TABLE NO. 3 |  | TABLE NO. 5
[8 empty] | 104 MEAN CH# |  | Determination of the
[8 empty] | to 256 REL. CH# |  | MEPCY7/CH# for the
[8 empty] | CONVERSION |  | normalization cell or particle
[8 empty] | 104 CH# | 256 CH# | 256 CH# | 104 CH# | Calc. MEPCY7 | MEPCY7/CH#
[9 empty] | #NUM! | 0 | 1 | 6.3952 | 6.3952
[9 empty] | #NUM! | 0 | 1 | 6.3952 | 6.3952
[9 empty] | #NUM! | 0 | 1 | 6.3952 | 6.3952
[9 empty] | #NUM! | 0 | 1 | 6.3952 | 6.3952
[9 empty] | #NUM! | 0 | 1 | 6.3952 | 6.3952
|  |  |  | Lot No.: |  | File # |  |  | #NUM!
Ultra Rainbow Calibration Particles (URCP-50-2K) |  |  |  | Lot No.: |  | File # |  |  | #NUM! | TABLE NO. 6
[9 empty] | #NUM! | Determination of New MEPCY7
Acceptable: |  |  | By: |  |  | Date: |  |  |  | values for URCP-50-2K
Action taken if not linear: | [7 empty] | TABLE NO. 4 |  | 256 CH# | 104 CH# | New MEPCY7
[8 empty] | 105 MEAN CH# |  |  | 1 | 6.3952
[8 empty] | to 256 REL. CH# |  |  | 1 | 6.3952
[8 empty] | CONVERSION |  |  | 1 | 6.3952
[8 empty] | 105 CH# | 256 CH# |  | 1 | 6.3952
[8 empty] | 62 | 84.6819 |  | 1 | 6.3952
[8 empty] | 243 | 112.7084 |  | 1 | 6.3952
[8 empty] | 1702 | 152.6473
[8 empty] | 5850 | 177.98
[8 empty] | 23291 | 206.3287
[8 empty] | 165415 | 246.5526
#NUM!
#NUM!
Note on J20: Use this Table to convert Beckman-Coulter 1024 Mean CH # to 256 Relative CH#
Note on J35: Use this Table to convert BD-FACS 104 Mean CH # to 256 Relative CH#
Note on J50: Use this Table to convert BD-FACS 104 Mean CH # to 256 Relative CH#

## MEAP
TYPE THE NAME OF YOUR LAB HERE
| PMT LINEARITY QC RECORD | [12 empty] | Normalization Graph for Instrument B
[8 empty] | TABLE NO. 1 |  | CROSS CALIBRATION TABLE
| PEAK # | CH # | MEAP | MEAP LOG | CALC. | RESIDUAL | CALC. MEAP | 1024 REL. CH# |  | FOR UNKNOWN SAMPLES |  |  |  |  | PEAK # | CH # | MEAP | MEAP LOG | CALC. | RESIDUAL | CALC. MEAP | CROSS CALIBRATION TABLE
| 1 | 82.2238 | [5 empty] | to 256 REL. CH# |  | Sample | CH# | Calc. | Calc. MEAP |  | 1 | 0 | 6.4059 | 0.80658 | #DIV/0! | #DIV/0! | #DIV/0! | FOR NORMALIZATION GRAPH
| 2 | 142.8924 | 6780 | 3.8312 | 3.8313 | 0.006138% | 6780.3671 | CONVERSION |  |  |  | 0.80658 | 6.4059 |  | 2 | 0 | 6.4059 | 0.80658 | #DIV/0! | #DIV/0! | #DIV/0! | Sample | CH# | Calc. | Calc. MEAP
| 3 | 186.5181 | 56850 | 4.7547 | 4.7547 | 0.006619% | 56845.8806 | 1024 CH# | 256 CH# |  |  | 0.80658 | 6.4059 |  | 3 | 0 | 6.4059 | 0.80658 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
| 4 | 207.8577 | 160850 | 5.2064 | 5.2064 | 0.00314% | 160843.9445 |  | 0 |  |  | 0.80658 | 6.4059 |  | 4 | 0 | 6.4059 | 0.80658 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
| 5 | 226.75 | 403930 | 5.6063 | 5.6063 | 0.0001381% | 403930.7199 |  | 0 |  |  | 0.80658 | 6.4059 |  | 5 | 0 | 6.4059 | 0.80658 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
| 6 | 243.6186 | 919070 | 5.9633 | 5.9634 | 0.003946% | 919119.7988 |  | 0 |  |  | 0.80658 | 6.4059 |  | 6 | 0 | 6.4059 | 0.80658 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
|  |  |  | Ave Residual |  | 0.003996% |  |  | 0 |  |  | 0.80658 | 6.4059 |  |  |  |  | Ave Residual |  | #DIV/0! |  |  |  | #DIV/0! | #DIV/0!
[6 empty] | Slope: | 0.021167 |  | 0 |  |  | 0.80658 | 6.4059 | [6 empty] | Slope: | #DIV/0! |  |  | #DIV/0! | #DIV/0!
[6 empty] | Intercept: | 0.80658 |  | 0 |  |  | 0.80658 | 6.4059 | [6 empty] | Intercept: | #DIV/0! |  |  | #DIV/0! | #DIV/0!
[6 empty] | Rsq: | 1 |  | 0 |  |  | 0.80658 | 6.4059 | [6 empty] | Rsq: | #DIV/0! |  |  | #DIV/0! | #DIV/0!
[9 empty] | 0 |  |  | 0.80658 | 6.4059 | [10 empty] | #DIV/0! | #DIV/0!
[12 empty] | 0.80658 | 6.4059 | [10 empty] | #DIV/0! | #DIV/0!
[12 empty] | 0.80658 | 6.4059 | [10 empty] | #DIV/0! | #DIV/0!
[8 empty] | TABLE NO. 2 | [15 empty] | #DIV/0! | #DIV/0!
[8 empty] | 1024 MEAN CH# |  | CONVERTED VALUES
[8 empty] | to 256 REL. CH# |  | CAN BE COPIED TO
[8 empty] | CONVERSION |  | THE CH# COLUMN BY
[8 empty] | 1024 CH# | 256 CH# | SELECTING THE CELLS
[9 empty] | #NUM! | TO BE COPIED; THEN,
[9 empty] | #NUM! | CLICKING [COPY],
[9 empty] | #NUM! | [PASTE SPECIAL], AND
[9 empty] | #NUM! | FINALLY [PASTE VALUE]
#NUM!
#NUM!
#NUM!
#NUM!
[8 empty] | TABLE NO. 3 |  | TABLE NO. 5
[8 empty] | 104 MEAN CH# |  | Determination of the
[8 empty] | to 256 REL. CH# |  | MEAP/CH# for the
[8 empty] | CONVERSION |  | normalization cell or particle
[8 empty] | 104 CH# | 256 CH# | 256 CH# | 104 CH# | Calc. MEAP | MEAP/CH#
[9 empty] | #NUM! | 0 | 1 | 6.4059 | 6.4059
[9 empty] | #NUM! | 0 | 1 | 6.4059 | 6.4059
[9 empty] | #NUM! | 0 | 1 | 6.4059 | 6.4059
[9 empty] | #NUM! | 0 | 1 | 6.4059 | 6.4059
[9 empty] | #NUM! | 0 | 1 | 6.4059 | 6.4059
|  |  |  | Lot No.: |  | File # |  |  | #NUM!
Ultra Rainbow Calibration Particles (URCP-50-2K) |  |  |  | Lot No.: |  | File # |  |  | #NUM! | TABLE NO. 6
[9 empty] | #NUM! | Determination of New MEAP
Acceptable: |  |  | By: |  |  | Date: |  |  |  | values for URCP-50-2K
Action taken if not linear: | [7 empty] | TABLE NO. 4 |  | 256 CH# | 104 CH# | New MEAP
[8 empty] | 105 MEAN CH# |  |  | 1 | 6.4059
[8 empty] | to 256 REL. CH# |  |  | 1 | 6.4059
[8 empty] | CONVERSION |  |  | 1 | 6.4059
[8 empty] | 105 CH# | 256 CH# |  | 1 | 6.4059
[8 empty] | 55 | 82.2238 |  | 1 | 6.4059
[8 empty] | 1058 | 142.8924 |  | 1 | 6.4059
[8 empty] | 8869 | 186.5181
[8 empty] | 25093 | 207.8577
[8 empty] | 63013 | 226.75
[8 empty] | 143375 | 243.6186
#NUM!
#NUM!
Note on J20: Use this Table to convert Beckman-Coulter 1024 Mean CH # to 256 Relative CH#
Note on J35: Use this Table to convert BD-FACS 104 Mean CH # to 256 Relative CH#
Note on J50: Use this Table to convert BD-FACS Canto 105 Mean CH # to 384 Relative CH#

## MEAPCY7
TYPE THE NAME OF YOUR LAB HERE
| PMT LINEARITY QC RECORD | [12 empty] | Normalization Graph for Instrument B
[8 empty] | TABLE NO. 1 |  | CROSS CALIBRATION TABLE
| PEAK # | CH # | MEAPCY7 | MEAPCY7 LOG | CALC. | RESIDUAL | CALC. MEAPCY7 | 1024 REL. CH# |  | FOR UNKNOWN SAMPLES |  |  |  |  | PEAK # | CH # | MEAPCY7 | MEAPCY7 LOG | CALC. | RESIDUAL | CALC. MEAPCY7 | CROSS CALIBRATION TABLE
| 1 | 81.0729 | [5 empty] | to 256 REL. CH# |  | Sample | CH# | Calc. | Calc. MEAPCY7 |  | 1 | 0 | 2.2927 | 0.36035 | #DIV/0! | #DIV/0! | #DIV/0! | FOR NORMALIZATION GRAPH
| 2 | 132.0919 | 1480 | 3.1703 | 3.1673 | 0.9399% | 1469.8897 | CONVERSION |  |  |  | 0.36035 | 2.2927 |  | 2 | 0 | 2.2927 | 0.36035 | #DIV/0! | #DIV/0! | #DIV/0! | Sample | CH# | Calc. | Calc. MEAPCY7
| 3 | 177.0766 | 13305 | 4.124 | 4.1232 | 0.197% | 13280.1415 | 1024 CH# | 256 CH# |  |  | 0.36035 | 2.2927 |  | 3 | 0 | 2.2927 | 0.36035 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
| 4 | 198.9981 | 38640 | 4.587 | 4.589 | 0.4348% | 38817.9223 |  | 0 |  |  | 0.36035 | 2.2927 |  | 4 | 0 | 2.2927 | 0.36035 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
| 5 | 220.1128 | 106285 | 5.0265 | 5.0377 | 2.232% | 109073.0882 |  | 0 |  |  | 0.36035 | 2.2927 |  | 5 | 0 | 2.2927 | 0.36035 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
| 6 | 247.0776 | 417030 | 5.6202 | 5.6107 | 1.685% | 408052.1297 |  | 0 |  |  | 0.36035 | 2.2927 |  | 6 | 0 | 2.2927 | 0.36035 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
|  |  |  | Ave Residual |  | 1.098% |  |  | 0 |  |  | 0.36035 | 2.2927 |  |  |  |  | Ave Residual |  | #DIV/0! |  |  |  | #DIV/0! | #DIV/0!
[6 empty] | Slope: | 0.02125 |  | 0 |  |  | 0.36035 | 2.2927 | [6 empty] | Slope: | #DIV/0! |  |  | #DIV/0! | #DIV/0!
[6 empty] | Intercept: | 0.36035 |  | 0 |  |  | 0.36035 | 2.2927 | [6 empty] | Intercept: | #DIV/0! |  |  | #DIV/0! | #DIV/0!
[6 empty] | Rsq: | 0.99993 |  | 0 |  |  | 0.36035 | 2.2927 | [6 empty] | Rsq: | #DIV/0! |  |  | #DIV/0! | #DIV/0!
[9 empty] | 0 |  |  | 0.36035 | 2.2927 | [10 empty] | #DIV/0! | #DIV/0!
[12 empty] | 0.36035 | 2.2927 | [10 empty] | #DIV/0! | #DIV/0!
[12 empty] | 0.36035 | 2.2927 | [10 empty] | #DIV/0! | #DIV/0!
[8 empty] | TABLE NO. 2 | [15 empty] | #DIV/0! | #DIV/0!
[8 empty] | 1024 MEAN CH# |  | CONVERTED VALUES
[8 empty] | to 256 REL. CH# |  | CAN BE COPIED TO
[8 empty] | CONVERSION |  | THE CH# COLUMN BY
[8 empty] | 1024 CH# | 256 CH# | SELECTING THE CELLS
[9 empty] | #NUM! | TO BE COPIED; THEN,
[9 empty] | #NUM! | CLICKING [COPY],
[9 empty] | #NUM! | [PASTE SPECIAL], AND
[9 empty] | #NUM! | FINALLY [PASTE VALUE]
#NUM!
#NUM!
#NUM!
#NUM!
[8 empty] | TABLE NO. 3 |  | TABLE NO. 5
[8 empty] | 104 MEAN CH# |  | Determination of the
[8 empty] | to 256 REL. CH# |  | MEAPCY7/CH# for the
[8 empty] | CONVERSION |  | normalization cell or particle
[8 empty] | 104 CH# | 256 CH# | 256 CH# | 104 CH# | Calc. MEAPCY7 | MEAPCY7/CH#
[9 empty] | #NUM! | 0 | 1 | 2.2927 | 2.2927
[9 empty] | #NUM! | 0 | 1 | 2.2927 | 2.2927
[9 empty] | #NUM! | 0 | 1 | 2.2927 | 2.2927
[9 empty] | #NUM! | 0 | 1 | 2.2927 | 2.2927
[9 empty] | #NUM! | 0 | 1 | 2.2927 | 2.2927
|  |  |  | Lot No.: |  | File # |  |  | #NUM!
Ultra Rainbow Calibration Particles (URCP-50-2K) |  |  |  | Lot No.: |  | File # |  |  | #NUM! | TABLE NO. 6
[9 empty] | #NUM! | Determination of New MEAPCY7
Acceptable: |  |  | By: |  |  | Date: |  |  |  | values for URCP-50-2K
Action taken if not linear: | [7 empty] | TABLE NO. 4 |  | 256 CH# | 104 CH# | New MEAPCY7
[8 empty] | 105 MEAN CH# |  |  | 1 | 2.2927
[8 empty] | to 256 REL. CH# |  |  | 1 | 2.2927
[8 empty] | CONVERSION |  |  | 1 | 2.2927
[8 empty] | 105 CH# | 256 CH# |  | 1 | 2.2927
[8 empty] | 52 | 81.0729 |  | 1 | 2.2927
[8 empty] | 625 | 132.0919 |  | 1 | 2.2927
[8 empty] | 5598 | 177.0766
[8 empty] | 16294 | 198.9981
[8 empty] | 45598 | 220.1128
[8 empty] | 169702 | 247.0776
#NUM!
#NUM!
Note on J20: Use this Table to convert Beckman-Coulter 1024 Mean CH # to 256 Relative CH#
Note on J35: Use this Table to convert BD-FACS 104 Mean CH # to 256 Relative CH#
Note on J50: Use this Table to convert BD-FACS Canto 105 Mean CH # to 384 Relative CH#