## MEFL
TYPE THE NAME OF YOUR LAB HERE
| PMT LINEARITY QC RECORD | [12 empty] | Normalization Graph for Instrument B
[8 empty] | TABLE NO. 1 |  | CROSS CALIBRATION TABLE
| PEAK # | CH # | MEFL | MEFL LOG | CALC. | RESIDUAL | CALC. MEFL | 1024 REL. CH# |  | FOR UNKNOWN SAMPLES |  |  |  |  | PEAK # | CH # | MEFL | MEFL LOG | CALC. | RESIDUAL | CALC. MEFL | CROSS CALIBRATION TABLE
| 1 | 22.4159 | [5 empty] | to 256 REL. CH# |  | Sample | CH# | Calc. | Calc. MEFL |  | 1 | 0 | 39.5033 | 1.5966 | #DIV/0! | #DIV/0! | #DIV/0! | FOR NORMALIZATION GRAPH
| 2 | 135.4204 | 6028 | 3.7802 | 3.7802 | 0.003801% | 6028.1994 | CONVERSION |  |  | 0 | 1.5966 | 39.5033 |  | 2 | 0 | 39.5033 | 1.5966 | #DIV/0! | #DIV/0! | #DIV/0! | Sample | CH# | Calc. | Calc. MEFL
| 3 | 164.1136 | 17493 | 4.2429 | 4.2428 | 0.004446% | 17492.2402 | 1024 CH# | 256 CH# |  |  | 1.5966 | 39.5033 |  | 3 | 0 | 39.5033 | 1.5966 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
| 4 | 183.3086 | 35674 | 4.5524 | 4.5523 | 0.0003987% | 35673.8509 |  | 0 |  |  | 1.5966 | 39.5033 |  | 4 | 0 | 39.5033 | 1.5966 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
| 5 | 217.4892 | 126907 | 5.1035 | 5.1035 | 0.0002687% | 126907.4007 |  | 0 |  |  | 1.5966 | 39.5033 |  | 5 | 0 | 39.5033 | 1.5966 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
| 6 | 239.8397 | 290983 | 5.4639 | 5.4639 | 0.0009038% | 290986.3086 |  | 0 |  |  | 1.5966 | 39.5033 |  | 6 | 0 | 39.5033 | 1.5966 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
|  |  |  | Ave Residual |  | 0.001964% |  |  | 0 |  |  | 1.5966 | 39.5033 |  |  |  |  | Ave Residual |  | #DIV/0! |  |  |  | #DIV/0! | #DIV/0!
[6 empty] | Slope: | 0.016124 |  | 0 |  |  | 1.5966 | 39.5033 | [6 empty] | Slope: | #DIV/0! |  |  | #DIV/0! | #DIV/0!
[6 empty] | Intercept: | 1.5966 |  | 0 |  |  | 1.5966 | 39.5033 | [6 empty] | Intercept: | #DIV/0! |  |  | #DIV/0! | #DIV/0!
[6 empty] | Rsq: | 1 |  | 0 |  |  | 1.5966 | 39.5033 | [6 empty] | Rsq: | #DIV/0! |  |  | #DIV/0! | #DIV/0!
[9 empty] | 0 |  |  | 1.5966 | 39.5033 | [10 empty] | #DIV/0! | #DIV/0!
[12 empty] | 1.5966 | 39.5033 | [10 empty] | #DIV/0! | #DIV/0!
[12 empty] | 1.5966 | 39.5033 | [10 empty] | #DIV/0! | #DIV/0!
[8 empty] | TABLE NO. 2 | [15 empty] | #DIV/0! | #DIV/0!
[8 empty] | 1024 MEAN CH# |  | CONVERTED VALUES
[8 empty] | to 256 REL. CH# |  | CAN BE COPIED TO
[8 empty] | CONVERSION |  | THE CH# COLUMN BY
[8 empty] | 1024 CH# | 256 CH# | SELECTING THE CELLS
[9 empty] | #NUM! | TO BE COPIED; THEN,
[9 empty] | #NUM! | CLICKING [COPY],
[9 empty] | #NUM! | [PASTE SPECIAL], AND
[9 empty] | #NUM! | FINALLY [PASTE VALUE]
#NUM!
#NUM!
#NUM!
#NUM!
[8 empty] | TABLE NO. 3 |  | TABLE NO. 5
[8 empty] | 104 MEAN CH# |  | Determination of the
[8 empty] | to 256 REL. CH# |  | MEFL/CH# for the
[8 empty] | CONVERSION |  | normalization cell or particle
[8 empty] | 104 CH# | 256 CH# | 256 CH# | 104 CH# | Calc. MEFL | MEFL/CH#
[9 empty] | #NUM! | 0 | 1 | 39.5033 | 39.5033
[9 empty] | #NUM! | 0 | 1 | 39.5033 | 39.5033
[9 empty] | #NUM! | 0 | 1 | 39.5033 | 39.5033
[9 empty] | #NUM! | 0 | 1 | 39.5033 | 39.5033
[9 empty] | #NUM! | 0 | 1 | 39.5033 | 39.5033
#NUM!
[9 empty] | #NUM! | TABLE NO. 6
Rainbow Calibration Particles (RCP-30-5) |  |  |  | Lot No.: |  | File # |  |  | #NUM! | Determination of New MEFL
values for RCP-30-5
Acceptable: |  |  | By: |  |  | Date:
[8 empty] | TABLE NO. 4 |  | 256 CH# | 104 CH# | New MEFL
Action taken if not linear: | [7 empty] | 105 MEAN CH# |  |  | 1 | 39.5033
[8 empty] | to 256 REL. CH# |  |  | 1 | 39.5033
[8 empty] | CONVERSION |  |  | 1 | 39.5033
[8 empty] | 105 CH# | 256 CH# |  | 1 | 39.5033
[9 empty] | #NUM! |  | 1 | 39.5033
[9 empty] | #NUM! |  | 1 | 39.5033
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
Note on J20: Use this Table to convert Beckman-Coulter 1024 Mean CH # to 256 Relative CH#
Note on J35: Use this Table to convert BD-FACS 104 Mean CH # to 256 Relative CH#
Note on J50: Use this Table to convert BD-FACS Canto 105 Mean CH # to 384 Relative CH#

## MEPE
TYPE THE NAME OF YOUR LAB HERE
| PMT LINEARITY QC RECORD | [12 empty] | Normalization Graph for Instrument B
[8 empty] | TABLE NO. 1 |  | CROSS CALIBRATION TABLE
| PEAK # | CH # | MEPE | MEPE LOG | CALC. | RESIDUAL | CALC. MEPE | 1024 REL. CH# |  | FOR UNKNOWN SAMPLES |  |  |  | PEAK # | CH # | MEPE | MEPE LOG | CALC. | RESIDUAL | CALC. MEPE | CROSS CALIBRATION TABLE
| 1 | 12.1812 | [5 empty] | to 256 REL. CH# |  | Sample | CH# | Calc. | Calc. MEPE | 1 | 0 | 31.0396 | 1.4919 | #DIV/0! | #DIV/0! | #DIV/0! | FOR NORMALIZATION GRAPH
| 2 | 139.0951 | 4974 | 3.6967 | 3.6967 | 0.0005978% | 4973.9747 | CONVERSION |  |  | 56 | 2.3669 | 232.7644 | 2 | 0 | 31.0396 | 1.4919 | #DIV/0! | #DIV/0! | #DIV/0! | Sample | CH# | Calc. | Calc. MEPE
| 3 | 165.4124 | 13118 | 4.1179 | 4.1179 | 0.0008555% | 13117.8936 | 1024 CH# | 256 CH# |  | 0 | 1.4707 | 29.5623 | 3 | 0 | 31.0396 | 1.4919 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
| 4 | 184.7574 | 26757 | 4.4274 | 4.4274 | 0.001986% | 26757.5418 |  | 0 |  |  | 1.4707 | 29.5623 | 4 | 0 | 31.0396 | 1.4919 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
| 5 | 219.1229 | 94930 | 4.9774 | 4.9774 | 0.0001278% | 94929.861 |  | 0 |  |  | 1.4707 | 29.5623 | 5 | 0 | 31.0396 | 1.4919 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
| 6 | 245.452 | 250470 | 5.3988 | 5.3988 | 0.0004492% | 250468.6013 |  | 0 |  |  | 1.4707 | 29.5623 | 6 | 0 | 31.0396 | 1.4919 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
|  |  |  | Ave Residual |  | 0.0008033% |  |  | 0 |  |  | 1.4707 | 29.5623 |  |  |  | Ave Residual |  | #DIV/0! |  |  |  | #DIV/0! | #DIV/0!
[6 empty] | Slope: | 0.016003 |  | 0 |  |  | 1.4707 | 29.5623 | [5 empty] | Slope: | #DIV/0! |  |  | #DIV/0! | #DIV/0!
[6 empty] | Intercept: | 1.4707 |  | 0 |  |  | 1.4707 | 29.5623 | [5 empty] | Intercept: | #DIV/0! |  |  | #DIV/0! | #DIV/0!
[6 empty] | Rsq: | 1 |  | 0 |  |  | 1.4707 | 29.5623 | [5 empty] | Rsq: | #DIV/0! |  |  | #DIV/0! | #DIV/0!
[9 empty] | 0 |  |  | 1.4707 | 29.5623 | [9 empty] | #DIV/0! | #DIV/0!
[12 empty] | 1.4707 | 29.5623 | [9 empty] | #DIV/0! | #DIV/0!
[12 empty] | 1.4707 | 29.5623 | [9 empty] | #DIV/0! | #DIV/0!
[7 empty] | 21 | TABLE NO. 2 | [14 empty] | #DIV/0! | #DIV/0!
[7 empty] | 56.5 | 1024 MEAN CH# |  | CONVERTED VALUES | [9 empty] | 21
[8 empty] | to 256 REL. CH# |  | CAN BE COPIED TO | [9 empty] | 56.5
[8 empty] | CONVERSION |  | THE CH# COLUMN BY
[8 empty] | 1024 CH# | 256 CH# | SELECTING THE CELLS
[9 empty] | #NUM! | TO BE COPIED; THEN,
[9 empty] | #NUM! | CLICKING [COPY],
[9 empty] | #NUM! | [PASTE SPECIAL], AND
[9 empty] | #NUM! | FINALLY [PASTE VALUE]
#NUM!
#NUM!
#NUM!
#NUM!
[8 empty] | TABLE NO. 3 |  | TABLE NO. 5
[8 empty] | 104 MEAN CH# |  | Determination of the
[8 empty] | to 256 REL. CH# |  | MEPE/CH# for the
[8 empty] | CONVERSION |  | normalization cell or particle
[8 empty] | 104 CH# | 256 CH# | 256 CH# | 104 CH# | Calc. MEPE | MEPE/CH#
[9 empty] | #NUM! | 56 | 7.4989 | 232.7644 | 31.0396
[9 empty] | #NUM! | 0 | 1 | 29.5623 | 29.5623
[9 empty] | #NUM! | 0 | 1 | 29.5623 | 29.5623
[9 empty] | #NUM! | 0 | 1 | 29.5623 | 29.5623
[9 empty] | #NUM! | 0 | 1 | 29.5623 | 29.5623
#NUM!
[9 empty] | #NUM! | TABLE NO. 6
Rainbow Calibration Particles (RCP-30-5) |  |  |  | Lot No.: |  | File # |  |  | #NUM! | Determination of New MEPE
values for RCP-30-5
Acceptable: |  |  | By: |  |  | Date:
[8 empty] | TABLE NO. 4 |  | 256 CH# | 104 CH# | New MEPE
Action taken if not linear: | [7 empty] | 105 MEAN CH# |  |  | 1 | 31.0396
[8 empty] | to 256 REL. CH# |  |  | 1 | 31.0396
[8 empty] | CONVERSION |  |  | 1 | 31.0396
[8 empty] | 105 CH# | 256 CH# |  | 1 | 31.0396
[9 empty] | #NUM! |  | 1 | 31.0396
[9 empty] | #NUM! |  | 1 | 31.0396
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
Note on J20: Use this Table to convert Beckman-Coulter 1024 Mean CH # to 256 Relative CH#
Note on J35: Use this Table to convert BD-FACS 104 Mean CH # to 256 Relative CH#
Note on T5: RCP-30-5 Relative Channel Numbers obtained with your Instrument in 256 Channel Scale.
Note on J50: Use this Table to convert BD-FACS Canto 105 Mean CH # to 384 Relative CH#

## MEPTR
TYPE THE NAME OF YOUR LAB HERE
| PMT LINEARITY QC RECORD | [12 empty] | Normalization Graph for Instrument B
[8 empty] | TABLE NO. 1 |  | CROSS CALIBRATION TABLE
[8 empty] | 1024 REL. CH# |  | FOR UNKNOWN SAMPLES |  |  |  |  | PEAK # | CH # | MEPTR | MEPTR LOG | CALC. | RESIDUAL | CALC. MEPTR | CROSS CALIBRATION TABLE
| PEAK # | CH # | MEPTR | MEPTR LOG | CALC. | RESIDUAL | CALC. MEPTR | to 256 REL. CH# |  | Sample | CH# | Calc. | Calc. MEPTR |  | 1 | 0 | 14.1797 | 1.1517 | #DIV/0! | #DIV/0! | #DIV/0! | FOR NORMALIZATION GRAPH
| 1 | 4.3639 | [5 empty] | CONVERSION |  |  |  | 1.1517 | 14.1797 |  | 2 | 0 | 14.1797 | 1.1517 | #DIV/0! | #DIV/0! | #DIV/0! | Sample | CH# | Calc. | Calc. MEPTR
| 2 | 132.2663 | 2198 | 3.342 | 3.342 | 0.003582% | 2198.0606 | 1024 CH# | 256 CH# |  |  | 1.1517 | 14.1797 |  | 3 | 0 | 14.1797 | 1.1517 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
| 3 | 158.8737 | 6063 | 3.7827 | 3.7827 | 0.005493% | 6062.7099 |  | 0 |  |  | 1.1517 | 14.1797 |  | 4 | 0 | 14.1797 | 1.1517 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
| 4 | 178.6493 | 12887 | 4.1102 | 4.1102 | 0.001352% | 12887.1649 |  | 0 |  |  | 1.1517 | 14.1797 |  | 5 | 0 | 14.1797 | 1.1517 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
| 5 | 215.0748 | 51686 | 4.7134 | 4.7134 | 0.0005137% | 51686.2882 |  | 0 |  |  | 1.1517 | 14.1797 |  | 6 | 0 | 14.1797 | 1.1517 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
| 6 | 246.3323 | 170219 | 5.231 | 5.231 | 0.0001586% | 170219.3251 |  | 0 |  |  | 1.1517 | 14.1797 |  |  |  |  | Ave Residual |  | #DIV/0! |  |  |  | #DIV/0! | #DIV/0!
|  |  |  | Ave Residual |  | 0.00222% |  |  | 0 |  |  | 1.1517 | 14.1797 | [6 empty] | Slope: | #DIV/0! |  |  | #DIV/0! | #DIV/0!
[6 empty] | Slope: | 0.01656 |  | 0 |  |  | 1.1517 | 14.1797 | [6 empty] | Intercept: | #DIV/0! |  |  | #DIV/0! | #DIV/0!
[6 empty] | Intercept: | 1.1517 |  | 0 |  |  | 1.1517 | 14.1797 | [6 empty] | Rsq: | #DIV/0! |  |  | #DIV/0! | #DIV/0!
[6 empty] | Rsq: | 1 |  | 0 |  |  | 1.1517 | 14.1797 | [10 empty] | #DIV/0! | #DIV/0!
[12 empty] | 1.1517 | 14.1797 | [10 empty] | #DIV/0! | #DIV/0!
[12 empty] | 1.1517 | 14.1797 | [10 empty] | #DIV/0! | #DIV/0!
[8 empty] | TABLE NO. 2 | [15 empty] | #DIV/0! | #DIV/0!
[8 empty] | 1024 MEAN CH# |  | CONVERTED VALUES
[8 empty] | to 256 REL. CH# |  | CAN BE COPIED TO
[8 empty] | CONVERSION |  | THE CH# COLUMN BY
[8 empty] | 1024 CH# | 256 CH# | SELECTING THE CELLS
[9 empty] | #NUM! | TO BE COPIED; THEN,
[9 empty] | #NUM! | CLICKING [COPY],
[9 empty] | #NUM! | [PASTE SPECIAL], AND
[9 empty] | #NUM! | FINALLY [PASTE VALUE]
#NUM!
#NUM!
#NUM!
#NUM!
[8 empty] | TABLE NO. 3 |  | TABLE NO. 5
[8 empty] | 104 MEAN CH# |  | Determination of the
[8 empty] | to 256 REL. CH# |  | MEPTR/CH# for the
[8 empty] | CONVERSION |  | normalization cell or particle
[8 empty] | 104 CH# | 256 CH# | 256 CH# | 104 CH# | Calc. MEPTR | MEPTR/CH#
[9 empty] | #NUM! | 0 | 1 | 14.1797 | 14.1797
[9 empty] | #NUM! | 0 | 1 | 14.1797 | 14.1797
[9 empty] | #NUM! | 0 | 1 | 14.1797 | 14.1797
[9 empty] | #NUM! | 0 | 1 | 14.1797 | 14.1797
[9 empty] | #NUM! | 0 | 1 | 14.1797 | 14.1797
#NUM!
[9 empty] | #NUM! | TABLE NO. 6
[9 empty] | #NUM! | Determination of New MEPTR
Rainbow Calibration Particles (RCP-30-5) |  |  |  | Lot No.: |  | File # |  |  |  | values for RCP-30-5
Acceptable: |  |  | By: |  |  | Date: |  | TABLE NO. 4 |  | 256 CH# | 104 CH# | New MEPTR
[8 empty] | 105 MEAN CH# |  |  | 1 | 14.1797
Action taken if not linear: | [7 empty] | to 256 REL. CH# |  |  | 1 | 14.1797
[8 empty] | CONVERSION |  |  | 1 | 14.1797
[8 empty] | 105 CH# | 256 CH# |  | 1 | 14.1797
[9 empty] | #NUM! |  | 1 | 14.1797
[9 empty] | #NUM! |  | 1 | 14.1797
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
Note on J20: Use this Table to convert Beckman-Coulter 1024 Mean CH # to 256 Relative CH#
Note on J35: Use this Table to convert BD-FACS 104 Mean CH # to 256 Relative CH#
Note on J50: Use this Table to convert BD-FACS Canto 105 Mean CH # to 384 Relative CH#

## MEPCY5
TYPE THE NAME OF YOUR LAB HERE
| PMT LINEARITY QC RECORD | [12 empty] | Normalization Graph for Instrument B
[8 empty] | TABLE NO. 1 |  | CROSS CALIBRATION TABLE
| PEAK # | CH # | MECY | MECY LOG | CALC. | RESIDUAL | CALC. MECY | 1024 REL. CH# |  | FOR UNKNOWN SAMPLES |  |  |  |  | PEAK # | CH # | MECY | MECY LOG | CALC. | RESIDUAL | CALC. MECY | CROSS CALIBRATION TABLE
| 1 | [6 empty] | to 256 REL. CH# |  | Sample | CH# | Calc. | Calc. MECY |  | 1 | 0 | 136.6458 | 2.1356 | #DIV/0! | #DIV/0! | #DIV/0! | FOR NORMALIZATION GRAPH
| 2 | 125.8901 | 12901 |  |  |  |  | CONVERSION |  |  |  | 2.1356 | 136.6458 |  | 2 | 0 | 136.6458 | 2.1356 | #DIV/0! | #DIV/0! | #DIV/0! | Sample | CH# | Calc. | Calc. MECY
| 3 | 154.93 | 36837 | 4.5663 | 4.5663 | 0.004028% | 36838.56 | 1024 CH# | 256 CH# |  |  | 2.1356 | 136.6458 |  | 3 | 0 | 136.6458 | 2.1356 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
| 4 | 175.2017 | 76621 | 4.8843 | 4.8843 | 9.339e-05% | 76620.9195 | 350 | 87.5 |  |  | 2.1356 | 136.6458 |  | 4 | 0 | 136.6458 | 2.1356 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
| 5 | 209.1977 | 261671 | 5.4178 | 5.4177 | 0.007963% | 261645.0093 | 454 | 113.5 |  |  | 2.1356 | 136.6458 |  | 5 | 0 | 136.6458 | 2.1356 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
| 6 | 248.1827 | 1069858 | 6.0293 | 6.0294 | 0.00418% | 1069920.0891 | 540 | 135 |  |  | 2.1356 | 136.6458 |  | 6 | 0 | 136.6458 | 2.1356 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
|  |  |  | Ave Residual |  | 0.004066% |  | 680 | 170 |  |  | 2.1356 | 136.6458 |  |  |  |  | Ave Residual |  | #DIV/0! |  |  |  | #DIV/0! | #DIV/0!
[6 empty] | Slope: | 0.015689 | 851 | 212.75 |  |  | 2.1356 | 136.6458 | [6 empty] | Slope: | #DIV/0! |  |  | #DIV/0! | #DIV/0!
[6 empty] | Intercept: | 2.1356 |  | 0 |  |  | 2.1356 | 136.6458 | [6 empty] | Intercept: | #DIV/0! |  |  | #DIV/0! | #DIV/0!
[6 empty] | Rsq: | 1 |  | 0 |  |  | 2.1356 | 136.6458 | [6 empty] | Rsq: | #DIV/0! |  |  | #DIV/0! | #DIV/0!
[9 empty] | 0 |  |  | 2.1356 | 136.6458 | [10 empty] | #DIV/0! | #DIV/0!
[12 empty] | 2.1356 | 136.6458 | [10 empty] | #DIV/0! | #DIV/0!
[12 empty] | 2.1356 | 136.6458 | [10 empty] | #DIV/0! | #DIV/0!
[8 empty] | TABLE NO. 2 | [15 empty] | #DIV/0! | #DIV/0!
[8 empty] | 1024 MEAN CH# |  | CONVERTED VALUES
[8 empty] | to 256 REL. CH# |  | CAN BE COPIED TO
[8 empty] | CONVERSION |  | THE CH# COLUMN BY
[8 empty] | 1024 CH# | 256 CH# | SELECTING THE CELLS
[9 empty] | #NUM! | TO BE COPIED; THEN,
[9 empty] | #NUM! | CLICKING [COPY],
[9 empty] | #NUM! | [PASTE SPECIAL], AND
[9 empty] | #NUM! | FINALLY [PASTE VALUE]
#NUM!
#NUM!
#NUM!
#NUM!
[8 empty] | TABLE NO. 3 |  | TABLE NO. 5
[8 empty] | 104 MEAN CH# |  | Determination of the
[8 empty] | to 256 REL. CH# |  | MECY/CH# for the
[8 empty] | CONVERSION |  | normalization cell or particle
[8 empty] | 104 CH# | 256 CH# | 256 CH# | 104 CH# | Calc. MECY | MECY/CH#
[9 empty] | #NUM! | 0 | 1 | 136.6458 | 136.6458
[9 empty] | #NUM! | 0 | 1 | 136.6458 | 136.6458
[9 empty] | #NUM! | 0 | 1 | 136.6458 | 136.6458
[9 empty] | #NUM! | 0 | 1 | 136.6458 | 136.6458
[9 empty] | #NUM! | 0 | 1 | 136.6458 | 136.6458
#NUM!
[9 empty] | #NUM! | TABLE NO. 6
Rainbow Calibration Particles (RCP-30-5) |  |  |  | Lot No.: |  | File # |  |  | #NUM! | Determination of New MECY
values for RCP-30-5
Acceptable: |  |  | By: |  |  | Date:
[8 empty] | TABLE NO. 4 |  | 256 CH# | 104 CH# | New MEPCY
Action taken if not linear: | [7 empty] | 105 MEAN CH# |  |  | 1 | 136.6458
[8 empty] | to 256 REL. CH# |  |  | 1 | 136.6458
[8 empty] | CONVERSION |  |  | 1 | 136.6458
[8 empty] | 105 CH# | 256 CH# |  | 1 | 136.6458
[9 empty] | #NUM! |  | 1 | 0
[9 empty] | #NUM! |  | 1 | 0
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
Note on J20: Use this Table to convert Beckman-Coulter 1024 Mean CH # to 256 Relative CH#
Note on J35: Use this Table to convert BD-FACS 104 Mean CH # to 256 Relative CH#
Note on J50: Use this Table to convert BD-FACS Canto 105 Mean CH # to 384 Relative CH#

## MEAP
TYPE THE NAME OF YOUR LAB HERE
| PMT LINEARITY QC RECORD | [12 empty] | Normalization Graph for Instrument B
[8 empty] | TABLE NO. 1 |  | CROSS CALIBRATION TABLE
| PEAK # | CH # | MEAP | MEAP LOG | CALC. | RESIDUAL | CALC. MEAP | 1024 REL. CH# |  | FOR UNKNOWN SAMPLES |  |  |  |  | PEAK # | CH # | MEAP | MEAP LOG | CALC. | RESIDUAL | CALC. MEAP | CROSS CALIBRATION TABLE
| 1 | [6 empty] | to 256 REL. CH# |  | Sample | CH# | Calc. | Calc. MEAP |  | 1 | 0 | 36.4191 | 1.5613 | #DIV/0! | #DIV/0! | #DIV/0! | FOR NORMALIZATION GRAPH
| 2 | 144 | 6720 | 3.8274 | 3.8402 | 3.347% | 6921.8384 | CONVERSION |  |  |  | 1.5613 | 36.4191 |  | 2 | 0 | 36.4191 | 1.5613 | #DIV/0! | #DIV/0! | #DIV/0! | Sample | CH# | Calc. | Calc. MEAP
| 3 | 169.5 | 17962 | 4.2544 | 4.2438 | 2.493% | 17529.7287 | 1024 CH# | 256 CH# |  |  | 1.5613 | 36.4191 |  | 3 | 0 | 36.4191 | 1.5613 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
| 4 | 184 | 30866 | 4.4895 | 4.4732 | 3.629% | 29733.561 |  | 0 |  |  | 1.5613 | 36.4191 |  | 4 | 0 | 36.4191 | 1.5613 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
| 5 | 199.75 | 51704 | 4.7135 | 4.7225 | 1.901% | 52783.8061 |  | 0 |  |  | 1.5613 | 36.4191 |  | 5 | 0 | 36.4191 | 1.5613 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
| 6 | 228 | 146080 | 5.1646 | 5.1696 | 0.9641% | 147766.1436 |  | 0 |  |  | 1.5613 | 36.4191 |  | 6 | 0 | 36.4191 | 1.5613 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
|  |  |  | Ave Residual |  | 2.467% |  |  | 0 |  |  | 1.5613 | 36.4191 |  |  |  |  | Ave Residual |  | #DIV/0! |  |  |  | #DIV/0! | #DIV/0!
[6 empty] | Slope: | 0.015826 |  | 0 |  |  | 1.5613 | 36.4191 | [6 empty] | Slope: | #DIV/0! |  |  | #DIV/0! | #DIV/0!
[6 empty] | Intercept: | 1.5613 |  | 0 |  |  | 1.5613 | 36.4191 | [6 empty] | Intercept: | #DIV/0! |  |  | #DIV/0! | #DIV/0!
[6 empty] | Rsq: | 0.99935 |  | 0 |  |  | 1.5613 | 36.4191 | [6 empty] | Rsq: | #DIV/0! |  |  | #DIV/0! | #DIV/0!
[9 empty] | 0 |  |  | 1.5613 | 36.4191 | [10 empty] | #DIV/0! | #DIV/0!
[12 empty] | 1.5613 | 36.4191 | [10 empty] | #DIV/0! | #DIV/0!
[12 empty] | 1.5613 | 36.4191 | [10 empty] | #DIV/0! | #DIV/0!
[8 empty] | TABLE NO. 2 | [15 empty] | #DIV/0! | #DIV/0!
[8 empty] | 1024 MEAN CH# |  | CONVERTED VALUES
[8 empty] | to 256 REL. CH# |  | CAN BE COPIED TO
[8 empty] | CONVERSION |  | THE CH# COLUMN BY
[8 empty] | 1024 CH# | 256 CH# | SELECTING THE CELLS
[9 empty] | #NUM! | TO BE COPIED; THEN,
[9 empty] | #NUM! | CLICKING [COPY],
[9 empty] | #NUM! | [PASTE SPECIAL], AND
[9 empty] | #NUM! | FINALLY [PASTE VALUE]
#NUM!
#NUM!
#NUM!
#NUM!
[8 empty] | TABLE NO. 3 |  | TABLE NO. 5
[8 empty] | 104 MEAN CH# |  | Determination of the
[8 empty] | to 256 REL. CH# |  | MEAP/CH# for the
[8 empty] | CONVERSION |  | normalization cell or particle
[8 empty] | 104 CH# | 256 CH# | 256 CH# | 104 CH# | Calc. MEAP | MEAP/CH#
[9 empty] | #NUM! | 0 | 1 | 36.4191 | 36.4191
[9 empty] | #NUM! | 0 | 1 | 36.4191 | 36.4191
[9 empty] | #NUM! | 0 | 1 | 36.4191 | 36.4191
[9 empty] | #NUM! | 0 | 1 | 36.4191 | 36.4191
[9 empty] | #NUM! | 0 | 1 | 36.4191 | 36.4191
#NUM!
[9 empty] | #NUM! | TABLE NO. 6
Rainbow Calibration Particles (RCP-30-5) |  |  |  | Lot No.: |  | File # |  |  | #NUM! | Determination of New MEAP
values for RCP-30-5
Acceptable: |  |  | By: |  |  | Date:
[8 empty] | TABLE NO. 4 |  | 256 CH# | 104 CH# | New MEAP
Action taken if not linear: | [7 empty] | 105 MEAN CH# |  |  | 1 | 36.4191
[8 empty] | to 256 REL. CH# |  |  | 1 | 36.4191
[8 empty] | CONVERSION |  |  | 1 | 36.4191
[8 empty] | 105 CH# | 256 CH# |  | 1 | 36.4191
[9 empty] | #NUM! |  | 1 | 36.4191
[9 empty] | #NUM! |  | 1 | 36.4191
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
Note on J20: Use this Table to convert Beckman-Coulter 1024 Mean CH # to 256 Relative CH#
Note on J35: Use this Table to convert BD-FACS 104 Mean CH # to 256 Relative CH#
Note on J50: Use this Table to convert BD-FACS Canto 105 Mean CH # to 384 Relative CH#