## MECSB
TYPE THE NAME OF YOUR LAB HERE
| PMT LINEARITY QC RECORD | [12 empty] | Normalization Graph for Instrument B
[8 empty] | TABLE NO. 1 |  | CROSS CALIBRATION TABLE
| PEAK # | CH # | MECSB | MECSB LOG | CALC. | RESIDUAL | CALC. MECSB | 1024 REL. CH# |  | FOR UNKNOWN SAMPLES |  |  |  |  | PEAK # | CH # | MECSB | MECSB LOG | CALC. | RESIDUAL | CALC. MECSB | CROSS CALIBRATION TABLE
| 1 | 11.2698 |  |  | 1.8072 |  | 64.1447 | to 256 REL. CH# |  | Sample | CH# | Calc. | Calc. MECSB |  | 1 | 0 | 43.6309 | 1.6398 | #DIV/0! | #DIV/0! | #DIV/0! | FOR NORMALIZATION GRAPH
| 2 | 46.7701 | 216 | 2.3345 | 2.3344 | 0.00358% | 215.9584 | CONVERSION |  |  |  | 1.6398 | 43.6309 |  | 2 | 0 | 43.6309 | 1.6398 | #DIV/0! | #DIV/0! | #DIV/0! | Sample | CH# | Calc. | Calc. MECSB
| 3 | 69.137 | 464 | 2.6665 | 2.6665 | 0.0007768% | 464.0221 | 1024 CH# | 256 CH# |  |  | 1.6398 | 43.6309 |  | 3 | 0 | 43.6309 | 1.6398 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
| 4 | 97.7023 | 1232 | 3.0906 | 3.0908 | 0.004754% | 1232.4169 |  | 0 |  |  | 1.6398 | 43.6309 |  | 4 | 0 | 43.6309 | 1.6398 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
| 5 | 123.1241 | 2940 | 3.4683 | 3.4683 | 0.001539% | 2939.6387 |  | 0 |  |  | 1.6398 | 43.6309 |  | 5 | 0 | 43.6309 | 1.6398 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
| 6 | 151.1651 | 7669 | 3.8847 | 3.8847 | 0.0002941% | 7668.7982 |  | 0 |  |  | 1.6398 | 43.6309 |  | 6 | 0 | 43.6309 | 1.6398 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
| 7 | 178.9203 | 19812 | 4.2969 | 4.2969 | 0.0002709% | 19811.4689 |  | 0 |  |  | 1.6398 | 43.6309 |  | 7 | 0 | 43.6309 | 1.6398 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
| 8 | 195.9554 | 35474 | 4.5499 | 4.5499 | 0.0001681% | 35473.3754 |  | 0 |  |  | 1.6398 | 43.6309 |  | 8 | 0 | 43.6309 | 1.6398 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
|  |  |  | Ave Residual |  | 0.001626% |  |  | 0 |  |  | 1.6398 | 43.6309 |  |  |  |  | Ave Residual |  | #DIV/0! |  |  |  | #DIV/0! | #DIV/0!
[6 empty] | Slope: | 0.014851 |  | 0 |  |  | 1.6398 | 43.6309 | [6 empty] | Slope: | #DIV/0! |  |  | #DIV/0! | #DIV/0!
[6 empty] | Intercept: | 1.6398 |  | 0 |  |  | 1.6398 | 43.6309 | [6 empty] | Intercept: | #DIV/0! |  |  | #DIV/0! | #DIV/0!
[6 empty] | Rsq: | 1 |  |  |  |  | 1.6398 | 43.6309 | [6 empty] | Rsq: | #DIV/0! |  |  | #DIV/0! | #DIV/0!
[12 empty] | 1.6398 | 43.6309 | [10 empty] | #DIV/0! | #DIV/0!
[8 empty] | TABLE NO. 2 | [15 empty] | #DIV/0! | #DIV/0!
[8 empty] | 1024 MEAN CH# |  | CONVERTED VALUES
[8 empty] | to 256 REL. CH# |  | CAN BE COPIED TO
[8 empty] | CONVERSION |  | THE CH# COLUMN BY
[8 empty] | 1024 CH# | 256 CH# | SELECTING THE CELLS
[9 empty] | #NUM! | TO BE COPIED; THEN,
[9 empty] | #NUM! | CLICKING [COPY],
[9 empty] | #NUM! | [PASTE SPECIAL], AND
[9 empty] | #NUM! | FINALLY [PASTE VALUE]
#NUM!
#NUM!
#NUM!
#NUM!
[8 empty] | TABLE NO. 3 |  | TABLE NO. 5
[8 empty] | 104 MEAN CH# |  | Determination of the
[8 empty] | to 256 REL. CH# |  | MECSB/CH# for the
[8 empty] | CONVERSION |  | normalization cell or particle
[8 empty] | 104 CH# | 256 CH# | 256 CH# | 104 CH# | Calc. MECSB | MECSB/CH#
[9 empty] | #NUM! | 0 | 1 | 43.6309 | 43.6309
[9 empty] | #NUM! | 0 | 1 | 43.6309 | 43.6309
[9 empty] | #NUM! | 0 | 1 | 43.6309 | 43.6309
[9 empty] | #NUM! | 0 | 1 | 43.6309 | 43.6309
[9 empty] | #NUM! | 0 | 1 | 43.6309 | 43.6309
#NUM!
[9 empty] | #NUM! | TABLE NO. 6
Rainbow Calibration Particles (RCP-30-5A) |  |  |  | Lot No.: |  | File # |  |  | #NUM! | Determination of New MECSB
Acceptable: | [9 empty] | values for RCP-30-5A
Action taken if not linear: |  |  | By: |  |  | Date: |  | TABLE NO. 4 |  | 256 CH# | 104 CH# | New MECSB
[8 empty] | 105 MEAN CH# |  |  | 1 | 43.6309
[8 empty] | to 256 REL. CH# |  |  | 1 | 43.6309
[8 empty] | CONVERSION |  |  | 1 | 43.6309
[8 empty] | 105 CH# | 256 CH# |  | 1 | 43.6309
[9 empty] | #NUM! |  | 1 | 43.6309
[9 empty] | #NUM! |  | 1 | 43.6309
[9 empty] | #NUM! |  | 1 | 43.6309
[9 empty] | #NUM! |  | 1 | 43.6309
#NUM!
#NUM!
#NUM!
#NUM!
Note on J20: Use this Table to convert Beckman-Coulter 1024 Mean CH # to 256 Relative CH#
Note on J35: Use this Table to convert BD-FACS 104 Mean CH # to 256 Relative CH#
Note on J50: Use this Table to convert BD-FACS Canto 105 Mean CH # to 384 Relative CH#

## MEBFP
TYPE THE NAME OF YOUR LAB HERE
| PMT LINEARITY QC RECORD | [12 empty] | Normalization Graph for Instrument B
[8 empty] | TABLE NO. 1 |  | CROSS CALIBRATION TABLE
| PEAK # | CH # | MEBFP | MEBFP LOG | CALC. | RESIDUAL | CALC. MEBFP | 1024 REL. CH# |  | FOR UNKNOWN SAMPLES |  |  |  |  | PEAK # | CH # | MEBFP | MEBFP LOG | CALC. | RESIDUAL | CALC. MEBFP | CROSS CALIBRATION TABLE
| 1 | 14.0869 |  |  | 2.3534 |  | 225.6346 | to 256 REL. CH# |  | Sample | CH# | Calc. | Calc. MEBFP |  | 1 | 0 | 133.4886 | 2.1254 | #DIV/0! | #DIV/0! | #DIV/0! | FOR NORMALIZATION GRAPH
| 2 | 50.0323 | 861.1769 | 2.9351 | 2.9351 | 1.513e-14% | 861.1769 | CONVERSION |  |  |  | 2.1254 | 133.4886 |  | 2 | 0 | 133.4886 | 2.1254 | #DIV/0! | #DIV/0! | #DIV/0! | Sample | CH# | Calc. | Calc. MEBFP
| 3 | 72.6077 | 1997.1859 | 3.3004 | 3.3004 | 1.346e-14% | 1997.1859 | 1024 CH# | 256 CH# |  |  | 2.1254 | 133.4886 |  | 3 | 0 | 133.4886 | 2.1254 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
| 4 | 101.1062 | 5775.558 | 3.7616 | 3.7616 | 3.542e-14% | 5775.558 |  | 0 |  |  | 2.1254 | 133.4886 |  | 4 | 0 | 133.4886 | 2.1254 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
| 5 | 127.1333 | 15232.759 | 4.1828 | 4.1828 | 2.123e-14% | 15232.759 |  | 0 |  |  | 2.1254 | 133.4886 |  | 5 | 0 | 133.4886 | 2.1254 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
| 6 | 156.4349 | 45388.9855 | 4.657 | 4.657 | 1.907e-14% | 45388.9855 |  | 0 |  |  | 2.1254 | 133.4886 |  | 6 | 0 | 133.4886 | 2.1254 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
| 7 | 188.9697 | 152561.8051 | 5.1834 | 5.1834 | 0% | 152561.8051 |  | 0 |  |  | 2.1254 | 133.4886 |  | 7 | 0 | 133.4886 | 2.1254 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
| 8 | 214.6197 | 396759.154 | 5.5985 | 5.5985 | 0% | 396759.154 |  | 0 |  |  | 2.1254 | 133.4886 |  | 8 | 0 | 133.4886 | 2.1254 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
|  |  |  | Ave Residual |  | 1.49e-14% |  |  | 0 |  |  | 2.1254 | 133.4886 |  |  |  |  | Ave Residual |  | #DIV/0! |  |  |  | #DIV/0! | #DIV/0!
[6 empty] | Slope: | 0.016182 |  | 0 |  |  | 2.1254 | 133.4886 | [6 empty] | Slope: | #DIV/0! |  |  | #DIV/0! | #DIV/0!
[6 empty] | Intercept: | 2.1254 |  | 0 |  |  | 2.1254 | 133.4886 | [6 empty] | Intercept: | #DIV/0! |  |  | #DIV/0! | #DIV/0!
[6 empty] | Rsq: | 1 |  |  |  |  | 2.1254 | 133.4886 | [6 empty] | Rsq: | #DIV/0! |  |  | #DIV/0! | #DIV/0!
[12 empty] | 2.1254 | 133.4886 | [10 empty] | #DIV/0! | #DIV/0!
[8 empty] | TABLE NO. 2 | [15 empty] | #DIV/0! | #DIV/0!
[8 empty] | 1024 MEAN CH# |  | CONVERTED VALUES
[8 empty] | to 256 REL. CH# |  | CAN BE COPIED TO
[8 empty] | CONVERSION |  | THE CH# COLUMN BY
[8 empty] | 1024 CH# | 256 CH# | SELECTING THE CELLS
[9 empty] | #NUM! | TO BE COPIED; THEN,
[9 empty] | #NUM! | CLICKING [COPY],
[9 empty] | #NUM! | [PASTE SPECIAL], AND
[9 empty] | #NUM! | FINALLY [PASTE VALUE]
#NUM!
#NUM!
#NUM!
#NUM!
[8 empty] | TABLE NO. 3 |  | TABLE NO. 5
[8 empty] | 104 MEAN CH# |  | Determination of the
[8 empty] | to 256 REL. CH# |  | MEBFP/CH# for the
[8 empty] | CONVERSION |  | normalization cell or particle
[8 empty] | 104 CH# | 256 CH# | 256 CH# | 104 CH# | Calc. MEBFP | MEBFP/CH#
[9 empty] | #NUM! | 0 | 1 | 133.4886 | 133.4886
[9 empty] | #NUM! | 0 | 1 | 133.4886 | 133.4886
[9 empty] | #NUM! | 0 | 1 | 133.4886 | 133.4886
[9 empty] | #NUM! | 0 | 1 | 133.4886 | 133.4886
[9 empty] | #NUM! | 0 | 1 | 133.4886 | 133.4886
#NUM!
[9 empty] | #NUM! | TABLE NO. 6
Rainbow Calibration Particles (RCP-30-5A) |  |  |  | Lot No.: |  | File # |  |  | #NUM! | Determination of New MEBFP
Acceptable: | [9 empty] | values for RCP-30-5A
Action taken if not linear: |  |  | By: |  |  | Date: |  | TABLE NO. 4 |  | 256 CH# | 104 CH# | New MEBFP
[8 empty] | 105 MEAN CH# |  |  | 1 | 133.4886
[8 empty] | to 256 REL. CH# |  |  | 1 | 133.4886
[8 empty] | CONVERSION |  |  | 1 | 133.4886
[8 empty] | 105 CH# | 256 CH# |  | 1 | 133.4886
[9 empty] | #NUM! |  | 1 | 133.4886
[9 empty] | #NUM! |  | 1 | 133.4886
[9 empty] | #NUM! |  | 1 | 133.4886
[9 empty] | #NUM! |  | 1 | 133.4886
#NUM!
#NUM!
#NUM!
#NUM!
Note on J20: Use this Table to convert Beckman-Coulter 1024 Mean CH # to 256 Relative CH#
Note on J35: Use this Table to convert BD-FACS 104 Mean CH # to 256 Relative CH#
Note on J50: Use this Table to convert BD-FACS Canto 105 Mean CH # to 384 Relative CH#

## MEFL
TYPE THE NAME OF YOUR LAB HERE
| PMT LINEARITY QC RECORD | [12 empty] | Normalization Graph for Instrument B
[8 empty] | TABLE NO. 1 |  | CROSS CALIBRATION TABLE
| PEAK # | CH # | MEFL | MEFL LOG | CALC. | RESIDUAL | CALC. MEFL | 1024 REL. CH# |  | FOR UNKNOWN SAMPLES |  |  |  |  | PEAK # | CH # | MEFL | MEFL LOG | CALC. | RESIDUAL | CALC. MEFL | CROSS CALIBRATION TABLE
| 1 | 23.9839 |  |  | 1.9576 |  | 90.7087 | to 256 REL. CH# |  | Sample | CH# | Calc. | Calc. MEFL |  | 1 | 0 | 37.4097 | 1.573 | #DIV/0! | #DIV/0! | #DIV/0! | FOR NORMALIZATION GRAPH
| 2 | 82.6334 | 792 | 2.8987 | 2.8983 | 0.01477% | 791.2198 | CONVERSION |  |  |  | 1.573 | 37.4097 |  | 2 | 0 | 37.4097 | 1.573 | #DIV/0! | #DIV/0! | #DIV/0! | Sample | CH# | Calc. | Calc. MEFL
| 3 | 108.845 | 2079 | 3.3179 | 3.3187 | 0.02523% | 2083.0123 | 1024 CH# | 256 CH# |  |  | 1.573 | 37.4097 |  | 3 | 0 | 37.4097 | 1.573 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
| 4 | 139.9164 | 6588 | 3.8188 | 3.817 | 0.0452% | 6561.8826 |  | 0 |  |  | 1.573 | 37.4097 |  | 4 | 0 | 37.4097 | 1.573 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
| 5 | 164.9352 | 16471 | 4.2167 | 4.2183 | 0.03727% | 16530.7381 |  | 0 |  |  | 1.573 | 37.4097 |  | 5 | 0 | 37.4097 | 1.573 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
| 6 | 193.5595 | 47497 | 4.6767 | 4.6774 | 0.0153% | 47575.3135 |  | 0 |  |  | 1.573 | 37.4097 |  | 6 | 0 | 37.4097 | 1.573 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
| 7 | 222.136 | 137049 | 5.1369 | 5.1357 | 0.02279% | 136680.1428 |  | 0 |  |  | 1.573 | 37.4097 |  | 7 | 0 | 37.4097 | 1.573 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
| 8 | 240.7474 | 271647 | 5.434 | 5.4342 | 0.003653% | 271771.1895 |  | 0 |  |  | 1.573 | 37.4097 |  | 8 | 0 | 37.4097 | 1.573 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
|  |  |  | Ave Residual |  | 0.02346% |  |  | 0 |  |  | 1.573 | 37.4097 |  |  |  |  | Ave Residual |  | #DIV/0! |  |  |  | #DIV/0! | #DIV/0!
[6 empty] | Slope: | 0.016038 |  | 0 |  |  | 1.573 | 37.4097 | [6 empty] | Slope: | #DIV/0! |  |  | #DIV/0! | #DIV/0!
[6 empty] | Intercept: | 1.573 |  | 0 |  |  | 1.573 | 37.4097 | [6 empty] | Intercept: | #DIV/0! |  |  | #DIV/0! | #DIV/0!
[6 empty] | Rsq: | 1 |  |  |  |  | 1.573 | 37.4097 | [6 empty] | Rsq: | #DIV/0! |  |  | #DIV/0! | #DIV/0!
[12 empty] | 1.573 | 37.4097 | [10 empty] | #DIV/0! | #DIV/0!
[8 empty] | TABLE NO. 2 | [15 empty] | #DIV/0! | #DIV/0!
[8 empty] | 1024 MEAN CH# |  | CONVERTED VALUES
[8 empty] | to 256 REL. CH# |  | CAN BE COPIED TO
[8 empty] | CONVERSION |  | THE CH# COLUMN BY
[8 empty] | 1024 CH# | 256 CH# | SELECTING THE CELLS
[9 empty] | #NUM! | TO BE COPIED; THEN,
[9 empty] | #NUM! | CLICKING [COPY],
[9 empty] | #NUM! | [PASTE SPECIAL], AND
[9 empty] | #NUM! | FINALLY [PASTE VALUE]
#NUM!
#NUM!
#NUM!
#NUM!
[8 empty] | TABLE NO. 3 |  | TABLE NO. 5
[8 empty] | 104 MEAN CH# |  | Determination of the
[8 empty] | to 256 REL. CH# |  | MEFL/CH# for the
[8 empty] | CONVERSION |  | normalization cell or particle
[8 empty] | 104 CH# | 256 CH# | 256 CH# | 104 CH# | Calc. MEFL | MEFL/CH#
[9 empty] | #NUM! | 0 | 1 | 37.4097 | 37.4097
[9 empty] | #NUM! | 0 | 1 | 37.4097 | 37.4097
[9 empty] | #NUM! | 0 | 1 | 37.4097 | 37.4097
[9 empty] | #NUM! | 0 | 1 | 37.4097 | 37.4097
[9 empty] | #NUM! | 0 | 1 | 37.4097 | 37.4097
#NUM!
[9 empty] | #NUM! | TABLE NO. 6
Rainbow Calibration Particles (RCP-30-5A) |  |  |  | Lot No.: |  | File # |  |  | #NUM! | Determination of New MEFL
Acceptable: | [9 empty] | values for RCP-30-5A
Action taken if not linear: |  |  | By: |  |  | Date: |  | TABLE NO. 4 |  | 256 CH# | 104 CH# | New MEFL
[8 empty] | 105 MEAN CH# |  |  | 1 | 37.4097
[8 empty] | to 256 REL. CH# |  |  | 1 | 37.4097
[8 empty] | CONVERSION |  |  | 1 | 37.4097
[8 empty] | 105 CH# | 256 CH# |  | 1 | 37.4097
[9 empty] | #NUM! |  | 1 | 37.4097
[9 empty] | #NUM! |  | 1 | 37.4097
[9 empty] | #NUM! |  | 1 | 37.4097
[9 empty] | #NUM! |  | 1 | 37.4097
#NUM!
#NUM!
#NUM!
#NUM!
Note on J20: Use this Table to convert Beckman-Coulter 1024 Mean CH # to 256 Relative CH#
Note on J35: Use this Table to convert BD-FACS 104 Mean CH # to 256 Relative CH#
Note on J50: Use this Table to convert BD-FACS Canto 105 Mean CH # to 384 Relative CH#

## MEPE
TYPE THE NAME OF YOUR LAB HERE
| PMT LINEARITY QC RECORD | [12 empty] | Normalization Graph for Instrument B
[8 empty] | TABLE NO. 1 |  | CROSS CALIBRATION TABLE
| PEAK # | CH # | MEPE | MEPE LOG | CALC. | RESIDUAL | CALC. MEPE | 1024 REL. CH# |  | FOR UNKNOWN SAMPLES |  |  |  | PEAK # | CH # | MEPE | MEPE LOG | CALC. | RESIDUAL | CALC. MEPE | CROSS CALIBRATION TABLE
| 1 | 11.2698 |  |  | 1.7672 |  | 58.5046 | to 256 REL. CH# |  | Sample | CH# | Calc. | Calc. MEPE | 1 | 0 | 38.6339 | 1.587 | #DIV/0! | #DIV/0! | #DIV/0! | FOR NORMALIZATION GRAPH
| 2 | 71.0777 | 531 | 2.7251 | 2.7236 | 0.05457% | 529.1859 | CONVERSION |  |  |  | 1.587 | 38.6339 | 2 | 0 | 38.6339 | 1.587 | #DIV/0! | #DIV/0! | #DIV/0! | Sample | CH# | Calc. | Calc. MEPE
| 3 | 99.6034 | 1504 | 3.1772 | 3.1798 | 0.0795% | 1512.7802 | 1024 CH# | 256 CH# |  |  | 1.587 | 38.6339 | 3 | 0 | 38.6339 | 1.587 | #DIV/0! | #DIV/0! | #DIV/0! |  | 200 | #DIV/0! | #DIV/0!
| 4 | 131.0754 | 4819 | 3.683 | 3.6831 | 0.00283% | 4820.1566 |  | 0 |  |  | 1.587 | 38.6339 | 4 | 0 | 38.6339 | 1.587 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
| 5 | 156.9173 | 12506 | 4.0971 | 4.0963 | 0.0197% | 12482.7886 |  | 0 |  |  | 1.587 | 38.6339 | 5 | 0 | 38.6339 | 1.587 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
| 6 | 185.763 | 36159 | 4.5582 | 4.5576 | 0.01357% | 36107.5489 |  | 0 |  |  | 1.587 | 38.6339 | 6 | 0 | 38.6339 | 1.587 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
| 7 | 215.8726 | 109588 | 5.0398 | 5.0391 | 0.01324% | 109419.8371 |  | 0 |  |  | 1.587 | 38.6339 | 7 | 0 | 38.6339 | 1.587 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
| 8 | 238.4682 | 250892 | 5.3995 | 5.4004 | 0.01752% | 251439.2029 |  | 0 |  |  | 1.587 | 38.6339 | 8 | 0 | 38.6339 | 1.587 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
|  |  |  | Ave Residual |  | 0.0287% |  |  | 0 |  |  | 1.587 | 38.6339 |  |  |  | Ave Residual |  | #DIV/0! |  |  |  | #DIV/0! | #DIV/0!
[6 empty] | Slope: | 0.015992 |  | 0 |  |  | 1.587 | 38.6339 | [5 empty] | Slope: | #DIV/0! |  |  | #DIV/0! | #DIV/0!
[6 empty] | Intercept: | 1.587 |  | 0 |  |  | 1.587 | 38.6339 | [5 empty] | Intercept: | #DIV/0! |  |  | #DIV/0! | #DIV/0!
[6 empty] | Rsq: | 1 |  |  |  |  | 1.587 | 38.6339 | [5 empty] | Rsq: | #DIV/0! |  |  | #DIV/0! | #DIV/0!
[12 empty] | 1.587 | 38.6339 | [9 empty] | #DIV/0! | #DIV/0!
[8 empty] | TABLE NO. 2 | [14 empty] | #DIV/0! | #DIV/0!
[8 empty] | 1024 MEAN CH# |  | CONVERTED VALUES
[7 empty] | 21 | to 256 REL. CH# |  | CAN BE COPIED TO
[7 empty] | 56.5 | CONVERSION |  | THE CH# COLUMN BY | [9 empty] | 21
[8 empty] | 1024 CH# | 256 CH# | SELECTING THE CELLS | [9 empty] | 56.5
[9 empty] | #NUM! | TO BE COPIED; THEN,
[9 empty] | #NUM! | CLICKING [COPY],
[9 empty] | #NUM! | [PASTE SPECIAL], AND
[9 empty] | #NUM! | FINALLY [PASTE VALUE]
#NUM!
#NUM!
#NUM!
#NUM!
[8 empty] | TABLE NO. 3 |  | TABLE NO. 5
[8 empty] | 104 MEAN CH# |  | Determination of the
[8 empty] | to 256 REL. CH# |  | MEPE/CH# for the
[8 empty] | CONVERSION |  | normalization cell or particle
[8 empty] | 104 CH# | 256 CH# | 256 CH# | 104 CH# | Calc. MEPE | MEPE/CH#
[9 empty] | #NUM! | 0 | 1 | 38.6339 | 38.6339
[9 empty] | #NUM! | 0 | 1 | 38.6339 | 38.6339
[9 empty] | #NUM! | 0 | 1 | 38.6339 | 38.6339
[9 empty] | #NUM! | 0 | 1 | 38.6339 | 38.6339
[9 empty] | #NUM! | 0 | 1 | 38.6339 | 38.6339
#NUM!
[9 empty] | #NUM! | TABLE NO. 6
Rainbow Calibration Particles (RCP-30-5A) |  |  |  | Lot No.: |  | File # |  |  | #NUM! | Determination of New MEPE
Acceptable: | [9 empty] | values for RCP-30-5A
Action taken if not linear: |  |  | By: |  |  | Date: |  | TABLE NO. 4 |  | 256 CH# | 104 CH# | New MEPE
[8 empty] | 105 MEAN CH# |  |  | 1 | 38.6339
[8 empty] | to 256 REL. CH# |  |  | 1 | 38.6339
[8 empty] | CONVERSION |  |  | 1 | 38.6339
[8 empty] | 105 CH# | 256 CH# |  | 1 | 38.6339
[9 empty] | #NUM! |  | 1 | 38.6339
[9 empty] | #NUM! |  | 1 | 38.6339
[9 empty] | #NUM! |  | 1 | 38.6339
[9 empty] | #NUM! |  | 1 | 38.6339
#NUM!
#NUM!
#NUM!
#NUM!
Note on J20: Use this Table to convert Beckman-Coulter 1024 Mean CH # to 256 Relative CH#
Note on J35: Use this Table to convert BD-FACS 104 Mean CH # to 256 Relative CH#
Note on T5: RCP-30-5 Relative Channel Numbers obtained with your Instrument in 256 Channel Scale.
Note on J50: Use this Table to convert BD-FACS Canto 105 Mean CH # to 384 Relative CH#

## MEPTR
TYPE THE NAME OF YOUR LAB HERE
| PMT LINEARITY QC RECORD | [12 empty] | Normalization Graph for Instrument B
[8 empty] | TABLE NO. 1 |  | CROSS CALIBRATION TABLE
[8 empty] | 1024 REL. CH# |  | FOR UNKNOWN SAMPLES |  |  |  |  | PEAK # | CH # | MEPTR | MEPTR LOG | CALC. | RESIDUAL | CALC. MEPTR | CROSS CALIBRATION TABLE
| PEAK # | CH # | MEPTR | MEPTR LOG | CALC. | RESIDUAL | CALC. MEPTR | to 256 REL. CH# |  | Sample | CH# | Calc. | Calc. MEPTR |  | 1 | 0 | 17.6633 | 1.2471 | #DIV/0! | #DIV/0! | #DIV/0! | FOR NORMALIZATION GRAPH
| 1 | 5.0676 |  |  | 1.3308 |  | 21.4215 | CONVERSION |  |  |  | 1.2471 | 17.6633 |  | 2 | 0 | 17.6633 | 1.2471 | #DIV/0! | #DIV/0! | #DIV/0! | Sample | CH# | Calc. | Calc. MEPTR
| 2 | 67.8605 | 233 | 2.3674 | 2.3689 | 0.06622% | 233.8431 | 1024 CH# | 256 CH# |  |  | 1.2471 | 17.6633 |  | 3 | 0 | 17.6633 | 1.2471 | #DIV/0! | #DIV/0! | #DIV/0! |  | 200 | #DIV/0! | #DIV/0!
| 3 | 95.2311 | 669 | 2.8254 | 2.8214 | 0.1424% | 662.8403 |  | 0 |  |  | 1.2471 | 17.6633 |  | 4 | 0 | 17.6633 | 1.2471 | #DIV/0! | #DIV/0! | #DIV/0! |  | 125 | #DIV/0! | #DIV/0!
| 4 | 126.548 | 2179 | 3.3383 | 3.3391 | 0.02616% | 2183.3869 |  | 0 |  |  | 1.2471 | 17.6633 |  | 5 | 0 | 17.6633 | 1.2471 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
| 5 | 152.8646 | 5929 | 3.773 | 3.7742 | 0.03204% | 5945.532 |  | 0 |  |  | 1.2471 | 17.6633 |  | 6 | 0 | 17.6633 | 1.2471 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
| 6 | 182.388 | 18219 | 4.2605 | 4.2623 | 0.04079% | 18292.089 |  | 0 |  |  | 1.2471 | 17.6633 |  | 7 | 0 | 17.6633 | 1.2471 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
| 7 | 215.2704 | 63944 | 4.8058 | 4.8059 | 0.001406% | 63953.9486 |  | 0 |  |  | 1.2471 | 17.6633 |  | 8 | 0 | 17.6633 | 1.2471 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
| 8 | 243.6195 | 188785 | 5.276 | 5.2745 | 0.02731% | 188159.8201 |  | 0 |  |  | 1.2471 | 17.6633 |  |  |  |  | Ave Residual |  | #DIV/0! |  |  |  | #DIV/0! | #DIV/0!
|  |  |  | Ave Residual |  | 0.04805% |  |  | 0 |  |  | 1.2471 | 17.6633 | [6 empty] | Slope: | #DIV/0! |  |  | #DIV/0! | #DIV/0!
[6 empty] | Slope: | 0.016532 |  | 0 |  |  | 1.2471 | 17.6633 | [6 empty] | Intercept: | #DIV/0! |  |  | #DIV/0! | #DIV/0!
[6 empty] | Intercept: | 1.2471 |  |  |  |  | 1.2471 | 17.6633 | [6 empty] | Rsq: | #DIV/0! |  |  | #DIV/0! | #DIV/0!
[6 empty] | Rsq: | 1 |  |  |  |  | 1.2471 | 17.6633 | [10 empty] | #DIV/0! | #DIV/0!
[8 empty] | TABLE NO. 2 | [15 empty] | #DIV/0! | #DIV/0!
[8 empty] | 1024 MEAN CH# |  | CONVERTED VALUES
[8 empty] | to 256 REL. CH# |  | CAN BE COPIED TO
[8 empty] | CONVERSION |  | THE CH# COLUMN BY
[8 empty] | 1024 CH# | 256 CH# | SELECTING THE CELLS
[9 empty] | #NUM! | TO BE COPIED; THEN,
[9 empty] | #NUM! | CLICKING [COPY],
[9 empty] | #NUM! | [PASTE SPECIAL], AND
[9 empty] | #NUM! | FINALLY [PASTE VALUE]
#NUM!
#NUM!
#NUM!
#NUM!
[8 empty] | TABLE NO. 3 |  | TABLE NO. 5
[8 empty] | 104 MEAN CH# |  | Determination of the
[8 empty] | to 256 REL. CH# |  | MEPTR/CH# for the
[8 empty] | CONVERSION |  | normalization cell or particle
[8 empty] | 104 CH# | 256 CH# | 256 CH# | 104 CH# | Calc. MEPTR | MEPTR/CH#
[9 empty] | #NUM! | 0 | 1 | 17.6633 | 17.6633
[9 empty] | #NUM! | 0 | 1 | 17.6633 | 17.6633
[9 empty] | #NUM! | 0 | 1 | 17.6633 | 17.6633
[9 empty] | #NUM! | 0 | 1 | 17.6633 | 17.6633
[9 empty] | #NUM! | 0 | 1 | 17.6633 | 17.6633
#NUM!
[9 empty] | #NUM! | TABLE NO. 6
[9 empty] | #NUM! | Determination of New MEPTR
Rainbow Calibration Particles (RCP-30-5A) |  |  |  | Lot No.: |  | File # |  |  |  | values for RCP-30-5A
Acceptable:
[8 empty] | TABLE NO. 4 |  | 256 CH# | 104 CH# | New MEPTR
Action taken if not linear: |  |  | By: |  |  | Date: |  | 105 MEAN CH# |  |  | 1 | 17.6633
[8 empty] | to 256 REL. CH# |  |  | 1 | 17.6633
[8 empty] | CONVERSION |  |  | 1 | 17.6633
[8 empty] | 105 CH# | 256 CH# |  | 1 | 17.6633
[9 empty] | #NUM! |  | 1 | 17.6633
[9 empty] | #NUM! |  | 1 | 17.6633
[9 empty] | #NUM! |  | 1 | 17.6633
[9 empty] | #NUM! |  | 1 | 17.6633
#NUM!
#NUM!
#NUM!
#NUM!
Note on J20: Use this Table to convert Beckman-Coulter 1024 Mean CH # to 256 Relative CH#
Note on J35: Use this Table to convert BD-FACS 104 Mean CH # to 256 Relative CH#
Note on J50: Use this Table to convert BD-FACS Canto 105 Mean CH # to 384 Relative CH#

## MECY
TYPE THE NAME OF YOUR LAB HERE
| PMT LINEARITY QC RECORD | [12 empty] | Normalization Graph for Instrument B
[8 empty] | TABLE NO. 1 |  | CROSS CALIBRATION TABLE
| PEAK # | CH # | MECY | MECY LOG | CALC. | RESIDUAL | CALC. MECY | 1024 REL. CH# |  | FOR UNKNOWN SAMPLES |  |  |  |  | PEAK # | CH # | MECY | MECY LOG | CALC. | RESIDUAL | CALC. MECY | CROSS CALIBRATION TABLE
| 1 | 7.5054 |  |  | 2.3493 |  | 223.5215 | to 256 REL. CH# |  | Sample | CH# | Calc. | Calc. MECY |  | 1 | 0 | 170.5213 | 2.2318 | #DIV/0! | #DIV/0! | #DIV/0! | FOR NORMALIZATION GRAPH
| 2 | 62.8364 | 1614 | 3.2079 | 3.2159 | 0.2472% | 1643.8118 | CONVERSION |  |  |  | 2.2318 | 170.5213 |  | 2 | 0 | 170.5213 | 2.2318 | #DIV/0! | #DIV/0! | #DIV/0! | Sample | CH# | Calc. | Calc. MECY
| 3 | 87.3673 | 4035 | 3.6058 | 3.6 | 0.1616% | 3981.3209 | 1024 CH# | 256 CH# |  |  | 2.2318 | 170.5213 |  | 3 | 0 | 170.5213 | 2.2318 | #DIV/0! | #DIV/0! | #DIV/0! |  | 200 | #DIV/0! | #DIV/0!
| 4 | 117.827 | 12025 | 4.0801 | 4.0771 | 0.07436% | 11941.3443 |  | 0 |  |  | 2.2318 | 170.5213 |  | 4 | 0 | 170.5213 | 2.2318 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
| 5 | 144.965 | 31896 | 4.5037 | 4.5021 | 0.03728% | 31772.9797 |  | 0 |  |  | 2.2318 | 170.5213 |  | 5 | 0 | 170.5213 | 2.2318 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
| 6 | 175.5178 | 95682 | 4.9808 | 4.9805 | 0.005771% | 95618.6941 |  | 0 |  |  | 2.2318 | 170.5213 |  | 6 | 0 | 170.5213 | 2.2318 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
| 7 | 211.8294 | 353225 | 5.5481 | 5.5492 | 0.02096% | 354172.1476 |  | 0 |  |  | 2.2318 | 170.5213 |  | 7 | 0 | 170.5213 | 2.2318 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
| 8 | 242.7902 | 1077421 | 6.0324 | 6.0341 | 0.02821% | 1081652.6876 |  | 0 |  |  | 2.2318 | 170.5213 |  | 8 | 0 | 170.5213 | 2.2318 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
|  |  |  | Ave Residual |  | 0.08219% |  |  | 0 |  |  | 2.2318 | 170.5213 |  |  |  |  | Ave Residual |  | #DIV/0! |  |  |  | #DIV/0! | #DIV/0!
[6 empty] | Slope: | 0.015661 |  | 0 |  |  | 2.2318 | 170.5213 | [6 empty] | Slope: | #DIV/0! |  |  | #DIV/0! | #DIV/0!
[6 empty] | Intercept: | 2.2318 |  | 0 |  |  | 2.2318 | 170.5213 | [6 empty] | Intercept: | #DIV/0! |  |  | #DIV/0! | #DIV/0!
[6 empty] | Rsq: | 0.99998 |  |  |  |  | 2.2318 | 170.5213 | [6 empty] | Rsq: | #DIV/0! |  |  | #DIV/0! | #DIV/0!
[12 empty] | 2.2318 | 170.5213 | [10 empty] | #DIV/0! | #DIV/0!
[8 empty] | TABLE NO. 2 | [15 empty] | #DIV/0! | #DIV/0!
[8 empty] | 1024 MEAN CH# |  | CONVERTED VALUES
[8 empty] | to 256 REL. CH# |  | CAN BE COPIED TO
[8 empty] | CONVERSION |  | THE CH# COLUMN BY
[8 empty] | 1024 CH# | 256 CH# | SELECTING THE CELLS
[9 empty] | #NUM! | TO BE COPIED; THEN,
[9 empty] | #NUM! | CLICKING [COPY],
[9 empty] | #NUM! | [PASTE SPECIAL], AND
[9 empty] | #NUM! | FINALLY [PASTE VALUE]
#NUM!
#NUM!
#NUM!
#NUM!
[8 empty] | TABLE NO. 3 |  | TABLE NO. 5
[8 empty] | 104 MEAN CH# |  | Determination of the
[8 empty] | to 256 REL. CH# |  | MECY/CH# for the
[8 empty] | CONVERSION |  | normalization cell or particle
[8 empty] | 104 CH# | 256 CH# | 256 CH# | 104 CH# | Calc. MECY | MECY/CH#
[9 empty] | #NUM! | 0 | 1 | 170.5213 | 170.5213
[9 empty] | #NUM! | 0 | 1 | 170.5213 | 170.5213
[9 empty] | #NUM! | 0 | 1 | 170.5213 | 170.5213
[9 empty] | #NUM! | 0 | 1 | 170.5213 | 170.5213
[9 empty] | #NUM! | 0 | 1 | 170.5213 | 170.5213
#NUM!
[9 empty] | #NUM! | TABLE NO. 6
Rainbow Calibration Particles (RCP-30-5A) |  |  |  | Lot No.: |  | File # |  |  | #NUM! | Determination of New MECY
Acceptable: | [9 empty] | values for RCP-30-5A
Action taken if not linear: |  |  | By: |  |  | Date: |  | TABLE NO. 4 |  | 256 CH# | 104 CH# | New MECY
[8 empty] | 105 MEAN CH# |  |  | 1 | 170.5213
[8 empty] | to 256 REL. CH# |  |  | 1 | 170.5213
[8 empty] | CONVERSION |  |  | 1 | 170.5213
[8 empty] | 105 CH# | 256 CH# |  | 1 | 170.5213
[9 empty] | #NUM! |  | 1 | 170.5213
[9 empty] | #NUM! |  | 1 | 170.5213
[9 empty] | #NUM! |  | 1 | 170.5213
[9 empty] | #NUM! |  | 1 | 170.5213
#NUM!
#NUM!
#NUM!
#NUM!
Note on J20: Use this Table to convert Beckman-Coulter 1024 Mean CH # to 256 Relative CH#
Note on J35: Use this Table to convert BD-FACS 104 Mean CH # to 256 Relative CH#
Note on J50: Use this Table to convert BD-FACS Canto 105 Mean CH # to 384 Relative CH#

## MEPCY7
TYPE THE NAME OF YOUR LAB HERE
| PMT LINEARITY QC RECORD | [12 empty] | Normalization Graph for Instrument B
[8 empty] | TABLE NO. 1 |  | CROSS CALIBRATION TABLE
| PEAK # | CH # | MEPCY7 | MEPCY7 LOG | CALC. | RESIDUAL | CALC. MEPCY7 | 1024 REL. CH# |  | FOR UNKNOWN SAMPLES |  |  |  |  | PEAK # | CH # | MEPCY7 | MEPCY7 LOG | CALC. | RESIDUAL | CALC. MEPCY7 | CROSS CALIBRATION TABLE
| 1 | [6 empty] | to 256 REL. CH# |  | Sample | CH# | Calc. | Calc. MEPCY7 |  | 1 | 0 | 123.3309 | 2.0911 | #DIV/0! | #DIV/0! | #DIV/0! | FOR NORMALIZATION GRAPH
| 2 | [6 empty] | CONVERSION |  |  |  | 2.0911 | 123.3309 |  | 2 | 0 | 123.3309 | 2.0911 | #DIV/0! | #DIV/0! | #DIV/0! | Sample | CH# | Calc. | Calc. MEPCY7
| 3 | [6 empty] | 1024 CH# | 256 CH# |  |  | 2.0911 | 123.3309 |  | 3 | 0 | 123.3309 | 2.0911 | #DIV/0! | #DIV/0! | #DIV/0! |  | 200 | #DIV/0! | #DIV/0!
| 4 | [7 empty] | 0 |  |  | 2.0911 | 123.3309 |  | 4 | 0 | 123.3309 | 2.0911 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
| 5 | 134.0797 | 14916.457 | 4.1737 | 4.1737 | 0% | 14916.457 |  | 0 |  |  | 2.0911 | 123.3309 |  | 5 | 0 | 123.3309 | 2.0911 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
| 6 | 163.2475 | 42336.4964 | 4.6267 | 4.6267 | 0% | 42336.4964 |  | 0 |  |  | 2.0911 | 123.3309 |  | 6 | 0 | 123.3309 | 2.0911 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
| 7 | 199.3238 | 153840.4427 | 5.1871 | 5.1871 | 0% | 153840.4427 |  | 0 |  |  | 2.0911 | 123.3309 |  | 7 | 0 | 123.3309 | 2.0911 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
| 8 | 231.9578 | 494262.781 | 5.694 | 5.694 | 0% | 494262.781 |  | 0 |  |  | 2.0911 | 123.3309 |  | 8 | 0 | 123.3309 | 2.0911 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
|  |  |  | Ave Residual |  | 0% |  |  | 0 |  |  | 2.0911 | 123.3309 |  |  |  |  | Ave Residual |  | #DIV/0! |  |  |  | #DIV/0! | #DIV/0!
[6 empty] | Slope: | 0.015533 |  | 0 |  |  | 2.0911 | 123.3309 | [6 empty] | Slope: | #DIV/0! |  |  | #DIV/0! | #DIV/0!
[6 empty] | Intercept: | 2.0911 |  | 0 |  |  | 2.0911 | 123.3309 | [6 empty] | Intercept: | #DIV/0! |  |  | #DIV/0! | #DIV/0!
[6 empty] | Rsq: | 1 |  |  |  |  | 2.0911 | 123.3309 | [6 empty] | Rsq: | #DIV/0! |  |  | #DIV/0! | #DIV/0!
[12 empty] | 2.0911 | 123.3309 | [10 empty] | #DIV/0! | #DIV/0!
[8 empty] | TABLE NO. 2 | [15 empty] | #DIV/0! | #DIV/0!
[8 empty] | 1024 MEAN CH# |  | CONVERTED VALUES
[8 empty] | to 256 REL. CH# |  | CAN BE COPIED TO
[8 empty] | CONVERSION |  | THE CH# COLUMN BY
[8 empty] | 1024 CH# | 256 CH# | SELECTING THE CELLS
[9 empty] | #NUM! | TO BE COPIED; THEN,
[9 empty] | #NUM! | CLICKING [COPY],
[9 empty] | #NUM! | [PASTE SPECIAL], AND
[9 empty] | #NUM! | FINALLY [PASTE VALUE]
#NUM!
#NUM!
#NUM!
#NUM!
[8 empty] | TABLE NO. 3 |  | TABLE NO. 5
[8 empty] | 104 MEAN CH# |  | Determination of the
[8 empty] | to 256 REL. CH# |  | MEPCY7/CH# for the
[8 empty] | CONVERSION |  | normalization cell or particle
[8 empty] | 104 CH# | 256 CH# | 256 CH# | 104 CH# | Calc. MEPCY7 | MEPCY7/CH#
[9 empty] | #NUM! | 0 | 1 | 123.3309 | 123.3309
[9 empty] | #NUM! | 0 | 1 | 123.3309 | 123.3309
[9 empty] | #NUM! | 0 | 1 | 123.3309 | 123.3309
[9 empty] | #NUM! | 0 | 1 | 123.3309 | 123.3309
[9 empty] | #NUM! | 0 | 1 | 123.3309 | 123.3309
#NUM!
[9 empty] | #NUM! | TABLE NO. 6
Rainbow Calibration Particles (RCP-30-5A) |  |  |  | Lot No.: |  | File # |  |  | #NUM! | Determination of New MEPCY7
Acceptable: | [9 empty] | values for RCP-30-5A
Action taken if not linear: |  |  | By: |  |  | Date: |  | TABLE NO. 4 |  | 256 CH# | 104 CH# | New MEPCY7
[8 empty] | 105 MEAN CH# |  |  | 1 | 123.3309
[8 empty] | to 256 REL. CH# |  |  | 1 | 123.3309
[8 empty] | CONVERSION |  |  | 1 | 123.3309
[8 empty] | 105 CH# | 256 CH# |  | 1 | 123.3309
[9 empty] | #NUM! |  | 1 | 123.3309
[9 empty] | #NUM! |  | 1 | 123.3309
[9 empty] | #NUM! |  | 1 | 123.3309
[9 empty] | #NUM! |  | 1 | 123.3309
#NUM!
#NUM!
#NUM!
#NUM!
Note on J20: Use this Table to convert Beckman-Coulter 1024 Mean CH # to 256 Relative CH#
Note on J35: Use this Table to convert BD-FACS 104 Mean CH # to 256 Relative CH#
Note on J50: Use this Table to convert BD-FACS Canto 105 Mean CH # to 384 Relative CH#

## MEAP
TYPE THE NAME OF YOUR LAB HERE
| PMT LINEARITY QC RECORD | [12 empty] | Normalization Graph for Instrument B
[8 empty] | TABLE NO. 1 |  | CROSS CALIBRATION TABLE
| PEAK # | CH # | MEAP | MEAP LOG | CALC. | RESIDUAL | CALC. MEAP | 1024 REL. CH# |  | FOR UNKNOWN SAMPLES |  |  |  |  | PEAK # | CH # | MEAP | MEAP LOG | CALC. | RESIDUAL | CALC. MEAP | CROSS CALIBRATION TABLE
| 1 | 10.3276 |  |  | 1.5193 |  | 33.0593 | to 256 REL. CH# |  | Sample | CH# | Calc. | Calc. MEAP |  | 1 | 0 | 22.4102 | 1.3504 | #DIV/0! | #DIV/0! | #DIV/0! | FOR NORMALIZATION GRAPH
| 2 | 75.4913 | 373 | 2.5717 | 2.5847 | 0.5017% | 384.3053 | CONVERSION |  |  |  | 1.3504 | 22.4102 |  | 2 | 0 | 22.4102 | 1.3504 | #DIV/0! | #DIV/0! | #DIV/0! | Sample | CH# | Calc. | Calc. MEAP
| 3 | 102.1329 | 1079 | 3.033 | 3.0202 | 0.4229% | 1047.7272 | 1024 CH# | 256 CH# |  |  | 1.3504 | 22.4102 |  | 3 | 0 | 22.4102 | 1.3504 | #DIV/0! | #DIV/0! | #DIV/0! |  | 200 | #DIV/0! | #DIV/0!
| 4 | 135.0497 | 3633 | 3.5603 | 3.5584 | 0.05199% | 3617.5569 |  | 0 |  |  | 1.3504 | 22.4102 |  | 4 | 0 | 22.4102 | 1.3504 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
| 5 | 161.5937 | 9896 | 3.9955 | 3.9924 | 0.07684% | 9826.3434 |  | 0 |  |  | 1.3504 | 22.4102 |  | 5 | 0 | 22.4102 | 1.3504 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
| 6 | 189.6019 | 28189 | 4.4501 | 4.4503 | 0.005104% | 28203.748 |  | 0 |  |  | 1.3504 | 22.4102 |  | 6 | 0 | 22.4102 | 1.3504 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
| 7 | 217.3321 | 79831 | 4.9022 | 4.9037 | 0.03067% | 80107.9364 |  | 0 |  |  | 1.3504 | 22.4102 |  | 7 | 0 | 22.4102 | 1.3504 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
| 8 | 234.3552 | 151008 | 5.179 | 5.182 | 0.05775% | 152052.0636 |  | 0 |  |  | 1.3504 | 22.4102 |  | 8 | 0 | 22.4102 | 1.3504 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
|  |  |  | Ave Residual |  | 0.1639% |  |  | 0 |  |  | 1.3504 | 22.4102 |  |  |  |  | Ave Residual |  | #DIV/0! |  |  |  | #DIV/0! | #DIV/0!
[6 empty] | Slope: | 0.016349 |  | 0 |  |  | 1.3504 | 22.4102 | [6 empty] | Slope: | #DIV/0! |  |  | #DIV/0! | #DIV/0!
[6 empty] | Intercept: | 1.3504 |  | 0 |  |  | 1.3504 | 22.4102 | [6 empty] | Intercept: | #DIV/0! |  |  | #DIV/0! | #DIV/0!
[6 empty] | Rsq: | 0.99994 |  |  |  |  | 1.3504 | 22.4102 | [6 empty] | Rsq: | #DIV/0! |  |  | #DIV/0! | #DIV/0!
[12 empty] | 1.3504 | 22.4102 | [10 empty] | #DIV/0! | #DIV/0!
[8 empty] | TABLE NO. 2 | [15 empty] | #DIV/0! | #DIV/0!
[8 empty] | 1024 MEAN CH# |  | CONVERTED VALUES
[8 empty] | to 256 REL. CH# |  | CAN BE COPIED TO
[8 empty] | CONVERSION |  | THE CH# COLUMN BY
[8 empty] | 1024 CH# | 256 CH# | SELECTING THE CELLS
[9 empty] | #NUM! | TO BE COPIED; THEN,
[9 empty] | #NUM! | CLICKING [COPY],
[9 empty] | #NUM! | [PASTE SPECIAL], AND
[9 empty] | #NUM! | FINALLY [PASTE VALUE]
#NUM!
#NUM!
#NUM!
#NUM!
[8 empty] | TABLE NO. 3 |  | TABLE NO. 5
[8 empty] | 104 MEAN CH# |  | Determination of the
[8 empty] | to 256 REL. CH# |  | MEAP/CH# for the
[8 empty] | CONVERSION |  | normalization cell or particle
[8 empty] | 104 CH# | 256 CH# | 256 CH# | 104 CH# | Calc. MEAP | MEAP/CH#
[9 empty] | #NUM! | 0 | 1 | 22.4102 | 22.4102
[9 empty] | #NUM! | 0 | 1 | 22.4102 | 22.4102
[9 empty] | #NUM! | 0 | 1 | 22.4102 | 22.4102
[9 empty] | #NUM! | 0 | 1 | 22.4102 | 22.4102
[9 empty] | #NUM! | 0 | 1 | 22.4102 | 22.4102
#NUM!
[9 empty] | #NUM! | TABLE NO. 6
Rainbow Calibration Particles (RCP-30-5A) |  |  |  | Lot No.: |  | File # |  |  | #NUM! | Determination of New MEAP
Acceptable: | [9 empty] | values for RCP-30-5A
Action taken if not linear: |  |  | By: |  |  | Date: |  | TABLE NO. 4 |  | 256 CH# | 104 CH# | New MEAP
[8 empty] | 105 MEAN CH# |  |  | 1 | 22.4102
[8 empty] | to 256 REL. CH# |  |  | 1 | 22.4102
[8 empty] | CONVERSION |  |  | 1 | 22.4102
[8 empty] | 105 CH# | 256 CH# |  | 1 | 22.4102
[9 empty] | #NUM! |  | 1 | 22.4102
[9 empty] | #NUM! |  | 1 | 22.4102
[9 empty] | #NUM! |  | 1 | 22.4102
[9 empty] | #NUM! |  | 1 | 22.4102
#NUM!
#NUM!
#NUM!
#NUM!
Note on J20: Use this Table to convert Beckman-Coulter 1024 Mean CH # to 256 Relative CH#
Note on J35: Use this Table to convert BD-FACS 104 Mean CH # to 256 Relative CH#
Note on J50: Use this Table to convert BD-FACS Canto 105 Mean CH # to 384 Relative CH#

## MEAPCY7
TYPE THE NAME OF YOUR LAB HERE
| PMT LINEARITY QC RECORD | [12 empty] | Normalization Graph for Instrument B
[8 empty] | TABLE NO. 1 |  | CROSS CALIBRATION TABLE
| PEAK # | CH # | MEAPCY7 | MEAPCY7 LOG | CALC. | RESIDUAL | CALC. MEAPCY7 | 1024 REL. CH# |  | FOR UNKNOWN SAMPLES |  |  |  |  | PEAK # | CH # | MEAPCY7 | MEAPCY7 LOG | CALC. | RESIDUAL | CALC. MEAPCY7 | CROSS CALIBRATION TABLE
| 1 | [6 empty] | to 256 REL. CH# |  | Sample | CH# | Calc. | Calc. MEAPCY7 |  | 1 | 0 | 78.0905 | 1.8926 | #DIV/0! | #DIV/0! | #DIV/0! | FOR NORMALIZATION GRAPH
| 2 | [6 empty] | CONVERSION |  |  |  | 1.8926 | 78.0905 |  | 2 | 0 | 78.0905 | 1.8926 | #DIV/0! | #DIV/0! | #DIV/0! | Sample | CH# | Calc. | Calc. MEAPCY7
| 3 | [6 empty] | 1024 CH# | 256 CH# |  |  | 1.8926 | 78.0905 |  | 3 | 0 | 78.0905 | 1.8926 | #DIV/0! | #DIV/0! | #DIV/0! |  | 200 | #DIV/0! | #DIV/0!
| 4 | [7 empty] | 0 |  |  | 1.8926 | 78.0905 |  | 4 | 0 | 78.0905 | 1.8926 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
| 5 | 115.43 | 2863.8653 | 3.457 | 3.457 | 0% | 2863.8653 |  | 0 |  |  | 1.8926 | 78.0905 |  | 5 | 0 | 78.0905 | 1.8926 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
| 6 | 146.8924 | 7644.4005 | 3.8833 | 3.8833 | 1.144e-14% | 7644.4005 |  | 0 |  |  | 1.8926 | 78.0905 |  | 6 | 0 | 78.0905 | 1.8926 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
| 7 | 176.2058 | 19081.4268 | 4.2806 | 4.2806 | 0% | 19081.4268 |  | 0 |  |  | 1.8926 | 78.0905 |  | 7 | 0 | 78.0905 | 1.8926 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
| 8 | 197.6489 | 37257.7414 | 4.5712 | 4.5712 | 1.943e-14% | 37257.7414 |  | 0 |  |  | 1.8926 | 78.0905 |  | 8 | 0 | 78.0905 | 1.8926 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
|  |  |  | Ave Residual |  | 7.716e-15% |  |  | 0 |  |  | 1.8926 | 78.0905 |  |  |  |  | Ave Residual |  | #DIV/0! |  |  |  | #DIV/0! | #DIV/0!
[6 empty] | Slope: | 0.013552 |  | 0 |  |  | 1.8926 | 78.0905 | [6 empty] | Slope: | #DIV/0! |  |  | #DIV/0! | #DIV/0!
[6 empty] | Intercept: | 1.8926 |  | 0 |  |  | 1.8926 | 78.0905 | [6 empty] | Intercept: | #DIV/0! |  |  | #DIV/0! | #DIV/0!
[6 empty] | Rsq: | 1 |  |  |  |  | 1.8926 | 78.0905 | [6 empty] | Rsq: | #DIV/0! |  |  | #DIV/0! | #DIV/0!
[12 empty] | 1.8926 | 78.0905 | [10 empty] | #DIV/0! | #DIV/0!
[8 empty] | TABLE NO. 2 | [15 empty] | #DIV/0! | #DIV/0!
[8 empty] | 1024 MEAN CH# |  | CONVERTED VALUES
[8 empty] | to 256 REL. CH# |  | CAN BE COPIED TO
[8 empty] | CONVERSION |  | THE CH# COLUMN BY
[8 empty] | 1024 CH# | 256 CH# | SELECTING THE CELLS
[9 empty] | #NUM! | TO BE COPIED; THEN,
[9 empty] | #NUM! | CLICKING [COPY],
[9 empty] | #NUM! | [PASTE SPECIAL], AND
[9 empty] | #NUM! | FINALLY [PASTE VALUE]
#NUM!
#NUM!
#NUM!
#NUM!
[8 empty] | TABLE NO. 3 |  | TABLE NO. 5
[8 empty] | 104 MEAN CH# |  | Determination of the
[8 empty] | to 256 REL. CH# |  | MEAPCY7/CH# for the
[8 empty] | CONVERSION |  | normalization cell or particle
[8 empty] | 104 CH# | 256 CH# | 256 CH# | 104 CH# | Calc. MEAPCY7 | MEAPCY7/CH#
[8 empty] | 63.62 | 115.43 | 0 | 1 | 78.0905 | 78.0905
[8 empty] | 197.33 | 146.8924 | 0 | 1 | 78.0905 | 78.0905
[8 empty] | 566.52 | 176.2058 | 0 | 1 | 78.0905 | 78.0905
[8 empty] | 1225.36 | 197.6489 | 0 | 1 | 78.0905 | 78.0905
[9 empty] | #NUM! | 0 | 1 | 78.0905 | 78.0905
#NUM!
[9 empty] | #NUM! | TABLE NO. 6
Rainbow Calibration Particles (RCP-30-5A) |  |  |  | Lot No.: |  | File # |  |  | #NUM! | Determination of New MEAPCY7
Acceptable: | [9 empty] | values for RCP-30-5A
Action taken if not linear: |  |  | By: |  |  | Date: |  | TABLE NO. 4 |  | 256 CH# | 104 CH# | New MEAPCY7
[8 empty] | 105 MEAN CH# |  |  | 1 | 78.0905
[8 empty] | to 256 REL. CH# |  |  | 1 | 78.0905
[8 empty] | CONVERSION |  |  | 1 | 78.0905
[8 empty] | 105 CH# | 256 CH# |  | 1 | 78.0905
[9 empty] | #NUM! |  | 1 | 78.0905
[9 empty] | #NUM! |  | 1 | 78.0905
[9 empty] | #NUM! |  | 1 | 78.0905
[9 empty] | #NUM! |  | 1 | 78.0905
#NUM!
#NUM!
#NUM!
#NUM!
Note on J20: Use this Table to convert Beckman-Coulter 1024 Mean CH # to 256 Relative CH#
Note on J35: Use this Table to convert BD-FACS 104 Mean CH # to 256 Relative CH#
Note on J50: Use this Table to convert BD-FACS Canto 105 Mean CH # to 384 Relative CH#