## MECSB
TYPE THE NAME OF YOUR LAB HERE
PMT LINEARITY QC RECORD
[8 empty] | TABLE NO. 1 |  | CROSS CALIBRATION TABLE
1024 REL. CH#
| PEAK # | CH # | MECSB | MECSB LOG | CALC. | RESIDUAL | CALC. MECSB | to 256 REL. CH# |  | CH# | Calc. | Calc. MECSB
| 1 | 137.5885 |  |  | 2.6079 |  | 405.4439 | CONVERSION |  |  | -0.19083 | 0.64442
| 2 | 150.7675 | 751.6438 | 2.876 | 2.876 | 0% | 751.6438 | 1024 CH# | 256 CH# |  | -0.19083 | 0.64442
| 3 | 170.7965 | 1920.5765 | 3.2834 | 3.2834 | 0% | 1920.5765 |  | 0 |  | -0.19083 | 0.64442
| 4 | 192.3873 | 5279.8483 | 3.7226 | 3.7226 | 0% | 5279.8483 |  | 0 |  | -0.19083 | 0.64442
| 5 | 218.1489 | 17646.2347 | 4.2467 | 4.2467 | 0% | 17646.2347 |  | 0 |  | -0.19083 | 0.64442
| 6 | 238.7558 | 46326.3119 | 4.6658 | 4.6658 | 0% | 46326.3119 |  | 0 |  | -0.19083 | 0.64442
|  |  |  | AVE. RESIDUAL |  | 0% |  |  | 0 |  | -0.19083 | 0.64442
[6 empty] | 0.020342 | SLOPE |  | 0 |  | -0.19083 | 0.64442
[6 empty] | -0.19083 | INTERCEPT |  |  |  | -0.19083 | 0.64442
[6 empty] | 1 | RSQ |  |  |  | -0.19083 | 0.64442
[8 empty] | TABLE NO. 2 |  |  | -0.19083 | 0.64442
[8 empty] | 1024 MEAN CH# |  |  | -0.19083 | 0.64442
to 256 REL. CH#
CONVERSION
[8 empty] | 1024 CH# | 256 CH#
[9 empty] | #VALUE! | CONVERTED VALUES
[9 empty] | #VALUE! | CAN BE COPIED TO
[9 empty] | #VALUE! | THE CH# COLUMN BY
[9 empty] | #VALUE! | SELECTING THE CELLS
[9 empty] | #VALUE! | TO BE COPIED; THEN,
[9 empty] | #VALUE! | CLICKING [COPY],
[PASTE SPECIAL], AND
FINALLY [PASTE VALUES]
TABLE NO. 3
104 MEAN CH#
to 256 REL. CH#
CONVERSION
[8 empty] | 104 CH# | 256 CH#
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
TABLE NO. 4
105 MEAN CH#
to 256 REL. CH#
CONVERSION
[8 empty] | 105 CH# | 256 CH#
Rainbow Calibration Particles (RCP-60-5) |  |  |  | Lot No.: |  | File # |  | 1191 | 145.3221
[8 empty] | 2323 | 159.0297
Acceptable: |  |  | By: |  |  | Date: |  | 6091 | 178.8084
[8 empty] | 17598 | 200.5778
Action taken if not linear: | [7 empty] | 61285 | 226.1795
[8 empty] | 166930 | 246.7397
Note on J18: Use this Table to convert Beckman-Coulter 1024 Mean CH # to 256 Relative CH#
Note on J31: Use this Table to convert BD-FACS 104 Mean CH # to 256 Relative CH#
Note on J44: Use this Table to convert BD-FACS Canto 105 Mean CH # to 384 Relative CH#

## MEBFP
TYPE THE NAME OF YOUR LAB HERE
PMT LINEARITY QC RECORD
[8 empty] | TABLE NO. 1 |  | CROSS CALIBRATION TABLE
1024 REL. CH#
| PEAK # | CH # | MEBFP | MEBFP LOG | CALC. | RESIDUAL | CALC. MEBFP | to 256 REL. CH# |  | CH# | Calc. | Calc. MEBFP
| 1 | 121.1122 |  |  | 3.0346 |  | 1082.9436 | CONVERSION |  |  | 0.33934 | 2.1844
| 2 | 140.0915 | 2864.0329 | 3.457 | 3.457 | 0% | 2864.0329 | 1024 CH# | 256 CH# |  | 0.33934 | 2.1844
| 3 | 161.1906 | 8443.4965 | 3.9265 | 3.9265 | 0% | 8443.4965 |  | 0 |  | 0.33934 | 2.1844
| 4 | 183.3039 | 26220.2573 | 4.4186 | 4.4186 | 0% | 26220.2573 |  | 0 |  | 0.33934 | 2.1844
| 5 | 209.6197 | 100989.5547 | 5.0043 | 5.0043 | 0% | 100989.5547 |  | 0 |  | 0.33934 | 2.1844
| 6 | 231.0909 | 303460.4076 | 5.4821 | 5.4821 | 0% | 303460.4076 |  | 0 |  | 0.33934 | 2.1844
|  |  |  | AVE. RESIDUAL |  | 0% |  |  | 0 |  | 0.33934 | 2.1844
[6 empty] | 0.022254 | SLOPE |  | 0 |  | 0.33934 | 2.1844
[6 empty] | 0.33934 | INTERCEPT |  |  |  | 0.33934 | 2.1844
[6 empty] | 1 | RSQ |  |  |  | 0.33934 | 2.1844
[8 empty] | TABLE NO. 2 |  |  | 0.33934 | 2.1844
[8 empty] | 1024 MEAN CH# |  |  | 0.33934 | 2.1844
to 256 REL. CH#
CONVERSION
[8 empty] | 1024 CH# | 256 CH#
[9 empty] | #VALUE! | CONVERTED VALUES
[9 empty] | #VALUE! | CAN BE COPIED TO
[9 empty] | #VALUE! | THE CH# COLUMN BY
[9 empty] | #VALUE! | SELECTING THE CELLS
[9 empty] | #VALUE! | TO BE COPIED; THEN,
[9 empty] | #VALUE! | CLICKING [COPY],
[PASTE SPECIAL], AND
FINALLY [PASTE VALUES]
TABLE NO. 3
104 MEAN CH#
to 256 REL. CH#
CONVERSION
[8 empty] | 104 CH# | 256 CH#
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
TABLE NO. 4
105 MEAN CH#
to 256 REL. CH#
CONVERSION
[8 empty] | 105 CH# | 256 CH#
Rainbow Calibration Particles (RCP-60-5) |  |  |  | Lot No.: |  | File # |  | 747 | 135.7506
[8 empty] | 1958 | 155.5223
Acceptable: |  |  | By: |  |  | Date: |  | 5427 | 176.44
[8 empty] | 16074 | 198.7192
Action taken if not linear: | [7 empty] | 57491 | 224.8682
[8 empty] | 162546 | 246.1936
Note on J18: Use this Table to convert Beckman-Coulter 1024 Mean CH # to 256 Relative CH#
Note on J31: Use this Table to convert BD-FACS 104 Mean CH # to 256 Relative CH#
Note on J44: Use this Table to convert BD-FACS Canto 105 Mean CH # to 384 Relative CH#

## MEFL
TYPE THE NAME OF YOUR LAB HERE
PMT LINEARITY QC RECORD
[8 empty] | TABLE NO. 1 |  | CROSS CALIBRATION TABLE
1024 REL. CH#
| PEAK # | CH # | MEFL | MEFL LOG | CALC. | RESIDUAL | CALC. MEFL | to 256 REL. CH# |  | CH# | Calc. | Calc. MEFL
| 1 | 84.6819 |  |  | 2.3723 |  | 235.6438 | CONVERSION |  |  | 0.57533 | 3.7612
| 2 | 144.37 | 4353.3301 | 3.6388 | 3.6388 | 0% | 4353.3301 | 1024 CH# | 256 CH# |  | 0.57533 | 3.7612
| 3 | 168.1885 | 13939.3806 | 4.1442 | 4.1442 | 0% | 13939.3806 |  | 0 |  | 0.57533 | 3.7612
| 4 | 191.434 | 43401.6052 | 4.6375 | 4.6375 | 0% | 43401.6052 |  | 0 |  | 0.57533 | 3.7612
| 5 | 218.0123 | 159034.4931 | 5.2015 | 5.2015 | 0% | 159034.4931 |  | 0 |  | 0.57533 | 3.7612
| 6 | 234.7087 | 359570.843 | 5.5558 | 5.5558 | 0% | 359570.843 |  | 0 |  | 0.57533 | 3.7612
|  |  |  | AVE. RESIDUAL |  | 0% |  |  | 0 |  | 0.57533 | 3.7612
[6 empty] | 0.02122 | SLOPE |  | 0 |  | 0.57533 | 3.7612
[6 empty] | 0.57533 | INTERCEPT |  |  |  | 0.57533 | 3.7612
[6 empty] | 1 | RSQ |  |  |  | 0.57533 | 3.7612
[8 empty] | TABLE NO. 2 |  |  | 0.57533 | 3.7612
[8 empty] | 1024 MEAN CH# |  |  | 0.57533 | 3.7612
to 256 REL. CH#
CONVERSION
[8 empty] | 1024 CH# | 256 CH#
[9 empty] | #VALUE! | CONVERTED VALUES
[9 empty] | #VALUE! | CAN BE COPIED TO
[9 empty] | #VALUE! | THE CH# COLUMN BY
[9 empty] | #VALUE! | SELECTING THE CELLS
[9 empty] | #VALUE! | TO BE COPIED; THEN,
[9 empty] | #VALUE! | CLICKING [COPY],
[PASTE SPECIAL], AND
FINALLY [PASTE VALUES]
TABLE NO. 3
104 MEAN CH#
to 256 REL. CH#
CONVERSION
[8 empty] | 104 CH# | 256 CH#
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
TABLE NO. 4
105 MEAN CH#
to 256 REL. CH#
CONVERSION
[8 empty] | 105 CH# | 256 CH#
Rainbow Calibration Particles (RCP-60-5) |  |  |  | Lot No.: |  | File # |  | 109 | 96.2586
[8 empty] | 2163 | 157.5654
Acceptable: |  |  | By: |  |  | Date: |  | 6899 | 181.3642
[8 empty] | 21459 | 204.6478
Action taken if not linear: | [7 empty] | 77672 | 231.0415
[8 empty] | 174493 | 247.6488
Note on C6: RCP-30-5 Relative Channel Numbers obtained with your Instrument in 256 Channel Scale.
Note on J18: Use this Table to convert Beckman-Coulter 1024 Mean CH # to 256 Relative CH#
Note on J31: Use this Table to convert BD-FACS 104 Mean CH # to 256 Relative CH#
Note on J44: Use this Table to convert BD-FACS Canto 105 Mean CH # to 384 Relative CH#

## MEPE
TYPE THE NAME OF YOUR LAB HERE
PMT LINEARITY QC RECORD
[8 empty] | TABLE NO. 1 |  | CROSS CALIBRATION TABLE
1024 REL. CH#
| PEAK # | CH # | MEPE | MEPE LOG | CALC. | RESIDUAL | CALC. MEPE | to 256 REL. CH# |  | CH# | Calc. | Calc. MEPE
| 1 | 108.9168 |  |  | 2.7376 |  | 546.574 | CONVERSION |  |  | 0.27704 | 1.8925
| 2 | 142.7562 | 3177.8743 | 3.5021 | 3.5021 | 0% | 3177.8743 | 1024 CH# | 256 CH# |  | 0.27704 | 1.8925
| 3 | 164.4679 | 9831.9304 | 3.9926 | 3.9926 | 0% | 9831.9304 |  | 0 |  | 0.27704 | 1.8925
| 4 | 186.953 | 31667.5629 | 4.5006 | 4.5006 | 0% | 31667.5629 |  | 0 |  | 0.27704 | 1.8925
| 5 | 213.5365 | 126234.1838 | 5.1012 | 5.1012 | 0% | 126234.1838 |  | 0 |  | 0.27704 | 1.8925
| 6 | 230.4465 | 304230.6318 | 5.4832 | 5.4832 | 0% | 304230.6318 |  | 0 |  | 0.27704 | 1.8925
|  |  |  | AVE. RESIDUAL |  | 0% |  |  | 0 |  | 0.27704 | 1.8925
[6 empty] | 0.022592 | SLOPE |  | 0 |  | 0.27704 | 1.8925
[6 empty] | 0.27704 | INTERCEPT |  |  |  | 0.27704 | 1.8925
[6 empty] | 1 | RSQ |  |  |  | 0.27704 | 1.8925
[8 empty] | TABLE NO. 2 |  |  | 0.27704 | 1.8925
[8 empty] | 1024 MEAN CH# |  |  | 0.27704 | 1.8925
to 256 REL. CH#
CONVERSION
[8 empty] | 1024 CH# | 256 CH#
[9 empty] | #VALUE! | CONVERTED VALUES
[9 empty] | #VALUE! | CAN BE COPIED TO
[9 empty] | #VALUE! | THE CH# COLUMN BY
[9 empty] | #VALUE! | SELECTING THE CELLS
[9 empty] | #VALUE! | TO BE COPIED; THEN,
[9 empty] | #VALUE! | CLICKING [COPY],
[PASTE SPECIAL], AND
FINALLY [PASTE VALUES]
TABLE NO. 3
104 MEAN CH#
to 256 REL. CH#
CONVERSION
[8 empty] | 104 CH# | 256 CH#
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
TABLE NO. 4
105 MEAN CH#
to 256 REL. CH#
CONVERSION
[8 empty] | 105 CH# | 256 CH#
Rainbow Calibration Particles (RCP-60-5) |  |  |  | Lot No.: |  | File # |  | 461 | 125.8471
[8 empty] | 2654 | 161.7629
Acceptable: |  |  | By: |  |  | Date: |  | 7729 | 183.6952
[8 empty] | 23256 | 206.2978
Action taken if not linear: | [7 empty] | 85021 | 232.8964
[8 empty] | 192574 | 249.6719
Note on C6: RCP-30-5 Relative Channel Numbers obtained with your Instrument in 256 Channel Scale.
Note on J18: Use this Table to convert Beckman-Coulter 1024 Mean CH # to 256 Relative CH#
Note on J31: Use this Table to convert BD-FACS 104 Mean CH # to 256 Relative CH#
Note on J44: Use this Table to convert BD-FACS Canto 105 Mean CH # to 384 Relative CH#

## MEPTR
TYPE THE NAME OF YOUR LAB HERE
PMT LINEARITY QC RECORD
[8 empty] | TABLE NO. 1 |  | CROSS CALIBRATION TABLE
1024 REL. CH#
| PEAK # | CH # | MEPTR | MEPTR LOG | CALC. | RESIDUAL | CALC. MEPTR | to 256 REL. CH# |  | CH# | Calc. | Calc. MEPTR
| 1 | 124.0334 |  |  | 2.0364 |  | 108.733 | CONVERSION |  |  | -0.92344 | 0.11928
| 2 | 168.4636 | 1249.1017 | 3.0966 | 3.0966 | 0% | 1249.1017 | 1024 CH# | 256 CH# |  | -0.92344 | 0.11928
| 3 | 191.5881 | 4450.5852 | 3.6484 | 3.6484 | 0% | 4450.5852 |  | 0 |  | -0.92344 | 0.11928
| 4 | 214.3491 | 15543.9428 | 4.1916 | 4.1916 | 0% | 15543.9428 |  | 0 |  | -0.92344 | 0.11928
| 5 | 241.1538 | 67795.5145 | 4.8312 | 4.8312 | 0% | 67795.5145 |  | 0 |  | -0.92344 | 0.11928
| 6 | 255.5301 | 149369.7239 | 5.1743 | 5.1743 | 0% | 149369.7239 |  | 0 |  | -0.92344 | 0.11928
|  |  |  | AVE. RESIDUAL |  | 0% |  |  | 0 |  | -0.92344 | 0.11928
[6 empty] | 0.023863 | SLOPE |  | 0 |  | -0.92344 | 0.11928
[6 empty] | -0.92344 | INTERCEPT |  |  |  | -0.92344 | 0.11928
[6 empty] | 1 | RSQ |  |  |  | -0.92344 | 0.11928
[8 empty] | TABLE NO. 2 |  |  | -0.92344 | 0.11928
[8 empty] | 1024 MEAN CH# |  |  | -0.92344 | 0.11928
to 256 REL. CH#
CONVERSION
[8 empty] | 1024 CH# | 256 CH#
[9 empty] | #VALUE! | CONVERTED VALUES
[9 empty] | #VALUE! | CAN BE COPIED TO
[9 empty] | #VALUE! | THE CH# COLUMN BY
[9 empty] | #VALUE! | SELECTING THE CELLS
[9 empty] | #VALUE! | TO BE COPIED; THEN,
[9 empty] | #VALUE! | CLICKING [COPY],
[PASTE SPECIAL], AND
FINALLY [PASTE VALUES]
TABLE NO. 3
104 MEAN CH#
to 256 REL. CH#
CONVERSION
[8 empty] | 104 CH# | 256 CH#
TABLE NO. 4
105 MEAN CH#
to 256 REL. CH#
CONVERSION
[8 empty] | 105 CH# | 256 CH#
Rainbow Calibration Particles (RCP-60-5) |  |  |  | Lot No.: |  | File # |  | 43 | 77.1735
[8 empty] | 1920 | 155.1202
Acceptable: |  |  | By: |  |  | Date: |  | 6281 | 179.4386
[8 empty] | 19532 | 202.7172
Action taken if not linear: | [7 empty] | 72548 | 229.6412
[8 empty] | 170830 | 247.2135
Note on C6: RCP-30-5 Relative Channel Numbers obtained with your Instrument in 256 Channel Scale.
Note on J18: Use this Table to convert Beckman-Coulter 1024 Mean CH # to 256 Relative CH#
Note on J31: Use this Table to convert BD-FACS 104 Mean CH # to 256 Relative CH#
Note on J44: Use this Table to convert BD-FACS Canto 105 Mean CH # to 384 Relative CH#

## MEPCY
TYPE THE NAME OF YOUR LAB HERE
PMT LINEARITY QC RECORD
[8 empty] | TABLE NO. 1 |  | CROSS CALIBRATION TABLE
1024 REL. CH#
| PEAK # | CH # | MEPCY | MEPCY LOG | CALC. | RESIDUAL | CALC. MEPCY | to 256 REL. CH# |  | CH# | Calc. | Calc. MEPCY
| 1 | 89.6538 | 15.815 |  | 2.8108 |  | 646.8562 | CONVERSION |  |  | 0.80715 | 6.4143
| 2 | 129.7285 | 5086.6431 | 3.7064 | 3.7064 | 0% | 5086.6431 | 1024 CH# | 256 CH# |  | 0.80715 | 6.4143
| 3 | 152.6353 | 16533.7623 | 4.2184 | 4.2184 | 0% | 16533.7623 |  | 0 |  | 0.80715 | 6.4143
| 4 | 175.3651 | 53254.5341 | 4.7264 | 4.7264 | 0% | 53254.5341 |  | 0 |  | 0.80715 | 6.4143
| 5 | 202.3526 | 213548.5144 | 5.3295 | 5.3295 | 0% | 213548.5144 |  | 0 |  | 0.80715 | 6.4143
| 6 | 220.212 | 535345.7664 | 5.7286 | 5.7286 | 0% | 535345.7664 |  | 0 |  | 0.80715 | 6.4143
|  |  |  | AVE. RESIDUAL |  | 0% |  |  | 0 |  | 0.80715 | 6.4143
[6 empty] | 0.022349 | SLOPE |  | 0 |  | 0.80715 | 6.4143
[6 empty] | 0.80715 | INTERCEPT |  |  |  | 0.80715 | 6.4143
[6 empty] | 1 | RSQ |  |  |  | 0.80715 | 6.4143
[8 empty] | TABLE NO. 2 |  |  | 0.80715 | 6.4143
[8 empty] | 1024 MEAN CH# |  |  | 0.80715 | 6.4143
to 256 REL. CH#
CONVERSION
[8 empty] | 1024 CH# | 256 CH#
[9 empty] | #VALUE! | CONVERTED VALUES
[9 empty] | #VALUE! | CAN BE COPIED TO
[9 empty] | #VALUE! | THE CH# COLUMN BY
[9 empty] | #VALUE! | SELECTING THE CELLS
[9 empty] | #VALUE! | TO BE COPIED; THEN,
[9 empty] | #VALUE! | CLICKING [COPY],
[PASTE SPECIAL], AND
FINALLY [PASTE VALUES]
TABLE NO. 3
104 MEAN CH#
to 256 REL. CH#
CONVERSION
[8 empty] | 104 CH# | 256 CH#
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
TABLE NO. 4
105 MEAN CH#
to 256 REL. CH#
CONVERSION
[8 empty] | 105 CH# | 256 CH#
Rainbow Calibration Particles (RCP-60-5) |  |  |  | Lot No.: |  | File # |  | 57 | 82.9567
[8 empty] | 1057 | 142.873
Acceptable: |  |  | By: |  |  | Date: |  | 3433 | 167.0436
[8 empty] | 10677 | 190.3249
Action taken if not linear: | [7 empty] | 39799 | 217.3219
[8 empty] | 95408 | 235.2615
Note on C6: RCP-30-5 Relative Channel Numbers obtained with your Instrument in 256 Channel Scale.
Note on J18: Use this Table to convert Beckman-Coulter 1024 Mean CH # to 256 Relative CH#
Note on J31: Use this Table to convert BD-FACS 104 Mean CH # to 256 Relative CH#
Note on J44: Use this Table to convert BD-FACS Canto 105 Mean CH # to 384 Relative CH#