## MEBV421
TYPE THE NAME OF YOUR LAB HERE
| PMT LINEARITY QC RECORD | [12 empty] | Normalization Graph for Instrument B
[8 empty] | TABLE NO. 1 |  | CROSS CALIBRATION TABLE
| PEAK # | CH # | MEBV421 | MEBV421 LOG | CALC. | RESIDUAL | CALC. MEBV421 | 1024 REL. CH# |  | FOR UNKNOWN SAMPLES |  |  |  |  | PEAK # | CH # | MEBV421 | MEBV421 LOG | CALC. | RESIDUAL | CALC. MEBV421 | CROSS CALIBRATION TABLE
| 1 | 102.6726 |  |  | 2.3632 |  | 230.7968 | to 256 REL. CH# |  | Sample | CH# | Calc. | Calc. MEBV421 |  | 1 | 0 | 3.1968 | 0.50472 | #DIV/0! | #DIV/0! | #DIV/0! | FOR NORMALIZATION GRAPH
| 2 | 123.6407 | 553.0698 | 2.7428 | 2.7428 | 1.619e-14% | 553.0698 | CONVERSION |  |  |  | 0.50472 | 3.1968 |  | 2 | 0 | 3.1968 | 0.50472 | #DIV/0! | #DIV/0! | #DIV/0! | Sample | CH# | Calc. | Calc. MEBV421
| 3 | 161.5765 | 2688.24 | 3.4295 | 3.4295 | 1.295e-14% | 2688.24 | 1024 CH# | 256 CH# |  |  | 0.50472 | 3.1968 |  | 3 | 0 | 3.1968 | 0.50472 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
| 4 | 181.6507 | 6206.3717 | 3.7928 | 3.7928 | 0% | 6206.3717 |  | 0 |  |  | 0.50472 | 3.1968 |  | 4 | 0 | 3.1968 | 0.50472 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
| 5 | 203.1691 | 15217.7387 | 4.1824 | 4.1824 | 2.124e-14% | 15217.7387 |  | 0 |  |  | 0.50472 | 3.1968 |  | 5 | 0 | 3.1968 | 0.50472 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
| 6 | 220.9854 | 31977.7924 | 4.5048 | 4.5048 | 0% | 31977.7924 |  | 0 |  |  | 0.50472 | 3.1968 |  | 6 | 0 | 3.1968 | 0.50472 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
|  |  |  | Ave Residual |  | 1.008e-14% |  |  | 0 |  |  | 0.50472 | 3.1968 |  |  |  |  | Ave Residual |  | #DIV/0! |  |  |  | #DIV/0! | #DIV/0!
[6 empty] | Slope: | 0.018101 |  | 0 |  |  | 0.50472 | 3.1968 | [6 empty] | Slope: | #DIV/0! |  |  | #DIV/0! | #DIV/0!
[6 empty] | Intercept: | 0.50472 |  | 0 |  |  | 0.50472 | 3.1968 | [6 empty] | Intercept: | #DIV/0! |  |  | #DIV/0! | #DIV/0!
[6 empty] | Rsq: | 1 |  | 0 |  |  | 0.50472 | 3.1968 | [6 empty] | Rsq: | #DIV/0! |  |  | #DIV/0! | #DIV/0!
[9 empty] | 0 |  |  | 0.50472 | 3.1968 | [10 empty] | #DIV/0! | #DIV/0!
[12 empty] | 0.50472 | 3.1968 | [10 empty] | #DIV/0! | #DIV/0!
[12 empty] | 0.50472 | 3.1968 | [10 empty] | #DIV/0! | #DIV/0!
[8 empty] | TABLE NO. 2 | [15 empty] | #DIV/0! | #DIV/0!
[8 empty] | 1024 MEAN CH# |  | CONVERTED VALUES
[8 empty] | to 256 REL. CH# |  | CAN BE COPIED TO
[8 empty] | CONVERSION |  | THE CH# COLUMN BY
[8 empty] | 1024 CH# | 256 CH# | SELECTING THE CELLS
[9 empty] | #NUM! | TO BE COPIED; THEN,
[9 empty] | #NUM! | CLICKING [COPY],
[9 empty] | #NUM! | [PASTE SPECIAL], AND
[9 empty] | #NUM! | FINALLY [PASTE VALUE]
#NUM!
#NUM!
#NUM!
#NUM!
[8 empty] | TABLE NO. 3 |  | TABLE NO. 5
[8 empty] | 104 MEAN CH# |  | Determination of the
[8 empty] | to 256 REL. CH# |  | MEBV421/CH# for the
[8 empty] | CONVERSION |  | normalization cell or particle
[8 empty] | 104 CH# | 256 CH# | 256 CH# | 104 CH# | Calc. MEBV421 | MEBV421/CH#
[9 empty] | #NUM! | 0 | 1 | 3.1968 | 3.1968
[9 empty] | #NUM! | 0 | 1 | 3.1968 | 3.1968
[9 empty] | #NUM! | 0 | 1 | 3.1968 | 3.1968
[9 empty] | #NUM! | 0 | 1 | 3.1968 | 3.1968
[9 empty] | #NUM! | 0 | 1 | 3.1968 | 3.1968
|  |  |  | Lot No.: |  | File # |  |  | #NUM!
Ultra Rainbow Calibration Particles (URCP-50-2K) |  |  |  | Lot No.: |  | File # |  |  | #NUM! | TABLE NO. 6
[9 empty] | #NUM! | Determination of New MEBV421
Acceptable: |  |  | By: |  |  | Date: |  |  |  | values for URCP-38-2K
Action taken if not linear: | [7 empty] | TABLE NO. 4 |  | 256 CH# | 104 CH# | New MEBV421
[8 empty] | 105 MEAN CH# |  |  | 1 | 3.1968
[8 empty] | to 256 REL. CH# |  |  | 1 | 3.1968
[8 empty] | CONVERSION |  |  | 1 | 3.1968
[8 empty] | 105 CH# | 256 CH# |  | 1 | 3.1968
[9 empty] | #NUM! |  | 1 | 3.1968
[9 empty] | #NUM! |  | 1 | 3.1968
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
Note on J20: Use this Table to convert Beckman-Coulter 1024 Mean CH # to 256 Relative CH#
Note on J35: Use this Table to convert BD-FACS 104 Mean CH # to 256 Relative CH#
Note on J50: Use this Table to convert BD-FACS Canto 105 Mean CH # to 3846 Relative CH#

## MEBV510
TYPE THE NAME OF YOUR LAB HERE
| PMT LINEARITY QC RECORD | [12 empty] | Normalization Graph for Instrument B
[8 empty] | TABLE NO. 1 |  | CROSS CALIBRATION TABLE
| PEAK # | CH # | MEBV510 | MEBV510 LOG | CALC. | RESIDUAL | CALC. MEBV510 | 1024 REL. CH# |  | FOR UNKNOWN SAMPLES |  |  |  | PEAK # | CH # | MEBV510 | MEBV510 LOG | CALC. | RESIDUAL | CALC. MEBV510 | CROSS CALIBRATION TABLE
| 1 | 118.863 |  |  | 3.1525 |  | 1420.5471 | to 256 REL. CH# |  | Sample | CH# | Calc. | Calc. MEBV510 | 1 | 0 | 8.3848 | 0.9235 | #DIV/0! | #DIV/0! | #DIV/0! | FOR NORMALIZATION GRAPH
| 2 | 111.3109 | 1025.2669 | 3.0108 | 3.0108 | 1.475e-14% | 1025.2669 | CONVERSION |  |  |  | 0.9235 | 8.3848 | 2 | 0 | 8.3848 | 0.9235 | #DIV/0! | #DIV/0! | #DIV/0! | Sample | CH# | Calc. | Calc. MEBV510
| 3 | 144.9571 | 4383.0992 | 3.6418 | 3.6418 | 0% | 4383.0992 | 1024 CH# | 256 CH# |  |  | 0.9235 | 8.3848 | 3 | 0 | 8.3848 | 0.9235 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
| 4 | 173.537 | 15056.425 | 4.1777 | 4.1777 | 2.126e-14% | 15056.425 |  | 0 |  |  | 0.9235 | 8.3848 | 4 | 0 | 8.3848 | 0.9235 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
| 5 | 195.579 | 38999.7689 | 4.5911 | 4.5911 | 0% | 38999.7689 |  | 0 |  |  | 0.9235 | 8.3848 | 5 | 0 | 8.3848 | 0.9235 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
| 6 | 213.1636 | 83332.4222 | 4.9208 | 4.9208 | 0% | 83332.4222 |  | 0 |  |  | 0.9235 | 8.3848 | 6 | 0 | 8.3848 | 0.9235 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
|  |  |  | Ave Residual |  | 7.202e-15% |  |  | 0 |  |  | 0.9235 | 8.3848 |  |  |  | Ave Residual |  | #DIV/0! |  |  |  | #DIV/0! | #DIV/0!
[6 empty] | Slope: | 0.018752 |  | 0 |  |  | 0.9235 | 8.3848 | [5 empty] | Slope: | #DIV/0! |  |  | #DIV/0! | #DIV/0!
[6 empty] | Intercept: | 0.9235 |  | 0 |  |  | 0.9235 | 8.3848 | [5 empty] | Intercept: | #DIV/0! |  |  | #DIV/0! | #DIV/0!
[6 empty] | Rsq: | 1 |  | 0 |  |  | 0.9235 | 8.3848 | [5 empty] | Rsq: | #DIV/0! |  |  | #DIV/0! | #DIV/0!
[9 empty] | 0 |  |  | 0.9235 | 8.3848 | [9 empty] | #DIV/0! | #DIV/0!
[12 empty] | 0.9235 | 8.3848 | [9 empty] | #DIV/0! | #DIV/0!
[12 empty] | 0.9235 | 8.3848 | [9 empty] | #DIV/0! | #DIV/0!
[7 empty] | 21 | TABLE NO. 2 | [14 empty] | #DIV/0! | #DIV/0!
[7 empty] | 56.5 | 1024 MEAN CH# |  | CONVERTED VALUES | [9 empty] | 21
[8 empty] | to 256 REL. CH# |  | CAN BE COPIED TO | [9 empty] | 56.5
[8 empty] | CONVERSION |  | THE CH# COLUMN BY
[8 empty] | 1024 CH# | 256 CH# | SELECTING THE CELLS
[9 empty] | #NUM! | TO BE COPIED; THEN,
[9 empty] | #NUM! | CLICKING [COPY],
[9 empty] | #NUM! | [PASTE SPECIAL], AND
[9 empty] | #NUM! | FINALLY [PASTE VALUE]
#NUM!
#NUM!
#NUM!
#NUM!
[8 empty] | TABLE NO. 3 |  | TABLE NO. 5
[8 empty] | 104 MEAN CH# |  | Determination of the
[8 empty] | to 256 REL. CH# |  | MEBV510/CH# for the
[8 empty] | CONVERSION |  | normalization cell or particle
[8 empty] | 104 CH# | 256 CH# | 256 CH# | 104 CH# | Calc. MEBV510 | MEBV510/CH#
[9 empty] | #NUM! | 0 | 1 | 8.3848 | 8.3848
[9 empty] | #NUM! | 0 | 1 | 8.3848 | 8.3848
[9 empty] | #NUM! | 0 | 1 | 8.3848 | 8.3848
[9 empty] | #NUM! | 0 | 1 | 8.3848 | 8.3848
[9 empty] | #NUM! | 0 | 1 | 8.3848 | 8.3848
|  |  |  | Lot No.: |  | File # |  |  | #NUM!
Ultra Rainbow Calibration Particles (URCP-50-2K) |  |  |  | Lot No.: |  | File # |  |  | #NUM! | TABLE NO. 6
[9 empty] | #NUM! | Determination of New MEBV510
Acceptable: |  |  | By: |  |  | Date: |  |  |  | values for URCP-38-2K
Action taken if not linear: | [7 empty] | TABLE NO. 4 |  | 256 CH# | 104 CH# | New MEBV510
[8 empty] | 105 MEAN CH# |  |  | 1 | 8.3848
[8 empty] | to 256 REL. CH# |  |  | 1 | 8.3848
[8 empty] | CONVERSION |  |  | 1 | 8.3848
[8 empty] | 105 CH# | 256 CH# |  | 1 | 8.3848
[9 empty] | #NUM! |  | 1 | 8.3848
[9 empty] | #NUM! |  | 1 | 8.3848
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
Note on J20: Use this Table to convert Beckman-Coulter 1024 Mean CH # to 256 Relative CH#
Note on J35: Use this Table to convert BD-FACS 104 Mean CH # to 256 Relative CH#
Note on T5: RCP-30-5 Relative Channel Numbers obtained with your Instrument in 256 Channel Scale.
Note on J50: Use this Table to convert BD-FACS Canto 105 Mean CH # to 384 Relative CH#

## MEBV605
TYPE THE NAME OF YOUR LAB HERE
| PMT LINEARITY QC RECORD | [12 empty] | Normalization Graph for Instrument B
[8 empty] | TABLE NO. 1 |  | CROSS CALIBRATION TABLE
| PEAK # | CH # | MEBV605 | MEBV605 LOG | CALC. | RESIDUAL | CALC. MEBV605 | 1024 REL. CH# |  | FOR UNKNOWN SAMPLES |  |  |  | PEAK # | CH # | MEBV605 | MEBV605 LOG | CALC. | RESIDUAL | CALC. MEBV605 | CROSS CALIBRATION TABLE
| 1 | 84.3483 |  |  | 1.6918 |  | 49.1811 | to 256 REL. CH# |  | Sample | CH# | Calc. | Calc. MEBV605 | 1 | 0 | 1.7064 | 0.23207 | #DIV/0! | #DIV/0! | #DIV/0! | FOR NORMALIZATION GRAPH
| 2 | 151.3279 | 709.4882 | 2.8509 | 2.8509 | 1.558e-14% | 709.4882 | CONVERSION |  |  |  | 0.23207 | 1.7064 | 2 | 0 | 1.7064 | 0.23207 | #DIV/0! | #DIV/0! | #DIV/0! | Sample | CH# | Calc. | Calc. MEBV605
| 3 | 193.4771 | 3805.191 | 3.5804 | 3.5804 | 1.24e-14% | 3805.191 | 1024 CH# | 256 CH# |  |  | 0.23207 | 1.7064 | 3 | 0 | 1.7064 | 0.23207 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
| 4 | 215.0232 | 8979.5062 | 3.9533 | 3.9533 | 0% | 8979.5062 |  | 0 |  |  | 0.23207 | 1.7064 | 4 | 0 | 1.7064 | 0.23207 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
| 5 | 242.0399 | 26351.2615 | 4.4208 | 4.4208 | 0% | 26351.2615 |  | 0 |  |  | 0.23207 | 1.7064 | 5 | 0 | 1.7064 | 0.23207 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
| 6 | 255.9818 | 45928.1494 | 4.6621 | 4.6621 | 1.905e-14% | 45928.1494 |  | 0 |  |  | 0.23207 | 1.7064 | 6 | 0 | 1.7064 | 0.23207 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
|  |  |  | Ave Residual |  | 9.406e-15% |  |  | 0 |  |  | 0.23207 | 1.7064 |  |  |  | Ave Residual |  | #DIV/0! |  |  |  | #DIV/0! | #DIV/0!
[6 empty] | Slope: | 0.017306 |  | 0 |  |  | 0.23207 | 1.7064 | [5 empty] | Slope: | #DIV/0! |  |  | #DIV/0! | #DIV/0!
[6 empty] | Intercept: | 0.23207 |  | 0 |  |  | 0.23207 | 1.7064 | [5 empty] | Intercept: | #DIV/0! |  |  | #DIV/0! | #DIV/0!
[6 empty] | Rsq: | 1 |  | 0 |  |  | 0.23207 | 1.7064 | [5 empty] | Rsq: | #DIV/0! |  |  | #DIV/0! | #DIV/0!
[9 empty] | 0 |  |  | 0.23207 | 1.7064 | [9 empty] | #DIV/0! | #DIV/0!
[12 empty] | 0.23207 | 1.7064 | [9 empty] | #DIV/0! | #DIV/0!
[12 empty] | 0.23207 | 1.7064 | [9 empty] | #DIV/0! | #DIV/0!
[7 empty] | 21 | TABLE NO. 2 | [14 empty] | #DIV/0! | #DIV/0!
[7 empty] | 56.5 | 1024 MEAN CH# |  | CONVERTED VALUES | [9 empty] | 21
[8 empty] | to 256 REL. CH# |  | CAN BE COPIED TO | [9 empty] | 56.5
[8 empty] | CONVERSION |  | THE CH# COLUMN BY
[8 empty] | 1024 CH# | 256 CH# | SELECTING THE CELLS
[9 empty] | #NUM! | TO BE COPIED; THEN,
[9 empty] | #NUM! | CLICKING [COPY],
[9 empty] | #NUM! | [PASTE SPECIAL], AND
[9 empty] | #NUM! | FINALLY [PASTE VALUE]
#NUM!
#NUM!
#NUM!
#NUM!
[8 empty] | TABLE NO. 3 |  | TABLE NO. 5
[8 empty] | 104 MEAN CH# |  | Determination of the
[8 empty] | to 256 REL. CH# |  | MEBV605/CH# for the
[8 empty] | CONVERSION |  | normalization cell or particle
[8 empty] | 104 CH# | 256 CH# | 256 CH# | 104 CH# | Calc. MEBV605 | MEBV605/CH#
[9 empty] | #NUM! | 0 | 1 | 1.7064 | 1.7064
[9 empty] | #NUM! | 0 | 1 | 1.7064 | 1.7064
[9 empty] | #NUM! | 0 | 1 | 1.7064 | 1.7064
[9 empty] | #NUM! | 0 | 1 | 1.7064 | 1.7064
[9 empty] | #NUM! | 0 | 1 | 1.7064 | 1.7064
|  |  |  | Lot No.: |  | File # |  |  | #NUM!
Ultra Rainbow Calibration Particles (URCP-50-2K) |  |  |  | Lot No.: |  | File # |  |  | #NUM! | TABLE NO. 6
[9 empty] | #NUM! | Determination of New MEBV605
Acceptable: |  |  | By: |  |  | Date: |  |  |  | values for URCP-38-2K
Action taken if not linear: | [7 empty] | TABLE NO. 4 |  | 256 CH# | 104 CH# | New MEBV605
[8 empty] | 105 MEAN CH# |  |  | 1 | 1.7064
[8 empty] | to 256 REL. CH# |  |  | 1 | 1.7064
[8 empty] | CONVERSION |  |  | 1 | 1.7064
[8 empty] | 105 CH# | 256 CH# |  | 1 | 1.7064
[9 empty] | #NUM! |  | 1 | 1.7064
[9 empty] | #NUM! |  | 1 | 1.7064
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
Note on T5: RCP-30-5 Relative Channel Numbers obtained with your Instrument in 256 Channel Scale.
Note on J20: Use this Table to convert Beckman-Coulter 1024 Mean CH # to 256 Relative CH#
Note on J35: Use this Table to convert BD-FACS 104 Mean CH # to 256 Relative CH#
Note on J50: Use this Table to convert BD-FACS Canto 105 Mean CH # to 384 Relative CH#

## MEBV650
TYPE THE NAME OF YOUR LAB HERE
| PMT LINEARITY QC RECORD | [12 empty] | Normalization Graph for Instrument B
[8 empty] | TABLE NO. 1 |  | CROSS CALIBRATION TABLE
| PEAK # | CH # | MEBV650 | MEBV650 LOG | CALC. | RESIDUAL | CALC. MEBV650 | 1024 REL. CH# |  | FOR UNKNOWN SAMPLES |  |  |  | PEAK # | CH # | MEBV650 | MEBV650 LOG | CALC. | RESIDUAL | CALC. MEBV650 | CROSS CALIBRATION TABLE
| 1 | 84.3483 |  |  | 2.0642 |  | 115.9192 | to 256 REL. CH# |  | Sample | CH# | Calc. | Calc. MEBV650 | 1 | 0 | 4.9638 | 0.69581 | #DIV/0! | #DIV/0! | #DIV/0! | FOR NORMALIZATION GRAPH
| 2 | 142.5601 | 1019.7593 | 3.0085 | 3.0085 | 1.476e-14% | 1019.7593 | CONVERSION |  |  |  | 0.69581 | 4.9638 | 2 | 0 | 4.9638 | 0.69581 | #DIV/0! | #DIV/0! | #DIV/0! | Sample | CH# | Calc. | Calc. MEBV650
| 3 | 186.3765 | 5239.7561 | 3.7193 | 3.7193 | 0% | 5239.7561 | 1024 CH# | 256 CH# |  |  | 0.69581 | 4.9638 | 3 | 0 | 4.9638 | 0.69581 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
| 4 | 207.3729 | 11479.5594 | 4.0599 | 4.0599 | 2.188e-14% | 11479.5594 |  | 0 |  |  | 0.69581 | 4.9638 | 4 | 0 | 4.9638 | 0.69581 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
| 5 | 234.7469 | 31915.4253 | 4.504 | 4.504 | 0% | 31915.4253 |  | 0 |  |  | 0.69581 | 4.9638 | 5 | 0 | 4.9638 | 0.69581 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
| 6 | 255.9034 | 70341.7021 | 4.8472 | 4.8472 | 0% | 70341.7021 |  | 0 |  |  | 0.69581 | 4.9638 | 6 | 0 | 4.9638 | 0.69581 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
|  |  |  | Ave Residual |  | 7.328e-15% |  |  | 0 |  |  | 0.69581 | 4.9638 |  |  |  | Ave Residual |  | #DIV/0! |  |  |  | #DIV/0! | #DIV/0!
[6 empty] | Slope: | 0.016223 |  | 0 |  |  | 0.69581 | 4.9638 | [5 empty] | Slope: | #DIV/0! |  |  | #DIV/0! | #DIV/0!
[6 empty] | Intercept: | 0.69581 |  | 0 |  |  | 0.69581 | 4.9638 | [5 empty] | Intercept: | #DIV/0! |  |  | #DIV/0! | #DIV/0!
[6 empty] | Rsq: | 1 |  | 0 |  |  | 0.69581 | 4.9638 | [5 empty] | Rsq: | #DIV/0! |  |  | #DIV/0! | #DIV/0!
[9 empty] | 0 |  |  | 0.69581 | 4.9638 | [9 empty] | #DIV/0! | #DIV/0!
[12 empty] | 0.69581 | 4.9638 | [9 empty] | #DIV/0! | #DIV/0!
[12 empty] | 0.69581 | 4.9638 | [9 empty] | #DIV/0! | #DIV/0!
[7 empty] | 21 | TABLE NO. 2 | [14 empty] | #DIV/0! | #DIV/0!
[7 empty] | 56.5 | 1024 MEAN CH# |  | CONVERTED VALUES | [9 empty] | 21
[8 empty] | to 256 REL. CH# |  | CAN BE COPIED TO | [9 empty] | 56.5
[8 empty] | CONVERSION |  | THE CH# COLUMN BY
[8 empty] | 1024 CH# | 256 CH# | SELECTING THE CELLS
[9 empty] | #NUM! | TO BE COPIED; THEN,
[9 empty] | #NUM! | CLICKING [COPY],
[9 empty] | #NUM! | [PASTE SPECIAL], AND
[9 empty] | #NUM! | FINALLY [PASTE VALUE]
#NUM!
#NUM!
#NUM!
#NUM!
[8 empty] | TABLE NO. 3 |  | TABLE NO. 5
[8 empty] | 104 MEAN CH# |  | Determination of the
[8 empty] | to 256 REL. CH# |  | MEBV650/CH# for the
[8 empty] | CONVERSION |  | normalization cell or particle
[8 empty] | 104 CH# | 256 CH# | 256 CH# | 104 CH# | Calc. MEBV650 | MEBV650/CH#
[9 empty] | #NUM! | 0 | 1 | 4.9638 | 4.9638
[9 empty] | #NUM! | 0 | 1 | 4.9638 | 4.9638
[9 empty] | #NUM! | 0 | 1 | 4.9638 | 4.9638
[9 empty] | #NUM! | 0 | 1 | 4.9638 | 4.9638
[9 empty] | #NUM! | 0 | 1 | 4.9638 | 4.9638
|  |  |  | Lot No.: |  | File # |  |  | #NUM!
Ultra Rainbow Calibration Particles (URCP-50-2K) |  |  |  | Lot No.: |  | File # |  |  | #NUM! | TABLE NO. 6
[9 empty] | #NUM! | Determination of New MEBV650
Acceptable: |  |  | By: |  |  | Date: |  |  |  | values for URCP-38-2K
Action taken if not linear: | [7 empty] | TABLE NO. 4 |  | 256 CH# | 104 CH# | New MEBV650
[8 empty] | 105 MEAN CH# |  |  | 1 | 4.9638
[8 empty] | to 256 REL. CH# |  |  | 1 | 4.9638
[8 empty] | CONVERSION |  |  | 1 | 4.9638
[8 empty] | 105 CH# | 256 CH# |  | 1 | 4.9638
[9 empty] | #NUM! |  | 1 | 4.9638
[9 empty] | #NUM! |  | 1 | 4.9638
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
Note on T5: RCP-30-5 Relative Channel Numbers obtained with your Instrument in 256 Channel Scale.
Note on J20: Use this Table to convert Beckman-Coulter 1024 Mean CH # to 256 Relative CH#
Note on J35: Use this Table to convert BD-FACS 104 Mean CH # to 256 Relative CH#
Note on J50: Use this Table to convert BD-FACS Canto 105 Mean CH # to 384 Relative CH#

## MEBV711
TYPE THE NAME OF YOUR LAB HERE
| PMT LINEARITY QC RECORD | [12 empty] | Normalization Graph for Instrument B
[8 empty] | TABLE NO. 1 |  | CROSS CALIBRATION TABLE
| PEAK # | CH # | MEBV711 | MEBV711 LOG | CALC. | RESIDUAL | CALC. MEBV711 | 1024 REL. CH# |  | FOR UNKNOWN SAMPLES |  |  |  | PEAK # | CH # | MEBV711 | MEBV711 LOG | CALC. | RESIDUAL | CALC. MEBV711 | CROSS CALIBRATION TABLE
| 1 | 56.8889 |  |  | 2.0082 |  | 101.9014 | to 256 REL. CH# |  | Sample | CH# | Calc. | Calc. MEBV711 | 1 | 0 | 12.7433 | 1.1053 | #DIV/0! | #DIV/0! | #DIV/0! | FOR NORMALIZATION GRAPH
| 2 | 127.6769 | 1354.1734 | 3.1317 | 3.1317 | 1.418e-14% | 1354.1734 | CONVERSION |  |  |  | 1.1053 | 12.7433 | 2 | 0 | 12.7433 | 1.1053 | #DIV/0! | #DIV/0! | #DIV/0! | Sample | CH# | Calc. | Calc. MEBV711
| 3 | 172.8865 | 7066.5594 | 3.8492 | 3.8492 | 1.154e-14% | 7066.5594 | 1024 CH# | 256 CH# |  |  | 1.1053 | 12.7433 | 3 | 0 | 12.7433 | 1.1053 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
| 4 | 193.4111 | 14960.9218 | 4.175 | 4.175 | 0% | 14960.9218 |  | 0 |  |  | 1.1053 | 12.7433 | 4 | 0 | 12.7433 | 1.1053 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
| 5 | 221.2059 | 41313.9874 | 4.6161 | 4.6161 | 1.924e-14% | 41313.9874 |  | 0 |  |  | 1.1053 | 12.7433 | 5 | 0 | 12.7433 | 1.1053 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
| 6 | 245.6228 | 100837.8005 | 5.0036 | 5.0036 | 1.775e-14% | 100837.8005 |  | 0 |  |  | 1.1053 | 12.7433 | 6 | 0 | 12.7433 | 1.1053 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
|  |  |  | Ave Residual |  | 1.254e-14% |  |  | 0 |  |  | 1.1053 | 12.7433 |  |  |  | Ave Residual |  | #DIV/0! |  |  |  | #DIV/0! | #DIV/0!
[6 empty] | Slope: | 0.015871 |  | 0 |  |  | 1.1053 | 12.7433 | [5 empty] | Slope: | #DIV/0! |  |  | #DIV/0! | #DIV/0!
[6 empty] | Intercept: | 1.1053 |  | 0 |  |  | 1.1053 | 12.7433 | [5 empty] | Intercept: | #DIV/0! |  |  | #DIV/0! | #DIV/0!
[6 empty] | Rsq: | 1 |  | 0 |  |  | 1.1053 | 12.7433 | [5 empty] | Rsq: | #DIV/0! |  |  | #DIV/0! | #DIV/0!
[9 empty] | 0 |  |  | 1.1053 | 12.7433 | [9 empty] | #DIV/0! | #DIV/0!
[12 empty] | 1.1053 | 12.7433 | [9 empty] | #DIV/0! | #DIV/0!
[12 empty] | 1.1053 | 12.7433 | [9 empty] | #DIV/0! | #DIV/0!
[7 empty] | 21 | TABLE NO. 2 | [14 empty] | #DIV/0! | #DIV/0!
[7 empty] | 56.5 | 1024 MEAN CH# |  | CONVERTED VALUES | [9 empty] | 21
[8 empty] | to 256 REL. CH# |  | CAN BE COPIED TO | [9 empty] | 56.5
[8 empty] | CONVERSION |  | THE CH# COLUMN BY
[8 empty] | 1024 CH# | 256 CH# | SELECTING THE CELLS
[9 empty] | #NUM! | TO BE COPIED; THEN,
[9 empty] | #NUM! | CLICKING [COPY],
[9 empty] | #NUM! | [PASTE SPECIAL], AND
[9 empty] | #NUM! | FINALLY [PASTE VALUE]
#NUM!
#NUM!
#NUM!
#NUM!
[8 empty] | TABLE NO. 3 |  | TABLE NO. 5
[8 empty] | 104 MEAN CH# |  | Determination of the
[8 empty] | to 256 REL. CH# |  | MEBV711/CH# for the
[8 empty] | CONVERSION |  | normalization cell or particle
[8 empty] | 104 CH# | 256 CH# | 256 CH# | 104 CH# | Calc. MEBV711 | MEBV711/CH#
[9 empty] | #NUM! | 0 | 1 | 12.7433 | 12.7433
[9 empty] | #NUM! | 0 | 1 | 12.7433 | 12.7433
[9 empty] | #NUM! | 0 | 1 | 12.7433 | 12.7433
[9 empty] | #NUM! | 0 | 1 | 12.7433 | 12.7433
[9 empty] | #NUM! | 0 | 1 | 12.7433 | 12.7433
|  |  |  | Lot No.: |  | File # |  |  | #NUM!
Ultra Rainbow Calibration Particles (URCP-50-2K) |  |  |  | Lot No.: |  | File # |  |  | #NUM! | TABLE NO. 6
[9 empty] | #NUM! | Determination of New MEBV711
Acceptable: |  |  | By: |  |  | Date: |  |  |  | values for URCP-38-2K
Action taken if not linear: | [7 empty] | TABLE NO. 4 |  | 256 CH# | 104 CH# | New MEBV711
[8 empty] | 105 MEAN CH# |  |  | 1 | 12.7433
[8 empty] | to 256 REL. CH# |  |  | 1 | 12.7433
[8 empty] | CONVERSION |  |  | 1 | 12.7433
[8 empty] | 105 CH# | 256 CH# |  | 1 | 12.7433
[9 empty] | #NUM! |  | 1 | 12.7433
[9 empty] | #NUM! |  | 1 | 12.7433
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
Note on T5: RCP-30-5 Relative Channel Numbers obtained with your Instrument in 256 Channel Scale.
Note on J20: Use this Table to convert Beckman-Coulter 1024 Mean CH # to 256 Relative CH#
Note on J35: Use this Table to convert BD-FACS 104 Mean CH # to 256 Relative CH#
Note on J50: Use this Table to convert BD-FACS Canto 105 Mean CH # to 384 Relative CH#

## MEBV786
TYPE THE NAME OF YOUR LAB HERE
| PMT LINEARITY QC RECORD | [12 empty] | Normalization Graph for Instrument B
[8 empty] | TABLE NO. 1 |  | CROSS CALIBRATION TABLE
| PEAK # | CH # | MEBV786 | MEBV786 LOG | CALC. | RESIDUAL | CALC. MEBV786 | 1024 REL. CH# |  | FOR UNKNOWN SAMPLES |  |  |  | PEAK # | CH # | MEBV786 | MEBV786 LOG | CALC. | RESIDUAL | CALC. MEBV786 | CROSS CALIBRATION TABLE
| 1 | 81.4638 |  |  | 2.1819 |  | 152.003 | to 256 REL. CH# |  | Sample | CH# | Calc. | Calc. MEBV786 | 1 | 0 | 8.1093 | 0.90898 | #DIV/0! | #DIV/0! | #DIV/0! | FOR NORMALIZATION GRAPH
| 2 | 123.9359 | 706.7487 | 2.8493 | 2.8493 | 1.559e-14% | 706.7487 | CONVERSION |  |  | 81.4638 | 2.1819 | 152.003 | 2 | 0 | 8.1093 | 0.90898 | #DIV/0! | #DIV/0! | #DIV/0! | Sample | CH# | Calc. | Calc. MEBV786
| 3 | 161.5687 | 2758.231 | 3.4406 | 3.4406 | 1.291e-14% | 2758.231 | 1024 CH# | 256 CH# |  | 123.9359 | 2.8493 | 706.7487 | 3 | 0 | 8.1093 | 0.90898 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
| 4 | 184.7834 | 6388.954 | 3.8054 | 3.8054 | 1.167e-14% | 6388.954 |  | 0 |  | 161.5687 | 3.4406 | 2758.231 | 4 | 0 | 8.1093 | 0.90898 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
| 5 | 214.9944 | 19061.981 | 4.2802 | 4.2802 | 2.075e-14% | 19061.981 |  | 0 |  | 184.7834 | 3.8054 | 6388.954 | 5 | 0 | 8.1093 | 0.90898 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
| 6 | 244.8453 | 56137.0077 | 4.7492 | 4.7492 | 0% | 56137.0077 |  | 0 |  | 214.9944 | 4.2802 | 19061.981 | 6 | 0 | 8.1093 | 0.90898 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
|  |  |  | Ave Residual |  | 1.218e-14% |  |  | 0 |  | 244.8453 | 4.7492 | 56137.0077 |  |  |  | Ave Residual |  | #DIV/0! |  |  |  | #DIV/0! | #DIV/0!
[6 empty] | Slope: | 0.015714 |  | 0 |  |  | 0.90172 | 7.9748 | [5 empty] | Slope: | #DIV/0! |  |  | #DIV/0! | #DIV/0!
[6 empty] | Intercept: | 0.90172 |  | 0 |  |  | 0.90172 | 7.9748 | [5 empty] | Intercept: | #DIV/0! |  |  | #DIV/0! | #DIV/0!
[6 empty] | Rsq: | 1 |  | 0 |  |  | 0.90172 | 7.9748 | [5 empty] | Rsq: | #DIV/0! |  |  | #DIV/0! | #DIV/0!
[9 empty] | 0 |  |  | 0.90172 | 7.9748 | [9 empty] | #DIV/0! | #DIV/0!
[12 empty] | 0.90172 | 7.9748 | [9 empty] | #DIV/0! | #DIV/0!
[12 empty] | 0.90172 | 7.9748 | [9 empty] | #DIV/0! | #DIV/0!
[7 empty] | 21 | TABLE NO. 2 | [14 empty] | #DIV/0! | #DIV/0!
[7 empty] | 56.5 | 1024 MEAN CH# |  | CONVERTED VALUES | [9 empty] | 21
[8 empty] | to 256 REL. CH# |  | CAN BE COPIED TO | [9 empty] | 56.5
[8 empty] | CONVERSION |  | THE CH# COLUMN BY
[8 empty] | 1024 CH# | 256 CH# | SELECTING THE CELLS
[9 empty] | #NUM! | TO BE COPIED; THEN,
[9 empty] | #NUM! | CLICKING [COPY],
[9 empty] | #NUM! | [PASTE SPECIAL], AND
[9 empty] | #NUM! | FINALLY [PASTE VALUE]
#NUM!
#NUM!
#NUM!
#NUM!
[8 empty] | TABLE NO. 3 |  | TABLE NO. 5
[8 empty] | 104 MEAN CH# |  | Determination of the
[8 empty] | to 256 REL. CH# |  | MEBV786/CH# for the
[8 empty] | CONVERSION |  | normalization cell or particle
[8 empty] | 104 CH# | 256 CH# | 256 CH# | 104 CH# | Calc. MEBV786 | MEBV786/CH#
[9 empty] | #NUM! | 81.4638 | 18.7444 | 152.003 | 8.1093
[9 empty] | #NUM! | 123.9359 | 86.3971 | 706.7487 | 8.1802
[9 empty] | #NUM! | 161.5687 | 334.5883 | 2758.231 | 8.2437
[9 empty] | #NUM! | 184.7834 | 771.3313 | 6388.954 | 8.283
[9 empty] | #NUM! | 214.9944 | 2287.1088 | 19061.981 | 8.3345
|  |  |  | Lot No.: |  | File # |  |  | #NUM!
Ultra Rainbow Calibration Particles (URCP-50-2K) |  |  |  | Lot No.: |  | File # |  |  | #NUM! | TABLE NO. 6
[9 empty] | #NUM! | Determination of New MEBV786
Acceptable: |  |  | By: |  |  | Date: |  |  |  | values for URCP-38-2K
Action taken if not linear: | [7 empty] | TABLE NO. 4 |  | 256 CH# | 104 CH# | New MEBV786
[8 empty] | 105 MEAN CH# |  |  | 1 | 8.1093
[8 empty] | to 256 REL. CH# |  |  | 1 | 8.1093
[8 empty] | CONVERSION |  |  | 1 | 8.1093
[8 empty] | 105 CH# | 256 CH# |  | 1 | 8.1093
[9 empty] | #NUM! |  | 1 | 8.1093
[9 empty] | #NUM! |  | 1 | 8.1093
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
Note on T5: RCP-30-5 Relative Channel Numbers obtained with your Instrument in 256 Channel Scale.
Note on J20: Use this Table to convert Beckman-Coulter 1024 Mean CH # to 256 Relative CH#
Note on J35: Use this Table to convert BD-FACS 104 Mean CH # to 256 Relative CH#
Note on J50: Use this Table to convert BD-FACS Canto 105 Mean CH # to 384 Relative CH#

## MEFL
TYPE THE NAME OF YOUR LAB HERE
| PMT LINEARITY QC RECORD | [12 empty] | Normalization Graph for Instrument B
[8 empty] | TABLE NO. 1 |  | CROSS CALIBRATION TABLE
| PEAK # | CH # | MEFL | MEFL LOG | CALC. | RESIDUAL | CALC. MEFL | 1024 REL. CH# |  | FOR UNKNOWN SAMPLES |  |  |  |  | PEAK # | CH # | MEFL | MEFL LOG | CALC. | RESIDUAL | CALC. MEFL | CROSS CALIBRATION TABLE
| 1 | 71.7425 |  |  | 2.4717 |  | 296.3004 | to 256 REL. CH# |  | Sample | CH# | Calc. | Calc. MEFL |  | 1 | 0 | 9.6335 | 0.98378 | #DIV/0! | #DIV/0! | #DIV/0! | FOR NORMALIZATION GRAPH
| 2 | 117.2363 | 2601.8249 | 3.4153 | 3.4153 | 1.3e-14% | 2601.8249 | CONVERSION |  |  |  | 0.98378 | 9.6335 |  | 2 | 0 | 9.6335 | 0.98378 | #DIV/0! | #DIV/0! | #DIV/0! | Sample | CH# | Calc. | Calc. MEFL
| 3 | 163.3612 | 23545.8436 | 4.3719 | 4.3719 | 0% | 23545.8436 | 1024 CH# | 256 CH# |  |  | 0.98378 | 9.6335 |  | 3 | 0 | 9.6335 | 0.98378 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
| 4 | 182.6998 | 59292.4243 | 4.773 | 4.773 | 1.861e-14% | 59292.4243 |  | 0 |  |  | 0.98378 | 9.6335 |  | 4 | 0 | 9.6335 | 0.98378 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
| 5 | 204.1513 | 165160.4263 | 5.2179 | 5.2179 | 1.702e-14% | 165160.4263 |  | 0 |  |  | 0.98378 | 9.6335 |  | 5 | 0 | 9.6335 | 0.98378 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
| 6 | 218.7616 | 331838.359 | 5.5209 | 5.5209 | 0% | 331838.359 |  | 0 |  |  | 0.98378 | 9.6335 |  | 6 | 0 | 9.6335 | 0.98378 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
|  |  |  | Ave Residual |  | 9.727e-15% |  |  | 0 |  |  | 0.98378 | 9.6335 |  |  |  |  | Ave Residual |  | #DIV/0! |  |  |  | #DIV/0! | #DIV/0!
[6 empty] | Slope: | 0.02074 |  | 0 |  |  | 0.98378 | 9.6335 | [6 empty] | Slope: | #DIV/0! |  |  | #DIV/0! | #DIV/0!
[6 empty] | Intercept: | 0.98378 |  | 0 |  |  | 0.98378 | 9.6335 | [6 empty] | Intercept: | #DIV/0! |  |  | #DIV/0! | #DIV/0!
[6 empty] | Rsq: | 1 |  | 0 |  |  | 0.98378 | 9.6335 | [6 empty] | Rsq: | #DIV/0! |  |  | #DIV/0! | #DIV/0!
[9 empty] | 0 |  |  | 0.98378 | 9.6335 | [10 empty] | #DIV/0! | #DIV/0!
[12 empty] | 0.98378 | 9.6335 | [10 empty] | #DIV/0! | #DIV/0!
[12 empty] | 0.98378 | 9.6335 | [10 empty] | #DIV/0! | #DIV/0!
[8 empty] | TABLE NO. 2 | [15 empty] | #DIV/0! | #DIV/0!
[8 empty] | 1024 MEAN CH# |  | CONVERTED VALUES
[8 empty] | to 256 REL. CH# |  | CAN BE COPIED TO
[8 empty] | CONVERSION |  | THE CH# COLUMN BY
[8 empty] | 1024 CH# | 256 CH# | SELECTING THE CELLS
[9 empty] | #NUM! | TO BE COPIED; THEN,
[9 empty] | #NUM! | CLICKING [COPY],
[9 empty] | #NUM! | [PASTE SPECIAL], AND
[9 empty] | #NUM! | FINALLY [PASTE VALUE]
#NUM!
#NUM!
#NUM!
#NUM!
[8 empty] | TABLE NO. 3 |  | TABLE NO. 5
[8 empty] | 104 MEAN CH# |  | Determination of the
[8 empty] | to 256 REL. CH# |  | MEFL/CH# for the
[8 empty] | CONVERSION |  | normalization cell or particle
[8 empty] | 104 CH# | 256 CH# | 256 CH# | 104 CH# | Calc. MEFL | MEFL/CH#
[9 empty] | #NUM! | 0 | 1 | 9.6335 | 9.6335
[9 empty] | #NUM! | 0 | 1 | 9.6335 | 9.6335
[9 empty] | #NUM! | 0 | 1 | 9.6335 | 9.6335
[9 empty] | #NUM! | 0 | 1 | 9.6335 | 9.6335
[9 empty] | #NUM! | 0 | 1 | 9.6335 | 9.6335
#NUM!
Ultra Rainbow Calibration Particles (URCP-50-2K) |  |  |  | Lot No.: |  | File # |  |  | #NUM! | TABLE NO. 6
[9 empty] | #NUM! | Determination of New MEFL
Acceptable: |  |  | By: |  |  | Date: |  |  |  | values for URCP-38-2K
Action taken if not linear: | [7 empty] | TABLE NO. 4 |  | 256 CH# | 104 CH# | New MEFL
[8 empty] | 105 MEAN CH# |  |  | 1 | 9.6335
[8 empty] | to 256 REL. CH# |  |  | 1 | 9.6335
[8 empty] | CONVERSION |  |  | 1 | 9.6335
[8 empty] | 105 CH# | 256 CH# |  | 1 | 9.6335
[9 empty] | #NUM! |  | 1 | 9.6335
[9 empty] | #NUM! |  | 1 | 9.6335
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
Note on J20: Use this Table to convert Beckman-Coulter 1024 Mean CH # to 256 Relative CH#
Note on J35: Use this Table to convert BD-FACS 104 Mean CH # to 256 Relative CH#
Note on J50: Use this Table to convert BD-FACS Canto 105 Mean CH # to 384 Relative CH#

## MEPerCPCy5.5
TYPE THE NAME OF YOUR LAB HERE
| PMT LINEARITY QC RECORD | [12 empty] | Normalization Graph for Instrument B
[8 empty] | TABLE NO. 1 |  | CROSS CALIBRATION TABLE
| PEAK # | CH # | MEPerCPCy5-5 | MEPerCPCy5-5 LOG | CALC. | RESIDUAL | CALC. MEPerCPCy5.5 | 1024 REL. CH# |  | FOR UNKNOWN SAMPLES |  |  |  |  | PEAK # | CH # | MEPerCPCy5-5 | MEPerCPCy5-5 LOG | CALC. | RESIDUAL | CALC. MEPerCPCy5.5 | CROSS CALIBRATION TABLE
| 1 | 71.7425 |  |  | 2.8052 |  | 638.5107 | to 256 REL. CH# |  | Sample | CH# | Calc. | Calc. MEPerCPCy5.5 |  | 1 | 0 | 19.6313 | 1.2929 | #DIV/0! | #DIV/0! | #DIV/0! | FOR NORMALIZATION GRAPH
| 2 | 87.172 | 1350.2009 | 3.1304 | 3.1304 | 4.256e-14% | 1350.2009 | CONVERSION |  |  |  | 1.2929 | 19.6313 |  | 2 | 0 | 19.6313 | 1.2929 | #DIV/0! | #DIV/0! | #DIV/0! | Sample | CH# | Calc. | Calc. MEPerCPCy5.5
| 3 | 135.0522 | 13792.2878 | 4.1396 | 4.1396 | 0% | 13792.2878 | 1024 CH# | 256 CH# |  |  | 1.2929 | 19.6313 |  | 3 | 0 | 19.6313 | 1.2929 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
| 4 | 157.0077 | 40033.6068 | 4.6024 | 4.6024 | 0% | 40033.6068 |  | 0 |  |  | 1.2929 | 19.6313 |  | 4 | 0 | 19.6313 | 1.2929 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
| 5 | 186.9508 | 171229.1008 | 5.2336 | 5.2336 | 1.697e-14% | 171229.1008 |  | 0 |  |  | 1.2929 | 19.6313 |  | 5 | 0 | 19.6313 | 1.2929 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
| 6 | 214.7293 | 659334.0539 | 5.8191 | 5.8191 | 1.526e-14% | 659334.0539 |  | 0 |  |  | 1.2929 | 19.6313 |  | 6 | 0 | 19.6313 | 1.2929 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
|  |  |  | Ave Residual |  | 1.496e-14% |  |  | 0 |  |  | 1.2929 | 19.6313 |  |  |  |  | Ave Residual |  | #DIV/0! |  |  |  | #DIV/0! | #DIV/0!
[6 empty] | Slope: | 0.021078 |  | 0 |  |  | 1.2929 | 19.6313 | [6 empty] | Slope: | #DIV/0! |  |  | #DIV/0! | #DIV/0!
[6 empty] | Intercept: | 1.2929 |  | 0 |  |  | 1.2929 | 19.6313 | [6 empty] | Intercept: | #DIV/0! |  |  | #DIV/0! | #DIV/0!
[6 empty] | Rsq: | 1 |  | 0 |  |  | 1.2929 | 19.6313 | [6 empty] | Rsq: | #DIV/0! |  |  | #DIV/0! | #DIV/0!
[9 empty] | 0 |  |  | 1.2929 | 19.6313 | [10 empty] | #DIV/0! | #DIV/0!
[12 empty] | 1.2929 | 19.6313 | [10 empty] | #DIV/0! | #DIV/0!
[12 empty] | 1.2929 | 19.6313 | [10 empty] | #DIV/0! | #DIV/0!
[8 empty] | TABLE NO. 2 | [15 empty] | #DIV/0! | #DIV/0!
[8 empty] | 1024 MEAN CH# |  | CONVERTED VALUES
[8 empty] | to 256 REL. CH# |  | CAN BE COPIED TO
[8 empty] | CONVERSION |  | THE CH# COLUMN BY
[8 empty] | 1024 CH# | 256 CH# | SELECTING THE CELLS
[9 empty] | #NUM! | TO BE COPIED; THEN,
[9 empty] | #NUM! | CLICKING [COPY],
[9 empty] | #NUM! | [PASTE SPECIAL], AND
[9 empty] | #NUM! | FINALLY [PASTE VALUE]
#NUM!
#NUM!
#NUM!
#NUM!
[8 empty] | TABLE NO. 3 |  | TABLE NO. 5
[8 empty] | 104 MEAN CH# |  | Determination of the
[8 empty] | to 256 REL. CH# |  | MEPerCPCy5.5/CH# for the
[8 empty] | CONVERSION |  | normalization cell or particle
[8 empty] | 104 CH# | 256 CH# | 256 CH# | 104 CH# | Calc. MEPerCPCy5.5 | MEPerCPCy5.5/CH#
[9 empty] | #NUM! | 0 | 1 | 19.6313 | 19.6313
[9 empty] | #NUM! | 0 | 1 | 19.6313 | 19.6313
[9 empty] | #NUM! | 0 | 1 | 19.6313 | 19.6313
[9 empty] | #NUM! | 0 | 1 | 19.6313 | 19.6313
[9 empty] | #NUM! | 0 | 1 | 19.6313 | 19.6313
#NUM!
Ultra Rainbow Calibration Particles (URCP-50-2K) |  |  |  | Lot No.: |  | File # |  |  | #NUM! | TABLE NO. 6
[9 empty] | #NUM! | Determination of New MEPerCPCy5.5
Acceptable: |  |  | By: |  |  | Date: |  |  |  | values for URCP-38-2K
Action taken if not linear: | [7 empty] | TABLE NO. 4 |  | 256 CH# | 104 CH# | New MEPerCPCy5.5
[8 empty] | 105 MEAN CH# |  |  | 1 | 19.6313
[8 empty] | to 256 REL. CH# |  |  | 1 | 19.6313
[8 empty] | CONVERSION |  |  | 1 | 19.6313
[8 empty] | 105 CH# | 256 CH# |  | 1 | 19.6313
[9 empty] | #NUM! |  | 1 | 19.6313
[9 empty] | #NUM! |  | 1 | 19.6313
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
Note on J20: Use this Table to convert Beckman-Coulter 1024 Mean CH # to 256 Relative CH#
Note on J35: Use this Table to convert BD-FACS 104 Mean CH # to 256 Relative CH#
Note on J50: Use this Table to convert BD-FACS Canto 105 Mean CH # to 384 Relative CH#

## MEPE
TYPE THE NAME OF YOUR LAB HERE
| PMT LINEARITY QC RECORD | [12 empty] | Normalization Graph for Instrument B
[8 empty] | TABLE NO. 1 |  | CROSS CALIBRATION TABLE
| PEAK # | CH # | MEPE | MEPE LOG | CALC. | RESIDUAL | CALC. MEPE | 1024 REL. CH# |  | FOR UNKNOWN SAMPLES |  |  |  | PEAK # | CH # | MEPE | MEPE LOG | CALC. | RESIDUAL | CALC. MEPE | CROSS CALIBRATION TABLE
| 1 | 71.7425 |  |  | 2.27 |  | 186.2272 | to 256 REL. CH# |  | Sample | CH# | Calc. | Calc. MEPE | 1 | 0 | 5.5719 | 0.746 | #DIV/0! | #DIV/0! | #DIV/0! | FOR NORMALIZATION GRAPH
| 2 | 121.3352 | 2106.448 | 3.3236 | 3.3236 | 2.672e-14% | 2106.448 | CONVERSION |  |  |  | 0.746 | 5.5719 | 2 | 0 | 5.5719 | 0.746 | #DIV/0! | #DIV/0! | #DIV/0! | Sample | CH# | Calc. | Calc. MEPE
| 3 | 164.9302 | 17768.3885 | 4.2496 | 4.2496 | 0% | 17768.3885 | 1024 CH# | 256 CH# |  |  | 0.746 | 5.5719 | 3 | 0 | 5.5719 | 0.746 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
| 4 | 184.04 | 45248.1968 | 4.6556 | 4.6556 | 1.908e-14% | 45248.1968 |  | 0 |  |  | 0.746 | 5.5719 | 4 | 0 | 5.5719 | 0.746 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
| 5 | 204.5865 | 123615.6828 | 5.0921 | 5.0921 | 1.744e-14% | 123615.6828 |  | 0 |  |  | 0.746 | 5.5719 | 5 | 0 | 5.5719 | 0.746 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
| 6 | 217.6355 | 234032.7856 | 5.3693 | 5.3693 | 1.654e-14% | 234032.7856 |  | 0 |  |  | 0.746 | 5.5719 | 6 | 0 | 5.5719 | 0.746 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
|  |  |  | Ave Residual |  | 1.596e-14% |  |  | 0 |  |  | 0.746 | 5.5719 |  |  |  | Ave Residual |  | #DIV/0! |  |  |  | #DIV/0! | #DIV/0!
[6 empty] | Slope: | 0.021243 |  | 0 |  |  | 0.746 | 5.5719 | [5 empty] | Slope: | #DIV/0! |  |  | #DIV/0! | #DIV/0!
[6 empty] | Intercept: | 0.746 |  | 0 |  |  | 0.746 | 5.5719 | [5 empty] | Intercept: | #DIV/0! |  |  | #DIV/0! | #DIV/0!
[6 empty] | Rsq: | 1 |  | 0 |  |  | 0.746 | 5.5719 | [5 empty] | Rsq: | #DIV/0! |  |  | #DIV/0! | #DIV/0!
[9 empty] | 0 |  |  | 0.746 | 5.5719 | [9 empty] | #DIV/0! | #DIV/0!
[12 empty] | 0.746 | 5.5719 | [9 empty] | #DIV/0! | #DIV/0!
[12 empty] | 0.746 | 5.5719 | [9 empty] | #DIV/0! | #DIV/0!
[7 empty] | 21 | TABLE NO. 2 | [14 empty] | #DIV/0! | #DIV/0!
[7 empty] | 56.5 | 1024 MEAN CH# |  | CONVERTED VALUES | [9 empty] | 21
[8 empty] | to 256 REL. CH# |  | CAN BE COPIED TO | [9 empty] | 56.5
[8 empty] | CONVERSION |  | THE CH# COLUMN BY
[8 empty] | 1024 CH# | 256 CH# | SELECTING THE CELLS
[9 empty] | #NUM! | TO BE COPIED; THEN,
[9 empty] | #NUM! | CLICKING [COPY],
[9 empty] | #NUM! | [PASTE SPECIAL], AND
[9 empty] | #NUM! | FINALLY [PASTE VALUE]
#NUM!
#NUM!
#NUM!
#NUM!
[8 empty] | TABLE NO. 3 |  | TABLE NO. 5
[8 empty] | 104 MEAN CH# |  | Determination of the
[8 empty] | to 256 REL. CH# |  | MEPE/CH# for the
[8 empty] | CONVERSION |  | normalization cell or particle
[8 empty] | 104 CH# | 256 CH# | 256 CH# | 104 CH# | Calc. MEPE | MEPE/CH#
[9 empty] | #NUM! | 0 | 1 | 5.5719 | 5.5719
[9 empty] | #NUM! | 0 | 1 | 5.5719 | 5.5719
[9 empty] | #NUM! | 0 | 1 | 5.5719 | 5.5719
[9 empty] | #NUM! | 0 | 1 | 5.5719 | 5.5719
[9 empty] | #NUM! | 0 | 1 | 5.5719 | 5.5719
|  |  |  | Lot No.: |  | File # |  |  | #NUM!
Ultra Rainbow Calibration Particles (URCP-50-2K) |  |  |  | Lot No.: |  | File # |  |  | #NUM! | TABLE NO. 6
[9 empty] | #NUM! | Determination of New MEPE
Acceptable: |  |  | By: |  |  | Date: |  |  |  | values for URCP-38-2K
Action taken if not linear: | [7 empty] | TABLE NO. 4 |  | 256 CH# | 104 CH# | New MEPE
[8 empty] | 105 MEAN CH# |  |  | 1 | 5.5719
[8 empty] | to 256 REL. CH# |  |  | 1 | 5.5719
[8 empty] | CONVERSION |  |  | 1 | 5.5719
[8 empty] | 105 CH# | 256 CH# |  | 1 | 5.5719
[9 empty] | #NUM! |  | 1 | 5.5719
[9 empty] | #NUM! |  | 1 | 5.5719
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
Note on J20: Use this Table to convert Beckman-Coulter 1024 Mean CH # to 256 Relative CH#
Note on J35: Use this Table to convert BD-FACS 104 Mean CH # to 256 Relative CH#
Note on T5: RCP-30-5 Relative Channel Numbers obtained with your Instrument in 256 Channel Scale.
Note on J50: Use this Table to convert BD-FACS Canto 105 Mean CH # to 384 Relative CH#

## MEPTR
TYPE THE NAME OF YOUR LAB HERE
| PMT LINEARITY QC RECORD | [12 empty] | Normalization Graph for Instrument B
[8 empty] | TABLE NO. 1 |  | CROSS CALIBRATION TABLE
[8 empty] | 1024 REL. CH# |  | FOR UNKNOWN SAMPLES |  |  |  |  | PEAK # | CH # | MEPTR | MEPTR LOG | CALC. | RESIDUAL | CALC. MEPTR | CROSS CALIBRATION TABLE
| PEAK # | CH # | MEPTR | MEPTR LOG | CALC. | RESIDUAL | CALC. MEPTR | to 256 REL. CH# |  | Sample | CH# | Calc. | Calc. MEPTR |  | 1 | 0 | 2.7661 | 0.44186 | #DIV/0! | #DIV/0! | #DIV/0! | FOR NORMALIZATION GRAPH
| 1 |  |  |  | 0.44186 |  | 2.7661 | CONVERSION |  |  |  | 0.44186 | 2.7661 |  | 2 | 0 | 2.7661 | 0.44186 | #DIV/0! | #DIV/0! | #DIV/0! | Sample | CH# | Calc. | Calc. MEPTR
| 2 | 123.5911 | 1226.553 | 3.0887 | 3.0887 | 0% | 1226.553 | 1024 CH# | 256 CH# |  |  | 0.44186 | 2.7661 |  | 3 | 0 | 2.7661 | 0.44186 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
| 3 | 169.5868 | 11850.2867 | 4.0737 | 4.0737 | 0% | 11850.2867 |  | 0 |  |  | 0.44186 | 2.7661 |  | 4 | 0 | 2.7661 | 0.44186 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
| 4 | 188.8841 | 30690.2606 | 4.487 | 4.487 | 1.979e-14% | 30690.2606 |  | 0 |  |  | 0.44186 | 2.7661 |  | 5 | 0 | 2.7661 | 0.44186 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
| 5 | 209.7849 | 86022.0615 | 4.9346 | 4.9346 | 0% | 86022.0615 |  | 0 |  |  | 0.44186 | 2.7661 |  | 6 | 0 | 2.7661 | 0.44186 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
| 6 | 223.2133 | 166798.757 | 5.2222 | 5.2222 | 0% | 166798.757 |  | 0 |  |  | 0.44186 | 2.7661 |  |  |  |  | Ave Residual |  | #DIV/0! |  |  |  | #DIV/0! | #DIV/0!
|  |  |  | Ave Residual |  | 3.959e-15% |  |  | 0 |  |  | 0.44186 | 2.7661 | [6 empty] | Slope: | #DIV/0! |  |  | #DIV/0! | #DIV/0!
[6 empty] | Slope: | 0.021416 |  | 0 |  |  | 0.44186 | 2.7661 | [6 empty] | Intercept: | #DIV/0! |  |  | #DIV/0! | #DIV/0!
[6 empty] | Intercept: | 0.44186 |  | 0 |  |  | 0.44186 | 2.7661 | [6 empty] | Rsq: | #DIV/0! |  |  | #DIV/0! | #DIV/0!
[6 empty] | Rsq: | 1 |  | 0 |  |  | 0.44186 | 2.7661 | [10 empty] | #DIV/0! | #DIV/0!
[12 empty] | 0.44186 | 2.7661 | [10 empty] | #DIV/0! | #DIV/0!
[12 empty] | 0.44186 | 2.7661 | [10 empty] | #DIV/0! | #DIV/0!
[8 empty] | TABLE NO. 2 | [15 empty] | #DIV/0! | #DIV/0!
[8 empty] | 1024 MEAN CH# |  | CONVERTED VALUES
[8 empty] | to 256 REL. CH# |  | CAN BE COPIED TO
[8 empty] | CONVERSION |  | THE CH# COLUMN BY
[8 empty] | 1024 CH# | 256 CH# | SELECTING THE CELLS
[9 empty] | #NUM! | TO BE COPIED; THEN,
[9 empty] | #NUM! | CLICKING [COPY],
[9 empty] | #NUM! | [PASTE SPECIAL], AND
[9 empty] | #NUM! | FINALLY [PASTE VALUE]
#NUM!
#NUM!
#NUM!
#NUM!
[8 empty] | TABLE NO. 3 |  | TABLE NO. 5
[8 empty] | 104 MEAN CH# |  | Determination of the
[8 empty] | to 256 REL. CH# |  | MEPTR/CH# for the
[8 empty] | CONVERSION |  | normalization cell or particle
[8 empty] | 104 CH# | 256 CH# | 256 CH# | 104 CH# | Calc. MEPTR | MEPTR/CH#
[9 empty] | #NUM! | 0 | 1 | 2.7661 | 2.7661
[9 empty] | #NUM! | 0 | 1 | 2.7661 | 2.7661
[9 empty] | #NUM! | 0 | 1 | 2.7661 | 2.7661
[9 empty] | #NUM! | 0 | 1 | 2.7661 | 2.7661
[9 empty] | #NUM! | 0 | 1 | 2.7661 | 2.7661
#NUM!
[9 empty] | #NUM! | TABLE NO. 6
Ultra Rainbow Calibration Particles (URCP-50-2K) |  |  |  | Lot No.: |  | File # |  |  | #NUM! | Determination of New MEPTR
values for URCP-38-2K
Acceptable: |  |  | By: |  |  | Date:
[8 empty] | TABLE NO. 4 |  | 256 CH# | 104 CH# | New MEPTR
Action taken if not linear: | [7 empty] | 105 MEAN CH# |  |  | 1 | 2.7661
[8 empty] | to 256 REL. CH# |  |  | 1 | 2.7661
[8 empty] | CONVERSION |  |  | 1 | 2.7661
[8 empty] | 105 CH# | 256 CH# |  | 1 | 2.7661
[9 empty] | #NUM! |  | 1 | 2.7661
[9 empty] | #NUM! |  | 1 | 2.7661
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
Note on J20: Use this Table to convert Beckman-Coulter 1024 Mean CH # to 256 Relative CH#
Note on J35: Use this Table to convert BD-FACS 104 Mean CH # to 256 Relative CH#
Note on J50: Use this Table to convert BD-FACS Canto 105 Mean CH # to 384 Relative CH#

## MEPCY5 (488nm ex)
TYPE THE NAME OF YOUR LAB HERE
| PMT LINEARITY QC RECORD | [12 empty] | Normalization Graph for Instrument B
[8 empty] | TABLE NO. 1 |  | CROSS CALIBRATION TABLE
| PEAK # | CH # | MEPCY | MEPCY LOG | CALC. | RESIDUAL | CALC. MEPCY | 1024 REL. CH# |  | FOR UNKNOWN SAMPLES |  |  |  |  | PEAK # | CH # | MEPCY | MEPCY LOG | CALC. | RESIDUAL | CALC. MEPCY | CROSS CALIBRATION TABLE
| 1 |  |  |  | 0.49958 |  | 3.1592 | to 256 REL. CH# |  | Sample | CH# | Calc. | Calc. MEPCY |  | 1 | 0 | 3.1592 | 0.49958 | #DIV/0! | #DIV/0! | #DIV/0! | FOR NORMALIZATION GRAPH
| 2 | 104.7655 | 1144.7161 | 3.0587 | 3.0587 | 2.904e-14% | 1144.7161 | CONVERSION |  |  |  | 0.49958 | 3.1592 |  | 2 | 0 | 3.1592 | 0.49958 | #DIV/0! | #DIV/0! | #DIV/0! | Sample | CH# | Calc. | Calc. MEPCY
| 3 | 150.7411 | 15196.6416 | 4.1817 | 4.1817 | 2.124e-14% | 15196.6416 | 1024 CH# | 256 CH# |  |  | 0.49958 | 3.1592 |  | 3 | 0 | 3.1592 | 0.49958 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
| 4 | 170.4805 | 46123.5871 | 4.6639 | 4.6639 | 1.904e-14% | 46123.5871 |  | 0 |  |  | 0.49958 | 3.1592 |  | 4 | 0 | 3.1592 | 0.49958 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
| 5 | 193.8106 | 171320.3674 | 5.2338 | 5.2338 | 1.697e-14% | 171320.3674 |  | 0 |  |  | 0.49958 | 3.1592 |  | 5 | 0 | 3.1592 | 0.49958 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
| 6 | 211.0919 | 452836.4012 | 5.6559 | 5.6559 | 1.57e-14% | 452836.4012 |  | 0 |  |  | 0.49958 | 3.1592 |  | 6 | 0 | 3.1592 | 0.49958 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
|  |  |  | Ave Residual |  | 2.04e-14% |  |  | 0 |  |  | 0.49958 | 3.1592 |  |  |  |  | Ave Residual |  | #DIV/0! |  |  |  | #DIV/0! | #DIV/0!
[6 empty] | Slope: | 0.024427 |  | 0 |  |  | 0.49958 | 3.1592 | [6 empty] | Slope: | #DIV/0! |  |  | #DIV/0! | #DIV/0!
[6 empty] | Intercept: | 0.49958 |  | 0 |  |  | 0.49958 | 3.1592 | [6 empty] | Intercept: | #DIV/0! |  |  | #DIV/0! | #DIV/0!
[6 empty] | Rsq: | 1 |  | 0 |  |  | 0.49958 | 3.1592 | [6 empty] | Rsq: | #DIV/0! |  |  | #DIV/0! | #DIV/0!
[9 empty] | 0 |  |  | 0.49958 | 3.1592 | [10 empty] | #DIV/0! | #DIV/0!
[12 empty] | 0.49958 | 3.1592 | [10 empty] | #DIV/0! | #DIV/0!
[12 empty] | 0.49958 | 3.1592 | [10 empty] | #DIV/0! | #DIV/0!
[8 empty] | TABLE NO. 2 | [15 empty] | #DIV/0! | #DIV/0!
[8 empty] | 1024 MEAN CH# |  | CONVERTED VALUES
[8 empty] | to 256 REL. CH# |  | CAN BE COPIED TO
[8 empty] | CONVERSION |  | THE CH# COLUMN BY
[8 empty] | 1024 CH# | 256 CH# | SELECTING THE CELLS
[9 empty] | #NUM! | TO BE COPIED; THEN,
[9 empty] | #NUM! | CLICKING [COPY],
[9 empty] | #NUM! | [PASTE SPECIAL], AND
[9 empty] | #NUM! | FINALLY [PASTE VALUE]
#NUM!
#NUM!
#NUM!
#NUM!
[8 empty] | TABLE NO. 3 |  | TABLE NO. 5
[8 empty] | 104 MEAN CH# |  | Determination of the
[8 empty] | to 256 REL. CH# |  | MEPCY/CH# for the
[8 empty] | CONVERSION |  | normalization cell or particle
[8 empty] | 104 CH# | 256 CH# | 256 CH# | 104 CH# | Calc. MEPCY | MEPCY/CH#
[9 empty] | #NUM! | 0 | 1 | 3.1592 | 3.1592
[9 empty] | #NUM! | 0 | 1 | 3.1592 | 3.1592
[9 empty] | #NUM! | 0 | 1 | 3.1592 | 3.1592
[9 empty] | #NUM! | 0 | 1 | 3.1592 | 3.1592
[9 empty] | #NUM! | 0 | 1 | 3.1592 | 3.1592
#NUM!
Ultra Rainbow Calibration Particles (URCP-50-2K) |  |  |  | Lot No.: |  | File # |  |  | #NUM! | TABLE NO. 6
[9 empty] | #NUM! | Determination of New MEPCY
Acceptable: |  |  | By: |  |  | Date: |  |  |  | values for URCP-38-2K
Action taken if not linear: | [7 empty] | TABLE NO. 4 |  | 256 CH# | 104 CH# | New MEPCY
[8 empty] | 105 MEAN CH# |  |  | 1 | 3.1592
[8 empty] | to 256 REL. CH# |  |  | 1 | 3.1592
[8 empty] | CONVERSION |  |  | 1 | 3.1592
[8 empty] | 105 CH# | 256 CH# |  | 1 | 3.1592
[9 empty] | #NUM! |  | 1 | 3.1592
[9 empty] | #NUM! |  | 1 | 3.1592
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
Note on J20: Use this Table to convert Beckman-Coulter 1024 Mean CH # to 256 Relative CH#
Note on J35: Use this Table to convert BD-FACS 104 Mean CH # to 256 Relative CH#
Note on J50: Use this Table to convert BD-FACS Canto 105 Mean CH # to 384 Relative CH#

## MEPCY5 (561nm ex)
TYPE THE NAME OF YOUR LAB HERE
| PMT LINEARITY QC RECORD | [12 empty] | Normalization Graph for Instrument B
[8 empty] | TABLE NO. 1 |  | CROSS CALIBRATION TABLE
| PEAK # | CH # | MEPCY | MEPCY LOG | CALC. | RESIDUAL | CALC. MEPCY | 1024 REL. CH# |  | FOR UNKNOWN SAMPLES |  |  |  |  | PEAK # | CH # | MEPCY | MEPCY LOG | CALC. | RESIDUAL | CALC. MEPCY | CROSS CALIBRATION TABLE
| 1 |  |  |  | 0.49958 |  | 3.1592 | to 256 REL. CH# |  | Sample | CH# | Calc. | Calc. MEPCY |  | 1 | 0 | 3.1592 | 0.49958 | #DIV/0! | #DIV/0! | #DIV/0! | FOR NORMALIZATION GRAPH
| 2 | 104.7655 | 1144.7161 | 3.0587 | 3.0587 | 2.904e-14% | 1144.7161 | CONVERSION |  |  |  | 0.49958 | 3.1592 |  | 2 | 0 | 3.1592 | 0.49958 | #DIV/0! | #DIV/0! | #DIV/0! | Sample | CH# | Calc. | Calc. MEPCY
| 3 | 150.7411 | 15196.6416 | 4.1817 | 4.1817 | 2.124e-14% | 15196.6416 | 1024 CH# | 256 CH# |  |  | 0.49958 | 3.1592 |  | 3 | 0 | 3.1592 | 0.49958 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
| 4 | 170.4805 | 46123.5871 | 4.6639 | 4.6639 | 1.904e-14% | 46123.5871 |  | 0 |  |  | 0.49958 | 3.1592 |  | 4 | 0 | 3.1592 | 0.49958 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
| 5 | 193.8106 | 171320.3674 | 5.2338 | 5.2338 | 1.697e-14% | 171320.3674 |  | 0 |  |  | 0.49958 | 3.1592 |  | 5 | 0 | 3.1592 | 0.49958 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
| 6 | 211.0919 | 452836.4012 | 5.6559 | 5.6559 | 1.57e-14% | 452836.4012 |  | 0 |  |  | 0.49958 | 3.1592 |  | 6 | 0 | 3.1592 | 0.49958 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
|  |  |  | Ave Residual |  | 2.04e-14% |  |  | 0 |  |  | 0.49958 | 3.1592 |  |  |  |  | Ave Residual |  | #DIV/0! |  |  |  | #DIV/0! | #DIV/0!
[6 empty] | Slope: | 0.024427 |  | 0 |  |  | 0.49958 | 3.1592 | [6 empty] | Slope: | #DIV/0! |  |  | #DIV/0! | #DIV/0!
[6 empty] | Intercept: | 0.49958 |  | 0 |  |  | 0.49958 | 3.1592 | [6 empty] | Intercept: | #DIV/0! |  |  | #DIV/0! | #DIV/0!
[6 empty] | Rsq: | 1 |  | 0 |  |  | 0.49958 | 3.1592 | [6 empty] | Rsq: | #DIV/0! |  |  | #DIV/0! | #DIV/0!
[9 empty] | 0 |  |  | 0.49958 | 3.1592 | [10 empty] | #DIV/0! | #DIV/0!
[12 empty] | 0.49958 | 3.1592 | [10 empty] | #DIV/0! | #DIV/0!
[12 empty] | 0.49958 | 3.1592 | [10 empty] | #DIV/0! | #DIV/0!
[8 empty] | TABLE NO. 2 | [15 empty] | #DIV/0! | #DIV/0!
[8 empty] | 1024 MEAN CH# |  | CONVERTED VALUES
[8 empty] | to 256 REL. CH# |  | CAN BE COPIED TO
[8 empty] | CONVERSION |  | THE CH# COLUMN BY
[8 empty] | 1024 CH# | 256 CH# | SELECTING THE CELLS
[9 empty] | #NUM! | TO BE COPIED; THEN,
[9 empty] | #NUM! | CLICKING [COPY],
[9 empty] | #NUM! | [PASTE SPECIAL], AND
[9 empty] | #NUM! | FINALLY [PASTE VALUE]
#NUM!
#NUM!
#NUM!
#NUM!
[8 empty] | TABLE NO. 3 |  | TABLE NO. 5
[8 empty] | 104 MEAN CH# |  | Determination of the
[8 empty] | to 256 REL. CH# |  | MEPCY/CH# for the
[8 empty] | CONVERSION |  | normalization cell or particle
[8 empty] | 104 CH# | 256 CH# | 256 CH# | 104 CH# | Calc. MEPCY | MEPCY/CH#
[9 empty] | #NUM! | 0 | 1 | 3.1592 | 3.1592
[9 empty] | #NUM! | 0 | 1 | 3.1592 | 3.1592
[9 empty] | #NUM! | 0 | 1 | 3.1592 | 3.1592
[9 empty] | #NUM! | 0 | 1 | 3.1592 | 3.1592
[9 empty] | #NUM! | 0 | 1 | 3.1592 | 3.1592
#NUM!
Ultra Rainbow Calibration Particles (URCP-50-2K) |  |  |  | Lot No.: |  | File # |  |  | #NUM! | TABLE NO. 6
[9 empty] | #NUM! | Determination of New MEPCY
Acceptable: |  |  | By: |  |  | Date: |  |  |  | values for URCP-38-2K
Action taken if not linear: | [7 empty] | TABLE NO. 4 |  | 256 CH# | 104 CH# | New MEPCY
[8 empty] | 105 MEAN CH# |  |  | 1 | 3.1592
[8 empty] | to 256 REL. CH# |  |  | 1 | 3.1592
[8 empty] | CONVERSION |  |  | 1 | 3.1592
[8 empty] | 105 CH# | 256 CH# |  | 1 | 3.1592
[9 empty] | #NUM! |  | 1 | 3.1592
[9 empty] | #NUM! |  | 1 | 3.1592
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
Note on J20: Use this Table to convert Beckman-Coulter 1024 Mean CH # to 256 Relative CH#
Note on J35: Use this Table to convert BD-FACS 104 Mean CH # to 256 Relative CH#
Note on J50: Use this Table to convert BD-FACS Canto 105 Mean CH # to 384 Relative CH#

## MEPCy5.5
TYPE THE NAME OF YOUR LAB HERE
| PMT LINEARITY QC RECORD | [12 empty] | Normalization Graph for Instrument B
[8 empty] | TABLE NO. 1 |  | CROSS CALIBRATION TABLE
| PEAK # | CH # | MEPCY5.5 | MEPCY5.5 LOG | CALC. | RESIDUAL | CALC. MEPCY5.5 | 1024 REL. CH# |  | FOR UNKNOWN SAMPLES |  |  |  |  | PEAK # | CH # | MEPCY5.5 | MEPCY5.5 LOG | CALC. | RESIDUAL | CALC. MEPCY5.5 | CROSS CALIBRATION TABLE
| 1 | 14.2222 |  |  | 2.695 |  | 495.4688 | to 256 REL. CH# |  | Sample | CH# | Calc. | Calc. MEPCY5.5 |  | 1 | 0 | 291.6365 | 2.4648 | #DIV/0! | #DIV/0! | #DIV/0! | FOR NORMALIZATION GRAPH
| 2 | 98.9041 | 11628.3996 | 4.0655 | 4.0655 | 0% | 11628.3996 | CONVERSION |  |  |  | 2.4648 | 291.6365 |  | 2 | 0 | 291.6365 | 2.4648 | #DIV/0! | #DIV/0! | #DIV/0! | Sample | CH# | Calc. | Calc. MEPCY5.5
| 3 | 145.2703 | 65451.0769 | 4.8159 | 4.8159 | 1.844e-14% | 65451.0769 | 1024 CH# | 256 CH# |  |  | 2.4648 | 291.6365 |  | 3 | 0 | 291.6365 | 2.4648 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
| 4 | 166.0894 | 142185.5621 | 5.1529 | 5.1529 | 1.724e-14% | 142185.5621 |  | 0 |  |  | 2.4648 | 291.6365 |  | 4 | 0 | 291.6365 | 2.4648 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
| 5 | 193.9495 | 401557.9486 | 5.6037 | 5.6037 | 1.585e-14% | 401557.9486 |  | 0 |  |  | 2.4648 | 291.6365 |  | 5 | 0 | 291.6365 | 2.4648 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
| 6 | 217.8728 | 979320.2134 | 5.9909 | 5.9909 | 0% | 979320.2134 |  | 0 |  |  | 2.4648 | 291.6365 |  | 6 | 0 | 291.6365 | 2.4648 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
|  |  |  | Ave Residual |  | 1.031e-14% |  |  | 0 |  |  | 2.4648 | 291.6365 |  |  |  |  | Ave Residual |  | #DIV/0! |  |  |  | #DIV/0! | #DIV/0!
[6 empty] | Slope: | 0.016184 |  | 0 |  |  | 2.4648 | 291.6365 | [6 empty] | Slope: | #DIV/0! |  |  | #DIV/0! | #DIV/0!
[6 empty] | Intercept: | 2.4648 |  | 0 |  |  | 2.4648 | 291.6365 | [6 empty] | Intercept: | #DIV/0! |  |  | #DIV/0! | #DIV/0!
[6 empty] | Rsq: | 1 |  | 0 |  |  | 2.4648 | 291.6365 | [6 empty] | Rsq: | #DIV/0! |  |  | #DIV/0! | #DIV/0!
[9 empty] | 0 |  |  | 2.4648 | 291.6365 | [10 empty] | #DIV/0! | #DIV/0!
[12 empty] | 2.4648 | 291.6365 | [10 empty] | #DIV/0! | #DIV/0!
[12 empty] | 2.4648 | 291.6365 | [10 empty] | #DIV/0! | #DIV/0!
[8 empty] | TABLE NO. 2 | [15 empty] | #DIV/0! | #DIV/0!
[8 empty] | 1024 MEAN CH# |  | CONVERTED VALUES
[8 empty] | to 256 REL. CH# |  | CAN BE COPIED TO
[8 empty] | CONVERSION |  | THE CH# COLUMN BY
[8 empty] | 1024 CH# | 256 CH# | SELECTING THE CELLS
[9 empty] | #NUM! | TO BE COPIED; THEN,
[9 empty] | #NUM! | CLICKING [COPY],
[9 empty] | #NUM! | [PASTE SPECIAL], AND
[9 empty] | #NUM! | FINALLY [PASTE VALUE]
#NUM!
#NUM!
#NUM!
#NUM!
[8 empty] | TABLE NO. 3 |  | TABLE NO. 5
[8 empty] | 104 MEAN CH# |  | Determination of the
[8 empty] | to 256 REL. CH# |  | MEPCY5.5/CH# for the
[8 empty] | CONVERSION |  | normalization cell or particle
[8 empty] | 104 CH# | 256 CH# | 256 CH# | 104 CH# | Calc. MEPCY5.5 | MEPCY5.5/CH#
[9 empty] | #NUM! | 0 | 1 | 291.6365 | 291.6365
[9 empty] | #NUM! | 0 | 1 | 291.6365 | 291.6365
[9 empty] | #NUM! | 0 | 1 | 291.6365 | 291.6365
[9 empty] | #NUM! | 0 | 1 | 291.6365 | 291.6365
[9 empty] | #NUM! | 0 | 1 | 291.6365 | 291.6365
#NUM!
Ultra Rainbow Calibration Particles (URCP-50-2K) |  |  |  | Lot No.: |  | File # |  |  | #NUM! | TABLE NO. 6
[9 empty] | #NUM! | Determination of New MEPCY5.5
Acceptable: |  |  | By: |  |  | Date: |  |  |  | values for URCP-38-2K
Action taken if not linear: | [7 empty] | TABLE NO. 4 |  | 256 CH# | 104 CH# | New MEPCY5.5
[8 empty] | 105 MEAN CH# |  |  | 1 | 291.6365
[8 empty] | to 256 REL. CH# |  |  | 1 | 291.6365
[8 empty] | CONVERSION |  |  | 1 | 291.6365
[8 empty] | 105 CH# | 256 CH# |  | 1 | 291.6365
[9 empty] | #NUM! |  | 1 | 291.6365
[9 empty] | #NUM! |  | 1 | 291.6365
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
Note on J20: Use this Table to convert Beckman-Coulter 1024 Mean CH # to 256 Relative CH#
Note on J35: Use this Table to convert BD-FACS 104 Mean CH # to 256 Relative CH#
Note on J50: Use this Table to convert BD-FACS Canto 105 Mean CH # to 384 Relative CH#

## MEPCY7
TYPE THE NAME OF YOUR LAB HERE
| PMT LINEARITY QC RECORD | [12 empty] | Normalization Graph for Instrument B
[8 empty] | TABLE NO. 1 |  | CROSS CALIBRATION TABLE
| PEAK # | CH # | MEPCY7 | MEPCY7 LOG | CALC. | RESIDUAL | CALC. MEPCY7 | 1024 REL. CH# |  | FOR UNKNOWN SAMPLES |  |  |  |  | PEAK # | CH # | MEPCY7 | MEPCY7 LOG | CALC. | RESIDUAL | CALC. MEPCY7 | CROSS CALIBRATION TABLE
| 1 | 69.7869 |  |  | 2.4348 |  | 272.1618 | to 256 REL. CH# |  | Sample | CH# | Calc. | Calc. MEPCY7 |  | 1 | 0 | 5.5914 | 0.74752 | #DIV/0! | #DIV/0! | #DIV/0! | FOR NORMALIZATION GRAPH
| 2 | 99.0689 | 1389.3367 | 3.1428 | 3.1428 | 2.826e-14% | 1389.3367 | CONVERSION |  |  |  | 0.74752 | 5.5914 |  | 2 | 0 | 5.5914 | 0.74752 | #DIV/0! | #DIV/0! | #DIV/0! | Sample | CH# | Calc. | Calc. MEPCY7
| 3 | 144.8868 | 17806.9767 | 4.2506 | 4.2506 | 2.09e-14% | 17806.9767 | 1024 CH# | 256 CH# |  |  | 0.74752 | 5.5914 |  | 3 | 0 | 5.5914 | 0.74752 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
| 4 | 165.9701 | 57589.2401 | 4.7603 | 4.7603 | 0% | 57589.2401 |  | 0 |  |  | 0.74752 | 5.5914 |  | 4 | 0 | 5.5914 | 0.74752 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
| 5 | 195.1855 | 292894.4638 | 5.4667 | 5.4667 | 1.625e-14% | 292894.4638 |  | 0 |  |  | 0.74752 | 5.5914 |  | 5 | 0 | 5.5914 | 0.74752 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
| 6 | 220.5923 | 1205021.8906 | 6.081 | 6.081 | 0% | 1205021.8906 |  | 0 |  |  | 0.74752 | 5.5914 |  | 6 | 0 | 5.5914 | 0.74752 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
|  |  |  | Ave Residual |  | 1.308e-14% |  |  | 0 |  |  | 0.74752 | 5.5914 |  |  |  |  | Ave Residual |  | #DIV/0! |  |  |  | #DIV/0! | #DIV/0!
[6 empty] | Slope: | 0.024178 |  | 0 |  |  | 0.74752 | 5.5914 | [6 empty] | Slope: | #DIV/0! |  |  | #DIV/0! | #DIV/0!
[6 empty] | Intercept: | 0.74752 |  | 0 |  |  | 0.74752 | 5.5914 | [6 empty] | Intercept: | #DIV/0! |  |  | #DIV/0! | #DIV/0!
[6 empty] | Rsq: | 1 |  | 0 |  |  | 0.74752 | 5.5914 | [6 empty] | Rsq: | #DIV/0! |  |  | #DIV/0! | #DIV/0!
[9 empty] | 0 |  |  | 0.74752 | 5.5914 | [10 empty] | #DIV/0! | #DIV/0!
[12 empty] | 0.74752 | 5.5914 | [10 empty] | #DIV/0! | #DIV/0!
[12 empty] | 0.74752 | 5.5914 | [10 empty] | #DIV/0! | #DIV/0!
[8 empty] | TABLE NO. 2 | [15 empty] | #DIV/0! | #DIV/0!
[8 empty] | 1024 MEAN CH# |  | CONVERTED VALUES
[8 empty] | to 256 REL. CH# |  | CAN BE COPIED TO
[8 empty] | CONVERSION |  | THE CH# COLUMN BY
[8 empty] | 1024 CH# | 256 CH# | SELECTING THE CELLS
[9 empty] | #NUM! | TO BE COPIED; THEN,
[9 empty] | #NUM! | CLICKING [COPY],
[9 empty] | #NUM! | [PASTE SPECIAL], AND
[9 empty] | #NUM! | FINALLY [PASTE VALUE]
#NUM!
#NUM!
#NUM!
#NUM!
[8 empty] | TABLE NO. 3 |  | TABLE NO. 5
[8 empty] | 104 MEAN CH# |  | Determination of the
[8 empty] | to 256 REL. CH# |  | MEPCY7/CH# for the
[8 empty] | CONVERSION |  | normalization cell or particle
[8 empty] | 104 CH# | 256 CH# | 256 CH# | 104 CH# | Calc. MEPCY7 | MEPCY7/CH#
[9 empty] | #NUM! | 0 | 1 | 5.5914 | 5.5914
[9 empty] | #NUM! | 0 | 1 | 5.5914 | 5.5914
[9 empty] | #NUM! | 0 | 1 | 5.5914 | 5.5914
[9 empty] | #NUM! | 0 | 1 | 5.5914 | 5.5914
[9 empty] | #NUM! | 0 | 1 | 5.5914 | 5.5914
#NUM!
Ultra Rainbow Calibration Particles (URCP-50-2K) |  |  |  | Lot No.: |  | File # |  |  | #NUM! | TABLE NO. 6
[9 empty] | #NUM! | Determination of New MEPCY7
Acceptable: |  |  | By: |  |  | Date: |  |  |  | values for URCP-38-2K
Action taken if not linear: | [7 empty] | TABLE NO. 4 |  | 256 CH# | 104 CH# | New MEPCY7
[8 empty] | 105 MEAN CH# |  |  | 1 | 5.5914
[8 empty] | to 256 REL. CH# |  |  | 1 | 5.5914
[8 empty] | CONVERSION |  |  | 1 | 5.5914
[8 empty] | 105 CH# | 256 CH# |  | 1 | 5.5914
[9 empty] | #NUM! |  | 1 | 5.5914
[9 empty] | #NUM! |  | 1 | 5.5914
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
Note on J20: Use this Table to convert Beckman-Coulter 1024 Mean CH # to 256 Relative CH#
Note on J35: Use this Table to convert BD-FACS 104 Mean CH # to 256 Relative CH#
Note on J50: Use this Table to convert BD-FACS 104 Mean CH # to 256 Relative CH#

## MEAP
TYPE THE NAME OF YOUR LAB HERE
| PMT LINEARITY QC RECORD | [12 empty] | Normalization Graph for Instrument B
[8 empty] | TABLE NO. 1 |  | CROSS CALIBRATION TABLE
| PEAK # | CH # | MEAP | MEAP LOG | CALC. | RESIDUAL | CALC. MEAP | 1024 REL. CH# |  | FOR UNKNOWN SAMPLES |  |  |  |  | PEAK # | CH # | MEAP | MEAP LOG | CALC. | RESIDUAL | CALC. MEAP | CROSS CALIBRATION TABLE
| 1 | 82.9567 |  |  | 3.2441 |  | 1754.4306 | to 256 REL. CH# |  | Sample | CH# | Calc. | Calc. MEAP |  | 1 | 0 | 43.9448 | 1.6429 | #DIV/0! | #DIV/0! | #DIV/0! | FOR NORMALIZATION GRAPH
| 2 | 125.1684 | 11452.6464 | 4.0589 | 4.0589 | 0% | 11452.6464 | CONVERSION |  |  |  | 1.6429 | 43.9448 |  | 2 | 0 | 43.9448 | 1.6429 | #DIV/0! | #DIV/0! | #DIV/0! | Sample | CH# | Calc. | Calc. MEAP
| 3 | 170.2262 | 84842.0267 | 4.9286 | 4.9286 | 1.802e-14% | 84842.0267 | 1024 CH# | 256 CH# |  |  | 1.6429 | 43.9448 |  | 3 | 0 | 43.9448 | 1.6429 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
| 4 | 189.9114 | 203505.3184 | 5.3086 | 5.3086 | 0% | 203505.3184 |  | 0 |  |  | 1.6429 | 43.9448 |  | 4 | 0 | 43.9448 | 1.6429 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
| 5 | 214.4151 | 604708.5333 | 5.7815 | 5.7815 | 0% | 604708.5333 |  | 0 |  |  | 1.6429 | 43.9448 |  | 5 | 0 | 43.9448 | 1.6429 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
| 6 | 231.4705 | 1290472.1999 | 6.1107 | 6.1107 | 1.453e-14% | 1290472.1999 |  | 0 |  |  | 1.6429 | 43.9448 |  | 6 | 0 | 43.9448 | 1.6429 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
|  |  |  | Ave Residual |  | 6.511e-15% |  |  | 0 |  |  | 1.6429 | 43.9448 |  |  |  |  | Ave Residual |  | #DIV/0! |  |  |  | #DIV/0! | #DIV/0!
[6 empty] | Slope: | 0.019302 |  | 0 |  |  | 1.6429 | 43.9448 | [6 empty] | Slope: | #DIV/0! |  |  | #DIV/0! | #DIV/0!
[6 empty] | Intercept: | 1.6429 |  | 0 |  |  | 1.6429 | 43.9448 | [6 empty] | Intercept: | #DIV/0! |  |  | #DIV/0! | #DIV/0!
[6 empty] | Rsq: | 1 |  | 0 |  |  | 1.6429 | 43.9448 | [6 empty] | Rsq: | #DIV/0! |  |  | #DIV/0! | #DIV/0!
[9 empty] | 0 |  |  | 1.6429 | 43.9448 | [10 empty] | #DIV/0! | #DIV/0!
[12 empty] | 1.6429 | 43.9448 | [10 empty] | #DIV/0! | #DIV/0!
[12 empty] | 1.6429 | 43.9448 | [10 empty] | #DIV/0! | #DIV/0!
[8 empty] | TABLE NO. 2 | [15 empty] | #DIV/0! | #DIV/0!
[8 empty] | 1024 MEAN CH# |  | CONVERTED VALUES
[8 empty] | to 256 REL. CH# |  | CAN BE COPIED TO
[8 empty] | CONVERSION |  | THE CH# COLUMN BY
[8 empty] | 1024 CH# | 256 CH# | SELECTING THE CELLS
[9 empty] | #NUM! | TO BE COPIED; THEN,
[9 empty] | #NUM! | CLICKING [COPY],
[9 empty] | #NUM! | [PASTE SPECIAL], AND
[9 empty] | #NUM! | FINALLY [PASTE VALUE]
#NUM!
#NUM!
#NUM!
#NUM!
[8 empty] | TABLE NO. 3 |  | TABLE NO. 5
[8 empty] | 104 MEAN CH# |  | Determination of the
[8 empty] | to 256 REL. CH# |  | MEAP/CH# for the
[8 empty] | CONVERSION |  | normalization cell or particle
[8 empty] | 104 CH# | 256 CH# | 256 CH# | 104 CH# | Calc. MEAP | MEAP/CH#
[9 empty] | #NUM! | 0 | 1 | 43.9448 | 43.9448
[9 empty] | #NUM! | 0 | 1 | 43.9448 | 43.9448
[9 empty] | #NUM! | 0 | 1 | 43.9448 | 43.9448
[9 empty] | #NUM! | 0 | 1 | 43.9448 | 43.9448
[9 empty] | #NUM! | 0 | 1 | 43.9448 | 43.9448
#NUM!
Ultra Rainbow Calibration Particles (URCP-50-2K) |  |  |  | Lot No.: |  | File # |  |  | #NUM! | TABLE NO. 6
[9 empty] | #NUM! | Determination of New MEAP
Acceptable: |  |  | By: |  |  | Date: |  |  |  | values for URCP-38-2K
Action taken if not linear: | [7 empty] | TABLE NO. 4 |  | 256 CH# | 104 CH# | New MEAP
[8 empty] | 105 MEAN CH# |  |  | 1 | 43.9448
[8 empty] | to 256 REL. CH# |  |  | 1 | 43.9448
[8 empty] | CONVERSION |  |  | 1 | 43.9448
[8 empty] | 105 CH# | 256 CH# |  | 1 | 43.9448
[9 empty] | #NUM! |  | 1 | 43.9448
[9 empty] | #NUM! |  | 1 | 43.9448
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
Note on J20: Use this Table to convert Beckman-Coulter 1024 Mean CH # to 256 Relative CH#
Note on J35: Use this Table to convert BD-FACS 104 Mean CH # to 256 Relative CH#
Note on J50: Use this Table to convert BD-FACS Canto 105 Mean CH # to 384 Relative CH#

## MEAlexa 700
TYPE THE NAME OF YOUR LAB HERE
| PMT LINEARITY QC RECORD | [12 empty] | Normalization Graph for Instrument B
[8 empty] | TABLE NO. 1 |  | CROSS CALIBRATION TABLE
| PEAK # | CH # | MEAX700 | MEAX700 LOG | CALC. | RESIDUAL | CALC. MEAX 700 | 1024 REL. CH# |  | FOR UNKNOWN SAMPLES |  |  |  |  | PEAK # | CH # | MEAX700 | MEAX700 LOG | CALC. | RESIDUAL | CALC. MEAX 700 | CROSS CALIBRATION TABLE
| 1 | 66.8507 |  |  | 3.3824 |  | 2412.1467 | to 256 REL. CH# |  | Sample | CH# | Calc. | Calc. MEAX 700 |  | 1 | 0 | 98.0637 | 1.9915 | #DIV/0! | #DIV/0! | #DIV/0! | FOR NORMALIZATION GRAPH
| 2 | 111.4011 | 20616.56 | 4.3142 | 4.3093 | 0.1136% | 20385.4048 | CONVERSION |  |  |  | 1.9915 | 98.0637 |  | 2 | 0 | 98.0637 | 1.9915 | #DIV/0! | #DIV/0! | #DIV/0! | Sample | CH# | Calc. | Calc. MEAX 700
| 3 | 157.8387 | 185848.1473 | 5.2692 | 5.2755 | 0.1202% | 188581.6608 | 1024 CH# | 256 CH# |  |  | 1.9915 | 98.0637 |  | 3 | 0 | 98.0637 | 1.9915 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
| 4 | 177.7862 | 486731.6464 | 5.6873 | 5.6905 | 0.0569% | 490374.3818 |  | 0 |  |  | 1.9915 | 98.0637 |  | 4 | 0 | 98.0637 | 1.9915 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
| 5 | 203.7297 | 1702570.5072 | 6.2311 | 6.2303 | 0.0128% | 1699446.664 |  | 0 |  |  | 1.9915 | 98.0637 |  | 5 | 0 | 98.0637 | 1.9915 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
| 6 | 223.5768 | 4437433.0376 | 6.6471 | 6.6432 | 0.05848% | 4397915.0237 |  | 0 |  |  | 1.9915 | 98.0637 |  | 6 | 0 | 98.0637 | 1.9915 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
|  |  |  | Ave Residual |  | 0.0724% |  |  | 0 |  |  | 1.9915 | 98.0637 |  |  |  |  | Ave Residual |  | #DIV/0! |  |  |  | #DIV/0! | #DIV/0!
[6 empty] | Slope: | 0.020806 |  | 0 |  |  | 1.9915 | 98.0637 | [6 empty] | Slope: | #DIV/0! |  |  | #DIV/0! | #DIV/0!
[6 empty] | Intercept: | 1.9915 |  | 0 |  |  | 1.9915 | 98.0637 | [6 empty] | Intercept: | #DIV/0! |  |  | #DIV/0! | #DIV/0!
[6 empty] | Rsq: | 0.99997 |  | 0 |  |  | 1.9915 | 98.0637 | [6 empty] | Rsq: | #DIV/0! |  |  | #DIV/0! | #DIV/0!
[9 empty] | 0 |  |  | 1.9915 | 98.0637 | [10 empty] | #DIV/0! | #DIV/0!
[12 empty] | 1.9915 | 98.0637 | [10 empty] | #DIV/0! | #DIV/0!
[12 empty] | 1.9915 | 98.0637 | [10 empty] | #DIV/0! | #DIV/0!
[8 empty] | TABLE NO. 2 | [15 empty] | #DIV/0! | #DIV/0!
[8 empty] | 1024 MEAN CH# |  | CONVERTED VALUES
[8 empty] | to 256 REL. CH# |  | CAN BE COPIED TO
[8 empty] | CONVERSION |  | THE CH# COLUMN BY
[8 empty] | 1024 CH# | 256 CH# | SELECTING THE CELLS
[9 empty] | #NUM! | TO BE COPIED; THEN,
[9 empty] | #NUM! | CLICKING [COPY],
[9 empty] | #NUM! | [PASTE SPECIAL], AND
[9 empty] | #NUM! | FINALLY [PASTE VALUE]
#NUM!
#NUM!
#NUM!
#NUM!
[8 empty] | TABLE NO. 3 |  | TABLE NO. 5
[8 empty] | 104 MEAN CH# |  | Determination of the
[8 empty] | to 256 REL. CH# |  | MEAX 700/CH# for the
[8 empty] | CONVERSION |  | normalization cell or particle
[8 empty] | 104 CH# | 256 CH# | 256 CH# | 104 CH# | Calc. MEAX 700 | MEAX 700/CH#
[9 empty] | #NUM! | 0 | 1 | 98.0637 | 98.0637
[9 empty] | #NUM! | 0 | 1 | 98.0637 | 98.0637
[9 empty] | #NUM! | 0 | 1 | 98.0637 | 98.0637
[9 empty] | #NUM! | 0 | 1 | 98.0637 | 98.0637
[9 empty] | #NUM! | 0 | 1 | 98.0637 | 98.0637
#NUM!
Ultra Rainbow Calibration Particles (URCP-50-2K) |  |  |  | Lot No.: |  | File # |  |  | #NUM! | TABLE NO. 6
[9 empty] | #NUM! | Determination of New MEAX 700
Acceptable: |  |  | By: |  |  | Date: |  |  |  | values for URCP-38-2K
Action taken if not linear: | [7 empty] | TABLE NO. 4 |  | 256 CH# | 104 CH# | New MEAX 700
[8 empty] | 105 MEAN CH# |  |  | 1 | 98.0637
[8 empty] | to 256 REL. CH# |  |  | 1 | 98.0637
[8 empty] | CONVERSION |  |  | 1 | 98.0637
[8 empty] | 105 CH# | 256 CH# |  | 1 | 98.0637
[9 empty] | #NUM! |  | 1 | 98.0637
[9 empty] | #NUM! |  | 1 | 98.0637
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
Note on J20: Use this Table to convert Beckman-Coulter 1024 Mean CH # to 256 Relative CH#
Note on J35: Use this Table to convert BD-FACS 104 Mean CH # to 256 Relative CH#
Note on J50: Use this Table to convert BD-FACS Canto 105 Mean CH # to 384 Relative CH#

## MEAPCY7
TYPE THE NAME OF YOUR LAB HERE
| PMT LINEARITY QC RECORD | [12 empty] | Normalization Graph for Instrument B
[8 empty] | TABLE NO. 1 |  | CROSS CALIBRATION TABLE
| PEAK # | CH # | MEAPCY7 | MEAPCY7 LOG | CALC. | RESIDUAL | CALC. MEAPCY7 | 1024 REL. CH# |  | FOR UNKNOWN SAMPLES |  |  |  |  | PEAK # | CH # | MEAPCY7 | MEAPCY7 LOG | CALC. | RESIDUAL | CALC. MEAPCY7 | CROSS CALIBRATION TABLE
| 1 | 67.6251 |  |  | 2.5024 |  | 317.9593 | to 256 REL. CH# |  | Sample | CH# | Calc. | Calc. MEAPCY7 |  | 1 | 0 | 12.5981 | 1.1003 | #DIV/0! | #DIV/0! | #DIV/0! | FOR NORMALIZATION GRAPH
| 2 | 111.1293 | 2537.1318 | 3.4043 | 3.4043 | 2.609e-14% | 2537.1318 | CONVERSION |  |  |  | 1.1003 | 12.5981 |  | 2 | 0 | 12.5981 | 1.1003 | #DIV/0! | #DIV/0! | #DIV/0! | Sample | CH# | Calc. | Calc. MEAPCY7
| 3 | 156.8708 | 22526.7252 | 4.3527 | 4.3527 | 2.041e-14% | 22526.7252 | 1024 CH# | 256 CH# |  |  | 1.1003 | 12.5981 |  | 3 | 0 | 12.5981 | 1.1003 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
| 4 | 176.8851 | 58567.022 | 4.7677 | 4.7677 | 0% | 58567.022 |  | 0 |  |  | 1.1003 | 12.5981 |  | 4 | 0 | 12.5981 | 1.1003 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
| 5 | 202.894 | 202718.6799 | 5.3069 | 5.3069 | 1.674e-14% | 202718.6799 |  | 0 |  |  | 1.1003 | 12.5981 |  | 5 | 0 | 12.5981 | 1.1003 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
| 6 | 222.7021 | 521885.1344 | 5.7176 | 5.7176 | 1.553e-14% | 521885.1344 |  | 0 |  |  | 1.1003 | 12.5981 |  | 6 | 0 | 12.5981 | 1.1003 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
|  |  |  | Ave Residual |  | 1.575e-14% |  |  | 0 |  |  | 1.1003 | 12.5981 |  |  |  |  | Ave Residual |  | #DIV/0! |  |  |  | #DIV/0! | #DIV/0!
[6 empty] | Slope: | 0.020733 |  | 0 |  |  | 1.1003 | 12.5981 | [6 empty] | Slope: | #DIV/0! |  |  | #DIV/0! | #DIV/0!
[6 empty] | Intercept: | 1.1003 |  | 0 |  |  | 1.1003 | 12.5981 | [6 empty] | Intercept: | #DIV/0! |  |  | #DIV/0! | #DIV/0!
[6 empty] | Rsq: | 1 |  | 0 |  |  | 1.1003 | 12.5981 | [6 empty] | Rsq: | #DIV/0! |  |  | #DIV/0! | #DIV/0!
[9 empty] | 0 |  |  | 1.1003 | 12.5981 | [10 empty] | #DIV/0! | #DIV/0!
[12 empty] | 1.1003 | 12.5981 | [10 empty] | #DIV/0! | #DIV/0!
[12 empty] | 1.1003 | 12.5981 | [10 empty] | #DIV/0! | #DIV/0!
[8 empty] | TABLE NO. 2 | [15 empty] | #DIV/0! | #DIV/0!
[8 empty] | 1024 MEAN CH# |  | CONVERTED VALUES
[8 empty] | to 256 REL. CH# |  | CAN BE COPIED TO
[8 empty] | CONVERSION |  | THE CH# COLUMN BY
[8 empty] | 1024 CH# | 256 CH# | SELECTING THE CELLS
[9 empty] | #NUM! | TO BE COPIED; THEN,
[9 empty] | #NUM! | CLICKING [COPY],
[9 empty] | #NUM! | [PASTE SPECIAL], AND
[9 empty] | #NUM! | FINALLY [PASTE VALUE]
#NUM!
#NUM!
#NUM!
#NUM!
[8 empty] | TABLE NO. 3 |  | TABLE NO. 5
[8 empty] | 104 MEAN CH# |  | Determination of the
[8 empty] | to 256 REL. CH# |  | MEAPCY7/CH# for the
[8 empty] | CONVERSION |  | normalization cell or particle
[8 empty] | 104 CH# | 256 CH# | 256 CH# | 104 CH# | Calc. MEAPCY7 | MEAPCY7/CH#
[9 empty] | #NUM! | 0 | 1 | 12.5981 | 12.5981
[9 empty] | #NUM! | 0 | 1 | 12.5981 | 12.5981
[9 empty] | #NUM! | 0 | 1 | 12.5981 | 12.5981
[9 empty] | #NUM! | 0 | 1 | 12.5981 | 12.5981
[9 empty] | #NUM! | 0 | 1 | 12.5981 | 12.5981
#NUM!
Ultra Rainbow Calibration Particles (URCP-50-2K) |  |  |  | Lot No.: |  | File # |  |  | #NUM! | TABLE NO. 6
[9 empty] | #NUM! | Determination of New MEAPCY7
Acceptable: |  |  | By: |  |  | Date: |  |  |  | values for URCP-38-2K
Action taken if not linear: | [7 empty] | TABLE NO. 4 |  | 256 CH# | 104 CH# | New MEAPCY7
[8 empty] | 105 MEAN CH# |  |  | 1 | 12.5981
[8 empty] | to 256 REL. CH# |  |  | 1 | 12.5981
[8 empty] | CONVERSION |  |  | 1 | 12.5981
[8 empty] | 105 CH# | 256 CH# |  | 1 | 12.5981
[9 empty] | #NUM! |  | 1 | 12.5981
[9 empty] | #NUM! |  | 1 | 12.5981
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
Note on J20: Use this Table to convert Beckman-Coulter 1024 Mean CH # to 256 Relative CH#
Note on J35: Use this Table to convert BD-FACS 104 Mean CH # to 256 Relative CH#
Note on J50: Use this Table to convert BD-FACS Canto 105 Mean CH # to 384 Relative CH#