## MEPB
TYPE THE NAME OF YOUR LAB HERE
| PMT LINEARITY QC RECORD | [12 empty] | Normalization Graph for Instrument B
[8 empty] | TABLE NO. 1 |  | CROSS CALIBRATION TABLE
| PEAK # | CH # | MEPB | MEPB LOG | CALC. | RESIDUAL | CALC. MEPB | 1024 REL. CH# |  | FOR UNKNOWN SAMPLES |  |  |  |  | PEAK # | CH # | MEPB | MEPB LOG | CALC. | RESIDUAL | CALC. MEPB | CROSS CALIBRATION TABLE
| 1 | 124.7501 |  |  | 2.0874 |  | 122.2952 | to 256 REL. CH# |  | Sample | CH# | Calc. | Calc. MEPB |  | 1 | 0 | 0.31466 | -0.50216 | #DIV/0! | #DIV/0! | #DIV/0! | FOR NORMALIZATION GRAPH
| 2 | 164.0157 | 798.891 | 2.9025 | 2.9025 | 1.53e-13% | 798.891 | CONVERSION |  |  |  | -0.50216 | 0.31466 |  | 2 | 0 | 0.31466 | -0.50216 | #DIV/0! | #DIV/0! | #DIV/0! | Sample | CH# | Calc. | Calc. MEPB
| 3 | 185.998 | 2284.5276 | 3.3588 | 3.3588 | 0% | 2284.5276 | 1024 CH# | 256 CH# |  |  | -0.50216 | 0.31466 |  | 3 | 0 | 0.31466 | -0.50216 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
| 4 | 208.1532 | 6587.1268 | 3.8187 | 3.8187 | 2.326e-13% | 6587.1268 |  | 0 |  |  | -0.50216 | 0.31466 |  | 4 | 0 | 0.31466 | -0.50216 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
| 5 | 229.3839 | 18172.0455 | 4.2594 | 4.2594 | 0% | 18172.0455 |  | 0 |  |  | -0.50216 | 0.31466 |  | 5 | 0 | 0.31466 | -0.50216 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
| 6 | 242.662 | 34279.1953 | 4.535 | 4.535 | 0% | 34279.1953 |  | 0 |  |  | -0.50216 | 0.31466 |  | 6 | 0 | 0.31466 | -0.50216 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
|  |  |  | Ave Residual |  | 7.712e-14% |  |  | 0 |  |  | -0.50216 | 0.31466 |  |  |  |  | Ave Residual |  | #DIV/0! |  |  |  | #DIV/0! | #DIV/0!
[6 empty] | Slope: | 0.020758 |  | 0 |  |  | -0.50216 | 0.31466 | [6 empty] | Slope: | #DIV/0! |  |  | #DIV/0! | #DIV/0!
[6 empty] | Intercept: | -0.50216 |  | 0 |  |  | -0.50216 | 0.31466 | [6 empty] | Intercept: | #DIV/0! |  |  | #DIV/0! | #DIV/0!
[6 empty] | Rsq: | 1 |  | 0 |  |  | -0.50216 | 0.31466 | [6 empty] | Rsq: | #DIV/0! |  |  | #DIV/0! | #DIV/0!
[9 empty] | 0 |  |  | -0.50216 | 0.31466 | [10 empty] | #DIV/0! | #DIV/0!
[12 empty] | -0.50216 | 0.31466 | [10 empty] | #DIV/0! | #DIV/0!
[12 empty] | -0.50216 | 0.31466 | [10 empty] | #DIV/0! | #DIV/0!
[8 empty] | TABLE NO. 2 | [15 empty] | #DIV/0! | #DIV/0!
[8 empty] | 1024 MEAN CH# |  | CONVERTED VALUES
[8 empty] | to 256 REL. CH# |  | CAN BE COPIED TO
[8 empty] | CONVERSION |  | THE CH# COLUMN BY
[8 empty] | 1024 CH# | 256 CH# | SELECTING THE CELLS
[9 empty] | #NUM! | TO BE COPIED; THEN,
[9 empty] | #NUM! | CLICKING [COPY],
[9 empty] | #NUM! | [PASTE SPECIAL], AND
[9 empty] | #NUM! | FINALLY [PASTE VALUE]
#NUM!
#NUM!
#NUM!
#NUM!
[8 empty] | TABLE NO. 3 |  | TABLE NO. 5
[8 empty] | 104 MEAN CH# |  | Determination of the
[8 empty] | to 256 REL. CH# |  | MEPB/CH# for the
[8 empty] | CONVERSION |  | normalization cell or particle
[8 empty] | 104 CH# | 256 CH# | 256 CH# | 104 CH# | Calc. MEPB | MEPB/CH#
[9 empty] | #NUM! | 0 | 1 | 0.31466 | 0.31466
[9 empty] | #NUM! | 0 | 1 | 0.31466 | 0.31466
[9 empty] | #NUM! | 0 | 1 | 0.31466 | 0.31466
[9 empty] | #NUM! | 0 | 1 | 0.31466 | 0.31466
[9 empty] | #NUM! | 0 | 1 | 0.31466 | 0.31466
|  |  |  | Lot No.: |  | File # |  |  | #NUM!
[9 empty] | #NUM! | TABLE NO. 6
Rainbow Calibration Particles (RCP-30-5) | [8 empty] | #NUM! | Determination of New MEPB
Acceptable: |  |  | By: |  |  | Date: |  |  |  | values for RCP-30-5
Action taken if not linear: | [7 empty] | TABLE NO. 4 |  | 256 CH# | 104 CH# | New MEPB
[8 empty] | 105 MEAN CH# |  |  | 1 | 0.31466
[8 empty] | to 256 REL. CH# |  |  | 1 | 0.31466
[8 empty] | CONVERSION |  |  | 1 | 0.31466
[8 empty] | 105 CH# | 256 CH# |  | 1 | 0.31466
[9 empty] | #NUM! |  | 1 | 0.31466
[9 empty] | #NUM! |  | 1 | 0.31466
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
Note on J20: Use this Table to convert Beckman-Coulter 1024 Mean CH # to 256 Relative CH#
Note on J35: Use this Table to convert BD-FACS 104 Mean CH # to 256 Relative CH#
Note on J50: Use this Table to convert BD-FACS Canto 105 Mean CH # to 384 Relative CH#

## MEKO
TYPE THE NAME OF YOUR LAB HERE
| PMT LINEARITY QC RECORD | [12 empty] | Normalization Graph for Instrument B
[8 empty] | TABLE NO. 1 |  | CROSS CALIBRATION TABLE
| PEAK # | CH # | MEKO | MEKO LOG | CALC. | RESIDUAL | CALC. MEKO | 1024 REL. CH# |  | FOR UNKNOWN SAMPLES |  |  |  |  | PEAK # | CH # | MEKO | MEKO LOG | CALC. | RESIDUAL | CALC. MEKO | CROSS CALIBRATION TABLE
| 1 | 101.3942 |  |  | 2.2649 |  | 184.0354 | to 256 REL. CH# |  | Sample | CH# | Calc. | Calc. MEKO |  | 1 | 0 | 0.93133 | -0.030896 | #DIV/0! | #DIV/0! | #DIV/0! | FOR NORMALIZATION GRAPH
| 2 | 157.0272 | 3346.251 | 3.5246 | 3.5246 | 1.26e-13% | 3346.251 | CONVERSION |  |  |  | -0.030896 | 0.93133 |  | 2 | 0 | 0.93133 | -0.030896 | #DIV/0! | #DIV/0! | #DIV/0! | Sample | CH# | Calc. | Calc. MEKO
| 3 | 181.0284 | 11695.0037 | 4.068 | 4.068 | 0% | 11695.0037 | 1024 CH# | 256 CH# |  |  | -0.030896 | 0.93133 |  | 3 | 0 | 0.93133 | -0.030896 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
| 4 | 204.285 | 39317.3698 | 4.5946 | 4.5946 | 0% | 39317.3698 |  | 0 |  |  | -0.030896 | 0.93133 |  | 4 | 0 | 0.93133 | -0.030896 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
| 5 | 228.5496 | 139311.9147 | 5.144 | 5.144 | 1.727e-13% | 139311.9147 |  | 0 |  |  | -0.030896 | 0.93133 |  | 5 | 0 | 0.93133 | -0.030896 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
| 6 | 246.5418 | 355937.9947 | 5.5514 | 5.5514 | 0% | 355937.9947 |  | 0 |  |  | -0.030896 | 0.93133 |  | 6 | 0 | 0.93133 | -0.030896 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
|  |  |  | Ave Residual |  | 5.973e-14% |  |  | 0 |  |  | -0.030896 | 0.93133 |  |  |  |  | Ave Residual |  | #DIV/0! |  |  |  | #DIV/0! | #DIV/0!
[6 empty] | Slope: | 0.022642 |  | 0 |  |  | -0.030896 | 0.93133 | [6 empty] | Slope: | #DIV/0! |  |  | #DIV/0! | #DIV/0!
[6 empty] | Intercept: | -0.030896 |  | 0 |  |  | -0.030896 | 0.93133 | [6 empty] | Intercept: | #DIV/0! |  |  | #DIV/0! | #DIV/0!
[6 empty] | Rsq: | 1 |  | 0 |  |  | -0.030896 | 0.93133 | [6 empty] | Rsq: | #DIV/0! |  |  | #DIV/0! | #DIV/0!
[9 empty] | 0 |  |  | -0.030896 | 0.93133 | [10 empty] | #DIV/0! | #DIV/0!
[12 empty] | -0.030896 | 0.93133 | [10 empty] | #DIV/0! | #DIV/0!
[12 empty] | -0.030896 | 0.93133 | [10 empty] | #DIV/0! | #DIV/0!
[8 empty] | TABLE NO. 2 | [15 empty] | #DIV/0! | #DIV/0!
[8 empty] | 1024 MEAN CH# |  | CONVERTED VALUES
[8 empty] | to 256 REL. CH# |  | CAN BE COPIED TO
[8 empty] | CONVERSION |  | THE CH# COLUMN BY
[8 empty] | 1024 CH# | 256 CH# | SELECTING THE CELLS
[9 empty] | #NUM! | TO BE COPIED; THEN,
[9 empty] | #NUM! | CLICKING [COPY],
[9 empty] | #NUM! | [PASTE SPECIAL], AND
[9 empty] | #NUM! | FINALLY [PASTE VALUE]
#NUM!
#NUM!
#NUM!
#NUM!
[8 empty] | TABLE NO. 3 |  | TABLE NO. 5
[8 empty] | 104 MEAN CH# |  | Determination of the
[8 empty] | to 256 REL. CH# |  | MEKO/CH# for the
[8 empty] | CONVERSION |  | normalization cell or particle
[8 empty] | 104 CH# | 256 CH# | 256 CH# | 104 CH# | Calc. MEKO | MEKO/CH#
[9 empty] | #NUM! | 0 | 1 | 0.93133 | 0.93133
[9 empty] | #NUM! | 0 | 1 | 0.93133 | 0.93133
[9 empty] | #NUM! | 0 | 1 | 0.93133 | 0.93133
[9 empty] | #NUM! | 0 | 1 | 0.93133 | 0.93133
[9 empty] | #NUM! | 0 | 1 | 0.93133 | 0.93133
|  |  |  | Lot No.: |  | File # |  |  | #NUM!
[9 empty] | #NUM! | TABLE NO. 6
Rainbow Calibration Particles (RCP-30-5) | [8 empty] | #NUM! | Determination of New MEKO
Acceptable: |  |  | By: |  |  | Date: |  |  |  | values for RCP-30-5
Action taken if not linear: | [7 empty] | TABLE NO. 4 |  | 256 CH# | 104 CH# | New MEKO
[8 empty] | 105 MEAN CH# |  |  | 1 | 0.93133
[8 empty] | to 256 REL. CH# |  |  | 1 | 0.93133
[8 empty] | CONVERSION |  |  | 1 | 0.93133
[8 empty] | 105 CH# | 256 CH# |  | 1 | 0.93133
[9 empty] | #NUM! |  | 1 | 0.93133
[9 empty] | #NUM! |  | 1 | 0.93133
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
Note on J20: Use this Table to convert Beckman-Coulter 1024 Mean CH # to 256 Relative CH#
Note on J35: Use this Table to convert BD-FACS 104 Mean CH # to 256 Relative CH#
Note on J50: Use this Table to convert BD-FACS Canto 105 Mean CH # to 384 Relative CH#

## MEFL
TYPE THE NAME OF YOUR LAB HERE
| PMT LINEARITY QC RECORD | [12 empty] | Normalization Graph for Instrument B
[8 empty] | TABLE NO. 1 |  | CROSS CALIBRATION TABLE
| PEAK # | CH # | MEFL | MEFL LOG | CALC. | RESIDUAL | CALC. MEFL | 1024 REL. CH# |  | FOR UNKNOWN SAMPLES |  |  |  |  | PEAK # | CH # | MEFL | MEFL LOG | CALC. | RESIDUAL | CALC. MEFL | CROSS CALIBRATION TABLE
| 1 | 51 |  |  | 1.573 |  | 37.4074 | to 256 REL. CH# |  | Sample | CH# | Calc. | Calc. MEFL |  | 1 | 0 | 3.0788 | 0.48838 | #DIV/0! | #DIV/0! | #DIV/0! | FOR NORMALIZATION GRAPH
| 2 | 146 | 3900 | 3.5911 | 3.5932 | 0.606% | 3919.6026 | CONVERSION |  |  |  | 0.48838 | 3.0788 |  | 2 | 0 | 3.0788 | 0.48838 | #DIV/0! | #DIV/0! | #DIV/0! | Sample | CH# | Calc. | Calc. MEFL
| 3 | 171 | 13226 | 4.1214 | 4.1249 | 0.8406% | 13332.0212 | 1024 CH# | 256 CH# |  |  | 0.48838 | 3.0788 |  | 3 | 0 | 3.0788 | 0.48838 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
| 4 | 193 | 40106 | 4.6032 | 4.5928 | 2.277% | 39151.7766 |  | 0 |  |  | 0.48838 | 3.0788 |  | 4 | 0 | 3.0788 | 0.48838 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
| 5 | 216 | 120667 | 5.0816 | 5.0819 | 0.056% | 120746.0999 |  | 0 |  |  | 0.48838 | 3.0788 |  | 5 | 0 | 3.0788 | 0.48838 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
| 6 | 231 | 249079 | 5.3963 | 5.4009 | 0.8385% | 251689.7239 |  | 0 |  |  | 0.48838 | 3.0788 |  | 6 | 0 | 3.0788 | 0.48838 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
|  |  |  | Ave Residual |  | 0.9236% |  |  | 0 |  |  | 0.48838 | 3.0788 |  |  |  |  | Ave Residual |  | #DIV/0! |  |  |  | #DIV/0! | #DIV/0!
[6 empty] | Slope: | 0.021266 |  | 0 |  |  | 0.48838 | 3.0788 | [6 empty] | Slope: | #DIV/0! |  |  | #DIV/0! | #DIV/0!
[6 empty] | Intercept: | 0.48838 |  | 0 |  |  | 0.48838 | 3.0788 | [6 empty] | Intercept: | #DIV/0! |  |  | #DIV/0! | #DIV/0!
[6 empty] | Rsq: | 0.99993 |  | 0 |  |  | 0.48838 | 3.0788 | [6 empty] | Rsq: | #DIV/0! |  |  | #DIV/0! | #DIV/0!
[9 empty] | 0 |  |  | 0.48838 | 3.0788 | [10 empty] | #DIV/0! | #DIV/0!
[12 empty] | 0.48838 | 3.0788 | [10 empty] | #DIV/0! | #DIV/0!
[12 empty] | 0.48838 | 3.0788 | [10 empty] | #DIV/0! | #DIV/0!
[8 empty] | TABLE NO. 2 | [15 empty] | #DIV/0! | #DIV/0!
[8 empty] | 1024 MEAN CH# |  | CONVERTED VALUES
[8 empty] | to 256 REL. CH# |  | CAN BE COPIED TO
[8 empty] | CONVERSION |  | THE CH# COLUMN BY
[8 empty] | 1024 CH# | 256 CH# | SELECTING THE CELLS
[9 empty] | #NUM! | TO BE COPIED; THEN,
[9 empty] | #NUM! | CLICKING [COPY],
[9 empty] | #NUM! | [PASTE SPECIAL], AND
[9 empty] | #NUM! | FINALLY [PASTE VALUE]
#NUM!
#NUM!
#NUM!
#NUM!
[8 empty] | TABLE NO. 3 |  | TABLE NO. 5
[8 empty] | 104 MEAN CH# |  | Determination of the
[8 empty] | to 256 REL. CH# |  | MEFL/CH# for the
[8 empty] | CONVERSION |  | normalization cell or particle
[8 empty] | 104 CH# | 256 CH# | 256 CH# | 104 CH# | Calc. MEFL | MEFL/CH#
[9 empty] | #NUM! | 0 | 1 | 3.0788 | 3.0788
[9 empty] | #NUM! | 0 | 1 | 3.0788 | 3.0788
[9 empty] | #NUM! | 0 | 1 | 3.0788 | 3.0788
[9 empty] | #NUM! | 0 | 1 | 3.0788 | 3.0788
[9 empty] | #NUM! | 0 | 1 | 3.0788 | 3.0788
|  |  |  | Lot No.: |  | File # |  |  | #NUM!
[9 empty] | #NUM! | TABLE NO. 6
Rainbow Calibration Particles (RCP-30-5) | [8 empty] | #NUM! | Determination of New MEFL
Acceptable: |  |  | By: |  |  | Date: |  |  |  | values for RCP-30-5
Action taken if not linear: | [7 empty] | TABLE NO. 4 |  | 256 CH# | 104 CH# | New MEFL
[8 empty] | 105 MEAN CH# |  |  | 1 | 3.0788
[8 empty] | to 256 REL. CH# |  |  | 1 | 3.0788
[8 empty] | CONVERSION |  |  | 1 | 3.0788
[8 empty] | 105 CH# | 256 CH# |  | 1 | 3.0788
[9 empty] | #NUM! |  | 1 | 3.0788
[9 empty] | #NUM! |  | 1 | 3.0788
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
Note on J20: Use this Table to convert Beckman-Coulter 1024 Mean CH # to 256 Relative CH#
Note on J35: Use this Table to convert BD-FACS 104 Mean CH # to 256 Relative CH#
Note on J50: Use this Table to convert BD-FACS Canto 105 Mean CH # to 384 Relative CH#

## MEPE
TYPE THE NAME OF YOUR LAB HERE
| PMT LINEARITY QC RECORD | [12 empty] | Normalization Graph for Instrument B
[8 empty] | TABLE NO. 1 |  | CROSS CALIBRATION TABLE
| PEAK # | CH # | MEPE | MEPE LOG | CALC. | RESIDUAL | CALC. MEPE | 1024 REL. CH# |  | FOR UNKNOWN SAMPLES |  |  |  | PEAK # | CH # | MEPE | MEPE LOG | CALC. | RESIDUAL | CALC. MEPE | CROSS CALIBRATION TABLE
| 1 | 102 |  |  | 2.3799 |  | 239.8268 | to 256 REL. CH# |  | Sample | CH# | Calc. | Calc. MEPE | 1 | 0 | 1.537 | 0.18668 | #DIV/0! | #DIV/0! | #DIV/0! | FOR NORMALIZATION GRAPH
| 2 | 153 | 2947 | 3.4694 | 3.4765 | 2.05% | 2995.7567 | CONVERSION |  |  |  | 0.18668 | 1.537 | 2 | 0 | 1.537 | 0.18668 | #DIV/0! | #DIV/0! | #DIV/0! | Sample | CH# | Calc. | Calc. MEPE
| 3 | 176 | 9553 | 3.9801 | 3.9711 | 2.288% | 9355.2547 | 1024 CH# | 256 CH# |  |  | 0.18668 | 1.537 | 3 | 0 | 1.537 | 0.18668 | #DIV/0! | #DIV/0! | #DIV/0! |  | 200 | #DIV/0! | #DIV/0!
| 4 | 199 | 29201 | 4.4654 | 4.4656 | 0.04635% | 29214.919 |  | 0 |  |  | 0.18668 | 1.537 | 4 | 0 | 1.537 | 0.18668 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
| 5 | 222 | 91839 | 4.963 | 4.9602 | 0.5793% | 91233.3785 |  | 0 |  |  | 0.18668 | 1.537 | 5 | 0 | 1.537 | 0.18668 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
| 6 | 239 | 209443 | 5.3211 | 5.3257 | 0.8683% | 211684.9718 |  | 0 |  |  | 0.18668 | 1.537 | 6 | 0 | 1.537 | 0.18668 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
|  |  |  | Ave Residual |  | 1.166% |  |  | 0 |  |  | 0.18668 | 1.537 |  |  |  | Ave Residual |  | #DIV/0! |  |  |  | #DIV/0! | #DIV/0!
[6 empty] | Slope: | 0.021502 |  | 0 |  |  | 0.18668 | 1.537 | [5 empty] | Slope: | #DIV/0! |  |  | #DIV/0! | #DIV/0!
[6 empty] | Intercept: | 0.18668 |  | 0 |  |  | 0.18668 | 1.537 | [5 empty] | Intercept: | #DIV/0! |  |  | #DIV/0! | #DIV/0!
[6 empty] | Rsq: | 0.99993 |  | 0 |  |  | 0.18668 | 1.537 | [5 empty] | Rsq: | #DIV/0! |  |  | #DIV/0! | #DIV/0!
[9 empty] | 0 |  |  | 0.18668 | 1.537 | [9 empty] | #DIV/0! | #DIV/0!
[12 empty] | 0.18668 | 1.537 | [9 empty] | #DIV/0! | #DIV/0!
[12 empty] | 0.18668 | 1.537 | [9 empty] | #DIV/0! | #DIV/0!
[7 empty] | 21 | TABLE NO. 2 | [14 empty] | #DIV/0! | #DIV/0!
[7 empty] | 56.5 | 1024 MEAN CH# |  | CONVERTED VALUES | [9 empty] | 21
[8 empty] | to 256 REL. CH# |  | CAN BE COPIED TO | [9 empty] | 56.5
[8 empty] | CONVERSION |  | THE CH# COLUMN BY
[8 empty] | 1024 CH# | 256 CH# | SELECTING THE CELLS
[9 empty] | #NUM! | TO BE COPIED; THEN,
[9 empty] | #NUM! | CLICKING [COPY],
[9 empty] | #NUM! | [PASTE SPECIAL], AND
[9 empty] | #NUM! | FINALLY [PASTE VALUE]
#NUM!
#NUM!
#NUM!
#NUM!
[8 empty] | TABLE NO. 3 |  | TABLE NO. 5
[8 empty] | 104 MEAN CH# |  | Determination of the
[8 empty] | to 256 REL. CH# |  | MEPE/CH# for the
[8 empty] | CONVERSION |  | normalization cell or particle
[8 empty] | 104 CH# | 256 CH# | 256 CH# | 104 CH# | Calc. MEPE | MEPE/CH#
[9 empty] | #NUM! | 0 | 1 | 1.537 | 1.537
[9 empty] | #NUM! | 0 | 1 | 1.537 | 1.537
[9 empty] | #NUM! | 0 | 1 | 1.537 | 1.537
[9 empty] | #NUM! | 0 | 1 | 1.537 | 1.537
[9 empty] | #NUM! | 0 | 1 | 1.537 | 1.537
|  |  |  | Lot No.: |  | File # |  |  | #NUM!
[9 empty] | #NUM! | TABLE NO. 6
Rainbow Calibration Particles (RCP-30-5) | [8 empty] | #NUM! | Determination of New MEPE
Acceptable: |  |  | By: |  |  | Date: |  |  |  | values for RCP-30-5
Action taken if not linear: | [7 empty] | TABLE NO. 4 |  | 256 CH# | 104 CH# | New MEPE
[8 empty] | 105 MEAN CH# |  |  | 1 | 1.537
[8 empty] | to 256 REL. CH# |  |  | 1 | 1.537
[8 empty] | CONVERSION |  |  | 1 | 1.537
[8 empty] | 105 CH# | 256 CH# |  | 1 | 1.537
[9 empty] | #NUM! |  | 1 | 1.537
[9 empty] | #NUM! |  | 1 | 1.537
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
Note on J20: Use this Table to convert Beckman-Coulter 1024 Mean CH # to 256 Relative CH#
Note on J35: Use this Table to convert BD-FACS 104 Mean CH # to 256 Relative CH#
Note on T5: RCP-30-5 Relative Channel Numbers obtained with your Instrument in 256 Channel Scale.
Note on J50: Use this Table to convert BD-FACS Canto 105 Mean CH # to 384 Relative CH#

## METR
TYPE THE NAME OF YOUR LAB HERE
| PMT LINEARITY QC RECORD | [12 empty] | Normalization Graph for Instrument B
[8 empty] | TABLE NO. 1 |  | CROSS CALIBRATION TABLE
| PEAK # | CH # | MEPTR | MEPTR LOG | CALC. | RESIDUAL | CALC. MEPTR | 1024 REL. CH# |  | FOR UNKNOWN SAMPLES |  |  |  | PEAK # | CH # | MEPTR | MEPTR LOG | CALC. | RESIDUAL | CALC. MEPTR | CROSS CALIBRATION TABLE
| 1 | 51 |  |  | 0.81878 |  | 6.5885 | to 256 REL. CH# |  | Sample | CH# | Calc. | Calc. MEPTR | 1 | 0 | 0.46366 | -0.3338 | #DIV/0! | #DIV/0! | #DIV/0! | FOR NORMALIZATION GRAPH
| 2 | 153 | 1325 | 3.1222 | 3.124 | 0.5563% | 1330.3122 | CONVERSION |  |  |  | -0.3338 | 0.46366 | 2 | 0 | 0.46366 | -0.3338 | #DIV/0! | #DIV/0! | #DIV/0! | Sample | CH# | Calc. | Calc. MEPTR
| 3 | 178 | 4891 | 3.6894 | 3.6889 | 0.1224% | 4885.9179 | 1024 CH# | 256 CH# |  |  | -0.3338 | 0.46366 | 3 | 0 | 0.46366 | -0.3338 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
| 4 | 201 | 16297 | 4.2121 | 4.2087 | 0.8003% | 16171.0918 |  | 0 |  |  | -0.3338 | 0.46366 | 4 | 0 | 0.46366 | -0.3338 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
| 5 | 225 | 56277 | 4.7503 | 4.7511 | 0.1687% | 56380.9283 |  | 0 |  |  | -0.3338 | 0.46366 | 5 | 0 | 0.46366 | -0.3338 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
| 6 | 243 | 143432 | 5.1566 | 5.1579 | 0.2483% | 143855.6359 |  | 0 |  |  | -0.3338 | 0.46366 | 6 | 0 | 0.46366 | -0.3338 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
|  |  |  | Ave Residual |  | 0.3792% |  |  | 0 |  |  | -0.3338 | 0.46366 |  |  |  | Ave Residual |  | #DIV/0! |  |  |  | #DIV/0! | #DIV/0!
[6 empty] | Slope: | 0.0226 |  | 0 |  |  | -0.3338 | 0.46366 | [5 empty] | Slope: | #DIV/0! |  |  | #DIV/0! | #DIV/0!
[6 empty] | Intercept: | -0.3338 |  | 0 |  |  | -0.3338 | 0.46366 | [5 empty] | Intercept: | #DIV/0! |  |  | #DIV/0! | #DIV/0!
[6 empty] | Rsq: | 0.99999 |  | 0 |  |  | -0.3338 | 0.46366 | [5 empty] | Rsq: | #DIV/0! |  |  | #DIV/0! | #DIV/0!
[9 empty] | 0 |  |  | -0.3338 | 0.46366 | [9 empty] | #DIV/0! | #DIV/0!
[12 empty] | -0.3338 | 0.46366 | [9 empty] | #DIV/0! | #DIV/0!
[12 empty] | -0.3338 | 0.46366 | [9 empty] | #DIV/0! | #DIV/0!
[7 empty] | 21 | TABLE NO. 2 | [14 empty] | #DIV/0! | #DIV/0!
[7 empty] | 56.5 | 1024 MEAN CH# |  | CONVERTED VALUES | [9 empty] | 21
[8 empty] | to 256 REL. CH# |  | CAN BE COPIED TO | [9 empty] | 56.5
[8 empty] | CONVERSION |  | THE CH# COLUMN BY
[8 empty] | 1024 CH# | 256 CH# | SELECTING THE CELLS
[9 empty] | #NUM! | TO BE COPIED; THEN,
[9 empty] | #NUM! | CLICKING [COPY],
[9 empty] | #NUM! | [PASTE SPECIAL], AND
[9 empty] | #NUM! | FINALLY [PASTE VALUE]
#NUM!
#NUM!
#NUM!
#NUM!
[8 empty] | TABLE NO. 3 |  | TABLE NO. 5
[8 empty] | 104 MEAN CH# |  | Determination of the
[8 empty] | to 256 REL. CH# |  | MEPTR/CH# for the
[8 empty] | CONVERSION |  | normalization cell or particle
[8 empty] | 104 CH# | 256 CH# | 256 CH# | 104 CH# | Calc. MEPTR | MEPTR/CH#
[9 empty] | #NUM! | 0 | 1 | 0.46366 | 0.46366
[9 empty] | #NUM! | 0 | 1 | 0.46366 | 0.46366
[9 empty] | #NUM! | 0 | 1 | 0.46366 | 0.46366
[9 empty] | #NUM! | 0 | 1 | 0.46366 | 0.46366
[9 empty] | #NUM! | 0 | 1 | 0.46366 | 0.46366
|  |  |  | Lot No.: |  | File # |  |  | #NUM!
[9 empty] | #NUM! | TABLE NO. 6
Rainbow Calibration Particles (RCP-30-5) | [8 empty] | #NUM! | Determination of New MEPTR
Acceptable: |  |  | By: |  |  | Date: |  |  |  | values for RCP-30-5
Action taken if not linear: | [7 empty] | TABLE NO. 4 |  | 256 CH# | 104 CH# | New MEPE
[8 empty] | 105 MEAN CH# |  |  | 1 | 0.46366
[8 empty] | to 256 REL. CH# |  |  | 1 | 0.46366
[8 empty] | CONVERSION |  |  | 1 | 0.46366
[8 empty] | 105 CH# | 256 CH# |  | 1 | 0.46366
[9 empty] | #NUM! |  | 1 | 0.46366
[9 empty] | #NUM! |  | 1 | 0.46366
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
Note on J20: Use this Table to convert Beckman-Coulter 1024 Mean CH # to 256 Relative CH#
Note on J35: Use this Table to convert BD-FACS 104 Mean CH # to 256 Relative CH#
Note on J50: Use this Table to convert BD-FACS Canto 105 Mean CH # to 384 Relative CH#

## MECY5
TYPE THE NAME OF YOUR LAB HERE
| PMT LINEARITY QC RECORD | [12 empty] | Normalization Graph for Instrument B
[8 empty] | TABLE NO. 1 |  | CROSS CALIBRATION TABLE
| PEAK # | CH # | MECY5 | MECY5 LOG | CALC. | RESIDUAL | CALC. MECY5 | 1024 REL. CH# |  | FOR UNKNOWN SAMPLES |  |  |  |  | PEAK # | CH # | MECY5 | MECY5 LOG | CALC. | RESIDUAL | CALC. MECY5 | CROSS CALIBRATION TABLE
| 1 | 37 |  |  | 1.4078 |  | 25.5719 | to 256 REL. CH# |  | Sample | CH# | Calc. | Calc. MECY5 |  | 1 | 0 | 3.9138 | 0.5926 | #DIV/0! | #DIV/0! | #DIV/0! | FOR NORMALIZATION GRAPH
| 2 | 149 | 7292 | 3.8628 | 3.8753 | 3.21% | 7503.8994 | CONVERSION |  |  |  | 0.5926 | 3.9138 |  | 2 | 0 | 3.9138 | 0.5926 | #DIV/0! | #DIV/0! | #DIV/0! | Sample | CH# | Calc. | Calc. MECY5
| 3 | 175 | 29633 | 4.4718 | 4.4481 | 5.321% | 28061.1227 | 1024 CH# | 256 CH# |  |  | 0.5926 | 3.9138 |  | 3 | 0 | 3.9138 | 0.5926 | #DIV/0! | #DIV/0! | #DIV/0! |  | 200 | #DIV/0! | #DIV/0!
| 4 | 198 | 88489 | 4.9469 | 4.9548 | 1.602% | 90121.5588 |  | 0 |  |  | 0.5926 | 3.9138 |  | 4 | 0 | 3.9138 | 0.5926 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
| 5 | 223 | 317266 | 5.5014 | 5.5056 | 0.7614% | 320343.0256 |  | 0 |  |  | 0.5926 | 3.9138 |  | 5 | 0 | 3.9138 | 0.5926 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
| 6 | 242 | 841616 | 5.9251 | 5.9242 | 0.1521% | 839871.9416 |  | 0 |  |  | 0.5926 | 3.9138 |  | 6 | 0 | 3.9138 | 0.5926 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
|  |  |  | Ave Residual |  | 2.209% |  |  | 0 |  |  | 0.5926 | 3.9138 |  |  |  |  | Ave Residual |  | #DIV/0! |  |  |  | #DIV/0! | #DIV/0!
[6 empty] | Slope: | 0.022031 |  | 0 |  |  | 0.5926 | 3.9138 | [6 empty] | Slope: | #DIV/0! |  |  | #DIV/0! | #DIV/0!
[6 empty] | Intercept: | 0.5926 |  | 0 |  |  | 0.5926 | 3.9138 | [6 empty] | Intercept: | #DIV/0! |  |  | #DIV/0! | #DIV/0!
[6 empty] | Rsq: | 0.9997 |  | 0 |  |  | 0.5926 | 3.9138 | [6 empty] | Rsq: | #DIV/0! |  |  | #DIV/0! | #DIV/0!
[9 empty] | 0 |  |  | 0.5926 | 3.9138 | [10 empty] | #DIV/0! | #DIV/0!
[12 empty] | 0.5926 | 3.9138 | [10 empty] | #DIV/0! | #DIV/0!
[12 empty] | 0.5926 | 3.9138 | [10 empty] | #DIV/0! | #DIV/0!
[8 empty] | TABLE NO. 2 | [15 empty] | #DIV/0! | #DIV/0!
[8 empty] | 1024 MEAN CH# |  | CONVERTED VALUES
[8 empty] | to 256 REL. CH# |  | CAN BE COPIED TO
[8 empty] | CONVERSION |  | THE CH# COLUMN BY
[8 empty] | 1024 CH# | 256 CH# | SELECTING THE CELLS
[9 empty] | #NUM! | TO BE COPIED; THEN,
[9 empty] | #NUM! | CLICKING [COPY],
[9 empty] | #NUM! | [PASTE SPECIAL], AND
[9 empty] | #NUM! | FINALLY [PASTE VALUE]
#NUM!
#NUM!
#NUM!
#NUM!
[8 empty] | TABLE NO. 3 |  | TABLE NO. 5
[8 empty] | 104 MEAN CH# |  | Determination of the
[8 empty] | to 256 REL. CH# |  | MECY5/CH# for the
[8 empty] | CONVERSION |  | normalization cell or particle
[8 empty] | 104 CH# | 256 CH# | 256 CH# | 104 CH# | Calc. MECY5 | MECY5/CH#
[9 empty] | #NUM! | 0 | 1 | 3.9138 | 3.9138
[9 empty] | #NUM! | 0 | 1 | 3.9138 | 3.9138
[9 empty] | #NUM! | 0 | 1 | 3.9138 | 3.9138
[9 empty] | #NUM! | 0 | 1 | 3.9138 | 3.9138
[9 empty] | #NUM! | 0 | 1 | 3.9138 | 3.9138
|  |  |  | Lot No.: |  | File # |  |  | #NUM!
[9 empty] | #NUM! | TABLE NO. 6
Rainbow Calibration Particles (RCP-30-5) | [8 empty] | #NUM! | Determination of New MECY5
Acceptable: |  |  | By: |  |  | Date: |  |  |  | values for RCP-30-5
Action taken if not linear: | [7 empty] | TABLE NO. 4 |  | 256 CH# | 104 CH# | New MECY5
[8 empty] | 105 MEAN CH# |  |  | 1 | 3.9138
[8 empty] | to 256 REL. CH# |  |  | 1 | 3.9138
[8 empty] | CONVERSION |  |  | 1 | 3.9138
[8 empty] | 105 CH# | 256 CH# |  | 1 | 3.9138
[9 empty] | #NUM! |  | 1 | 3.9138
[9 empty] | #NUM! |  | 1 | 3.9138
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
Note on J20: Use this Table to convert Beckman-Coulter 1024 Mean CH # to 256 Relative CH#
Note on J35: Use this Table to convert BD-FACS 104 Mean CH # to 256 Relative CH#
Note on J50: Use this Table to convert BD-FACS Canto 105 Mean CH # to 384 Relative CH#

## MECY5.5
TYPE THE NAME OF YOUR LAB HERE
| PMT LINEARITY QC RECORD | [12 empty] | Normalization Graph for Instrument B
[8 empty] | TABLE NO. 1 |  | CROSS CALIBRATION TABLE
| PEAK # | CH # | MECY5.5 | MECY5.5 LOG | CALC. | RESIDUAL | CALC. MECY5.5 | 1024 REL. CH# |  | FOR UNKNOWN SAMPLES |  |  |  |  | PEAK # | CH # | MECY5.5 | MECY5.5 LOG | CALC. | RESIDUAL | CALC. MECY5.5 | CROSS CALIBRATION TABLE
| 1 | 33.023 |  |  | 1.2751 |  | 18.8402 | to 256 REL. CH# |  | Sample | CH# | Calc. | Calc. MECY5.5 |  | 1 | 0 | 3.5364 | 0.54856 | #DIV/0! | #DIV/0! | #DIV/0! | FOR NORMALIZATION GRAPH
| 2 | 151.9234 | 7779.9459 | 3.891 | 3.891 | 1.141e-13% | 7779.9459 | CONVERSION |  |  |  | 0.54856 | 3.5364 |  | 2 | 0 | 3.5364 | 0.54856 | #DIV/0! | #DIV/0! | #DIV/0! | Sample | CH# | Calc. | Calc. MECY5.5
| 3 | 177.7259 | 28750.7194 | 4.4586 | 4.4586 | 3.984e-13% | 28750.7194 | 1024 CH# | 256 CH# |  |  | 0.54856 | 3.5364 |  | 3 | 0 | 3.5364 | 0.54856 | #DIV/0! | #DIV/0! | #DIV/0! |  | 200 | #DIV/0! | #DIV/0!
| 4 | 201.114 | 94016.1476 | 4.9732 | 4.9732 | 0% | 94016.1476 |  | 0 |  |  | 0.54856 | 3.5364 |  | 4 | 0 | 3.5364 | 0.54856 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
| 5 | 227.1077 | 350816.9035 | 5.5451 | 5.5451 | 1.602e-13% | 350816.9035 |  | 0 |  |  | 0.54856 | 3.5364 |  | 5 | 0 | 3.5364 | 0.54856 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
| 6 | 247.7305 | 997233.3735 | 5.9988 | 5.9988 | 1.481e-13% | 997233.3735 |  | 0 |  |  | 0.54856 | 3.5364 |  | 6 | 0 | 3.5364 | 0.54856 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
|  |  |  | Ave Residual |  | 1.642e-13% |  |  | 0 |  |  | 0.54856 | 3.5364 |  |  |  |  | Ave Residual |  | #DIV/0! |  |  |  | #DIV/0! | #DIV/0!
[6 empty] | Slope: | 0.022001 |  | 0 |  |  | 0.54856 | 3.5364 | [6 empty] | Slope: | #DIV/0! |  |  | #DIV/0! | #DIV/0!
[6 empty] | Intercept: | 0.54856 |  | 0 |  |  | 0.54856 | 3.5364 | [6 empty] | Intercept: | #DIV/0! |  |  | #DIV/0! | #DIV/0!
[6 empty] | Rsq: | 1 |  | 0 |  |  | 0.54856 | 3.5364 | [6 empty] | Rsq: | #DIV/0! |  |  | #DIV/0! | #DIV/0!
[9 empty] | 0 |  |  | 0.54856 | 3.5364 | [10 empty] | #DIV/0! | #DIV/0!
[12 empty] | 0.54856 | 3.5364 | [10 empty] | #DIV/0! | #DIV/0!
[12 empty] | 0.54856 | 3.5364 | [10 empty] | #DIV/0! | #DIV/0!
[8 empty] | TABLE NO. 2 | [15 empty] | #DIV/0! | #DIV/0!
[8 empty] | 1024 MEAN CH# |  | CONVERTED VALUES
[8 empty] | to 256 REL. CH# |  | CAN BE COPIED TO
[8 empty] | CONVERSION |  | THE CH# COLUMN BY
[8 empty] | 1024 CH# | 256 CH# | SELECTING THE CELLS
[9 empty] | #NUM! | TO BE COPIED; THEN,
[9 empty] | #NUM! | CLICKING [COPY],
[9 empty] | #NUM! | [PASTE SPECIAL], AND
[9 empty] | #NUM! | FINALLY [PASTE VALUE]
#NUM!
#NUM!
#NUM!
#NUM!
[8 empty] | TABLE NO. 3 |  | TABLE NO. 5
[8 empty] | 104 MEAN CH# |  | Determination of the
[8 empty] | to 256 REL. CH# |  | MECY5.5/CH# for the
[8 empty] | CONVERSION |  | normalization cell or particle
[8 empty] | 104 CH# | 256 CH# | 256 CH# | 104 CH# | Calc. MECY5.5 | MECY5.5/CH#
[9 empty] | #NUM! | 0 | 1 | 3.5364 | 3.5364
[9 empty] | #NUM! | 0 | 1 | 3.5364 | 3.5364
[9 empty] | #NUM! | 0 | 1 | 3.5364 | 3.5364
[9 empty] | #NUM! | 0 | 1 | 3.5364 | 3.5364
[9 empty] | #NUM! | 0 | 1 | 3.5364 | 3.5364
|  |  |  | Lot No.: |  | File # |  |  | #NUM!
[9 empty] | #NUM! | TABLE NO. 6
Rainbow Calibration Particles (RCP-30-5) | [8 empty] | #NUM! | Determination of New MECY5.5
Acceptable: |  |  | By: |  |  | Date: |  |  |  | values for RCP-30-5
Action taken if not linear: | [7 empty] | TABLE NO. 4 |  | 256 CH# | 104 CH# | New MECY5.5
[8 empty] | 105 MEAN CH# |  |  | 1 | 3.5364
[8 empty] | to 256 REL. CH# |  |  | 1 | 3.5364
[8 empty] | CONVERSION |  |  | 1 | 3.5364
[8 empty] | 105 CH# | 256 CH# |  | 1 | 3.5364
[9 empty] | #NUM! |  | 1 | 3.5364
[9 empty] | #NUM! |  | 1 | 3.5364
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
Note on J20: Use this Table to convert Beckman-Coulter 1024 Mean CH # to 256 Relative CH#
Note on J35: Use this Table to convert BD-FACS 104 Mean CH # to 256 Relative CH#
Note on J50: Use this Table to convert BD-FACS Canto 105 Mean CH # to 384 Relative CH#

## MEPCY7
TYPE THE NAME OF YOUR LAB HERE
| PMT LINEARITY QC RECORD | [12 empty] | Normalization Graph for Instrument B
[8 empty] | TABLE NO. 1 |  | CROSS CALIBRATION TABLE
| PEAK # | CH # | MEPCY7 | MEPCY7 LOG | CALC. | RESIDUAL | CALC. MEPCY7 | 1024 REL. CH# |  | FOR UNKNOWN SAMPLES |  |  |  |  | PEAK # | CH # | MEPCY7 | MEPCY7 LOG | CALC. | RESIDUAL | CALC. MEPCY7 | CROSS CALIBRATION TABLE
| 1 |  |  |  | 0.47867 |  | 3.0107 | to 256 REL. CH# |  | Sample | CH# | Calc. | Calc. MEPCY7 |  | 1 | 0 | 3.0107 | 0.47867 | #DIV/0! | #DIV/0! | #DIV/0! | FOR NORMALIZATION GRAPH
| 2 | 146.3141 | 4040.7803 | 3.6065 | 3.6065 | 0% | 4040.7803 | CONVERSION |  |  |  | 0.47867 | 3.0107 |  | 2 | 0 | 3.0107 | 0.47867 | #DIV/0! | #DIV/0! | #DIV/0! | Sample | CH# | Calc. | Calc. MEPCY7
| 3 | 172.5054 | 14667.6948 | 4.1664 | 4.1664 | 0% | 14667.6948 | 1024 CH# | 256 CH# |  |  | 0.47867 | 3.0107 |  | 3 | 0 | 3.0107 | 0.47867 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
| 4 | 195.8832 | 46357.0315 | 4.6661 | 4.6661 | 0% | 46357.0315 |  | 0 |  |  | 0.47867 | 3.0107 |  | 4 | 0 | 3.0107 | 0.47867 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
| 5 | 222.7639 | 174080.9829 | 5.2408 | 5.2408 | 1.695e-13% | 174080.9829 |  | 0 |  |  | 0.47867 | 3.0107 |  | 5 | 0 | 3.0107 | 0.47867 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
| 6 | 244.9504 | 518846.7556 | 5.715 | 5.715 | 0% | 518846.7556 |  | 0 |  |  | 0.47867 | 3.0107 |  | 6 | 0 | 3.0107 | 0.47867 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
|  |  |  | Ave Residual |  | 3.39e-14% |  |  | 0 |  |  | 0.47867 | 3.0107 |  |  |  |  | Ave Residual |  | #DIV/0! |  |  |  | #DIV/0! | #DIV/0!
[6 empty] | Slope: | 0.021377 |  | 0 |  |  | 0.47867 | 3.0107 | [6 empty] | Slope: | #DIV/0! |  |  | #DIV/0! | #DIV/0!
[6 empty] | Intercept: | 0.47867 |  | 0 |  |  | 0.47867 | 3.0107 | [6 empty] | Intercept: | #DIV/0! |  |  | #DIV/0! | #DIV/0!
[6 empty] | Rsq: | 1 |  | 0 |  |  | 0.47867 | 3.0107 | [6 empty] | Rsq: | #DIV/0! |  |  | #DIV/0! | #DIV/0!
[9 empty] | 0 |  |  | 0.47867 | 3.0107 | [10 empty] | #DIV/0! | #DIV/0!
[12 empty] | 0.47867 | 3.0107 | [10 empty] | #DIV/0! | #DIV/0!
[12 empty] | 0.47867 | 3.0107 | [10 empty] | #DIV/0! | #DIV/0!
[8 empty] | TABLE NO. 2 | [15 empty] | #DIV/0! | #DIV/0!
[8 empty] | 1024 MEAN CH# |  | CONVERTED VALUES
[8 empty] | to 256 REL. CH# |  | CAN BE COPIED TO
[8 empty] | CONVERSION |  | THE CH# COLUMN BY
[8 empty] | 1024 CH# | 256 CH# | SELECTING THE CELLS
[9 empty] | #NUM! | TO BE COPIED; THEN,
[9 empty] | #NUM! | CLICKING [COPY],
[9 empty] | #NUM! | [PASTE SPECIAL], AND
[9 empty] | #NUM! | FINALLY [PASTE VALUE]
#NUM!
#NUM!
#NUM!
#NUM!
[8 empty] | TABLE NO. 3 |  | TABLE NO. 5
[8 empty] | 104 MEAN CH# |  | Determination of the
[8 empty] | to 256 REL. CH# |  | MEPCY7/CH# for the
[8 empty] | CONVERSION |  | normalization cell or particle
[8 empty] | 104 CH# | 256 CH# | 256 CH# | 104 CH# | Calc. MEPCY7 | MEPCY7/CH#
[9 empty] | #NUM! | 0 | 1 | 3.0107 | 3.0107
[9 empty] | #NUM! | 0 | 1 | 3.0107 | 3.0107
[9 empty] | #NUM! | 0 | 1 | 3.0107 | 3.0107
[9 empty] | #NUM! | 0 | 1 | 3.0107 | 3.0107
[9 empty] | #NUM! | 0 | 1 | 3.0107 | 3.0107
|  |  |  | Lot No.: |  | File # |  |  | #NUM!
[9 empty] | #NUM! | TABLE NO. 6
Rainbow Calibration Particles (RCP-30-5) | [8 empty] | #NUM! | Determination of New MEPCY7
Acceptable: |  |  | By: |  |  | Date: |  |  |  | values for RCP-30-5
Action taken if not linear: | [7 empty] | TABLE NO. 4 |  | 256 CH# | 104 CH# | New MEPCY7
[8 empty] | 105 MEAN CH# |  |  | 1 | 3.0107
[8 empty] | to 256 REL. CH# |  |  | 1 | 3.0107
[8 empty] | CONVERSION |  |  | 1 | 3.0107
[8 empty] | 105 CH# | 256 CH# |  | 1 | 3.0107
[9 empty] | #NUM! |  | 1 | 3.0107
[9 empty] | #NUM! |  | 1 | 3.0107
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
Note on J20: Use this Table to convert Beckman-Coulter 1024 Mean CH # to 256 Relative CH#
Note on J35: Use this Table to convert BD-FACS 104 Mean CH # to 256 Relative CH#
Note on J50: Use this Table to convert BD-FACS Canto 105 Mean CH # to 384 Relative CH#

## MEAP
TYPE THE NAME OF YOUR LAB HERE
| PMT LINEARITY QC RECORD | [12 empty] | Normalization Graph for Instrument B
[8 empty] | TABLE NO. 1 |  | CROSS CALIBRATION TABLE
| PEAK # | CH # | MEAP | MEAP LOG | CALC. | RESIDUAL | CALC. MEAP | 1024 REL. CH# |  | FOR UNKNOWN SAMPLES |  |  |  |  | PEAK # | CH # | MEAP | MEAP LOG | CALC. | RESIDUAL | CALC. MEAP | CROSS CALIBRATION TABLE
| 1 | 60 |  |  | 1.2854 |  | 19.2949 | to 256 REL. CH# |  | Sample | CH# | Calc. | Calc. MEAP |  | 1 | 0 | 0.98726 | -0.0055704 | #DIV/0! | #DIV/0! | #DIV/0! | FOR NORMALIZATION GRAPH
| 2 | 155 | 2134 | 3.3292 | 3.3295 | 0.1057% | 2135.7292 | CONVERSION |  |  |  | -0.0055704 | 0.98726 |  | 2 | 0 | 0.98726 | -0.0055704 | #DIV/0! | #DIV/0! | #DIV/0! | Sample | CH# | Calc. | Calc. MEAP
| 3 | 181 | 7709 | 3.887 | 3.889 | 0.5109% | 7744.352 | 1024 CH# | 256 CH# |  |  | -0.0055704 | 0.98726 |  | 3 | 0 | 0.98726 | -0.0055704 | #DIV/0! | #DIV/0! | #DIV/0! |  | 200 | #DIV/0! | #DIV/0!
| 4 | 203 | 23321 | 4.3677 | 4.3624 | 1.236% | 23033.316 |  | 0 |  |  | -0.0055704 | 0.98726 |  | 4 | 0 | 0.98726 | -0.0055704 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
| 5 | 226 | 71360 | 4.8535 | 4.8572 | 0.7803% | 71985.4504 |  | 0 |  |  | -0.0055704 | 0.98726 |  | 5 | 0 | 0.98726 | -0.0055704 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
| 6 | 239 | 137310 | 5.1377 | 5.137 | 0.1437% | 137076.8695 |  | 0 |  |  | -0.0055704 | 0.98726 |  | 6 | 0 | 0.98726 | -0.0055704 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
|  |  |  | Ave Residual |  | 0.5552% |  |  | 0 |  |  | -0.0055704 | 0.98726 |  |  |  |  | Ave Residual |  | #DIV/0! |  |  |  | #DIV/0! | #DIV/0!
[6 empty] | Slope: | 0.021517 |  | 0 |  |  | -0.0055704 | 0.98726 | [6 empty] | Slope: | #DIV/0! |  |  | #DIV/0! | #DIV/0!
[6 empty] | Intercept: | -0.0055704 |  | 0 |  |  | -0.0055704 | 0.98726 | [6 empty] | Intercept: | #DIV/0! |  |  | #DIV/0! | #DIV/0!
[6 empty] | Rsq: | 0.99998 |  | 0 |  |  | -0.0055704 | 0.98726 | [6 empty] | Rsq: | #DIV/0! |  |  | #DIV/0! | #DIV/0!
[9 empty] | 0 |  |  | -0.0055704 | 0.98726 | [10 empty] | #DIV/0! | #DIV/0!
[12 empty] | -0.0055704 | 0.98726 | [10 empty] | #DIV/0! | #DIV/0!
[12 empty] | -0.0055704 | 0.98726 | [10 empty] | #DIV/0! | #DIV/0!
[8 empty] | TABLE NO. 2 | [15 empty] | #DIV/0! | #DIV/0!
[8 empty] | 1024 MEAN CH# |  | CONVERTED VALUES
[8 empty] | to 256 REL. CH# |  | CAN BE COPIED TO
[8 empty] | CONVERSION |  | THE CH# COLUMN BY
[8 empty] | 1024 CH# | 256 CH# | SELECTING THE CELLS
[9 empty] | #NUM! | TO BE COPIED; THEN,
[9 empty] | #NUM! | CLICKING [COPY],
[9 empty] | #NUM! | [PASTE SPECIAL], AND
[9 empty] | #NUM! | FINALLY [PASTE VALUE]
#NUM!
#NUM!
#NUM!
#NUM!
[8 empty] | TABLE NO. 3 |  | TABLE NO. 5
[8 empty] | 104 MEAN CH# |  | Determination of the
[8 empty] | to 256 REL. CH# |  | MEAP/CH# for the
[8 empty] | CONVERSION |  | normalization cell or particle
[8 empty] | 104 CH# | 256 CH# | 256 CH# | 104 CH# | Calc. MEAP | MEAP/CH#
[9 empty] | #NUM! | 0 | 1 | 0.98726 | 0.98726
[9 empty] | #NUM! | 0 | 1 | 0.98726 | 0.98726
[9 empty] | #NUM! | 0 | 1 | 0.98726 | 0.98726
[9 empty] | #NUM! | 0 | 1 | 0.98726 | 0.98726
[9 empty] | #NUM! | 0 | 1 | 0.98726 | 0.98726
|  |  |  | Lot No.: |  | File # |  |  | #NUM!
[9 empty] | #NUM! | TABLE NO. 6
Rainbow Calibration Particles (RCP-30-5) | [8 empty] | #NUM! | Determination of New MEAP
Acceptable: |  |  | By: |  |  | Date: |  |  |  | values for RCP-30-5
Action taken if not linear: | [7 empty] | TABLE NO. 4 |  | 256 CH# | 104 CH# | New MEAP
[8 empty] | 105 MEAN CH# |  |  | 1 | 0.98726
[8 empty] | to 256 REL. CH# |  |  | 1 | 0.98726
[8 empty] | CONVERSION |  |  | 1 | 0.98726
[8 empty] | 105 CH# | 256 CH# |  | 1 | 0.98726
[8 empty] | 260 | 114.0959 |  | 1 | 0.98726
[8 empty] | 1369 | 148.18 |  | 1 | 0.98726
[8 empty] | 5294 | 175.9309
[8 empty] | 13598 | 195.2869
[8 empty] | 33260 | 213.6391
[8 empty] | 57799 | 224.9779
[8 empty] | 103892 | 237.0094
[8 empty] | 262143 | 255.9999
Note on J20: Use this Table to convert Beckman-Coulter 1024 Mean CH # to 256 Relative CH#
Note on J35: Use this Table to convert BD-FACS 104 Mean CH # to 256 Relative CH#
Note on J50: Use this Table to convert BD-FACS Canto 105 Mean CH # to 384 Relative CH#

## MEA700
TYPE THE NAME OF YOUR LAB HERE
| PMT LINEARITY QC RECORD | [12 empty] | Normalization Graph for Instrument B
[8 empty] | TABLE NO. 1 |  | CROSS CALIBRATION TABLE
| PEAK # | CH # | MEA700 | MEA700 LOG | CALC. | RESIDUAL | CALC. MEA700 | 1024 REL. CH# |  | FOR UNKNOWN SAMPLES |  |  |  |  | PEAK # | CH # | MEA700 | MEA700 LOG | CALC. | RESIDUAL | CALC. MEA700 | CROSS CALIBRATION TABLE
| 1 | 62.4685 |  |  | 1.9187 |  | 82.9338 | to 256 REL. CH# |  | Sample | CH# | Calc. | Calc. MEA700 |  | 1 | 0 | 4.1663 | 0.61975 | #DIV/0! | #DIV/0! | #DIV/0! | FOR NORMALIZATION GRAPH
| 2 | 159.5873 | 8674.2215 | 3.9382 | 3.9382 | 2.255e-13% | 8674.2215 | CONVERSION |  |  |  | 0.61975 | 4.1663 |  | 2 | 0 | 4.1663 | 0.61975 | #DIV/0! | #DIV/0! | #DIV/0! | Sample | CH# | Calc. | Calc. MEA700
| 3 | 185.8025 | 30433.4877 | 4.4834 | 4.4834 | 0% | 30433.4877 | 1024 CH# | 256 CH# |  |  | 0.61975 | 4.1663 |  | 3 | 0 | 4.1663 | 0.61975 | #DIV/0! | #DIV/0! | #DIV/0! |  | 200 | #DIV/0! | #DIV/0!
| 4 | 207.7413 | 87006.0929 | 4.9395 | 4.9395 | 0% | 87006.0929 |  | 0 |  |  | 0.61975 | 4.1663 |  | 4 | 0 | 4.1663 | 0.61975 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
| 5 | 231.2301 | 267902.9552 | 5.428 | 5.428 | 1.636e-13% | 267902.9552 |  | 0 |  |  | 0.61975 | 4.1663 |  | 5 | 0 | 4.1663 | 0.61975 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
| 6 | 246.7906 | 564346.1793 | 5.7515 | 5.7515 | 0% | 564346.1793 |  | 0 |  |  | 0.61975 | 4.1663 |  | 6 | 0 | 4.1663 | 0.61975 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
|  |  |  | Ave Residual |  | 7.783e-14% |  |  | 0 |  |  | 0.61975 | 4.1663 |  |  |  |  | Ave Residual |  | #DIV/0! |  |  |  | #DIV/0! | #DIV/0!
[6 empty] | Slope: | 0.020794 |  | 0 |  |  | 0.61975 | 4.1663 | [6 empty] | Slope: | #DIV/0! |  |  | #DIV/0! | #DIV/0!
[6 empty] | Intercept: | 0.61975 |  | 0 |  |  | 0.61975 | 4.1663 | [6 empty] | Intercept: | #DIV/0! |  |  | #DIV/0! | #DIV/0!
[6 empty] | Rsq: | 1 |  | 0 |  |  | 0.61975 | 4.1663 | [6 empty] | Rsq: | #DIV/0! |  |  | #DIV/0! | #DIV/0!
[9 empty] | 0 |  |  | 0.61975 | 4.1663 | [10 empty] | #DIV/0! | #DIV/0!
[12 empty] | 0.61975 | 4.1663 | [10 empty] | #DIV/0! | #DIV/0!
[12 empty] | 0.61975 | 4.1663 | [10 empty] | #DIV/0! | #DIV/0!
[8 empty] | TABLE NO. 2 | [15 empty] | #DIV/0! | #DIV/0!
[8 empty] | 1024 MEAN CH# |  | CONVERTED VALUES
[8 empty] | to 256 REL. CH# |  | CAN BE COPIED TO
[8 empty] | CONVERSION |  | THE CH# COLUMN BY
[8 empty] | 1024 CH# | 256 CH# | SELECTING THE CELLS
[9 empty] | #NUM! | TO BE COPIED; THEN,
[9 empty] | #NUM! | CLICKING [COPY],
[9 empty] | #NUM! | [PASTE SPECIAL], AND
[9 empty] | #NUM! | FINALLY [PASTE VALUE]
#NUM!
#NUM!
#NUM!
#NUM!
[8 empty] | TABLE NO. 3 |  | TABLE NO. 5
[8 empty] | 104 MEAN CH# |  | Determination of the
[8 empty] | to 256 REL. CH# |  | MEA700/CH# for the
[8 empty] | CONVERSION |  | normalization cell or particle
[8 empty] | 104 CH# | 256 CH# | 256 CH# | 104 CH# | Calc. MEA700 | MEA700/CH#
[9 empty] | #NUM! | 0 | 1 | 4.1663 | 4.1663
[9 empty] | #NUM! | 0 | 1 | 4.1663 | 4.1663
[9 empty] | #NUM! | 0 | 1 | 4.1663 | 4.1663
[9 empty] | #NUM! | 0 | 1 | 4.1663 | 4.1663
[9 empty] | #NUM! | 0 | 1 | 4.1663 | 4.1663
|  |  |  | Lot No.: |  | File # |  |  | #NUM!
[9 empty] | #NUM! | TABLE NO. 6
Rainbow Calibration Particles (RCP-30-5) | [8 empty] | #NUM! | Determination of New MEA700
Acceptable: |  |  | By: |  |  | Date: |  |  |  | values for RCP-30-5
Action taken if not linear: | [7 empty] | TABLE NO. 4 |  | 256 CH# | 104 CH# | New MEA700
[8 empty] | 105 MEAN CH# |  |  | 1 | 4.1663
[8 empty] | to 256 REL. CH# |  |  | 1 | 4.1663
[8 empty] | CONVERSION |  |  | 1 | 4.1663
[8 empty] | 105 CH# | 256 CH# |  | 1 | 4.1663
[9 empty] | #NUM! |  | 1 | 4.1663
[9 empty] | #NUM! |  | 1 | 4.1663
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
Note on J20: Use this Table to convert Beckman-Coulter 1024 Mean CH # to 256 Relative CH#
Note on J35: Use this Table to convert BD-FACS 104 Mean CH # to 256 Relative CH#
Note on J50: Use this Table to convert BD-FACS Canto 105 Mean CH # to 384 Relative CH#

## MEA750
TYPE THE NAME OF YOUR LAB HERE
| PMT LINEARITY QC RECORD | [12 empty] | Normalization Graph for Instrument B
[8 empty] | TABLE NO. 1 |  | CROSS CALIBRATION TABLE
| PEAK # | CH # | MEA750 | MEA750 LOG | CALC. | RESIDUAL | CALC. MEA750 | 1024 REL. CH# |  | FOR UNKNOWN SAMPLES |  |  |  |  | PEAK # | CH # | MEA750 | MEA750 LOG | CALC. | RESIDUAL | CALC. MEA750 | CROSS CALIBRATION TABLE
| 1 | 1 |  |  | -0.66868 |  | 0.21445 | to 256 REL. CH# |  | Sample | CH# | Calc. | Calc. MEA750 |  | 1 | 0 | 0.20419 | -0.68997 | #DIV/0! | #DIV/0! | #DIV/0! | FOR NORMALIZATION GRAPH
| 2 | 163.5534 | 618.9415 | 2.7916 | 2.7916 | 0% | 618.9415 | CONVERSION |  |  |  | -0.68997 | 0.20419 |  | 2 | 0 | 0.20419 | -0.68997 | #DIV/0! | #DIV/0! | #DIV/0! | Sample | CH# | Calc. | Calc. MEA750
| 3 | 189.8033 | 2240.9949 | 3.3504 | 3.3504 | 1.325e-13% | 2240.9949 | 1024 CH# | 256 CH# |  |  | -0.68997 | 0.20419 |  | 3 | 0 | 0.20419 | -0.68997 | #DIV/0! | #DIV/0! | #DIV/0! |  | 200 | #DIV/0! | #DIV/0!
| 4 | 211.8583 | 6605.9154 | 3.8199 | 3.8199 | 1.163e-13% | 6605.9154 |  | 0 |  |  | -0.68997 | 0.20419 |  | 4 | 0 | 0.20419 | -0.68997 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
| 5 | 235.6414 | 21193.9706 | 4.3262 | 4.3262 | 4.106e-13% | 21193.9706 |  | 0 |  |  | -0.68997 | 0.20419 |  | 5 | 0 | 0.20419 | -0.68997 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
| 6 | 251.3449 | 45761.2902 | 4.6605 | 4.6605 | 1.906e-13% | 45761.2902 |  | 0 |  |  | -0.68997 | 0.20419 |  | 6 | 0 | 0.20419 | -0.68997 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
|  |  |  | Ave Residual |  | 1.7e-13% |  |  | 0 |  |  | -0.68997 | 0.20419 |  |  |  |  | Ave Residual |  | #DIV/0! |  |  |  | #DIV/0! | #DIV/0!
[6 empty] | Slope: | 0.021287 |  | 0 |  |  | -0.68997 | 0.20419 | [6 empty] | Slope: | #DIV/0! |  |  | #DIV/0! | #DIV/0!
[6 empty] | Intercept: | -0.68997 |  | 0 |  |  | -0.68997 | 0.20419 | [6 empty] | Intercept: | #DIV/0! |  |  | #DIV/0! | #DIV/0!
[6 empty] | Rsq: | 1 |  | 0 |  |  | -0.68997 | 0.20419 | [6 empty] | Rsq: | #DIV/0! |  |  | #DIV/0! | #DIV/0!
[9 empty] | 0 |  |  | -0.68997 | 0.20419 | [10 empty] | #DIV/0! | #DIV/0!
[12 empty] | -0.68997 | 0.20419 | [10 empty] | #DIV/0! | #DIV/0!
[12 empty] | -0.68997 | 0.20419 | [10 empty] | #DIV/0! | #DIV/0!
[8 empty] | TABLE NO. 2 | [15 empty] | #DIV/0! | #DIV/0!
[8 empty] | 1024 MEAN CH# |  | CONVERTED VALUES
[8 empty] | to 256 REL. CH# |  | CAN BE COPIED TO
[8 empty] | CONVERSION |  | THE CH# COLUMN BY
[8 empty] | 1024 CH# | 256 CH# | SELECTING THE CELLS
[9 empty] | #NUM! | TO BE COPIED; THEN,
[9 empty] | #NUM! | CLICKING [COPY],
[9 empty] | #NUM! | [PASTE SPECIAL], AND
[9 empty] | #NUM! | FINALLY [PASTE VALUE]
#NUM!
#NUM!
#NUM!
#NUM!
[8 empty] | TABLE NO. 3 |  | TABLE NO. 5
[8 empty] | 104 MEAN CH# |  | Determination of the
[8 empty] | to 256 REL. CH# |  | MEA750/CH# for the
[8 empty] | CONVERSION |  | normalization cell or particle
[8 empty] | 104 CH# | 256 CH# | 256 CH# | 104 CH# | Calc. MEA750 | MEA750/CH#
[9 empty] | #NUM! | 0 | 1 | 0.20419 | 0.20419
[9 empty] | #NUM! | 0 | 1 | 0.20419 | 0.20419
[9 empty] | #NUM! | 0 | 1 | 0.20419 | 0.20419
[9 empty] | #NUM! | 0 | 1 | 0.20419 | 0.20419
[9 empty] | #NUM! | 0 | 1 | 0.20419 | 0.20419
|  |  |  | Lot No.: |  | File # |  |  | #NUM!
[9 empty] | #NUM! | TABLE NO. 6
Rainbow Calibration Particles (RCP-30-5) | [8 empty] | #NUM! | Determination of New MEA750
Acceptable: |  |  | By: |  |  | Date: |  |  |  | values for RCP-30-5
Action taken if not linear: | [7 empty] | TABLE NO. 4 |  | 256 CH# | 104 CH# | New MEA750
[8 empty] | 105 MEAN CH# |  |  | 1 | 0.20419
[8 empty] | to 256 REL. CH# |  |  | 1 | 0.20419
[8 empty] | CONVERSION |  |  | 1 | 0.20419
[8 empty] | 105 CH# | 256 CH# |  | 1 | 0.20419
[9 empty] | #NUM! |  | 1 | 0.20419
[9 empty] | #NUM! |  | 1 | 0.20419
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
Note on J20: Use this Table to convert Beckman-Coulter 1024 Mean CH # to 256 Relative CH#
Note on J35: Use this Table to convert BD-FACS 104 Mean CH # to 256 Relative CH#
Note on J50: Use this Table to convert BD-FACS Canto 105 Mean CH # to 384 Relative CH#