## MEPB
TYPE THE NAME OF YOUR LAB HERE
| PMT LINEARITY QC RECORD | [12 empty] | Normalization Graph for Instrument B
[8 empty] | TABLE NO. 1 |  | CROSS CALIBRATION TABLE
| PEAK # | CH # | MEPB | MEPB LOG | CALC. | RESIDUAL | CALC. MEPB | 1024 REL. CH# |  | FOR UNKNOWN SAMPLES |  |  |  |  | PEAK # | CH # | MEPB | MEPB LOG | CALC. | RESIDUAL | CALC. MEPB | CROSS CALIBRATION TABLE
| 1 | 58.9213 |  |  | 1.8083 |  | 64.3103 | to 256 REL. CH# |  | Sample | CH# | Calc. | Calc. MEPB |  | 1 | 0 | 8.4197 | 0.9253 | #VALUE! | #VALUE! | #VALUE! | FOR NORMALIZATION GRAPH
| 2 | 135.482 | 902.8262 | 2.9556 | 2.9556 | 0% | 902.8262 | CONVERSION |  |  |  | 0.9253 | 8.4197 |  | 2 | 0 | 8.4197 | 0.9253 | #VALUE! | #VALUE! | #VALUE! | Sample | CH# | Calc. | Calc. MEPB
| 3 | 165.4962 | 2543.2578 | 3.4054 | 3.4054 | 0% | 2543.2578 | 1024 CH# | 256 CH# |  |  | 0.9253 | 8.4197 |  | 3 | 0 | 8.4197 | 0.9253 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 4 | 197.1345 | 7577.3103 | 3.8795 | 3.8795 | 0% | 7577.3103 |  | 0 |  |  | 0.9253 | 8.4197 |  | 4 | 0 | 8.4197 | 0.9253 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 5 | 225.12 | 19902.1553 | 4.2989 | 4.2989 | 0% | 19902.1553 |  | 0 |  |  | 0.9253 | 8.4197 |  | 5 | 0 | 8.4197 | 0.9253 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 6 | 241.883 | 35490.1854 | 4.5501 | 4.5501 | 0% | 35490.1854 |  | 0 |  |  | 0.9253 | 8.4197 |  | 6 | 0 | 8.4197 | 0.9253 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
|  |  |  | Ave Residual |  | 0% |  |  | 0 |  |  | 0.9253 | 8.4197 |  |  |  |  | Ave Residual |  | #VALUE! |  |  |  | #VALUE! | #VALUE!
[6 empty] | Slope: | 0.014986 |  | 0 |  |  | 0.9253 | 8.4197 | [6 empty] | Slope: | #VALUE! |  |  | #VALUE! | #VALUE!
[6 empty] | Intercept: | 0.9253 |  | 0 |  |  | 0.9253 | 8.4197 | [6 empty] | Intercept: | #VALUE! |  |  | #VALUE! | #VALUE!
[6 empty] | Rsq: | 1 |  | 0 |  |  | 0.9253 | 8.4197 | [6 empty] | Rsq: | #VALUE! |  |  | #VALUE! | #VALUE!
[9 empty] | 0 |  |  | 0.9253 | 8.4197 | [10 empty] | #VALUE! | #VALUE!
[12 empty] | 0.9253 | 8.4197 | [10 empty] | #VALUE! | #VALUE!
[12 empty] | 0.9253 | 8.4197 | [10 empty] | #VALUE! | #VALUE!
[8 empty] | TABLE NO. 2 | [15 empty] | #VALUE! | #VALUE!
[8 empty] | 1024 MEAN CH# |  | CONVERTED VALUES
[8 empty] | to 256 REL. CH# |  | CAN BE COPIED TO
[8 empty] | CONVERSION |  | THE CH# COLUMN BY
[8 empty] | 1024 CH# | 256 CH# | SELECTING THE CELLS
[9 empty] | #VALUE! | TO BE COPIED; THEN,
[9 empty] | #VALUE! | CLICKING [COPY],
[9 empty] | #VALUE! | [PASTE SPECIAL], AND
[9 empty] | #VALUE! | FINALLY [PASTE VALUE]
#VALUE!
#VALUE!
#VALUE!
#VALUE!
[8 empty] | TABLE NO. 3 |  | TABLE NO. 5
[8 empty] | 104 MEAN CH# |  | Determination of the
[8 empty] | to 256 REL. CH# |  | MEPB/CH# for the
[8 empty] | CONVERSION |  | normalization cell or particle
[8 empty] | 104 CH# | 256 CH# | 256 CH# | 104 CH# | Calc. MEPB | MEPB/CH#
[9 empty] | #VALUE! | 0 | 1 | 8.4197 | 8.4197
[9 empty] | #VALUE! | 0 | 1 | 8.4197 | 8.4197
[9 empty] | #VALUE! | 0 | 1 | 8.4197 | 8.4197
[9 empty] | #VALUE! | 0 | 1 | 8.4197 | 8.4197
[9 empty] | #VALUE! | 0 | 1 | 8.4197 | 8.4197
|  |  |  | Lot No.: |  | File # |  |  | #VALUE!
[9 empty] | #VALUE! | TABLE NO. 6
Rainbow Calibration Particles (RCP-30-5) | [8 empty] | #VALUE! | Determination of New MEPB
Acceptable: |  |  | By: |  |  | Date: |  |  |  | values for RCP-30-5
Action taken if not linear: | [7 empty] | TABLE NO. 4 |  | 256 CH# | 104 CH# | New MEPB
[8 empty] | 105 MEAN CH# |  |  | 1 | 8.4197
[8 empty] | to 256 REL. CH# |  |  | 1 | 8.4197
[8 empty] | CONVERSION |  |  | 1 | 8.4197
[8 empty] | 105 CH# | 256 CH# |  | 1 | 8.4197
[9 empty] | #VALUE! |  | 1 | 8.4197
[9 empty] | #VALUE! |  | 1 | 8.4197
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
Note on J20: Use this Table to convert Beckman-Coulter 1024 Mean CH # to 256 Relative CH#
Note on J35: Use this Table to convert BD-FACS 104 Mean CH # to 256 Relative CH#
Note on J50: Use this Table to convert BD-FACS Canto 105 Mean CH # to 384 Relative CH#

## MEKO
TYPE THE NAME OF YOUR LAB HERE
| PMT LINEARITY QC RECORD | [12 empty] | Normalization Graph for Instrument B
[8 empty] | TABLE NO. 1 |  | CROSS CALIBRATION TABLE
| PEAK # | CH # | MEKO | MEKO LOG | CALC. | RESIDUAL | CALC. MEKO | 1024 REL. CH# |  | FOR UNKNOWN SAMPLES |  |  |  |  | PEAK # | CH # | MEKO | MEKO LOG | CALC. | RESIDUAL | CALC. MEKO | CROSS CALIBRATION TABLE
| 1 | 22.5417 |  |  | 2.1411 |  | 138.402 | to 256 REL. CH# |  | Sample | CH# | Calc. | Calc. MEKO |  | 1 | 0 | 59.7023 | 1.776 | #VALUE! | #VALUE! | #VALUE! | FOR NORMALIZATION GRAPH
| 2 | 113.391 | 4100.1863 | 3.6128 | 3.6128 | 0% | 4100.1863 | CONVERSION |  |  |  | 1.776 | 59.7023 |  | 2 | 0 | 59.7023 | 1.776 | #VALUE! | #VALUE! | #VALUE! | Sample | CH# | Calc. | Calc. MEKO
| 3 | 145.3458 | 13503.202 | 4.1304 | 4.1304 | 0% | 13503.202 | 1024 CH# | 256 CH# |  |  | 1.776 | 59.7023 |  | 3 | 0 | 59.7023 | 1.776 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 4 | 177.6297 | 45019.6495 | 4.6534 | 4.6534 | 0% | 45019.6495 |  | 0 |  |  | 1.776 | 59.7023 |  | 4 | 0 | 59.7023 | 1.776 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 5 | 210.3734 | 152691.3553 | 5.1838 | 5.1838 | 0% | 152691.3553 |  | 0 |  |  | 1.776 | 59.7023 |  | 5 | 0 | 59.7023 | 1.776 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 6 | 235.5852 | 391037.895 | 5.5922 | 5.5922 | 0% | 391037.895 |  | 0 |  |  | 1.776 | 59.7023 |  | 6 | 0 | 59.7023 | 1.776 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
|  |  |  | Ave Residual |  | 0% |  |  | 0 |  |  | 1.776 | 59.7023 |  |  |  |  | Ave Residual |  | #VALUE! |  |  |  | #VALUE! | #VALUE!
[6 empty] | Slope: | 0.016199 |  | 0 |  |  | 1.776 | 59.7023 | [6 empty] | Slope: | #VALUE! |  |  | #VALUE! | #VALUE!
[6 empty] | Intercept: | 1.776 |  | 0 |  |  | 1.776 | 59.7023 | [6 empty] | Intercept: | #VALUE! |  |  | #VALUE! | #VALUE!
[6 empty] | Rsq: | 1 |  | 0 |  |  | 1.776 | 59.7023 | [6 empty] | Rsq: | #VALUE! |  |  | #VALUE! | #VALUE!
[9 empty] | 0 |  |  | 1.776 | 59.7023 | [10 empty] | #VALUE! | #VALUE!
[12 empty] | 1.776 | 59.7023 | [10 empty] | #VALUE! | #VALUE!
[12 empty] | 1.776 | 59.7023 | [10 empty] | #VALUE! | #VALUE!
[8 empty] | TABLE NO. 2 | [15 empty] | #VALUE! | #VALUE!
[8 empty] | 1024 MEAN CH# |  | CONVERTED VALUES
[8 empty] | to 256 REL. CH# |  | CAN BE COPIED TO
[8 empty] | CONVERSION |  | THE CH# COLUMN BY
[8 empty] | 1024 CH# | 256 CH# | SELECTING THE CELLS
[9 empty] | #VALUE! | TO BE COPIED; THEN,
[9 empty] | #VALUE! | CLICKING [COPY],
[9 empty] | #VALUE! | [PASTE SPECIAL], AND
[9 empty] | #VALUE! | FINALLY [PASTE VALUE]
#VALUE!
#VALUE!
#VALUE!
#VALUE!
[8 empty] | TABLE NO. 3 |  | TABLE NO. 5
[8 empty] | 104 MEAN CH# |  | Determination of the
[8 empty] | to 256 REL. CH# |  | MEKO/CH# for the
[8 empty] | CONVERSION |  | normalization cell or particle
[8 empty] | 104 CH# | 256 CH# | 256 CH# | 104 CH# | Calc. MEKO | MEKO/CH#
[8 empty] | 3.75 | 36.738 | 0 | 1 | 59.7023 | 59.7023
[8 empty] | 13.29 | 71.9056 | 0 | 1 | 59.7023 | 59.7023
[8 empty] | 29.44 | 94.012 | 0 | 1 | 59.7023 | 59.7023
[8 empty] | 81.54 | 122.3277 | 0 | 1 | 59.7023 | 59.7023
[8 empty] | 208.67 | 148.4454 | 0 | 1 | 59.7023 | 59.7023
|  |  |  | Lot No.: |  | File # |  | 597.25 | 177.674
[8 empty] | 1951 | 210.5765 | TABLE NO. 6
Rainbow Calibration Particles (RCP-30-5) | [7 empty] | 4877.91 | 236.047 | Determination of New MEKO
Acceptable: |  |  | By: |  |  | Date: |  |  |  | values for RCP-30-5
Action taken if not linear: | [7 empty] | TABLE NO. 4 |  | 256 CH# | 104 CH# | New MEKO
[8 empty] | 105 MEAN CH# |  |  | 1 | 59.7023
[8 empty] | to 256 REL. CH# |  |  | 1 | 59.7023
[8 empty] | CONVERSION |  |  | 1 | 59.7023
[8 empty] | 105 CH# | 256 CH# |  | 1 | 59.7023
[9 empty] | #VALUE! |  | 1 | 59.7023
[9 empty] | #VALUE! |  | 1 | 59.7023
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
Note on J20: Use this Table to convert Beckman-Coulter 1024 Mean CH # to 256 Relative CH#
Note on J35: Use this Table to convert BD-FACS 104 Mean CH # to 256 Relative CH#
Note on J50: Use this Table to convert BD-FACS Canto 105 Mean CH # to 384 Relative CH#

## MEFL
TYPE THE NAME OF YOUR LAB HERE
| PMT LINEARITY QC RECORD | [12 empty] | Normalization Graph for Instrument B
[8 empty] | TABLE NO. 1 |  | CROSS CALIBRATION TABLE
| PEAK # | CH # | MEFL | MEFL LOG | CALC. | RESIDUAL | CALC. MEFL | 1024 REL. CH# |  | FOR UNKNOWN SAMPLES |  |  |  |  | PEAK # | CH # | MEFL | MEFL LOG | CALC. | RESIDUAL | CALC. MEFL | CROSS CALIBRATION TABLE
| 1 | 69.0913 |  |  | 1.7665 |  | 58.409 | to 256 REL. CH# |  | Sample | CH# | Calc. | Calc. MEFL |  | 1 | 0 | 1.5008 | 0.17633 | #VALUE! | #VALUE! | #VALUE! | FOR NORMALIZATION GRAPH
| 2 | 152.3559 | 4447 | 3.6481 | 3.6828 | 9.439% | 4817.5993 | CONVERSION |  |  |  | 0.17633 | 1.5008 |  | 2 | 0 | 1.5008 | 0.17633 | #VALUE! | #VALUE! | #VALUE! | Sample | CH# | Calc. | Calc. MEFL
| 3 | 175.1085 | 14227 | 4.1531 | 4.2065 | 12.69% | 16087.354 | 1024 CH# | 256 CH# |  |  | 0.17633 | 1.5008 |  | 3 | 0 | 1.5008 | 0.17633 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 4 | 189.4955 | 46322 | 4.6658 | 4.5376 | 28.25% | 34482.8472 |  | 0 |  |  | 0.17633 | 1.5008 |  | 4 | 0 | 1.5008 | 0.17633 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 5 | 214.1533 | 133924 | 5.1269 | 5.1051 | 4.261% | 127381.8472 |  | 0 |  |  | 0.17633 | 1.5008 |  | 5 | 0 | 1.5008 | 0.17633 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 6 | 231.4902 | 276897 | 5.4423 | 5.5041 | 11.23% | 319240.8574 |  | 0 |  |  | 0.17633 | 1.5008 |  | 6 | 0 | 1.5008 | 0.17633 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
|  |  |  | Ave Residual |  | 13.17% |  |  | 0 |  |  | 0.17633 | 1.5008 |  |  |  |  | Ave Residual |  | #VALUE! |  |  |  | #VALUE! | #VALUE!
[6 empty] | Slope: | 0.023015 |  | 0 |  |  | 0.17633 | 1.5008 | [6 empty] | Slope: | #VALUE! |  |  | #VALUE! | #VALUE!
[6 empty] | Intercept: | 0.17633 |  | 0 |  |  | 0.17633 | 1.5008 | [6 empty] | Intercept: | #VALUE! |  |  | #VALUE! | #VALUE!
[6 empty] | Rsq: | 0.98818 |  | 0 |  |  | 0.17633 | 1.5008 | [6 empty] | Rsq: | #VALUE! |  |  | #VALUE! | #VALUE!
[9 empty] | 0 |  |  | 0.17633 | 1.5008 | [10 empty] | #VALUE! | #VALUE!
[12 empty] | 0.17633 | 1.5008 | [10 empty] | #VALUE! | #VALUE!
[12 empty] | 0.17633 | 1.5008 | [10 empty] | #VALUE! | #VALUE!
[8 empty] | TABLE NO. 2 | [15 empty] | #VALUE! | #VALUE!
[8 empty] | 1024 MEAN CH# |  | CONVERTED VALUES
[8 empty] | to 256 REL. CH# |  | CAN BE COPIED TO
[8 empty] | CONVERSION |  | THE CH# COLUMN BY
[8 empty] | 1024 CH# | 256 CH# | SELECTING THE CELLS
[9 empty] | #VALUE! | TO BE COPIED; THEN,
[9 empty] | #VALUE! | CLICKING [COPY],
[9 empty] | #VALUE! | [PASTE SPECIAL], AND
[9 empty] | #VALUE! | FINALLY [PASTE VALUE]
#VALUE!
#VALUE!
#VALUE!
#VALUE!
[8 empty] | TABLE NO. 3 |  | TABLE NO. 5
[8 empty] | 104 MEAN CH# |  | Determination of the
[8 empty] | to 256 REL. CH# |  | MEFL/CH# for the
[8 empty] | CONVERSION |  | normalization cell or particle
[8 empty] | 104 CH# | 256 CH# | 256 CH# | 104 CH# | Calc. MEFL | MEFL/CH#
[9 empty] | #VALUE! | 0 | 1 | 1.5008 | 1.5008
[9 empty] | #VALUE! | 0 | 1 | 1.5008 | 1.5008
[9 empty] | #VALUE! | 0 | 1 | 1.5008 | 1.5008
[9 empty] | #VALUE! | 0 | 1 | 1.5008 | 1.5008
[9 empty] | #VALUE! | 0 | 1 | 1.5008 | 1.5008
|  |  |  | Lot No.: |  | File # |  |  | #VALUE!
[9 empty] | #VALUE! | TABLE NO. 6
Rainbow Calibration Particles (RCP-30-5) | [8 empty] | #VALUE! | Determination of New MEFL
Acceptable: |  |  | By: |  |  | Date: |  |  |  | values for RCP-30-5
Action taken if not linear: | [7 empty] | TABLE NO. 4 |  | 256 CH# | 104 CH# | New MEFL
[8 empty] | 105 MEAN CH# |  |  | 1 | 1.5008
[8 empty] | to 256 REL. CH# |  |  | 1 | 1.5008
[8 empty] | CONVERSION |  |  | 1 | 1.5008
[8 empty] | 105 CH# | 256 CH# |  | 1 | 1.5008
[9 empty] | #VALUE! |  | 1 | 1.5008
[9 empty] | #VALUE! |  | 1 | 1.5008
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
Note on J20: Use this Table to convert Beckman-Coulter 1024 Mean CH # to 256 Relative CH#
Note on J35: Use this Table to convert BD-FACS 104 Mean CH # to 256 Relative CH#
Note on J50: Use this Table to convert BD-FACS Canto 105 Mean CH # to 384 Relative CH#

## MEPE
TYPE THE NAME OF YOUR LAB HERE
| PMT LINEARITY QC RECORD | [12 empty] | Normalization Graph for Instrument B
[8 empty] | TABLE NO. 1 |  | CROSS CALIBRATION TABLE
| PEAK # | CH # | MEPE | MEPE LOG | CALC. | RESIDUAL | CALC. MEPE | 1024 REL. CH# |  | FOR UNKNOWN SAMPLES |  |  |  | PEAK # | CH # | MEPE | MEPE LOG | CALC. | RESIDUAL | CALC. MEPE | CROSS CALIBRATION TABLE
| 1 | 63.423 |  |  | 1.1508 |  | 14.1507 | to 256 REL. CH# |  | Sample | CH# | Calc. | Calc. MEPE | 1 | 0 | 0.47379 | -0.32442 | #VALUE! | #VALUE! | #VALUE! | FOR NORMALIZATION GRAPH
| 2 | 168.3686 | 3236 | 3.51 | 3.5918 | 22.76% | 3906.3407 | CONVERSION |  |  |  | -0.32442 | 0.47379 | 2 | 0 | 0.47379 | -0.32442 | #VALUE! | #VALUE! | #VALUE! | Sample | CH# | Calc. | Calc. MEPE
| 3 | 187.9758 | 10754 | 4.0316 | 4.0478 | 4.016% | 11164.1667 | 1024 CH# | 256 CH# |  |  | -0.32442 | 0.47379 | 3 | 0 | 0.47379 | -0.32442 | #VALUE! | #VALUE! | #VALUE! |  | 200 | #VALUE! | #VALUE!
| 4 | 202.778 | 34842 | 4.5421 | 4.3921 | 34.15% | 24667.2073 |  | 0 |  |  | -0.32442 | 0.47379 | 4 | 0 | 0.47379 | -0.32442 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 5 | 228.4149 | 104483 | 5.019 | 4.9884 | 6.139% | 97369.5486 |  | 0 |  |  | -0.32442 | 0.47379 | 5 | 0 | 0.47379 | -0.32442 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 6 | 249.2627 | 245894 | 5.3907 | 5.4733 | 15.09% | 297396.3411 |  | 0 |  |  | -0.32442 | 0.47379 | 6 | 0 | 0.47379 | -0.32442 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
|  |  |  | Ave Residual |  | 16.43% |  |  | 0 |  |  | -0.32442 | 0.47379 |  |  |  | Ave Residual |  | #VALUE! |  |  |  | #VALUE! | #VALUE!
[6 empty] | Slope: | 0.02326 |  | 0 |  |  | -0.32442 | 0.47379 | [5 empty] | Slope: | #VALUE! |  |  | #VALUE! | #VALUE!
[6 empty] | Intercept: | -0.32442 |  | 0 |  |  | -0.32442 | 0.47379 | [5 empty] | Intercept: | #VALUE! |  |  | #VALUE! | #VALUE!
[6 empty] | Rsq: | 0.98357 |  | 0 |  |  | -0.32442 | 0.47379 | [5 empty] | Rsq: | #VALUE! |  |  | #VALUE! | #VALUE!
[9 empty] | 0 |  |  | -0.32442 | 0.47379 | [9 empty] | #VALUE! | #VALUE!
[12 empty] | -0.32442 | 0.47379 | [9 empty] | #VALUE! | #VALUE!
[12 empty] | -0.32442 | 0.47379 | [9 empty] | #VALUE! | #VALUE!
[7 empty] | 21 | TABLE NO. 2 | [14 empty] | #VALUE! | #VALUE!
[7 empty] | 56.5 | 1024 MEAN CH# |  | CONVERTED VALUES | [9 empty] | 21
[8 empty] | to 256 REL. CH# |  | CAN BE COPIED TO | [9 empty] | 56.5
[8 empty] | CONVERSION |  | THE CH# COLUMN BY
[8 empty] | 1024 CH# | 256 CH# | SELECTING THE CELLS
[9 empty] | #VALUE! | TO BE COPIED; THEN,
[9 empty] | #VALUE! | CLICKING [COPY],
[9 empty] | #VALUE! | [PASTE SPECIAL], AND
[9 empty] | #VALUE! | FINALLY [PASTE VALUE]
#VALUE!
#VALUE!
#VALUE!
#VALUE!
[8 empty] | TABLE NO. 3 |  | TABLE NO. 5
[8 empty] | 104 MEAN CH# |  | Determination of the
[8 empty] | to 256 REL. CH# |  | MEPE/CH# for the
[8 empty] | CONVERSION |  | normalization cell or particle
[8 empty] | 104 CH# | 256 CH# | 256 CH# | 104 CH# | Calc. MEPE | MEPE/CH#
[9 empty] | #VALUE! | 0 | 1 | 0.47379 | 0.47379
[9 empty] | #VALUE! | 0 | 1 | 0.47379 | 0.47379
[9 empty] | #VALUE! | 0 | 1 | 0.47379 | 0.47379
[9 empty] | #VALUE! | 0 | 1 | 0.47379 | 0.47379
[9 empty] | #VALUE! | 0 | 1 | 0.47379 | 0.47379
|  |  |  | Lot No.: |  | File # |  |  | #VALUE!
[9 empty] | #VALUE! | TABLE NO. 6
Rainbow Calibration Particles (RCP-30-5) | [8 empty] | #VALUE! | Determination of New MEPE
Acceptable: |  |  | By: |  |  | Date: |  |  |  | values for RCP-30-5
Action taken if not linear: | [7 empty] | TABLE NO. 4 |  | 256 CH# | 104 CH# | New MEPE
[8 empty] | 105 MEAN CH# |  |  | 1 | 0.47379
[8 empty] | to 256 REL. CH# |  |  | 1 | 0.47379
[8 empty] | CONVERSION |  |  | 1 | 0.47379
[8 empty] | 105 CH# | 256 CH# |  | 1 | 0.47379
[9 empty] | #VALUE! |  | 1 | 0.47379
[9 empty] | #VALUE! |  | 1 | 0.47379
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
Note on J20: Use this Table to convert Beckman-Coulter 1024 Mean CH # to 256 Relative CH#
Note on J35: Use this Table to convert BD-FACS 104 Mean CH # to 256 Relative CH#
Note on J50: Use this Table to convert BD-FACS Canto 105 Mean CH # to 384 Relative CH#
Note on T5: RCP-30-5 Relative Channel Numbers obtained with your Instrument in 256 Channel Scale.

## METR
TYPE THE NAME OF YOUR LAB HERE
| PMT LINEARITY QC RECORD | [12 empty] | Normalization Graph for Instrument B
[8 empty] | TABLE NO. 1 |  | CROSS CALIBRATION TABLE
| PEAK # | CH # | MEPTR | MEPTR LOG | CALC. | RESIDUAL | CALC. MEPTR | 1024 REL. CH# |  | FOR UNKNOWN SAMPLES |  |  |  | PEAK # | CH # | MEPTR | MEPTR LOG | CALC. | RESIDUAL | CALC. MEPTR | CROSS CALIBRATION TABLE
| 1 | 63.423 |  |  | 0.53236 |  | 3.4069 | to 256 REL. CH# |  | Sample | CH# | Calc. | Calc. MEPTR | 1 | 0 | 0.07978 | -1.0981 | #VALUE! | #VALUE! | #VALUE! | FOR NORMALIZATION GRAPH
| 2 | 168.3686 | 1486 | 3.172 | 3.2303 | 18.03% | 1699.3188 | CONVERSION |  |  |  | -1.0981 | 0.07978 | 2 | 0 | 0.07978 | -1.0981 | #VALUE! | #VALUE! | #VALUE! | Sample | CH# | Calc. | Calc. MEPTR
| 3 | 187.9758 | 5112 | 3.7086 | 3.7343 | 6.893% | 5424.1626 | 1024 CH# | 256 CH# |  |  | -1.0981 | 0.07978 | 3 | 0 | 0.07978 | -1.0981 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 4 | 202.778 | 17664 | 4.2471 | 4.1149 | 32.13% | 13027.6052 |  | 0 |  |  | -1.0981 | 0.07978 | 4 | 0 | 0.07978 | -1.0981 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 5 | 228.4149 | 60371 | 4.7808 | 4.7739 | 1.445% | 59419.7664 |  | 0 |  |  | -1.0981 | 0.07978 | 5 | 0 | 0.07978 | -1.0981 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 6 | 249.2627 | 179787 | 5.2548 | 5.3099 | 10.38% | 204118.4616 |  | 0 |  |  | -1.0981 | 0.07978 | 6 | 0 | 0.07978 | -1.0981 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
|  |  |  | Ave Residual |  | 13.78% |  |  | 0 |  |  | -1.0981 | 0.07978 |  |  |  | Ave Residual |  | #VALUE! |  |  |  | #VALUE! | #VALUE!
[6 empty] | Slope: | 0.025708 |  | 0 |  |  | -1.0981 | 0.07978 | [5 empty] | Slope: | #VALUE! |  |  | #VALUE! | #VALUE!
[6 empty] | Intercept: | -1.0981 |  | 0 |  |  | -1.0981 | 0.07978 | [5 empty] | Intercept: | #VALUE! |  |  | #VALUE! | #VALUE!
[6 empty] | Rsq: | 0.99103 |  | 0 |  |  | -1.0981 | 0.07978 | [5 empty] | Rsq: | #VALUE! |  |  | #VALUE! | #VALUE!
[9 empty] | 0 |  |  | -1.0981 | 0.07978 | [9 empty] | #VALUE! | #VALUE!
[12 empty] | -1.0981 | 0.07978 | [9 empty] | #VALUE! | #VALUE!
[12 empty] | -1.0981 | 0.07978 | [9 empty] | #VALUE! | #VALUE!
[7 empty] | 21 | TABLE NO. 2 | [14 empty] | #VALUE! | #VALUE!
[7 empty] | 56.5 | 1024 MEAN CH# |  | CONVERTED VALUES | [9 empty] | 21
[8 empty] | to 256 REL. CH# |  | CAN BE COPIED TO | [9 empty] | 56.5
[8 empty] | CONVERSION |  | THE CH# COLUMN BY
[8 empty] | 1024 CH# | 256 CH# | SELECTING THE CELLS
[9 empty] | #VALUE! | TO BE COPIED; THEN,
[9 empty] | #VALUE! | CLICKING [COPY],
[9 empty] | #VALUE! | [PASTE SPECIAL], AND
[9 empty] | #VALUE! | FINALLY [PASTE VALUE]
#VALUE!
#VALUE!
#VALUE!
#VALUE!
[8 empty] | TABLE NO. 3 |  | TABLE NO. 5
[8 empty] | 104 MEAN CH# |  | Determination of the
[8 empty] | to 256 REL. CH# |  | MEPTR/CH# for the
[8 empty] | CONVERSION |  | normalization cell or particle
[8 empty] | 104 CH# | 256 CH# | 256 CH# | 104 CH# | Calc. MEPTR | MEPTR/CH#
[9 empty] | #VALUE! | 0 | 1 | 0.07978 | 0.07978
[9 empty] | #VALUE! | 0 | 1 | 0.07978 | 0.07978
[9 empty] | #VALUE! | 0 | 1 | 0.07978 | 0.07978
[9 empty] | #VALUE! | 0 | 1 | 0.07978 | 0.07978
[9 empty] | #VALUE! | 0 | 1 | 0.07978 | 0.07978
|  |  |  | Lot No.: |  | File # |  |  | #VALUE!
[9 empty] | #VALUE! | TABLE NO. 6
Rainbow Calibration Particles (RCP-30-5) | [8 empty] | #VALUE! | Determination of New MEPTR
Acceptable: |  |  | By: |  |  | Date: |  |  |  | values for RCP-30-5
Action taken if not linear: | [7 empty] | TABLE NO. 4 |  | 256 CH# | 104 CH# | New MEPE
[8 empty] | 105 MEAN CH# |  |  | 1 | 0.07978
[8 empty] | to 256 REL. CH# |  |  | 1 | 0.07978
[8 empty] | CONVERSION |  |  | 1 | 0.07978
[8 empty] | 105 CH# | 256 CH# |  | 1 | 0.07978
[9 empty] | #VALUE! |  | 1 | 0.07978
[9 empty] | #VALUE! |  | 1 | 0.07978
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
Note on J20: Use this Table to convert Beckman-Coulter 1024 Mean CH # to 256 Relative CH#
Note on J35: Use this Table to convert BD-FACS 104 Mean CH # to 256 Relative CH#
Note on J50: Use this Table to convert BD-FACS Canto 105 Mean CH # to 384 Relative CH#

## MECY5.5
TYPE THE NAME OF YOUR LAB HERE
| PMT LINEARITY QC RECORD | [12 empty] | Normalization Graph for Instrument B
[8 empty] | TABLE NO. 1 |  | CROSS CALIBRATION TABLE
| PEAK # | CH # | MECY5.5 | MECY5.5 LOG | CALC. | RESIDUAL | CALC. MECY5.5 | 1024 REL. CH# |  | FOR UNKNOWN SAMPLES |  |  |  |  | PEAK # | CH # | MECY5.5 | MECY5.5 LOG | CALC. | RESIDUAL | CALC. MECY5.5 | CROSS CALIBRATION TABLE
| 1 | 64.3351 |  |  | 1.8449 |  | 69.9752 | to 256 REL. CH# |  | Sample | CH# | Calc. | Calc. MECY5.5 |  | 1 | 0 | 2.4153 | 0.38296 | #VALUE! | #VALUE! | #VALUE! | FOR NORMALIZATION GRAPH
| 2 | 160.1804 | 8737 | 3.9414 | 4.023 | 20.29% | 10543.2856 | CONVERSION |  |  |  | 0.38296 | 2.4153 |  | 2 | 0 | 2.4153 | 0.38296 | #VALUE! | #VALUE! | #VALUE! | Sample | CH# | Calc. | Calc. MECY5.5
| 3 | 180.6931 | 28177 | 4.4499 | 4.4891 | 8.737% | 30840.1844 | 1024 CH# | 256 CH# |  |  | 0.38296 | 2.4153 |  | 3 | 0 | 2.4153 | 0.38296 | #VALUE! | #VALUE! | #VALUE! |  | 200 | #VALUE! | #VALUE!
| 4 | 196.1395 | 93996 | 4.9731 | 4.8401 | 27.47% | 69203.5937 |  | 0 |  |  | 0.38296 | 2.4153 |  | 4 | 0 | 2.4153 | 0.38296 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 5 | 222.0689 | 334087 | 5.5239 | 5.4294 | 17.41% | 268757.0814 |  | 0 |  |  | 0.38296 | 2.4153 |  | 5 | 0 | 2.4153 | 0.38296 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 6 | 252.3161 | 1023447 | 6.0101 | 6.1167 | 17.43% | 1308307.682 |  | 0 |  |  | 0.38296 | 2.4153 |  | 6 | 0 | 2.4153 | 0.38296 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
|  |  |  | Ave Residual |  | 18.27% |  |  | 0 |  |  | 0.38296 | 2.4153 |  |  |  |  | Ave Residual |  | #VALUE! |  |  |  | #VALUE! | #VALUE!
[6 empty] | Slope: | 0.022724 |  | 0 |  |  | 0.38296 | 2.4153 | [6 empty] | Slope: | #VALUE! |  |  | #VALUE! | #VALUE!
[6 empty] | Intercept: | 0.38296 |  | 0 |  |  | 0.38296 | 2.4153 | [6 empty] | Intercept: | #VALUE! |  |  | #VALUE! | #VALUE!
[6 empty] | Rsq: | 0.983 |  | 0 |  |  | 0.38296 | 2.4153 | [6 empty] | Rsq: | #VALUE! |  |  | #VALUE! | #VALUE!
[9 empty] | 0 |  |  | 0.38296 | 2.4153 | [10 empty] | #VALUE! | #VALUE!
[12 empty] | 0.38296 | 2.4153 | [10 empty] | #VALUE! | #VALUE!
[12 empty] | 0.38296 | 2.4153 | [10 empty] | #VALUE! | #VALUE!
[8 empty] | TABLE NO. 2 | [15 empty] | #VALUE! | #VALUE!
[8 empty] | 1024 MEAN CH# |  | CONVERTED VALUES
[8 empty] | to 256 REL. CH# |  | CAN BE COPIED TO
[8 empty] | CONVERSION |  | THE CH# COLUMN BY
[8 empty] | 1024 CH# | 256 CH# | SELECTING THE CELLS
[9 empty] | #VALUE! | TO BE COPIED; THEN,
[9 empty] | #VALUE! | CLICKING [COPY],
[9 empty] | #VALUE! | [PASTE SPECIAL], AND
[9 empty] | #VALUE! | FINALLY [PASTE VALUE]
#VALUE!
#VALUE!
#VALUE!
#VALUE!
[8 empty] | TABLE NO. 3 |  | TABLE NO. 5
[8 empty] | 104 MEAN CH# |  | Determination of the
[8 empty] | to 256 REL. CH# |  | MECY5.5/CH# for the
[8 empty] | CONVERSION |  | normalization cell or particle
[8 empty] | 104 CH# | 256 CH# | 256 CH# | 104 CH# | Calc. MECY5.5 | MECY5.5/CH#
[9 empty] | #VALUE! | 0 | 1 | 2.4153 | 2.4153
[9 empty] | #VALUE! | 0 | 1 | 2.4153 | 2.4153
[9 empty] | #VALUE! | 0 | 1 | 2.4153 | 2.4153
[9 empty] | #VALUE! | 0 | 1 | 2.4153 | 2.4153
[9 empty] | #VALUE! | 0 | 1 | 2.4153 | 2.4153
|  |  |  | Lot No.: |  | File # |  |  | #VALUE!
[9 empty] | #VALUE! | TABLE NO. 6
Rainbow Calibration Particles (RCP-30-5) | [8 empty] | #VALUE! | Determination of New MECY5.5
Acceptable: |  |  | By: |  |  | Date: |  |  |  | values for RCP-30-5
Action taken if not linear: | [7 empty] | TABLE NO. 4 |  | 256 CH# | 104 CH# | New MECY5.5
[8 empty] | 105 MEAN CH# |  |  | 1 | 2.4153
[8 empty] | to 256 REL. CH# |  |  | 1 | 2.4153
[8 empty] | CONVERSION |  |  | 1 | 2.4153
[8 empty] | 105 CH# | 256 CH# |  | 1 | 2.4153
[9 empty] | #VALUE! |  | 1 | 2.4153
[9 empty] | #VALUE! |  | 1 | 2.4153
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
Note on J20: Use this Table to convert Beckman-Coulter 1024 Mean CH # to 256 Relative CH#
Note on J35: Use this Table to convert BD-FACS 104 Mean CH # to 256 Relative CH#
Note on J50: Use this Table to convert BD-FACS Canto 105 Mean CH # to 384 Relative CH#

## MEPCY7
TYPE THE NAME OF YOUR LAB HERE
| PMT LINEARITY QC RECORD | [12 empty] | Normalization Graph for Instrument B
[8 empty] | TABLE NO. 1 |  | CROSS CALIBRATION TABLE
| PEAK # | CH # | MEPCY7 | MEPCY7 LOG | CALC. | RESIDUAL | CALC. MEPCY7 | 1024 REL. CH# |  | FOR UNKNOWN SAMPLES |  |  |  |  | PEAK # | CH # | MEPCY7 | MEPCY7 LOG | CALC. | RESIDUAL | CALC. MEPCY7 | CROSS CALIBRATION TABLE
| 1 |  |  |  | 2.0859 |  | 121.8833 | to 256 REL. CH# |  | Sample | CH# | Calc. | Calc. MEPCY7 |  | 1 | 0 | 121.8833 | 2.0859 | #VALUE! | #VALUE! | #VALUE! | FOR NORMALIZATION GRAPH
| 2 | 101.5416 | 4447.5298 | 3.6481 | 3.6481 | 0% | 4447.5298 | CONVERSION |  |  |  | 2.0859 | 121.8833 |  | 2 | 0 | 121.8833 | 2.0859 | #VALUE! | #VALUE! | #VALUE! | Sample | CH# | Calc. | Calc. MEPCY7
| 3 | 131.4413 | 12826.6344 | 4.1081 | 4.1081 | 0% | 12826.6344 | 1024 CH# | 256 CH# |  |  | 2.0859 | 121.8833 |  | 3 | 0 | 121.8833 | 2.0859 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 4 | 164.7069 | 41676.3656 | 4.6199 | 4.6199 | 0% | 41676.3656 |  | 0 |  |  | 2.0859 | 121.8833 |  | 4 | 0 | 121.8833 | 2.0859 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 5 | 200.7546 | 149440.7014 | 5.1745 | 5.1745 | 0% | 149440.7014 |  | 0 |  |  | 2.0859 | 121.8833 |  | 5 | 0 | 121.8833 | 2.0859 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 6 | 233.3872 | 474797.2524 | 5.6765 | 5.6765 | 0% | 474797.2524 |  | 0 |  |  | 2.0859 | 121.8833 |  | 6 | 0 | 121.8833 | 2.0859 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
|  |  |  | Ave Residual |  | 0% |  |  | 0 |  |  | 2.0859 | 121.8833 |  |  |  |  | Ave Residual |  | #VALUE! |  |  |  | #VALUE! | #VALUE!
[6 empty] | Slope: | 0.015385 |  | 0 |  |  | 2.0859 | 121.8833 | [6 empty] | Slope: | #VALUE! |  |  | #VALUE! | #VALUE!
[6 empty] | Intercept: | 2.0859 |  | 0 |  |  | 2.0859 | 121.8833 | [6 empty] | Intercept: | #VALUE! |  |  | #VALUE! | #VALUE!
[6 empty] | Rsq: | 1 |  | 0 |  |  | 2.0859 | 121.8833 | [6 empty] | Rsq: | #VALUE! |  |  | #VALUE! | #VALUE!
[9 empty] | 0 |  |  | 2.0859 | 121.8833 | [10 empty] | #VALUE! | #VALUE!
[12 empty] | 2.0859 | 121.8833 | [10 empty] | #VALUE! | #VALUE!
[12 empty] | 2.0859 | 121.8833 | [10 empty] | #VALUE! | #VALUE!
[8 empty] | TABLE NO. 2 | [15 empty] | #VALUE! | #VALUE!
[8 empty] | 1024 MEAN CH# |  | CONVERTED VALUES
[8 empty] | to 256 REL. CH# |  | CAN BE COPIED TO
[8 empty] | CONVERSION |  | THE CH# COLUMN BY
[8 empty] | 1024 CH# | 256 CH# | SELECTING THE CELLS
[9 empty] | #VALUE! | TO BE COPIED; THEN,
[9 empty] | #VALUE! | CLICKING [COPY],
[9 empty] | #VALUE! | [PASTE SPECIAL], AND
[9 empty] | #VALUE! | FINALLY [PASTE VALUE]
#VALUE!
#VALUE!
#VALUE!
#VALUE!
[8 empty] | TABLE NO. 3 |  | TABLE NO. 5
[8 empty] | 104 MEAN CH# |  | Determination of the
[8 empty] | to 256 REL. CH# |  | MEPCY7/CH# for the
[8 empty] | CONVERSION |  | normalization cell or particle
[8 empty] | 104 CH# | 256 CH# | 256 CH# | 104 CH# | Calc. MEPCY7 | MEPCY7/CH#
[9 empty] | #VALUE! | 0 | 1 | 121.8833 | 121.8833
[9 empty] | #VALUE! | 0 | 1 | 121.8833 | 121.8833
[9 empty] | #VALUE! | 0 | 1 | 121.8833 | 121.8833
[9 empty] | #VALUE! | 0 | 1 | 121.8833 | 121.8833
[9 empty] | #VALUE! | 0 | 1 | 121.8833 | 121.8833
|  |  |  | Lot No.: |  | File # |  |  | #VALUE!
[9 empty] | #VALUE! | TABLE NO. 6
Rainbow Calibration Particles (RCP-30-5) | [8 empty] | #VALUE! | Determination of New MEPCY7
Acceptable: |  |  | By: |  |  | Date: |  |  |  | values for RCP-30-5
Action taken if not linear: | [7 empty] | TABLE NO. 4 |  | 256 CH# | 104 CH# | New MEPCY7
[8 empty] | 105 MEAN CH# |  |  | 1 | 121.8833
[8 empty] | to 256 REL. CH# |  |  | 1 | 121.8833
[8 empty] | CONVERSION |  |  | 1 | 121.8833
[8 empty] | 105 CH# | 256 CH# |  | 1 | 121.8833
[9 empty] | #VALUE! |  | 1 | 121.8833
[9 empty] | #VALUE! |  | 1 | 121.8833
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
Note on J20: Use this Table to convert Beckman-Coulter 1024 Mean CH # to 256 Relative CH#
Note on J35: Use this Table to convert BD-FACS 104 Mean CH # to 256 Relative CH#
Note on J50: Use this Table to convert BD-FACS Canto 105 Mean CH # to 384 Relative CH#

## MEAP
TYPE THE NAME OF YOUR LAB HERE
| PMT LINEARITY QC RECORD | [12 empty] | Normalization Graph for Instrument B
[8 empty] | TABLE NO. 1 |  | CROSS CALIBRATION TABLE
| PEAK # | CH # | MEAP | MEAP LOG | CALC. | RESIDUAL | CALC. MEAP | 1024 REL. CH# |  | FOR UNKNOWN SAMPLES |  |  |  |  | PEAK # | CH # | MEAP | MEAP LOG | CALC. | RESIDUAL | CALC. MEAP | CROSS CALIBRATION TABLE
| 1 | 114.0959 |  |  | 0.92324 |  | 8.38 | to 256 REL. CH# |  | Sample | CH# | Calc. | Calc. MEAP |  | 1 | 0 | 0.0025338 | -2.5962 | #VALUE! | #VALUE! | #VALUE! | FOR NORMALIZATION GRAPH
| 2 | 195.2869 | 2395 | 3.3793 | 3.4277 | 14.12% | 2677.329 | CONVERSION |  |  |  | -2.5962 | 0.0025338 |  | 2 | 0 | 0.0025338 | -2.5962 | #VALUE! | #VALUE! | #VALUE! | Sample | CH# | Calc. | Calc. MEAP
| 3 | 213.6391 | 8273 | 3.9177 | 3.9938 | 19.07% | 9858.3769 | 1024 CH# | 256 CH# |  |  | -2.5962 | 0.0025338 |  | 3 | 0 | 0.0025338 | -2.5962 | #VALUE! | #VALUE! | #VALUE! |  | 200 | #VALUE! | #VALUE!
| 4 | 224.9779 | 27652 | 4.4417 | 4.3436 | 22.6% | 22058.0292 |  | 0 |  |  | -2.5962 | 0.0025338 |  | 4 | 0 | 0.0025338 | -2.5962 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 5 | 237.0094 | 75669 | 4.8789 | 4.7147 | 34.83% | 51843.958 |  | 0 |  |  | -2.5962 | 0.0025338 |  | 5 | 0 | 0.0025338 | -2.5962 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 6 | 255.9999 | 145428 | 5.1626 | 5.3005 | 26.01% | 199751.0658 |  | 0 |  |  | -2.5962 | 0.0025338 |  | 6 | 0 | 0.0025338 | -2.5962 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
|  |  |  | Ave Residual |  | 23.32% |  |  | 0 |  |  | -2.5962 | 0.0025338 |  |  |  |  | Ave Residual |  | #VALUE! |  |  |  | #VALUE! | #VALUE!
[6 empty] | Slope: | 0.030847 |  | 0 |  |  | -2.5962 | 0.0025338 | [6 empty] | Slope: | #VALUE! |  |  | #VALUE! | #VALUE!
[6 empty] | Intercept: | -2.5962 |  | 0 |  |  | -2.5962 | 0.0025338 | [6 empty] | Intercept: | #VALUE! |  |  | #VALUE! | #VALUE!
[6 empty] | Rsq: | 0.96932 |  | 0 |  |  | -2.5962 | 0.0025338 | [6 empty] | Rsq: | #VALUE! |  |  | #VALUE! | #VALUE!
[9 empty] | 0 |  |  | -2.5962 | 0.0025338 | [10 empty] | #VALUE! | #VALUE!
[12 empty] | -2.5962 | 0.0025338 | [10 empty] | #VALUE! | #VALUE!
[12 empty] | -2.5962 | 0.0025338 | [10 empty] | #VALUE! | #VALUE!
[8 empty] | TABLE NO. 2 | [15 empty] | #VALUE! | #VALUE!
[8 empty] | 1024 MEAN CH# |  | CONVERTED VALUES
[8 empty] | to 256 REL. CH# |  | CAN BE COPIED TO
[8 empty] | CONVERSION |  | THE CH# COLUMN BY
[8 empty] | 1024 CH# | 256 CH# | SELECTING THE CELLS
[9 empty] | #VALUE! | TO BE COPIED; THEN,
[9 empty] | #VALUE! | CLICKING [COPY],
[9 empty] | #VALUE! | [PASTE SPECIAL], AND
[9 empty] | #VALUE! | FINALLY [PASTE VALUE]
#VALUE!
#VALUE!
#VALUE!
#VALUE!
[8 empty] | TABLE NO. 3 |  | TABLE NO. 5
[8 empty] | 104 MEAN CH# |  | Determination of the
[8 empty] | to 256 REL. CH# |  | MEAP/CH# for the
[8 empty] | CONVERSION |  | normalization cell or particle
[8 empty] | 104 CH# | 256 CH# | 256 CH# | 104 CH# | Calc. MEAP | MEAP/CH#
[9 empty] | #VALUE! | 0 | 1 | 0.0025338 | 0.0025338
[9 empty] | #VALUE! | 0 | 1 | 0.0025338 | 0.0025338
[9 empty] | #VALUE! | 0 | 1 | 0.0025338 | 0.0025338
[9 empty] | #VALUE! | 0 | 1 | 0.0025338 | 0.0025338
[9 empty] | #VALUE! | 0 | 1 | 0.0025338 | 0.0025338
|  |  |  | Lot No.: |  | File # |  |  | #VALUE!
[9 empty] | #VALUE! | TABLE NO. 6
Rainbow Calibration Particles (RCP-30-5) | [8 empty] | #VALUE! | Determination of New MEAP
Acceptable: |  |  | By: |  |  | Date: |  |  |  | values for RCP-30-5
Action taken if not linear: | [7 empty] | TABLE NO. 4 |  | 256 CH# | 104 CH# | New MEAP
[8 empty] | 105 MEAN CH# |  |  | 1 | 0.0025338
[8 empty] | to 256 REL. CH# |  |  | 1 | 0.0025338
[8 empty] | CONVERSION |  |  | 1 | 0.0025338
[8 empty] | 105 CH# | 256 CH# |  | 1 | 0.0025338
[8 empty] | 260 | 114.0959 |  | 1 | 0.0025338
[8 empty] | 1369 | 148.18 |  | 1 | 0.0025338
[8 empty] | 5294 | 175.9309
[8 empty] | 13598 | 195.2869
[8 empty] | 33260 | 213.6391
[8 empty] | 57799 | 224.9779
[8 empty] | 103892 | 237.0094
[8 empty] | 262143 | 255.9999
Note on J20: Use this Table to convert Beckman-Coulter 1024 Mean CH # to 256 Relative CH#
Note on J35: Use this Table to convert BD-FACS 104 Mean CH # to 256 Relative CH#
Note on J50: Use this Table to convert BD-FACS Canto 105 Mean CH # to 384 Relative CH#

## MEA700
TYPE THE NAME OF YOUR LAB HERE
| PMT LINEARITY QC RECORD | [12 empty] | Normalization Graph for Instrument B
[8 empty] | TABLE NO. 1 |  | CROSS CALIBRATION TABLE
| PEAK # | CH # | MEA700 | MEA700 LOG | CALC. | RESIDUAL | CALC. MEA700 | 1024 REL. CH# |  | FOR UNKNOWN SAMPLES |  |  |  |  | PEAK # | CH # | MEA700 | MEA700 LOG | CALC. | RESIDUAL | CALC. MEA700 | CROSS CALIBRATION TABLE
| 1 | 65.2084 |  |  | 1.4117 |  | 25.8042 | to 256 REL. CH# |  | Sample | CH# | Calc. | Calc. MEA700 |  | 1 | 0 | 0.29584 | -0.52894 | #VALUE! | #VALUE! | #VALUE! | FOR NORMALIZATION GRAPH
| 2 | 148.195 | 7850.641 | 3.8949 | 3.8814 | 3.477% | 7610.4381 | CONVERSION |  |  |  | -0.52894 | 0.29584 |  | 2 | 0 | 0.29584 | -0.52894 | #VALUE! | #VALUE! | #VALUE! | Sample | CH# | Calc. | Calc. MEA700
| 3 | 169.1546 | 26574.359 | 4.4245 | 4.5052 | 17.92% | 32001.9155 | 1024 CH# | 256 CH# |  |  | -0.52894 | 0.29584 |  | 3 | 0 | 0.29584 | -0.52894 | #VALUE! | #VALUE! | #VALUE! |  | 200 | #VALUE! | #VALUE!
| 4 | 182.8359 | 87058.3333 | 4.9398 | 4.9123 | 5.593% | 81721.7128 |  | 0 |  |  | -0.52894 | 0.29584 |  | 4 | 0 | 0.29584 | -0.52894 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 5 | 194.3435 | 232771.1538 | 5.3669 | 5.2548 | 21.34% | 179808.7885 |  | 0 |  |  | -0.52894 | 0.29584 |  | 5 | 0 | 0.29584 | -0.52894 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 6 | 209.4615 | 428898.0769 | 5.6324 | 5.7047 | 12.69% | 506672.7118 |  | 0 |  |  | -0.52894 | 0.29584 |  | 6 | 0 | 0.29584 | -0.52894 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
|  |  |  | Ave Residual |  | 12.2% |  |  | 0 |  |  | -0.52894 | 0.29584 |  |  |  |  | Ave Residual |  | #VALUE! |  |  |  | #VALUE! | #VALUE!
[6 empty] | Slope: | 0.02976 |  | 0 |  |  | -0.52894 | 0.29584 | [6 empty] | Slope: | #VALUE! |  |  | #VALUE! | #VALUE!
[6 empty] | Intercept: | -0.52894 |  | 0 |  |  | -0.52894 | 0.29584 | [6 empty] | Intercept: | #VALUE! |  |  | #VALUE! | #VALUE!
[6 empty] | Rsq: | 0.98725 |  | 0 |  |  | -0.52894 | 0.29584 | [6 empty] | Rsq: | #VALUE! |  |  | #VALUE! | #VALUE!
[9 empty] | 0 |  |  | -0.52894 | 0.29584 | [10 empty] | #VALUE! | #VALUE!
[12 empty] | -0.52894 | 0.29584 | [10 empty] | #VALUE! | #VALUE!
[12 empty] | -0.52894 | 0.29584 | [10 empty] | #VALUE! | #VALUE!
[8 empty] | TABLE NO. 2 | [15 empty] | #VALUE! | #VALUE!
[8 empty] | 1024 MEAN CH# |  | CONVERTED VALUES
[8 empty] | to 256 REL. CH# |  | CAN BE COPIED TO
[8 empty] | CONVERSION |  | THE CH# COLUMN BY
[8 empty] | 1024 CH# | 256 CH# | SELECTING THE CELLS
[9 empty] | #VALUE! | TO BE COPIED; THEN,
[9 empty] | #VALUE! | CLICKING [COPY],
[9 empty] | #VALUE! | [PASTE SPECIAL], AND
[9 empty] | #VALUE! | FINALLY [PASTE VALUE]
#VALUE!
#VALUE!
#VALUE!
#VALUE!
[8 empty] | TABLE NO. 3 |  | TABLE NO. 5
[8 empty] | 104 MEAN CH# |  | Determination of the
[8 empty] | to 256 REL. CH# |  | MEA700/CH# for the
[8 empty] | CONVERSION |  | normalization cell or particle
[8 empty] | 104 CH# | 256 CH# | 256 CH# | 104 CH# | Calc. MEA700 | MEA700/CH#
[8 empty] | 2.08 | 20.3561 | 0 | 1 | 0.29584 | 0.29584
[8 empty] | 123.82 | 133.9386 | 0 | 1 | 0.29584 | 0.29584
[8 empty] | 415.91 | 167.616 | 0 | 1 | 0.29584 | 0.29584
[8 empty] | 1359.46 | 200.5355 | 0 | 1 | 0.29584 | 0.29584
[8 empty] | 3632.58 | 227.8538 | 0 | 1 | 0.29584 | 0.29584
|  |  |  | Lot No.: |  | File # |  | 6692.16 | 244.8362
[9 empty] | #VALUE! | TABLE NO. 6
Rainbow Calibration Particles (RCP-30-5) | [8 empty] | #VALUE! | Determination of New MEA700
Acceptable: |  |  | By: |  |  | Date: |  |  |  | values for RCP-30-5
Action taken if not linear: | [7 empty] | TABLE NO. 4 |  | 256 CH# | 104 CH# | New MEA700
[8 empty] | 105 MEAN CH# |  |  | 1 | 0.29584
[8 empty] | to 256 REL. CH# |  |  | 1 | 0.29584
[8 empty] | CONVERSION |  |  | 1 | 0.29584
[8 empty] | 105 CH# | 256 CH# |  | 1 | 0.29584
[9 empty] | #VALUE! |  | 1 | 0.29584
[9 empty] | #VALUE! |  | 1 | 0.29584
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
Note on J20: Use this Table to convert Beckman-Coulter 1024 Mean CH # to 256 Relative CH#
Note on J35: Use this Table to convert BD-FACS 104 Mean CH # to 256 Relative CH#
Note on J50: Use this Table to convert BD-FACS Canto 105 Mean CH # to 384 Relative CH#

## MEA750
TYPE THE NAME OF YOUR LAB HERE
| PMT LINEARITY QC RECORD | [12 empty] | Normalization Graph for Instrument B
[8 empty] | TABLE NO. 1 |  | CROSS CALIBRATION TABLE
| PEAK # | CH # | MEA750 | MEA750 LOG | CALC. | RESIDUAL | CALC. MEA750 | 1024 REL. CH# |  | FOR UNKNOWN SAMPLES |  |  |  |  | PEAK # | CH # | MEA750 | MEA750 LOG | CALC. | RESIDUAL | CALC. MEA750 | CROSS CALIBRATION TABLE
| 1 | 65.2084 |  |  | 0.12796 |  | 1.3426 | to 256 REL. CH# |  | Sample | CH# | Calc. | Calc. MEA750 |  | 1 | 0 | 0.012736 | -1.895 | #VALUE! | #VALUE! | #VALUE! | FOR NORMALIZATION GRAPH
| 2 | 148.195 | 643.3194 | 2.8084 | 2.7024 | 39.23% | 503.9902 | CONVERSION |  |  |  | -1.895 | 0.012736 |  | 2 | 0 | 0.012736 | -1.895 | #VALUE! | #VALUE! | #VALUE! | Sample | CH# | Calc. | Calc. MEA750
| 3 | 169.1546 | 1682.8504 | 3.226 | 3.3526 | 37.76% | 2252.3866 | 1024 CH# | 256 CH# |  |  | -1.895 | 0.012736 |  | 3 | 0 | 0.012736 | -1.895 | #VALUE! | #VALUE! | #VALUE! |  | 200 | #VALUE! | #VALUE!
| 4 | 182.8359 | 4905.4325 | 3.6907 | 3.7771 | 22.87% | 5985.1152 |  | 0 |  |  | -1.895 | 0.012736 |  | 4 | 0 | 0.012736 | -1.895 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 5 | 194.3435 | 15637.5279 | 4.1942 | 4.1341 | 14.54% | 13616.6596 |  | 0 |  |  | -1.895 | 0.012736 |  | 5 | 0 | 0.012736 | -1.895 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 6 | 209.4615 | 44664.156 | 4.65 | 4.6031 | 10.19% | 40093.0002 |  | 0 |  |  | -1.895 | 0.012736 |  | 6 | 0 | 0.012736 | -1.895 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
|  |  |  | Ave Residual |  | 24.92% |  |  | 0 |  |  | -1.895 | 0.012736 |  |  |  |  | Ave Residual |  | #VALUE! |  |  |  | #VALUE! | #VALUE!
[6 empty] | Slope: | 0.031023 |  | 0 |  |  | -1.895 | 0.012736 | [6 empty] | Slope: | #VALUE! |  |  | #VALUE! | #VALUE!
[6 empty] | Intercept: | -1.895 |  | 0 |  |  | -1.895 | 0.012736 | [6 empty] | Intercept: | #VALUE! |  |  | #VALUE! | #VALUE!
[6 empty] | Rsq: | 0.98128 |  | 0 |  |  | -1.895 | 0.012736 | [6 empty] | Rsq: | #VALUE! |  |  | #VALUE! | #VALUE!
[9 empty] | 0 |  |  | -1.895 | 0.012736 | [10 empty] | #VALUE! | #VALUE!
[12 empty] | -1.895 | 0.012736 | [10 empty] | #VALUE! | #VALUE!
[12 empty] | -1.895 | 0.012736 | [10 empty] | #VALUE! | #VALUE!
[8 empty] | TABLE NO. 2 | [15 empty] | #VALUE! | #VALUE!
[8 empty] | 1024 MEAN CH# |  | CONVERTED VALUES
[8 empty] | to 256 REL. CH# |  | CAN BE COPIED TO
[8 empty] | CONVERSION |  | THE CH# COLUMN BY
[8 empty] | 1024 CH# | 256 CH# | SELECTING THE CELLS
[9 empty] | #VALUE! | TO BE COPIED; THEN,
[9 empty] | #VALUE! | CLICKING [COPY],
[9 empty] | #VALUE! | [PASTE SPECIAL], AND
[9 empty] | #VALUE! | FINALLY [PASTE VALUE]
#VALUE!
#VALUE!
#VALUE!
#VALUE!
[8 empty] | TABLE NO. 3 |  | TABLE NO. 5
[8 empty] | 104 MEAN CH# |  | Determination of the
[8 empty] | to 256 REL. CH# |  | MEA750/CH# for the
[8 empty] | CONVERSION |  | normalization cell or particle
[8 empty] | 104 CH# | 256 CH# | 256 CH# | 104 CH# | Calc. MEA750 | MEA750/CH#
[9 empty] | #VALUE! | 0 | 1 | 0.012736 | 0.012736
[9 empty] | #VALUE! | 0 | 1 | 0.012736 | 0.012736
[9 empty] | #VALUE! | 0 | 1 | 0.012736 | 0.012736
[9 empty] | #VALUE! | 0 | 1 | 0.012736 | 0.012736
[9 empty] | #VALUE! | 0 | 1 | 0.012736 | 0.012736
|  |  |  | Lot No.: |  | File # |  |  | #VALUE!
[9 empty] | #VALUE! | TABLE NO. 6
Rainbow Calibration Particles (RCP-30-5) | [8 empty] | #VALUE! | Determination of New MEA750
Acceptable: |  |  | By: |  |  | Date: |  |  |  | values for RCP-30-5
Action taken if not linear: | [7 empty] | TABLE NO. 4 |  | 256 CH# | 104 CH# | New MEA750
[8 empty] | 105 MEAN CH# |  |  | 1 | 0.012736
[8 empty] | to 256 REL. CH# |  |  | 1 | 0.012736
[8 empty] | CONVERSION |  |  | 1 | 0.012736
[8 empty] | 105 CH# | 256 CH# |  | 1 | 0.012736
[9 empty] | #VALUE! |  | 1 | 0.012736
[9 empty] | #VALUE! |  | 1 | 0.012736
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
Note on J20: Use this Table to convert Beckman-Coulter 1024 Mean CH # to 256 Relative CH#
Note on J35: Use this Table to convert BD-FACS 104 Mean CH # to 256 Relative CH#
Note on J50: Use this Table to convert BD-FACS Canto 105 Mean CH # to 384 Relative CH#