## MECSB
TYPE THE NAME OF YOUR LAB HERE
| PMT LINEARITY QC RECORD | [12 empty] | Normalization Graph for Instrument B
[8 empty] | TABLE NO. 1 |  | CROSS CALIBRATION TABLE
| PEAK # | CH # | MECSB | MECSB LOG | CALC. | RESIDUAL | CALC. MECSB | 1024 REL. CH# |  | FOR UNKNOWN SAMPLES |  |  |  |  | PEAK # | CH # | MECSB | MECSB LOG | CALC. | RESIDUAL | CALC. MECSB | CROSS CALIBRATION TABLE
| 1 | 98.2313 |  |  | 1.7023 |  | 50.3828 | to 256 REL. CH# |  | Sample | CH# | Calc. | Calc. MECSB |  | 1 | 0 | 0.43608 | -0.36043 | #VALUE! | #VALUE! | #VALUE! | FOR NORMALIZATION GRAPH
| 2 | 118.9254 | 137.0339 | 2.1368 | 2.1368 | 0% | 137.0339 | CONVERSION |  |  |  | -0.36043 | 0.43608 |  | 2 | 0 | 0.43608 | -0.36043 | #VALUE! | #VALUE! | #VALUE! | Sample | CH# | Calc. | Calc. MECSB
| 3 | 135.9692 | 312.4075 | 2.4947 | 2.4947 | 0% | 312.4075 | 1024 CH# | 256 CH# |  |  | -0.36043 | 0.43608 |  | 3 | 0 | 0.43608 | -0.36043 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 4 | 157.6506 | 891.2495 | 2.95 | 2.95 | 0% | 891.2495 |  | 0 |  |  | -0.36043 | 0.43608 |  | 4 | 0 | 0.43608 | -0.36043 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 5 | 180.2771 | 2661.4783 | 3.4251 | 3.4251 | 0% | 2661.4783 |  | 0 |  |  | -0.36043 | 0.43608 |  | 5 | 0 | 0.43608 | -0.36043 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 6 | 200.9853 | 7243.7393 | 3.86 | 3.86 | 0% | 7243.7393 |  | 0 |  |  | -0.36043 | 0.43608 |  | 6 | 0 | 0.43608 | -0.36043 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 7 | 224.0149 | 22057.2191 | 4.3436 | 4.3436 | 0% | 22057.2191 |  | 0 |  |  | -0.36043 | 0.43608 |  | 7 | 0 | 0.43608 | -0.36043 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 8 | 234.4716 | 36570.1146 | 4.5631 | 4.5631 | 0% | 36570.1146 |  | 0 |  |  | -0.36043 | 0.43608 |  | 8 | 0 | 0.43608 | -0.36043 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
|  |  |  | Ave Residual |  | 0% |  |  | 0 |  |  | -0.36043 | 0.43608 |  |  |  |  | Ave Residual |  | #VALUE! |  |  |  | #VALUE! | #VALUE!
[6 empty] | Slope: | 0.020999 |  | 0 |  |  | -0.36043 | 0.43608 | [6 empty] | Slope: | #VALUE! |  |  | #VALUE! | #VALUE!
[6 empty] | Intercept: | -0.36043 |  | 0 |  |  | -0.36043 | 0.43608 | [6 empty] | Intercept: | #VALUE! |  |  | #VALUE! | #VALUE!
[6 empty] | Rsq: | 1 |  |  |  |  | -0.36043 | 0.43608 | [6 empty] | Rsq: | #VALUE! |  |  | #VALUE! | #VALUE!
[12 empty] | -0.36043 | 0.43608 | [10 empty] | #VALUE! | #VALUE!
[8 empty] | TABLE NO. 2 | [15 empty] | #VALUE! | #VALUE!
[8 empty] | 1024 MEAN CH# |  | CONVERTED VALUES
[8 empty] | to 256 REL. CH# |  | CAN BE COPIED TO
[8 empty] | CONVERSION |  | THE CH# COLUMN BY
[8 empty] | 1024 CH# | 256 CH# | SELECTING THE CELLS
[9 empty] | #VALUE! | TO BE COPIED; THEN,
[9 empty] | #VALUE! | CLICKING [COPY],
[9 empty] | #VALUE! | [PASTE SPECIAL], AND
[9 empty] | #VALUE! | FINALLY [PASTE VALUE]
#VALUE!
#VALUE!
#VALUE!
#VALUE!
[8 empty] | TABLE NO. 3 |  | TABLE NO. 5
[8 empty] | 104 MEAN CH# |  | Determination of the
[8 empty] | to 256 REL. CH# |  | MECSB/CH# for the
[8 empty] | CONVERSION |  | normalization cell or particle
[8 empty] | 104 CH# | 256 CH# | 256 CH# | 104 CH# | Calc. MECSB | MECSB/CH#
[9 empty] | #VALUE! | 0 | 1 | 0.43608 | 0.43608
[9 empty] | #VALUE! | 0 | 1 | 0.43608 | 0.43608
[9 empty] | #VALUE! | 0 | 1 | 0.43608 | 0.43608
[9 empty] | #VALUE! | 0 | 1 | 0.43608 | 0.43608
[9 empty] | #VALUE! | 0 | 1 | 0.43608 | 0.43608
#VALUE!
[9 empty] | #VALUE! | TABLE NO. 6
Rainbow Calibration Particles (RCP-30-5A) |  |  |  | Lot No.: |  | File # |  |  | #VALUE! | Determination of New MECSB
Acceptable: | [9 empty] | values for RCP-30-5A
Action taken if not linear: |  |  | By: |  |  | Date: |  | TABLE NO. 4 |  | 256 CH# | 104 CH# | New MECSB
[8 empty] | 105 MEAN CH# |  |  | 1 | 0.43608
[8 empty] | to 256 REL. CH# |  |  | 1 | 0.43608
[8 empty] | CONVERSION |  |  | 1 | 0.43608
[8 empty] | 105 CH# | 256 CH# |  | 1 | 0.43608
[9 empty] | #VALUE! |  | 1 | 0.43608
[9 empty] | #VALUE! |  | 1 | 0.43608
[9 empty] | #VALUE! |  | 1 | 0.43608
[9 empty] | #VALUE! |  | 1 | 0.43608
#VALUE!
#VALUE!
#VALUE!
#VALUE!
Note on J20: Use this Table to convert Beckman-Coulter 1024 Mean CH # to 256 Relative CH#
Note on J35: Use this Table to convert BD-FACS 104 Mean CH # to 256 Relative CH#
Note on J50: Use this Table to convert BD-FACS Canto 105 Mean CH # to 384 Relative CH#

## MEBFP
TYPE THE NAME OF YOUR LAB HERE
| PMT LINEARITY QC RECORD | [12 empty] | Normalization Graph for Instrument B
[8 empty] | TABLE NO. 1 |  | CROSS CALIBRATION TABLE
| PEAK # | CH # | MEBFP | MEBFP LOG | CALC. | RESIDUAL | CALC. MEBFP | 1024 REL. CH# |  | FOR UNKNOWN SAMPLES |  |  |  |  | PEAK # | CH # | MEBFP | MEBFP LOG | CALC. | RESIDUAL | CALC. MEBFP | CROSS CALIBRATION TABLE
| 1 | 77.1735 |  |  | 1.9649 |  | 92.2374 | to 256 REL. CH# |  | Sample | CH# | Calc. | Calc. MEBFP |  | 1 | 0 | 1.7126 | 0.23365 | #VALUE! | #VALUE! | #VALUE! | FOR NORMALIZATION GRAPH
| 2 | 109.0181 | 477.8436 | 2.6793 | 2.6793 | 0% | 477.8436 | CONVERSION |  |  |  | 0.23365 | 1.7126 |  | 2 | 0 | 1.7126 | 0.23365 | #VALUE! | #VALUE! | #VALUE! | Sample | CH# | Calc. | Calc. MEBFP
| 3 | 128.7476 | 1323.9883 | 3.1219 | 3.1219 | 0% | 1323.9883 | 1024 CH# | 256 CH# |  |  | 0.23365 | 1.7126 |  | 3 | 0 | 1.7126 | 0.23365 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 4 | 151.2248 | 4227.8702 | 3.6261 | 3.6261 | 0% | 4227.8702 |  | 0 |  |  | 0.23365 | 1.7126 |  | 4 | 0 | 1.7126 | 0.23365 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 5 | 174.4026 | 13998.3077 | 4.1461 | 4.1461 | 0% | 13998.3077 |  | 0 |  |  | 0.23365 | 1.7126 |  | 5 | 0 | 1.7126 | 0.23365 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 6 | 196.6117 | 44085.9273 | 4.6443 | 4.6443 | 0% | 44085.9273 |  | 0 |  |  | 0.23365 | 1.7126 |  | 6 | 0 | 1.7126 | 0.23365 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 7 | 221.3678 | 158365.3799 | 5.1997 | 5.1997 | 0% | 158365.3799 |  | 0 |  |  | 0.23365 | 1.7126 |  | 7 | 0 | 1.7126 | 0.23365 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 8 | 238.8431 | 390560.6227 | 5.5917 | 5.5917 | 0% | 390560.6227 |  | 0 |  |  | 0.23365 | 1.7126 |  | 8 | 0 | 1.7126 | 0.23365 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
|  |  |  | Ave Residual |  | 0% |  |  | 0 |  |  | 0.23365 | 1.7126 |  |  |  |  | Ave Residual |  | #VALUE! |  |  |  | #VALUE! | #VALUE!
[6 empty] | Slope: | 0.022433 |  | 0 |  |  | 0.23365 | 1.7126 | [6 empty] | Slope: | #VALUE! |  |  | #VALUE! | #VALUE!
[6 empty] | Intercept: | 0.23365 |  | 0 |  |  | 0.23365 | 1.7126 | [6 empty] | Intercept: | #VALUE! |  |  | #VALUE! | #VALUE!
[6 empty] | Rsq: | 1 |  |  |  |  | 0.23365 | 1.7126 | [6 empty] | Rsq: | #VALUE! |  |  | #VALUE! | #VALUE!
[12 empty] | 0.23365 | 1.7126 | [10 empty] | #VALUE! | #VALUE!
[8 empty] | TABLE NO. 2 | [15 empty] | #VALUE! | #VALUE!
[8 empty] | 1024 MEAN CH# |  | CONVERTED VALUES
[8 empty] | to 256 REL. CH# |  | CAN BE COPIED TO
[8 empty] | CONVERSION |  | THE CH# COLUMN BY
[8 empty] | 1024 CH# | 256 CH# | SELECTING THE CELLS
[9 empty] | #VALUE! | TO BE COPIED; THEN,
[9 empty] | #VALUE! | CLICKING [COPY],
[9 empty] | #VALUE! | [PASTE SPECIAL], AND
[9 empty] | #VALUE! | FINALLY [PASTE VALUE]
#VALUE!
#VALUE!
#VALUE!
#VALUE!
[8 empty] | TABLE NO. 3 |  | TABLE NO. 5
[8 empty] | 104 MEAN CH# |  | Determination of the
[8 empty] | to 256 REL. CH# |  | MEBFP/CH# for the
[8 empty] | CONVERSION |  | normalization cell or particle
[8 empty] | 104 CH# | 256 CH# | 256 CH# | 104 CH# | Calc. MEBFP | MEBFP/CH#
[9 empty] | #VALUE! | 0 | 1 | 1.7126 | 1.7126
[9 empty] | #VALUE! | 0 | 1 | 1.7126 | 1.7126
[9 empty] | #VALUE! | 0 | 1 | 1.7126 | 1.7126
[9 empty] | #VALUE! | 0 | 1 | 1.7126 | 1.7126
[9 empty] | #VALUE! | 0 | 1 | 1.7126 | 1.7126
#VALUE!
[9 empty] | #VALUE! | TABLE NO. 6
Rainbow Calibration Particles (RCP-30-5A) |  |  |  | Lot No.: |  | File # |  |  | #VALUE! | Determination of New MEBFP
Acceptable: | [9 empty] | values for RCP-30-5A
Action taken if not linear: |  |  | By: |  |  | Date: |  | TABLE NO. 4 |  | 256 CH# | 104 CH# | New MEBFP
[8 empty] | 105 MEAN CH# |  |  | 1 | 1.7126
[8 empty] | to 256 REL. CH# |  |  | 1 | 1.7126
[8 empty] | CONVERSION |  |  | 1 | 1.7126
[8 empty] | 105 CH# | 256 CH# |  | 1 | 1.7126
[9 empty] | #VALUE! |  | 1 | 1.7126
[9 empty] | #VALUE! |  | 1 | 1.7126
[9 empty] | #VALUE! |  | 1 | 1.7126
[9 empty] | #VALUE! |  | 1 | 1.7126
#VALUE!
#VALUE!
#VALUE!
#VALUE!
Note on J20: Use this Table to convert Beckman-Coulter 1024 Mean CH # to 256 Relative CH#
Note on J35: Use this Table to convert BD-FACS 104 Mean CH # to 256 Relative CH#
Note on J50: Use this Table to convert BD-FACS Canto 105 Mean CH # to 384 Relative CH#

## MEFL
TYPE THE NAME OF YOUR LAB HERE
| PMT LINEARITY QC RECORD | [12 empty] | Normalization Graph for Instrument B
[8 empty] | TABLE NO. 1 |  | CROSS CALIBRATION TABLE
| PEAK # | CH # | MEFL | MEFL LOG | CALC. | RESIDUAL | CALC. MEFL | 1024 REL. CH# |  | FOR UNKNOWN SAMPLES |  |  |  |  | PEAK # | CH # | MEFL | MEFL LOG | CALC. | RESIDUAL | CALC. MEFL | CROSS CALIBRATION TABLE
| 1 | 52.6285 |  |  | 1.4563 |  | 28.5926 | to 256 REL. CH# |  | Sample | CH# | Calc. | Calc. MEFL |  | 1 | 0 | 2.1693 | 0.33632 | #VALUE! | #VALUE! | #VALUE! | FOR NORMALIZATION GRAPH
| 2 | 112.6238 | 550 | 2.7404 | 2.7329 | 0.2713% | 540.6898 | CONVERSION |  |  |  | 0.33632 | 2.1693 |  | 2 | 0 | 2.1693 | 0.33632 | #VALUE! | #VALUE! | #VALUE! | Sample | CH# | Calc. | Calc. MEFL
| 3 | 135.3624 | 1624 | 3.2106 | 3.2168 | 0.1939% | 1647.4896 | 1024 CH# | 256 CH# |  |  | 0.33632 | 2.1693 |  | 3 | 0 | 2.1693 | 0.33632 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 4 | 158.879 | 5242 | 3.7195 | 3.7173 | 0.06038% | 5214.9768 |  | 0 |  |  | 0.33632 | 2.1693 |  | 4 | 0 | 2.1693 | 0.33632 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 5 | 181.8521 | 15618 | 4.1936 | 4.2061 | 0.297% | 16073.772 |  | 0 |  |  | 0.33632 | 2.1693 |  | 5 | 0 | 2.1693 | 0.33632 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 6 | 203.6806 | 47372 | 4.6755 | 4.6706 | 0.1048% | 46841.1014 |  | 0 |  |  | 0.33632 | 2.1693 |  | 6 | 0 | 2.1693 | 0.33632 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 7 | 226.3784 | 144217 | 5.159 | 5.1536 | 0.1044% | 142440.5475 |  | 0 |  |  | 0.33632 | 2.1693 |  | 7 | 0 | 2.1693 | 0.33632 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 8 | 241.1464 | 292878 | 5.4667 | 5.4679 | 0.02208% | 293693.4735 |  | 0 |  |  | 0.33632 | 2.1693 |  | 8 | 0 | 2.1693 | 0.33632 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
|  |  |  | Ave Residual |  | 0.1506% |  |  | 0 |  |  | 0.33632 | 2.1693 |  |  |  |  | Ave Residual |  | #VALUE! |  |  |  | #VALUE! | #VALUE!
[6 empty] | Slope: | 0.02128 |  | 0 |  |  | 0.33632 | 2.1693 | [6 empty] | Slope: | #VALUE! |  |  | #VALUE! | #VALUE!
[6 empty] | Intercept: | 0.33632 |  | 0 |  |  | 0.33632 | 2.1693 | [6 empty] | Intercept: | #VALUE! |  |  | #VALUE! | #VALUE!
[6 empty] | Rsq: | 0.99995 |  |  |  |  | 0.33632 | 2.1693 | [6 empty] | Rsq: | #VALUE! |  |  | #VALUE! | #VALUE!
[12 empty] | 0.33632 | 2.1693 | [10 empty] | #VALUE! | #VALUE!
[8 empty] | TABLE NO. 2 | [15 empty] | #VALUE! | #VALUE!
[8 empty] | 1024 MEAN CH# |  | CONVERTED VALUES
[8 empty] | to 256 REL. CH# |  | CAN BE COPIED TO
[8 empty] | CONVERSION |  | THE CH# COLUMN BY
[8 empty] | 1024 CH# | 256 CH# | SELECTING THE CELLS
[9 empty] | #VALUE! | TO BE COPIED; THEN,
[9 empty] | #VALUE! | CLICKING [COPY],
[9 empty] | #VALUE! | [PASTE SPECIAL], AND
[9 empty] | #VALUE! | FINALLY [PASTE VALUE]
#VALUE!
#VALUE!
#VALUE!
#VALUE!
[8 empty] | TABLE NO. 3 |  | TABLE NO. 5
[8 empty] | 104 MEAN CH# |  | Determination of the
[8 empty] | to 256 REL. CH# |  | MEFL/CH# for the
[8 empty] | CONVERSION |  | normalization cell or particle
[8 empty] | 104 CH# | 256 CH# | 256 CH# | 104 CH# | Calc. MEFL | MEFL/CH#
[9 empty] | #VALUE! | 0 | 1 | 2.1693 | 2.1693
[9 empty] | #VALUE! | 0 | 1 | 2.1693 | 2.1693
[9 empty] | #VALUE! | 0 | 1 | 2.1693 | 2.1693
[9 empty] | #VALUE! | 0 | 1 | 2.1693 | 2.1693
[9 empty] | #VALUE! | 0 | 1 | 2.1693 | 2.1693
#VALUE!
[9 empty] | #VALUE! | TABLE NO. 6
Rainbow Calibration Particles (RCP-30-5A) |  |  |  | Lot No.: |  | File # |  |  | #VALUE! | Determination of New MEFL
Acceptable: | [9 empty] | values for RCP-30-5A
Action taken if not linear: |  |  | By: |  |  | Date: |  | TABLE NO. 4 |  | 256 CH# | 104 CH# | New MEFL
[8 empty] | 105 MEAN CH# |  |  | 1 | 2.1693
[8 empty] | to 256 REL. CH# |  |  | 1 | 2.1693
[8 empty] | CONVERSION |  |  | 1 | 2.1693
[8 empty] | 105 CH# | 256 CH# |  | 1 | 2.1693
[9 empty] | #VALUE! |  | 1 | 2.1693
[9 empty] | #VALUE! |  | 1 | 2.1693
[9 empty] | #VALUE! |  | 1 | 2.1693
[9 empty] | #VALUE! |  | 1 | 2.1693
#VALUE!
#VALUE!
#VALUE!
#VALUE!
Note on J20: Use this Table to convert Beckman-Coulter 1024 Mean CH # to 256 Relative CH#
Note on J35: Use this Table to convert BD-FACS 104 Mean CH # to 256 Relative CH#
Note on J50: Use this Table to convert BD-FACS Canto 105 Mean CH # to 384 Relative CH#

## MEPE (488nm Ex)
TYPE THE NAME OF YOUR LAB HERE
| PMT LINEARITY QC RECORD | [12 empty] | Normalization Graph for Instrument B
[8 empty] | TABLE NO. 1 |  | CROSS CALIBRATION TABLE
| PEAK # | CH # | MEPE | MEPE LOG | CALC. | RESIDUAL | CALC. MEPE | 1024 REL. CH# |  | FOR UNKNOWN SAMPLES |  |  |  | PEAK # | CH # | MEPE | MEPE LOG | CALC. | RESIDUAL | CALC. MEPE | CROSS CALIBRATION TABLE
| 1 | 88.5876 |  |  | 2.1631 |  | 145.5665 | to 256 REL. CH# |  | Sample | CH# | Calc. | Calc. MEPE | 1 | 0 | 1.4677 | 0.16665 | #VALUE! | #VALUE! | #VALUE! | FOR NORMALIZATION GRAPH
| 2 | 110.9461 | 413 | 2.616 | 2.6669 | 1.912% | 464.4435 | CONVERSION |  |  |  | 0.16665 | 1.4677 | 2 | 0 | 1.4677 | 0.16665 | #VALUE! | #VALUE! | #VALUE! | Sample | CH# | Calc. | Calc. MEPE
| 3 | 128.9782 | 1220 | 3.0864 | 3.0733 | 0.4248% | 1183.8693 | 1024 CH# | 256 CH# |  |  | 0.16665 | 1.4677 | 3 | 0 | 1.4677 | 0.16665 | #VALUE! | #VALUE! | #VALUE! |  | 200 | #VALUE! | #VALUE!
| 4 | 150.635 | 4005 | 3.6026 | 3.5614 | 1.158% | 3642.1868 |  | 0 |  |  | 0.16665 | 1.4677 | 4 | 0 | 1.4677 | 0.16665 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 5 | 173.1589 | 12349 | 4.0916 | 4.069 | 0.5571% | 11720.9473 |  | 0 |  |  | 0.16665 | 1.4677 | 5 | 0 | 1.4677 | 0.16665 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 6 | 195.2022 | 37501 | 4.574 | 4.5657 | 0.1821% | 36790.0157 |  | 0 |  |  | 0.16665 | 1.4677 | 6 | 0 | 1.4677 | 0.16665 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 7 | 218.6991 | 119888 | 5.0788 | 5.0953 | 0.3235% | 124525.0353 |  | 0 |  |  | 0.16665 | 1.4677 | 7 | 0 | 1.4677 | 0.16665 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 8 | 234.8369 | 276137 | 5.4411 | 5.4589 | 0.3263% | 287699.5066 |  | 0 |  |  | 0.16665 | 1.4677 | 8 | 0 | 1.4677 | 0.16665 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
|  |  |  | Ave Residual |  | 0.6976% |  |  | 0 |  |  | 0.16665 | 1.4677 |  |  |  | Ave Residual |  | #VALUE! |  |  |  | #VALUE! | #VALUE!
[6 empty] | Slope: | 0.022536 |  | 0 |  |  | 0.16665 | 1.4677 | [5 empty] | Slope: | #VALUE! |  |  | #VALUE! | #VALUE!
[6 empty] | Intercept: | 0.16665 |  | 0 |  |  | 0.16665 | 1.4677 | [5 empty] | Intercept: | #VALUE! |  |  | #VALUE! | #VALUE!
[6 empty] | Rsq: | 0.99913 |  |  |  |  | 0.16665 | 1.4677 | [5 empty] | Rsq: | #VALUE! |  |  | #VALUE! | #VALUE!
[12 empty] | 0.16665 | 1.4677 | [9 empty] | #VALUE! | #VALUE!
[8 empty] | TABLE NO. 2 | [14 empty] | #VALUE! | #VALUE!
[8 empty] | 1024 MEAN CH# |  | CONVERTED VALUES
[7 empty] | 21 | to 256 REL. CH# |  | CAN BE COPIED TO
[7 empty] | 56.5 | CONVERSION |  | THE CH# COLUMN BY | [9 empty] | 21
[8 empty] | 1024 CH# | 256 CH# | SELECTING THE CELLS | [9 empty] | 56.5
[9 empty] | #VALUE! | TO BE COPIED; THEN,
[9 empty] | #VALUE! | CLICKING [COPY],
[9 empty] | #VALUE! | [PASTE SPECIAL], AND
[9 empty] | #VALUE! | FINALLY [PASTE VALUE]
#VALUE!
#VALUE!
#VALUE!
#VALUE!
[8 empty] | TABLE NO. 3 |  | TABLE NO. 5
[8 empty] | 104 MEAN CH# |  | Determination of the
[8 empty] | to 256 REL. CH# |  | MEPE/CH# for the
[8 empty] | CONVERSION |  | normalization cell or particle
[8 empty] | 104 CH# | 256 CH# | 256 CH# | 104 CH# | Calc. MEPE | MEPE/CH#
[9 empty] | #VALUE! | 0 | 1 | 1.4677 | 1.4677
[9 empty] | #VALUE! | 0 | 1 | 1.4677 | 1.4677
[9 empty] | #VALUE! | 0 | 1 | 1.4677 | 1.4677
[9 empty] | #VALUE! | 0 | 1 | 1.4677 | 1.4677
[9 empty] | #VALUE! | 0 | 1 | 1.4677 | 1.4677
#VALUE!
[9 empty] | #VALUE! | TABLE NO. 6
Rainbow Calibration Particles (RCP-30-5A) |  |  |  | Lot No.: |  | File # |  |  | #VALUE! | Determination of New MEPE
Acceptable: | [9 empty] | values for RCP-30-5A
Action taken if not linear: |  |  | By: |  |  | Date: |  | TABLE NO. 4 |  | 256 CH# | 104 CH# | New MEPE
[8 empty] | 105 MEAN CH# |  |  | 1 | 1.4677
[8 empty] | to 256 REL. CH# |  |  | 1 | 1.4677
[8 empty] | CONVERSION |  |  | 1 | 1.4677
[8 empty] | 105 CH# | 256 CH# |  | 1 | 1.4677
[9 empty] | #VALUE! |  | 1 | 1.4677
[9 empty] | #VALUE! |  | 1 | 1.4677
[9 empty] | #VALUE! |  | 1 | 1.4677
[9 empty] | #VALUE! |  | 1 | 1.4677
#VALUE!
#VALUE!
#VALUE!
#VALUE!
Note on J20: Use this Table to convert Beckman-Coulter 1024 Mean CH # to 256 Relative CH#
Note on J35: Use this Table to convert BD-FACS 104 Mean CH # to 256 Relative CH#
Note on J50: Use this Table to convert BD-FACS Canto 105 Mean CH # to 384 Relative CH#
Note on T5: RCP-30-5 Relative Channel Numbers obtained with your Instrument in 256 Channel Scale.

## MEPE (561nm Ex)
TYPE THE NAME OF YOUR LAB HERE
| PMT LINEARITY QC RECORD | [12 empty] | Normalization Graph for Instrument B
[8 empty] | TABLE NO. 1 |  | CROSS CALIBRATION TABLE
| PEAK # | CH # | MEPE | MEPE LOG | CALC. | RESIDUAL | CALC. MEPE | 1024 REL. CH# |  | FOR UNKNOWN SAMPLES |  |  |  | PEAK # | CH # | MEPE | MEPE LOG | CALC. | RESIDUAL | CALC. MEPE | CROSS CALIBRATION TABLE
| 1 | 88.5876 |  |  | 2.2173 |  | 164.935 | to 256 REL. CH# |  | Sample | CH# | Calc. | Calc. MEPE | 1 | 0 | 1.7863 | 0.25195 | #VALUE! | #VALUE! | #VALUE! | FOR NORMALIZATION GRAPH
| 2 | 110.9461 | 517 | 2.7135 | 2.7133 | 0.00529% | 516.8292 | CONVERSION |  |  |  | 0.25195 | 1.7863 | 2 | 0 | 1.7863 | 0.25195 | #VALUE! | #VALUE! | #VALUE! | Sample | CH# | Calc. | Calc. MEPE
| 3 | 128.9782 | 1298 | 3.1133 | 3.1134 | 0.003927% | 1298.3654 | 1024 CH# | 256 CH# |  |  | 0.25195 | 1.7863 | 3 | 0 | 1.7863 | 0.25195 | #VALUE! | #VALUE! | #VALUE! |  | 200 | #VALUE! | #VALUE!
| 4 | 150.635 | 3925 | 3.5938 | 3.5939 | 0.0006749% | 3925.2192 |  | 0 |  |  | 0.25195 | 1.7863 | 4 | 0 | 1.7863 | 0.25195 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 5 | 173.1589 | 12403 | 4.0935 | 4.0936 | 0.001031% | 12404.2057 |  | 0 |  |  | 0.25195 | 1.7863 | 5 | 0 | 1.7863 | 0.25195 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 6 | 195.2022 | 38247 | 4.5826 | 4.5826 | 0.0002594% | 38248.047 |  | 0 |  |  | 0.25195 | 1.7863 | 6 | 0 | 1.7863 | 0.25195 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 7 | 218.6991 | 127033 | 5.1039 | 5.1039 | 0.000335% | 127027.9985 |  | 0 |  |  | 0.25195 | 1.7863 | 7 | 0 | 1.7863 | 0.25195 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 8 | 234.8369 | 289711 | 5.462 | 5.4619 | 0.0007319% | 289684.3341 |  | 0 |  |  | 0.25195 | 1.7863 | 8 | 0 | 1.7863 | 0.25195 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
|  |  |  | Ave Residual |  | 0.00175% |  |  | 0 |  |  | 0.25195 | 1.7863 |  |  |  | Ave Residual |  | #VALUE! |  |  |  | #VALUE! | #VALUE!
[6 empty] | Slope: | 0.022185 |  | 0 |  |  | 0.25195 | 1.7863 | [5 empty] | Slope: | #VALUE! |  |  | #VALUE! | #VALUE!
[6 empty] | Intercept: | 0.25195 |  | 0 |  |  | 0.25195 | 1.7863 | [5 empty] | Intercept: | #VALUE! |  |  | #VALUE! | #VALUE!
[6 empty] | Rsq: | 1 |  |  |  |  | 0.25195 | 1.7863 | [5 empty] | Rsq: | #VALUE! |  |  | #VALUE! | #VALUE!
[12 empty] | 0.25195 | 1.7863 | [9 empty] | #VALUE! | #VALUE!
[8 empty] | TABLE NO. 2 | [14 empty] | #VALUE! | #VALUE!
[8 empty] | 1024 MEAN CH# |  | CONVERTED VALUES
[7 empty] | 21 | to 256 REL. CH# |  | CAN BE COPIED TO
[7 empty] | 56.5 | CONVERSION |  | THE CH# COLUMN BY | [9 empty] | 21
[8 empty] | 1024 CH# | 256 CH# | SELECTING THE CELLS | [9 empty] | 56.5
[9 empty] | #VALUE! | TO BE COPIED; THEN,
[9 empty] | #VALUE! | CLICKING [COPY],
[9 empty] | #VALUE! | [PASTE SPECIAL], AND
[9 empty] | #VALUE! | FINALLY [PASTE VALUE]
#VALUE!
#VALUE!
#VALUE!
#VALUE!
[8 empty] | TABLE NO. 3 |  | TABLE NO. 5
[8 empty] | 104 MEAN CH# |  | Determination of the
[8 empty] | to 256 REL. CH# |  | MEPE/CH# for the
[8 empty] | CONVERSION |  | normalization cell or particle
[8 empty] | 104 CH# | 256 CH# | 256 CH# | 104 CH# | Calc. MEPE | MEPE/CH#
[9 empty] | #VALUE! | 0 | 1 | 1.7863 | 1.7863
[9 empty] | #VALUE! | 0 | 1 | 1.7863 | 1.7863
[9 empty] | #VALUE! | 0 | 1 | 1.7863 | 1.7863
[9 empty] | #VALUE! | 0 | 1 | 1.7863 | 1.7863
[9 empty] | #VALUE! | 0 | 1 | 1.7863 | 1.7863
#VALUE!
[9 empty] | #VALUE! | TABLE NO. 6
Rainbow Calibration Particles (RCP-30-5A) |  |  |  | Lot No.: |  | File # |  |  | #VALUE! | Determination of New MEPE
Acceptable: | [9 empty] | values for RCP-30-5A
Action taken if not linear: |  |  | By: |  |  | Date: |  | TABLE NO. 4 |  | 256 CH# | 104 CH# | New MEPE
[8 empty] | 105 MEAN CH# |  |  | 1 | 1.7863
[8 empty] | to 256 REL. CH# |  |  | 1 | 1.7863
[8 empty] | CONVERSION |  |  | 1 | 1.7863
[8 empty] | 105 CH# | 256 CH# |  | 1 | 1.7863
[9 empty] | #VALUE! |  | 1 | 1.7863
[9 empty] | #VALUE! |  | 1 | 1.7863
[9 empty] | #VALUE! |  | 1 | 1.7863
[9 empty] | #VALUE! |  | 1 | 1.7863
#VALUE!
#VALUE!
#VALUE!
#VALUE!
Note on J20: Use this Table to convert Beckman-Coulter 1024 Mean CH # to 256 Relative CH#
Note on J35: Use this Table to convert BD-FACS 104 Mean CH # to 256 Relative CH#
Note on J50: Use this Table to convert BD-FACS Canto 105 Mean CH # to 384 Relative CH#
Note on T5: RCP-30-5 Relative Channel Numbers obtained with your Instrument in 256 Channel Scale.

## MEPTR (488nm Ex)
TYPE THE NAME OF YOUR LAB HERE
| PMT LINEARITY QC RECORD | [12 empty] | Normalization Graph for Instrument B
[8 empty] | TABLE NO. 1 |  | CROSS CALIBRATION TABLE
[8 empty] | 1024 REL. CH# |  | FOR UNKNOWN SAMPLES |  |  |  |  | PEAK # | CH # | MEPTR | MEPTR LOG | CALC. | RESIDUAL | CALC. MEPTR | CROSS CALIBRATION TABLE
| PEAK # | CH # | MEPTR | MEPTR LOG | CALC. | RESIDUAL | CALC. MEPTR | to 256 REL. CH# |  | Sample | CH# | Calc. | Calc. MEPTR |  | 1 | 0 | 0.52852 | -0.27694 | #VALUE! | #VALUE! | #VALUE! | FOR NORMALIZATION GRAPH
| 1 | 28.4444 |  |  | 0.37284 |  | 2.3596 | CONVERSION |  |  |  | -0.27694 | 0.52852 |  | 2 | 0 | 0.52852 | -0.27694 | #VALUE! | #VALUE! | #VALUE! | Sample | CH# | Calc. | Calc. MEPTR
| 2 | 108.5064 | 173 | 2.238 | 2.2017 | 1.649% | 159.1255 | 1024 CH# | 256 CH# |  |  | -0.27694 | 0.52852 |  | 3 | 0 | 0.52852 | -0.27694 | #VALUE! | #VALUE! | #VALUE! |  | 200 | #VALUE! | #VALUE!
| 3 | 131.4246 | 534 | 2.7275 | 2.7253 | 0.0832% | 531.2193 |  | 0 |  |  | -0.27694 | 0.52852 |  | 4 | 0 | 0.52852 | -0.27694 | #VALUE! | #VALUE! | #VALUE! |  | 125 | #VALUE! | #VALUE!
| 4 | 155.2055 | 1789 | 3.2526 | 3.2685 | 0.4866% | 1855.7374 |  | 0 |  |  | -0.27694 | 0.52852 |  | 5 | 0 | 0.52852 | -0.27694 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 5 | 178.455 | 5854 | 3.7675 | 3.7996 | 0.8465% | 6304.03 |  | 0 |  |  | -0.27694 | 0.52852 |  | 6 | 0 | 0.52852 | -0.27694 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 6 | 200.8373 | 18869 | 4.2757 | 4.3109 | 0.8156% | 20460.2212 |  | 0 |  |  | -0.27694 | 0.52852 |  | 7 | 0 | 0.52852 | -0.27694 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 7 | 225.0516 | 70686 | 4.8493 | 4.8641 | 0.3026% | 73122.7058 |  | 0 |  |  | -0.27694 | 0.52852 |  | 8 | 0 | 0.52852 | -0.27694 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 8 | 241.5966 | 200161 | 5.3014 | 5.242 | 1.133% | 174582.6824 |  | 0 |  |  | -0.27694 | 0.52852 |  |  |  |  | Ave Residual |  | #VALUE! |  |  |  | #VALUE! | #VALUE!
|  |  |  | Ave Residual |  | 0.7595% |  |  | 0 |  |  | -0.27694 | 0.52852 | [6 empty] | Slope: | #VALUE! |  |  | #VALUE! | #VALUE!
[6 empty] | Slope: | 0.022844 |  | 0 |  |  | -0.27694 | 0.52852 | [6 empty] | Intercept: | #VALUE! |  |  | #VALUE! | #VALUE!
[6 empty] | Intercept: | -0.27694 |  |  |  |  | -0.27694 | 0.52852 | [6 empty] | Rsq: | #VALUE! |  |  | #VALUE! | #VALUE!
[6 empty] | Rsq: | 0.99898 |  |  |  |  | -0.27694 | 0.52852 | [10 empty] | #VALUE! | #VALUE!
[8 empty] | TABLE NO. 2 | [15 empty] | #VALUE! | #VALUE!
[8 empty] | 1024 MEAN CH# |  | CONVERTED VALUES
[8 empty] | to 256 REL. CH# |  | CAN BE COPIED TO
[8 empty] | CONVERSION |  | THE CH# COLUMN BY
[8 empty] | 1024 CH# | 256 CH# | SELECTING THE CELLS
[9 empty] | #VALUE! | TO BE COPIED; THEN,
[9 empty] | #VALUE! | CLICKING [COPY],
[9 empty] | #VALUE! | [PASTE SPECIAL], AND
[9 empty] | #VALUE! | FINALLY [PASTE VALUE]
#VALUE!
#VALUE!
#VALUE!
#VALUE!
[8 empty] | TABLE NO. 3 |  | TABLE NO. 5
[8 empty] | 104 MEAN CH# |  | Determination of the
[8 empty] | to 256 REL. CH# |  | MEPTR/CH# for the
[8 empty] | CONVERSION |  | normalization cell or particle
[8 empty] | 104 CH# | 256 CH# | 256 CH# | 104 CH# | Calc. MEPTR | MEPTR/CH#
[9 empty] | #VALUE! | 0 | 1 | 0.52852 | 0.52852
[9 empty] | #VALUE! | 0 | 1 | 0.52852 | 0.52852
[9 empty] | #VALUE! | 0 | 1 | 0.52852 | 0.52852
[9 empty] | #VALUE! | 0 | 1 | 0.52852 | 0.52852
[9 empty] | #VALUE! | 0 | 1 | 0.52852 | 0.52852
#VALUE!
[9 empty] | #VALUE! | TABLE NO. 6
[9 empty] | #VALUE! | Determination of New MEPTR
Rainbow Calibration Particles (RCP-30-5A) |  |  |  | Lot No.: |  | File # |  |  |  | values for RCP-30-5A
Acceptable:
[8 empty] | TABLE NO. 4 |  | 256 CH# | 104 CH# | New MEPTR
Action taken if not linear: |  |  | By: |  |  | Date: |  | 105 MEAN CH# |  |  | 1 | 0.52852
[8 empty] | to 256 REL. CH# |  |  | 1 | 0.52852
[8 empty] | CONVERSION |  |  | 1 | 0.52852
[8 empty] | 105 CH# | 256 CH# |  | 1 | 0.52852
[9 empty] | #VALUE! |  | 1 | 0.52852
[9 empty] | #VALUE! |  | 1 | 0.52852
[9 empty] | #VALUE! |  | 1 | 0.52852
[9 empty] | #VALUE! |  | 1 | 0.52852
#VALUE!
#VALUE!
#VALUE!
#VALUE!
Note on J20: Use this Table to convert Beckman-Coulter 1024 Mean CH # to 256 Relative CH#
Note on J35: Use this Table to convert BD-FACS 104 Mean CH # to 256 Relative CH#
Note on J50: Use this Table to convert BD-FACS Canto 105 Mean CH # to 384 Relative CH#

## MEPTR (561nm Ex)
TYPE THE NAME OF YOUR LAB HERE
| PMT LINEARITY QC RECORD | [12 empty] | Normalization Graph for Instrument B
[8 empty] | TABLE NO. 1 |  | CROSS CALIBRATION TABLE
[8 empty] | 1024 REL. CH# |  | FOR UNKNOWN SAMPLES |  |  |  |  | PEAK # | CH # | MEPTR | MEPTR LOG | CALC. | RESIDUAL | CALC. MEPTR | CROSS CALIBRATION TABLE
| PEAK # | CH # | MEPTR | MEPTR LOG | CALC. | RESIDUAL | CALC. MEPTR | to 256 REL. CH# |  | Sample | CH# | Calc. | Calc. MEPTR |  | 1 | 0 | 0.66943 | -0.17429 | #VALUE! | #VALUE! | #VALUE! | FOR NORMALIZATION GRAPH
| 1 | 28.4444 |  |  | 0.46492 |  | 2.9169 | CONVERSION |  |  |  | -0.17429 | 0.66943 |  | 2 | 0 | 0.66943 | -0.17429 | #VALUE! | #VALUE! | #VALUE! | Sample | CH# | Calc. | Calc. MEPTR
| 2 | 108.5064 | 183.6885 | 2.2641 | 2.2641 | 0% | 183.6885 | 1024 CH# | 256 CH# |  |  | -0.17429 | 0.66943 |  | 3 | 0 | 0.66943 | -0.17429 | #VALUE! | #VALUE! | #VALUE! |  | 200 | #VALUE! | #VALUE!
| 3 | 131.4246 | 601.3165 | 2.7791 | 2.7791 | 0% | 601.3165 |  | 0 |  |  | -0.17429 | 0.66943 |  | 4 | 0 | 0.66943 | -0.17429 | #VALUE! | #VALUE! | #VALUE! |  | 125 | #VALUE! | #VALUE!
| 4 | 155.2055 | 2058.3189 | 3.3135 | 3.3135 | 0% | 2058.3189 |  | 0 |  |  | -0.17429 | 0.66943 |  | 5 | 0 | 0.66943 | -0.17429 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 5 | 178.455 | 6854.5447 | 3.836 | 3.836 | 0% | 6854.5447 |  | 0 |  |  | -0.17429 | 0.66943 |  | 6 | 0 | 0.66943 | -0.17429 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 6 | 200.8373 | 21825.1373 | 4.339 | 4.339 | 0% | 21825.1373 |  | 0 |  |  | -0.17429 | 0.66943 |  | 7 | 0 | 0.66943 | -0.17429 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 7 | 225.0516 | 76402.0031 | 4.8831 | 4.8831 | 0% | 76402.0031 |  | 0 |  |  | -0.17429 | 0.66943 |  | 8 | 0 | 0.66943 | -0.17429 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 8 | 241.5966 | 179849.0504 | 5.2549 | 5.2549 | 0% | 179849.0504 |  | 0 |  |  | -0.17429 | 0.66943 |  |  |  |  | Ave Residual |  | #VALUE! |  |  |  | #VALUE! | #VALUE!
|  |  |  | Ave Residual |  | 0% |  |  | 0 |  |  | -0.17429 | 0.66943 | [6 empty] | Slope: | #VALUE! |  |  | #VALUE! | #VALUE!
[6 empty] | Slope: | 0.022472 |  | 0 |  |  | -0.17429 | 0.66943 | [6 empty] | Intercept: | #VALUE! |  |  | #VALUE! | #VALUE!
[6 empty] | Intercept: | -0.17429 |  |  |  |  | -0.17429 | 0.66943 | [6 empty] | Rsq: | #VALUE! |  |  | #VALUE! | #VALUE!
[6 empty] | Rsq: | 1 |  |  |  |  | -0.17429 | 0.66943 | [10 empty] | #VALUE! | #VALUE!
[8 empty] | TABLE NO. 2 | [15 empty] | #VALUE! | #VALUE!
[8 empty] | 1024 MEAN CH# |  | CONVERTED VALUES
[8 empty] | to 256 REL. CH# |  | CAN BE COPIED TO
[8 empty] | CONVERSION |  | THE CH# COLUMN BY
[8 empty] | 1024 CH# | 256 CH# | SELECTING THE CELLS
[9 empty] | #VALUE! | TO BE COPIED; THEN,
[9 empty] | #VALUE! | CLICKING [COPY],
[9 empty] | #VALUE! | [PASTE SPECIAL], AND
[9 empty] | #VALUE! | FINALLY [PASTE VALUE]
#VALUE!
#VALUE!
#VALUE!
#VALUE!
[8 empty] | TABLE NO. 3 |  | TABLE NO. 5
[8 empty] | 104 MEAN CH# |  | Determination of the
[8 empty] | to 256 REL. CH# |  | MEPTR/CH# for the
[8 empty] | CONVERSION |  | normalization cell or particle
[8 empty] | 104 CH# | 256 CH# | 256 CH# | 104 CH# | Calc. MEPTR | MEPTR/CH#
[9 empty] | #VALUE! | 0 | 1 | 0.66943 | 0.66943
[9 empty] | #VALUE! | 0 | 1 | 0.66943 | 0.66943
[9 empty] | #VALUE! | 0 | 1 | 0.66943 | 0.66943
[9 empty] | #VALUE! | 0 | 1 | 0.66943 | 0.66943
[9 empty] | #VALUE! | 0 | 1 | 0.66943 | 0.66943
#VALUE!
[9 empty] | #VALUE! | TABLE NO. 6
[9 empty] | #VALUE! | Determination of New MEPTR
Rainbow Calibration Particles (RCP-30-5A) |  |  |  | Lot No.: |  | File # |  |  |  | values for RCP-30-5A
Acceptable:
[8 empty] | TABLE NO. 4 |  | 256 CH# | 104 CH# | New MEPTR
Action taken if not linear: |  |  | By: |  |  | Date: |  | 105 MEAN CH# |  |  | 1 | 0.66943
[8 empty] | to 256 REL. CH# |  |  | 1 | 0.66943
[8 empty] | CONVERSION |  |  | 1 | 0.66943
[8 empty] | 105 CH# | 256 CH# |  | 1 | 0.66943
[9 empty] | #VALUE! |  | 1 | 0.66943
[9 empty] | #VALUE! |  | 1 | 0.66943
[9 empty] | #VALUE! |  | 1 | 0.66943
[9 empty] | #VALUE! |  | 1 | 0.66943
#VALUE!
#VALUE!
#VALUE!
#VALUE!
Note on J20: Use this Table to convert Beckman-Coulter 1024 Mean CH # to 256 Relative CH#
Note on J35: Use this Table to convert BD-FACS 104 Mean CH # to 256 Relative CH#
Note on J50: Use this Table to convert BD-FACS Canto 105 Mean CH # to 384 Relative CH#

## MECY (488nm Ex)
TYPE THE NAME OF YOUR LAB HERE
| PMT LINEARITY QC RECORD | [12 empty] | Normalization Graph for Instrument B
[8 empty] | TABLE NO. 1 |  | CROSS CALIBRATION TABLE
| PEAK # | CH # | MECY | MECY LOG | CALC. | RESIDUAL | CALC. MECY | 1024 REL. CH# |  | FOR UNKNOWN SAMPLES |  |  |  |  | PEAK # | CH # | MECY | MECY LOG | CALC. | RESIDUAL | CALC. MECY | CROSS CALIBRATION TABLE
| 1 | 0 |  |  | 0.92476 |  | 8.4094 | to 256 REL. CH# |  | Sample | CH# | Calc. | Calc. MECY |  | 1 | 0 | 8.4094 | 0.92476 | #VALUE! | #VALUE! | #VALUE! | FOR NORMALIZATION GRAPH
| 2 | 98.0596 | 1118 | 3.0484 | 3.0241 | 0.8047% | 1057.0777 | CONVERSION |  |  |  | 0.92476 | 8.4094 |  | 2 | 0 | 8.4094 | 0.92476 | #VALUE! | #VALUE! | #VALUE! | Sample | CH# | Calc. | Calc. MECY
| 3 | 120.5438 | 3305 | 3.5192 | 3.5055 | 0.391% | 3202.3328 | 1024 CH# | 256 CH# |  |  | 0.92476 | 8.4094 |  | 3 | 0 | 8.4094 | 0.92476 | #VALUE! | #VALUE! | #VALUE! |  | 200 | #VALUE! | #VALUE!
| 4 | 145.408 | 10780 | 4.0326 | 4.0378 | 0.1279% | 10908.9201 |  | 0 |  |  | 0.92476 | 8.4094 |  | 4 | 0 | 8.4094 | 0.92476 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 5 | 168.9377 | 32585 | 4.513 | 4.5415 | 0.6277% | 34795.7182 |  | 0 |  |  | 0.92476 | 8.4094 |  | 5 | 0 | 8.4094 | 0.92476 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 6 | 191.7627 | 95799 | 4.9814 | 5.0302 | 0.9705% | 107196.689 |  | 0 |  |  | 0.92476 | 8.4094 |  | 6 | 0 | 8.4094 | 0.92476 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 7 | 217.3348 | 360647 | 5.5571 | 5.5777 | 0.3688% | 378138.4244 |  | 0 |  |  | 0.92476 | 8.4094 |  | 7 | 0 | 8.4094 | 0.92476 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 8 | 236.2453 | 1115638 | 6.0475 | 5.9825 | 1.087% | 960512.9491 |  | 0 |  |  | 0.92476 | 8.4094 |  | 8 | 0 | 8.4094 | 0.92476 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
|  |  |  | Ave Residual |  | 0.6253% |  |  | 0 |  |  | 0.92476 | 8.4094 |  |  |  |  | Ave Residual |  | #VALUE! |  |  |  | #VALUE! | #VALUE!
[6 empty] | Slope: | 0.021409 |  | 0 |  |  | 0.92476 | 8.4094 | [6 empty] | Slope: | #VALUE! |  |  | #VALUE! | #VALUE!
[6 empty] | Intercept: | 0.92476 |  | 0 |  |  | 0.92476 | 8.4094 | [6 empty] | Intercept: | #VALUE! |  |  | #VALUE! | #VALUE!
[6 empty] | Rsq: | 0.99877 |  |  |  |  | 0.92476 | 8.4094 | [6 empty] | Rsq: | #VALUE! |  |  | #VALUE! | #VALUE!
[12 empty] | 0.92476 | 8.4094 | [10 empty] | #VALUE! | #VALUE!
[8 empty] | TABLE NO. 2 | [15 empty] | #VALUE! | #VALUE!
[8 empty] | 1024 MEAN CH# |  | CONVERTED VALUES
[8 empty] | to 256 REL. CH# |  | CAN BE COPIED TO
[8 empty] | CONVERSION |  | THE CH# COLUMN BY
[8 empty] | 1024 CH# | 256 CH# | SELECTING THE CELLS
[9 empty] | #VALUE! | TO BE COPIED; THEN,
[9 empty] | #VALUE! | CLICKING [COPY],
[9 empty] | #VALUE! | [PASTE SPECIAL], AND
[9 empty] | #VALUE! | FINALLY [PASTE VALUE]
#VALUE!
#VALUE!
#VALUE!
#VALUE!
[8 empty] | TABLE NO. 3 |  | TABLE NO. 5
[8 empty] | 104 MEAN CH# |  | Determination of the
[8 empty] | to 256 REL. CH# |  | MECY/CH# for the
[8 empty] | CONVERSION |  | normalization cell or particle
[8 empty] | 104 CH# | 256 CH# | 256 CH# | 104 CH# | Calc. MECY | MECY/CH#
[9 empty] | #VALUE! | 0 | 1 | 8.4094 | 8.4094
[9 empty] | #VALUE! | 0 | 1 | 8.4094 | 8.4094
[9 empty] | #VALUE! | 0 | 1 | 8.4094 | 8.4094
[9 empty] | #VALUE! | 0 | 1 | 8.4094 | 8.4094
[9 empty] | #VALUE! | 0 | 1 | 8.4094 | 8.4094
#VALUE!
[9 empty] | #VALUE! | TABLE NO. 6
Rainbow Calibration Particles (RCP-30-5A) |  |  |  | Lot No.: |  | File # |  |  | #VALUE! | Determination of New MECY
Acceptable: | [9 empty] | values for RCP-30-5A
Action taken if not linear: |  |  | By: |  |  | Date: |  | TABLE NO. 4 |  | 256 CH# | 104 CH# | New MECY
[8 empty] | 105 MEAN CH# |  |  | 1 | 8.4094
[8 empty] | to 256 REL. CH# |  |  | 1 | 8.4094
[8 empty] | CONVERSION |  |  | 1 | 8.4094
[8 empty] | 105 CH# | 256 CH# |  | 1 | 8.4094
[8 empty] | 1 | 0 |  | 1 | 8.4094
[8 empty] | 119 | 98.0596 |  | 1 | 8.4094
[8 empty] | 356 | 120.5438 |  | 1 | 8.4094
[8 empty] | 1196 | 145.408 |  | 1 | 8.4094
[8 empty] | 3765 | 168.9377
[8 empty] | 11452 | 191.7627
[8 empty] | 39824 | 217.3348
[8 empty] | 100094 | 236.2453
Note on J20: Use this Table to convert Beckman-Coulter 1024 Mean CH # to 256 Relative CH#
Note on J35: Use this Table to convert BD-FACS 104 Mean CH # to 256 Relative CH#
Note on J50: Use this Table to convert BD-FACS Canto 105 Mean CH # to 384 Relative CH#

## MECY (561nm Ex)
TYPE THE NAME OF YOUR LAB HERE
| PMT LINEARITY QC RECORD | [12 empty] | Normalization Graph for Instrument B
[8 empty] | TABLE NO. 1 |  | CROSS CALIBRATION TABLE
| PEAK # | CH # | MECY | MECY LOG | CALC. | RESIDUAL | CALC. MECY | 1024 REL. CH# |  | FOR UNKNOWN SAMPLES |  |  |  |  | PEAK # | CH # | MECY | MECY LOG | CALC. | RESIDUAL | CALC. MECY | CROSS CALIBRATION TABLE
| 1 | 0 |  |  | 0.8786 |  | 7.5613 | to 256 REL. CH# |  | Sample | CH# | Calc. | Calc. MECY |  | 1 | 0 | 7.5613 | 0.8786 | #VALUE! | #VALUE! | #VALUE! | FOR NORMALIZATION GRAPH
| 2 | 98.0596 | 989.7916 | 2.9955 | 2.9955 | 0% | 989.7916 | CONVERSION |  |  |  | 0.8786 | 7.5613 |  | 2 | 0 | 7.5613 | 0.8786 | #VALUE! | #VALUE! | #VALUE! | Sample | CH# | Calc. | Calc. MECY
| 3 | 120.5438 | 3026.489 | 3.4809 | 3.4809 | 0% | 3026.489 | 1024 CH# | 256 CH# |  |  | 0.8786 | 7.5613 |  | 3 | 0 | 7.5613 | 0.8786 | #VALUE! | #VALUE! | #VALUE! |  | 200 | #VALUE! | #VALUE!
| 4 | 145.408 | 10416.3942 | 4.0177 | 4.0177 | 0% | 10416.3942 |  | 0 |  |  | 0.8786 | 7.5613 |  | 4 | 0 | 7.5613 | 0.8786 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 5 | 168.9377 | 33549.4124 | 4.5257 | 4.5257 | 0% | 33549.4124 |  | 0 |  |  | 0.8786 | 7.5613 |  | 5 | 0 | 7.5613 | 0.8786 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 6 | 191.7627 | 104336.7837 | 5.0184 | 5.0184 | 0% | 104336.7837 |  | 0 |  |  | 0.8786 | 7.5613 |  | 6 | 0 | 7.5613 | 0.8786 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 7 | 217.3348 | 371960.6068 | 5.5705 | 5.5705 | 0% | 371960.6068 |  | 0 |  |  | 0.8786 | 7.5613 |  | 7 | 0 | 7.5613 | 0.8786 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 8 | 236.2453 | 952234.0425 | 5.9787 | 5.9787 | 0% | 952234.0425 |  | 0 |  |  | 0.8786 | 7.5613 |  | 8 | 0 | 7.5613 | 0.8786 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
|  |  |  | Ave Residual |  | 0% |  |  | 0 |  |  | 0.8786 | 7.5613 |  |  |  |  | Ave Residual |  | #VALUE! |  |  |  | #VALUE! | #VALUE!
[6 empty] | Slope: | 0.021588 |  | 0 |  |  | 0.8786 | 7.5613 | [6 empty] | Slope: | #VALUE! |  |  | #VALUE! | #VALUE!
[6 empty] | Intercept: | 0.8786 |  | 0 |  |  | 0.8786 | 7.5613 | [6 empty] | Intercept: | #VALUE! |  |  | #VALUE! | #VALUE!
[6 empty] | Rsq: | 1 |  |  |  |  | 0.8786 | 7.5613 | [6 empty] | Rsq: | #VALUE! |  |  | #VALUE! | #VALUE!
[12 empty] | 0.8786 | 7.5613 | [10 empty] | #VALUE! | #VALUE!
[8 empty] | TABLE NO. 2 | [15 empty] | #VALUE! | #VALUE!
[8 empty] | 1024 MEAN CH# |  | CONVERTED VALUES
[8 empty] | to 256 REL. CH# |  | CAN BE COPIED TO
[8 empty] | CONVERSION |  | THE CH# COLUMN BY
[8 empty] | 1024 CH# | 256 CH# | SELECTING THE CELLS
[9 empty] | #VALUE! | TO BE COPIED; THEN,
[9 empty] | #VALUE! | CLICKING [COPY],
[9 empty] | #VALUE! | [PASTE SPECIAL], AND
[9 empty] | #VALUE! | FINALLY [PASTE VALUE]
#VALUE!
#VALUE!
#VALUE!
#VALUE!
[8 empty] | TABLE NO. 3 |  | TABLE NO. 5
[8 empty] | 104 MEAN CH# |  | Determination of the
[8 empty] | to 256 REL. CH# |  | MECY/CH# for the
[8 empty] | CONVERSION |  | normalization cell or particle
[8 empty] | 104 CH# | 256 CH# | 256 CH# | 104 CH# | Calc. MECY | MECY/CH#
[9 empty] | #VALUE! | 0 | 1 | 7.5613 | 7.5613
[9 empty] | #VALUE! | 0 | 1 | 7.5613 | 7.5613
[9 empty] | #VALUE! | 0 | 1 | 7.5613 | 7.5613
[9 empty] | #VALUE! | 0 | 1 | 7.5613 | 7.5613
[9 empty] | #VALUE! | 0 | 1 | 7.5613 | 7.5613
#VALUE!
[9 empty] | #VALUE! | TABLE NO. 6
Rainbow Calibration Particles (RCP-30-5A) |  |  |  | Lot No.: |  | File # |  |  | #VALUE! | Determination of New MECY
Acceptable: | [9 empty] | values for RCP-30-5A
Action taken if not linear: |  |  | By: |  |  | Date: |  | TABLE NO. 4 |  | 256 CH# | 104 CH# | New MECY
[8 empty] | 105 MEAN CH# |  |  | 1 | 7.5613
[8 empty] | to 256 REL. CH# |  |  | 1 | 7.5613
[8 empty] | CONVERSION |  |  | 1 | 7.5613
[8 empty] | 105 CH# | 256 CH# |  | 1 | 7.5613
[8 empty] | 1 | 0 |  | 1 | 7.5613
[8 empty] | 119 | 98.0596 |  | 1 | 7.5613
[8 empty] | 356 | 120.5438 |  | 1 | 7.5613
[8 empty] | 1196 | 145.408 |  | 1 | 7.5613
[8 empty] | 3765 | 168.9377
[8 empty] | 11452 | 191.7627
[8 empty] | 39824 | 217.3348
[8 empty] | 100094 | 236.2453
Note on J20: Use this Table to convert Beckman-Coulter 1024 Mean CH # to 256 Relative CH#
Note on J35: Use this Table to convert BD-FACS 104 Mean CH # to 256 Relative CH#
Note on J50: Use this Table to convert BD-FACS Canto 105 Mean CH # to 384 Relative CH#

## MEPCY7
TYPE THE NAME OF YOUR LAB HERE
| PMT LINEARITY QC RECORD | [12 empty] | Normalization Graph for Instrument B
[8 empty] | TABLE NO. 1 |  | CROSS CALIBRATION TABLE
| PEAK # | CH # | MEPCY7 | MEPCY7 LOG | CALC. | RESIDUAL | CALC. MEPCY7 | 1024 REL. CH# |  | FOR UNKNOWN SAMPLES |  |  |  |  | PEAK # | CH # | MEPCY7 | MEPCY7 LOG | CALC. | RESIDUAL | CALC. MEPCY7 | CROSS CALIBRATION TABLE
| 1 | 42.6667 |  |  | -0.19778 |  | 0.63419 | to 256 REL. CH# |  | Sample | CH# | Calc. | Calc. MEPCY7 |  | 1 | 0 | 0.034439 | -1.4629 | #VALUE! | #VALUE! | #VALUE! | FOR NORMALIZATION GRAPH
| 2 | 102.2553 | 37 | 1.5682 | 1.5692 | 0.0611% | 37.0818 | CONVERSION |  |  |  | -1.4629 | 0.034439 |  | 2 | 0 | 0.034439 | -1.4629 | #VALUE! | #VALUE! | #VALUE! | Sample | CH# | Calc. | Calc. MEPCY7
| 3 | 121.7198 | 140 | 2.1461 | 2.1463 | 0.009315% | 140.0645 | 1024 CH# | 256 CH# |  |  | -1.4629 | 0.034439 |  | 3 | 0 | 0.034439 | -1.4629 | #VALUE! | #VALUE! | #VALUE! |  | 200 | #VALUE! | #VALUE!
| 4 | 147.7407 | 829 | 2.9186 | 2.9179 | 0.0221% | 827.77 |  | 0 |  |  | -1.4629 | 0.034439 |  | 4 | 0 | 0.034439 | -1.4629 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 5 | 171.1714 | 4109.4123 | 3.6138 | 3.6127 | 0.03032% | 4099.0592 |  | 0 |  |  | -1.4629 | 0.034439 |  | 5 | 0 | 0.034439 | -1.4629 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 6 | 194.883 | 20714.1362 | 4.3163 | 4.3158 | 0.01102% | 20691.462 |  | 0 |  |  | -1.4629 | 0.034439 |  | 6 | 0 | 0.034439 | -1.4629 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 7 | 222.2144 | 133657.2564 | 5.126 | 5.1262 | 0.004659% | 133730.785 |  | 0 |  |  | -1.4629 | 0.034439 |  | 7 | 0 | 0.034439 | -1.4629 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 8 | 244.3896 | 606679.0829 | 5.783 | 5.7838 | 0.01415% | 607823.631 |  | 0 |  |  | -1.4629 | 0.034439 |  | 8 | 0 | 0.034439 | -1.4629 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
|  |  |  | Ave Residual |  | 0.02181% |  |  | 0 |  |  | -1.4629 | 0.034439 |  |  |  |  | Ave Residual |  | #VALUE! |  |  |  | #VALUE! | #VALUE!
[6 empty] | Slope: | 0.029652 |  | 0 |  |  | -1.4629 | 0.034439 | [6 empty] | Slope: | #VALUE! |  |  | #VALUE! | #VALUE!
[6 empty] | Intercept: | -1.4629 |  | 0 |  |  | -1.4629 | 0.034439 | [6 empty] | Intercept: | #VALUE! |  |  | #VALUE! | #VALUE!
[6 empty] | Rsq: | 1 |  |  |  |  | -1.4629 | 0.034439 | [6 empty] | Rsq: | #VALUE! |  |  | #VALUE! | #VALUE!
[12 empty] | -1.4629 | 0.034439 | [10 empty] | #VALUE! | #VALUE!
[8 empty] | TABLE NO. 2 | [15 empty] | #VALUE! | #VALUE!
[8 empty] | 1024 MEAN CH# |  | CONVERTED VALUES
[8 empty] | to 256 REL. CH# |  | CAN BE COPIED TO
[8 empty] | CONVERSION |  | THE CH# COLUMN BY
[8 empty] | 1024 CH# | 256 CH# | SELECTING THE CELLS
[9 empty] | #VALUE! | TO BE COPIED; THEN,
[9 empty] | #VALUE! | CLICKING [COPY],
[9 empty] | #VALUE! | [PASTE SPECIAL], AND
[9 empty] | #VALUE! | FINALLY [PASTE VALUE]
#VALUE!
#VALUE!
#VALUE!
#VALUE!
[8 empty] | TABLE NO. 3 |  | TABLE NO. 5
[8 empty] | 104 MEAN CH# |  | Determination of the
[8 empty] | to 256 REL. CH# |  | MEPCY7/CH# for the
[8 empty] | CONVERSION |  | normalization cell or particle
[8 empty] | 104 CH# | 256 CH# | 256 CH# | 104 CH# | Calc. MEPCY7 | MEPCY7/CH#
[9 empty] | #VALUE! | 0 | 1 | 0.034439 | 0.034439
[9 empty] | #VALUE! | 0 | 1 | 0.034439 | 0.034439
[9 empty] | #VALUE! | 0 | 1 | 0.034439 | 0.034439
[9 empty] | #VALUE! | 0 | 1 | 0.034439 | 0.034439
[9 empty] | #VALUE! | 0 | 1 | 0.034439 | 0.034439
#VALUE!
[9 empty] | #VALUE! | TABLE NO. 6
Rainbow Calibration Particles (RCP-30-5A) |  |  |  | Lot No.: |  | File # |  |  | #VALUE! | Determination of New MEPCY7
Acceptable: | [9 empty] | values for RCP-30-5A
Action taken if not linear: |  |  | By: |  |  | Date: |  | TABLE NO. 4 |  | 256 CH# | 104 CH# | New MEPCY7
[8 empty] | 105 MEAN CH# |  |  | 1 | 0.034439
[8 empty] | to 256 REL. CH# |  |  | 1 | 0.034439
[8 empty] | CONVERSION |  |  | 1 | 0.034439
[8 empty] | 105 CH# | 256 CH# |  | 1 | 0.034439
[8 empty] | 8 | 42.6667 |  | 1 | 0.034439
[8 empty] | 146 | 102.2553 |  | 1 | 0.034439
[8 empty] | 377 | 121.7198 |  | 1 | 0.034439
[8 empty] | 1340 | 147.7407 |  | 1 | 0.034439
[8 empty] | 4198 | 171.1714
[8 empty] | 13333 | 194.883
[8 empty] | 50516 | 222.2144
[8 empty] | 148865 | 244.3896
Note on J20: Use this Table to convert Beckman-Coulter 1024 Mean CH # to 256 Relative CH#
Note on J35: Use this Table to convert BD-FACS 104 Mean CH # to 256 Relative CH#
Note on J50: Use this Table to convert BD-FACS Canto 105 Mean CH # to 384 Relative CH#

## MEAP
TYPE THE NAME OF YOUR LAB HERE
| PMT LINEARITY QC RECORD | [12 empty] | Normalization Graph for Instrument B
[8 empty] | TABLE NO. 1 |  | CROSS CALIBRATION TABLE
| PEAK # | CH # | MEAP | MEAP LOG | CALC. | RESIDUAL | CALC. MEAP | 1024 REL. CH# |  | FOR UNKNOWN SAMPLES |  |  |  |  | PEAK # | CH # | MEAP | MEAP LOG | CALC. | RESIDUAL | CALC. MEAP | CROSS CALIBRATION TABLE
| 1 | 75.1702 |  |  | 1.4443 |  | 27.8161 | to 256 REL. CH# |  | Sample | CH# | Calc. | Calc. MEAP |  | 1 | 0 | 0.64985 | -0.18719 | #VALUE! | #VALUE! | #VALUE! | FOR NORMALIZATION GRAPH
| 2 | 117.771 | 242 | 2.3838 | 2.3689 | 0.6297% | 233.8292 | CONVERSION |  |  |  | -0.18719 | 0.64985 |  | 2 | 0 | 0.64985 | -0.18719 | #VALUE! | #VALUE! | #VALUE! | Sample | CH# | Calc. | Calc. MEAP
| 3 | 135.7231 | 568 | 2.7543 | 2.7585 | 0.1516% | 573.4954 | 1024 CH# | 256 CH# |  |  | -0.18719 | 0.64985 |  | 3 | 0 | 0.64985 | -0.18719 | #VALUE! | #VALUE! | #VALUE! |  | 200 | #VALUE! | #VALUE!
| 4 | 163.2536 | 2264 | 3.3549 | 3.356 | 0.03491% | 2270.1159 |  | 0 |  |  | -0.18719 | 0.64985 |  | 4 | 0 | 0.64985 | -0.18719 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 5 | 186.919 | 7092 | 3.8508 | 3.8697 | 0.4887% | 7407.631 |  | 0 |  |  | -0.18719 | 0.64985 |  | 5 | 0 | 0.64985 | -0.18719 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 6 | 208.5745 | 21473 | 4.3319 | 4.3397 | 0.1796% | 21861.7768 |  | 0 |  |  | -0.18719 | 0.64985 |  | 6 | 0 | 0.64985 | -0.18719 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 7 | 231.7735 | 70462 | 4.848 | 4.8432 | 0.09829% | 69693.9066 |  | 0 |  |  | -0.18719 | 0.64985 |  | 7 | 0 | 0.64985 | -0.18719 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 8 | 247.0882 | 154157 | 5.188 | 5.1756 | 0.2392% | 149824.6981 |  | 0 |  |  | -0.18719 | 0.64985 |  | 8 | 0 | 0.64985 | -0.18719 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
|  |  |  | Ave Residual |  | 0.2603% |  |  | 0 |  |  | -0.18719 | 0.64985 |  |  |  |  | Ave Residual |  | #VALUE! |  |  |  | #VALUE! | #VALUE!
[6 empty] | Slope: | 0.021704 |  | 0 |  |  | -0.18719 | 0.64985 | [6 empty] | Slope: | #VALUE! |  |  | #VALUE! | #VALUE!
[6 empty] | Intercept: | -0.18719 |  | 0 |  |  | -0.18719 | 0.64985 | [6 empty] | Intercept: | #VALUE! |  |  | #VALUE! | #VALUE!
[6 empty] | Rsq: | 0.99987 |  |  |  |  | -0.18719 | 0.64985 | [6 empty] | Rsq: | #VALUE! |  |  | #VALUE! | #VALUE!
[12 empty] | -0.18719 | 0.64985 | [10 empty] | #VALUE! | #VALUE!
[8 empty] | TABLE NO. 2 | [15 empty] | #VALUE! | #VALUE!
[8 empty] | 1024 MEAN CH# |  | CONVERTED VALUES
[8 empty] | to 256 REL. CH# |  | CAN BE COPIED TO
[8 empty] | CONVERSION |  | THE CH# COLUMN BY
[8 empty] | 1024 CH# | 256 CH# | SELECTING THE CELLS
[9 empty] | #VALUE! | TO BE COPIED; THEN,
[9 empty] | #VALUE! | CLICKING [COPY],
[9 empty] | #VALUE! | [PASTE SPECIAL], AND
[9 empty] | #VALUE! | FINALLY [PASTE VALUE]
#VALUE!
#VALUE!
#VALUE!
#VALUE!
[8 empty] | TABLE NO. 3 |  | TABLE NO. 5
[8 empty] | 104 MEAN CH# |  | Determination of the
[8 empty] | to 256 REL. CH# |  | MEAP/CH# for the
[8 empty] | CONVERSION |  | normalization cell or particle
[8 empty] | 104 CH# | 256 CH# | 256 CH# | 104 CH# | Calc. MEAP | MEAP/CH#
[9 empty] | #VALUE! | 0 | 1 | 0.64985 | 0.64985
[9 empty] | #VALUE! | 0 | 1 | 0.64985 | 0.64985
[9 empty] | #VALUE! | 0 | 1 | 0.64985 | 0.64985
[9 empty] | #VALUE! | 0 | 1 | 0.64985 | 0.64985
[9 empty] | #VALUE! | 0 | 1 | 0.64985 | 0.64985
#VALUE!
[9 empty] | #VALUE! | TABLE NO. 6
Rainbow Calibration Particles (RCP-30-5A) |  |  |  | Lot No.: |  | File # |  |  | #VALUE! | Determination of New MEAP
Acceptable: | [9 empty] | values for RCP-30-5A
Action taken if not linear: |  |  | By: |  |  | Date: |  | TABLE NO. 4 |  | 256 CH# | 104 CH# | New MEAP
[8 empty] | 105 MEAN CH# |  |  | 1 | 0.64985
[8 empty] | to 256 REL. CH# |  |  | 1 | 0.64985
[8 empty] | CONVERSION |  |  | 1 | 0.64985
[8 empty] | 105 CH# | 256 CH# |  | 1 | 0.64985
[8 empty] | 39 | 75.1702 |  | 1 | 0.64985
[8 empty] | 311 | 117.771 |  | 1 | 0.64985
[8 empty] | 746 | 135.7231 |  | 1 | 0.64985
[8 empty] | 2854 | 163.2536 |  | 1 | 0.64985
[8 empty] | 9044 | 186.919
[8 empty] | 25985 | 208.5745
[8 empty] | 80493 | 231.7735
[8 empty] | 169790 | 247.0882
Note on J20: Use this Table to convert Beckman-Coulter 1024 Mean CH # to 256 Relative CH#
Note on J35: Use this Table to convert BD-FACS 104 Mean CH # to 256 Relative CH#
Note on J50: Use this Table to convert BD-FACS Canto 105 Mean CH # to 384 Relative CH#

## MEAPCY7
TYPE THE NAME OF YOUR LAB HERE
| PMT LINEARITY QC RECORD | [12 empty] | Normalization Graph for Instrument B
[8 empty] | TABLE NO. 1 |  | CROSS CALIBRATION TABLE
| PEAK # | CH # | MEAPCY7 | MEAPCY7 LOG | CALC. | RESIDUAL | CALC. MEAPCY7 | 1024 REL. CH# |  | FOR UNKNOWN SAMPLES |  |  |  |  | PEAK # | CH # | MEAPCY7 | MEAPCY7 LOG | CALC. | RESIDUAL | CALC. MEAPCY7 | CROSS CALIBRATION TABLE
| 1 | 0 |  |  | 0.0098665 |  |  | to 256 REL. CH# |  | Sample | CH# | Calc. | Calc. MEAPCY7 |  | 1 | 0 | 1.023 | 0.0098665 | #VALUE! | #VALUE! | #VALUE! | FOR NORMALIZATION GRAPH
| 2 | 111.4011 | 124.8244 | 2.0963 | 2.0963 | 0% | 124.8244 | CONVERSION |  |  |  | 0.0098665 | 1.023 |  | 2 | 0 | 1.023 | 0.0098665 | #VALUE! | #VALUE! | #VALUE! | Sample | CH# | Calc. | Calc. MEAPCY7
| 3 | 131.4585 | 296.4519 | 2.472 | 2.472 | 0% | 296.4519 | 1024 CH# | 256 CH# |  |  | 0.0098665 | 1.023 |  | 3 | 0 | 1.023 | 0.0098665 | #VALUE! | #VALUE! | #VALUE! |  | 200 | #VALUE! | #VALUE!
| 4 | 158.8166 | 964.5941 | 2.9843 | 2.9843 | 0% | 964.5941 |  | 0 |  |  | 0.0098665 | 1.023 |  | 4 | 0 | 1.023 | 0.0098665 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 5 | 182.3087 | 2656.6195 | 3.4243 | 3.4243 | 0% | 2656.6195 |  | 0 |  |  | 0.0098665 | 1.023 |  | 5 | 0 | 1.023 | 0.0098665 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 6 | 204.7251 | 6984.9807 | 3.8442 | 3.8442 | 0% | 6984.9807 |  | 0 |  |  | 0.0098665 | 1.023 |  | 6 | 0 | 1.023 | 0.0098665 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 7 | 228.6913 | 19634.9611 | 4.293 | 4.293 | 0% | 19634.9611 |  | 0 |  |  | 0.0098665 | 1.023 |  | 7 | 0 | 1.023 | 0.0098665 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 8 | 245.6557 | 40808.9841 | 4.6108 | 4.6108 | 0% | 40808.9841 |  | 0 |  |  | 0.0098665 | 1.023 |  | 8 | 0 | 1.023 | 0.0098665 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
|  |  |  | Ave Residual |  | 0% |  |  | 0 |  |  | 0.0098665 | 1.023 |  |  |  |  | Ave Residual |  | #VALUE! |  |  |  | #VALUE! | #VALUE!
[6 empty] | Slope: | 0.018729 |  | 0 |  |  | 0.0098665 | 1.023 | [6 empty] | Slope: | #VALUE! |  |  | #VALUE! | #VALUE!
[6 empty] | Intercept: | 0.0098665 |  | 0 |  |  | 0.0098665 | 1.023 | [6 empty] | Intercept: | #VALUE! |  |  | #VALUE! | #VALUE!
[6 empty] | Rsq: | 1 |  |  |  |  | 0.0098665 | 1.023 | [6 empty] | Rsq: | #VALUE! |  |  | #VALUE! | #VALUE!
[12 empty] | 0.0098665 | 1.023 | [10 empty] | #VALUE! | #VALUE!
[8 empty] | TABLE NO. 2 | [15 empty] | #VALUE! | #VALUE!
[8 empty] | 1024 MEAN CH# |  | CONVERTED VALUES
[8 empty] | to 256 REL. CH# |  | CAN BE COPIED TO
[8 empty] | CONVERSION |  | THE CH# COLUMN BY
[8 empty] | 1024 CH# | 256 CH# | SELECTING THE CELLS
[9 empty] | #VALUE! | TO BE COPIED; THEN,
[9 empty] | #VALUE! | CLICKING [COPY],
[9 empty] | #VALUE! | [PASTE SPECIAL], AND
[9 empty] | #VALUE! | FINALLY [PASTE VALUE]
#VALUE!
#VALUE!
#VALUE!
#VALUE!
[8 empty] | TABLE NO. 3 |  | TABLE NO. 5
[8 empty] | 104 MEAN CH# |  | Determination of the
[8 empty] | to 256 REL. CH# |  | MEAPCY7/CH# for the
[8 empty] | CONVERSION |  | normalization cell or particle
[8 empty] | 104 CH# | 256 CH# | 256 CH# | 104 CH# | Calc. MEAPCY7 | MEAPCY7/CH#
[9 empty] | #VALUE! | 0 | 1 | 1.023 | 1.023
[9 empty] | #VALUE! | 0 | 1 | 1.023 | 1.023
[9 empty] | #VALUE! | 0 | 1 | 1.023 | 1.023
[9 empty] | #VALUE! | 0 | 1 | 1.023 | 1.023
[9 empty] | #VALUE! | 0 | 1 | 1.023 | 1.023
#VALUE!
[9 empty] | #VALUE! | TABLE NO. 6
Rainbow Calibration Particles (RCP-30-5A) |  |  |  | Lot No.: |  | File # |  |  | #VALUE! | Determination of New MEAPCY7
Acceptable: | [9 empty] | values for RCP-30-5A
Action taken if not linear: |  |  | By: |  |  | Date: |  | TABLE NO. 4 |  | 256 CH# | 104 CH# | New MEAPCY7
[8 empty] | 105 MEAN CH# |  |  | 1 | 1.023
[8 empty] | to 256 REL. CH# |  |  | 1 | 1.023
[8 empty] | CONVERSION |  |  | 1 | 1.023
[8 empty] | 105 CH# | 256 CH# |  | 1 | 1.023
[8 empty] | 1 | 0 |  | 1 | 1.023
[8 empty] | 228 | 111.4011 |  | 1 | 1.023
[8 empty] | 606 | 131.4585 |  | 1 | 1.023
[8 empty] | 2299 | 158.8166 |  | 1 | 1.023
[8 empty] | 7224 | 182.3087
[8 empty] | 21540 | 204.7251
[8 empty] | 69266 | 228.6913
[8 empty] | 158340 | 245.6557
Note on J20: Use this Table to convert Beckman-Coulter 1024 Mean CH # to 256 Relative CH#
Note on J35: Use this Table to convert BD-FACS 104 Mean CH # to 256 Relative CH#
Note on J50: Use this Table to convert BD-FACS Canto 105 Mean CH # to 384 Relative CH#