## MECSB
TYPE THE NAME OF YOUR LAB HERE
| PMT LINEARITY QC RECORD | [12 empty] | Normalization Graph for Instrument B
[8 empty] | TABLE NO. 1 |  | CROSS CALIBRATION TABLE
| PEAK # | CH # | MECSB | MECSB LOG | CALC. | RESIDUAL | CALC. MECSB | 1024 REL. CH# |  | FOR UNKNOWN SAMPLES |  |  |  |  | PEAK # | CH # | MECSB | MECSB LOG | CALC. | RESIDUAL | CALC. MECSB | CROSS CALIBRATION TABLE
| 1 | 27.0877 |  |  | 1.4109 |  | 25.7593 | to 256 REL. CH# |  | Sample | CH# | Calc. | Calc. MECSB |  | 1 | 0 | 10.2553 | 1.0109 | #VALUE! | #VALUE! | #VALUE! | FOR NORMALIZATION GRAPH
| 2 | 88.1126 | 205.1392 | 2.312 | 2.312 | 0% | 205.1392 | CONVERSION |  |  |  | 1.0109 | 10.2553 |  | 2 | 0 | 10.2553 | 1.0109 | #VALUE! | #VALUE! | #VALUE! | Sample | CH# | Calc. | Calc. MECSB
| 3 | 112.5219 | 470.4188 | 2.6725 | 2.6725 | 0% | 470.4188 | 1024 CH# | 256 CH# |  |  | 1.0109 | 10.2553 |  | 3 | 0 | 10.2553 | 1.0109 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 4 | 140.3332 | 1211.0341 | 3.0832 | 3.0832 | 0% | 1211.0341 |  | 0 |  |  | 1.0109 | 10.2553 |  | 4 | 0 | 10.2553 | 1.0109 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 5 | 164.3454 | 2739.8561 | 3.4377 | 3.4377 | 0% | 2739.8561 |  | 0 |  |  | 1.0109 | 10.2553 |  | 5 | 0 | 10.2553 | 1.0109 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 6 | 194.0267 | 7516.4385 | 3.876 | 3.876 | 0% | 7516.4385 |  | 0 |  |  | 1.0109 | 10.2553 |  | 6 | 0 | 10.2553 | 1.0109 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 7 | 222.9881 | 20121.7589 | 4.3037 | 4.3037 | 0% | 20121.7589 |  | 0 |  |  | 1.0109 | 10.2553 |  | 7 | 0 | 10.2553 | 1.0109 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 8 | 239.7459 | 35572.713 | 4.5511 | 4.5511 | 0% | 35572.713 |  | 0 |  |  | 1.0109 | 10.2553 |  | 8 | 0 | 10.2553 | 1.0109 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
|  |  |  | Ave Residual |  | 0% |  |  | 0 |  |  | 1.0109 | 10.2553 |  |  |  |  | Ave Residual |  | #VALUE! |  |  |  | #VALUE! | #VALUE!
[6 empty] | Slope: | 0.014766 |  | 0 |  |  | 1.0109 | 10.2553 | [6 empty] | Slope: | #VALUE! |  |  | #VALUE! | #VALUE!
[6 empty] | Intercept: | 1.0109 |  | 0 |  |  | 1.0109 | 10.2553 | [6 empty] | Intercept: | #VALUE! |  |  | #VALUE! | #VALUE!
[6 empty] | Rsq: | 1 |  |  |  |  | 1.0109 | 10.2553 | [6 empty] | Rsq: | #VALUE! |  |  | #VALUE! | #VALUE!
[12 empty] | 1.0109 | 10.2553 | [10 empty] | #VALUE! | #VALUE!
[8 empty] | TABLE NO. 2 | [15 empty] | #VALUE! | #VALUE!
[8 empty] | 1024 MEAN CH# |  | CONVERTED VALUES
[8 empty] | to 256 REL. CH# |  | CAN BE COPIED TO
[8 empty] | CONVERSION |  | THE CH# COLUMN BY
[8 empty] | 1024 CH# | 256 CH# | SELECTING THE CELLS
[9 empty] | #VALUE! | TO BE COPIED; THEN,
[9 empty] | #VALUE! | CLICKING [COPY],
[9 empty] | #VALUE! | [PASTE SPECIAL], AND
[9 empty] | #VALUE! | FINALLY [PASTE VALUE]
#VALUE!
#VALUE!
#VALUE!
#VALUE!
[8 empty] | TABLE NO. 3 |  | TABLE NO. 5
[8 empty] | 104 MEAN CH# |  | Determination of the
[8 empty] | to 256 REL. CH# |  | MECSB/CH# for the
[8 empty] | CONVERSION |  | normalization cell or particle
[8 empty] | 104 CH# | 256 CH# | 256 CH# | 104 CH# | Calc. MECSB | MECSB/CH#
[9 empty] | #VALUE! | 0 | 1 | 10.2553 | 10.2553
[9 empty] | #VALUE! | 0 | 1 | 10.2553 | 10.2553
[9 empty] | #VALUE! | 0 | 1 | 10.2553 | 10.2553
[9 empty] | #VALUE! | 0 | 1 | 10.2553 | 10.2553
[9 empty] | #VALUE! | 0 | 1 | 10.2553 | 10.2553
#VALUE!
[9 empty] | #VALUE! | TABLE NO. 6
Rainbow Calibration Particles (RCP-30-5A) |  |  |  | Lot No.: |  | File # |  |  | #VALUE! | Determination of New MECSB
Acceptable: | [9 empty] | values for RCP-30-5A
Action taken if not linear: |  |  | By: |  |  | Date: |  | TABLE NO. 4 |  | 256 CH# | 104 CH# | New MECSB
[8 empty] | 105 MEAN CH# |  |  | 1 | 10.2553
[8 empty] | to 256 REL. CH# |  |  | 1 | 10.2553
[8 empty] | CONVERSION |  |  | 1 | 10.2553
[8 empty] | 105 CH# | 256 CH# |  | 1 | 10.2553
[9 empty] | #VALUE! |  | 1 | 10.2553
[9 empty] | #VALUE! |  | 1 | 10.2553
[9 empty] | #VALUE! |  | 1 | 10.2553
[9 empty] | #VALUE! |  | 1 | 10.2553
#VALUE!
#VALUE!
#VALUE!
#VALUE!
Note on J20: Use this Table to convert Beckman-Coulter 1024 Mean CH # to 256 Relative CH#
Note on J35: Use this Table to convert BD-FACS 104 Mean CH # to 256 Relative CH#
Note on J50: Use this Table to convert BD-FACS Canto 105 Mean CH # to 384 Relative CH#

## MEBFP
TYPE THE NAME OF YOUR LAB HERE
| PMT LINEARITY QC RECORD | [12 empty] | Normalization Graph for Instrument B
[8 empty] | TABLE NO. 1 |  | CROSS CALIBRATION TABLE
| PEAK # | CH # | MEBFP | MEBFP LOG | CALC. | RESIDUAL | CALC. MEBFP | 1024 REL. CH# |  | FOR UNKNOWN SAMPLES |  |  |  |  | PEAK # | CH # | MEBFP | MEBFP LOG | CALC. | RESIDUAL | CALC. MEBFP | CROSS CALIBRATION TABLE
| 1 | 26.9827 |  |  | 2.0819 |  | 120.7558 | to 256 REL. CH# |  | Sample | CH# | Calc. | Calc. MEBFP |  | 1 | 0 | 44.0368 | 1.6438 | #VALUE! | #VALUE! | #VALUE! | FOR NORMALIZATION GRAPH
| 2 | 78.9767 | 843.5037 | 2.9261 | 2.9261 | 0% | 843.5037 | CONVERSION |  |  |  | 1.6438 | 44.0368 |  | 2 | 0 | 44.0368 | 1.6438 | #VALUE! | #VALUE! | #VALUE! | Sample | CH# | Calc. | Calc. MEBFP
| 3 | 101.4983 | 1957.7183 | 3.2918 | 3.2918 | 0% | 1957.7183 | 1024 CH# | 256 CH# |  |  | 1.6438 | 44.0368 |  | 3 | 0 | 44.0368 | 1.6438 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 4 | 128.7459 | 5421.8019 | 3.7341 | 3.7341 | 0% | 5421.8019 |  | 0 |  |  | 1.6438 | 44.0368 |  | 4 | 0 | 44.0368 | 1.6438 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 5 | 153.1922 | 13522.4331 | 4.1311 | 4.1311 | 0% | 13522.4331 |  | 0 |  |  | 1.6438 | 44.0368 |  | 5 | 0 | 44.0368 | 1.6438 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 6 | 183.9602 | 42717.4974 | 4.6306 | 4.6306 | 0% | 42717.4974 |  | 0 |  |  | 1.6438 | 44.0368 |  | 6 | 0 | 44.0368 | 1.6438 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 7 | 218.1744 | 153501.0228 | 5.1861 | 5.1861 | 0% | 153501.0228 |  | 0 |  |  | 1.6438 | 44.0368 |  | 7 | 0 | 44.0368 | 1.6438 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 8 | 245.1212 | 420359.2878 | 5.6236 | 5.6236 | 0% | 420359.2878 |  | 0 |  |  | 1.6438 | 44.0368 |  | 8 | 0 | 44.0368 | 1.6438 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
|  |  |  | Ave Residual |  | 0% |  |  | 0 |  |  | 1.6438 | 44.0368 |  |  |  |  | Ave Residual |  | #VALUE! |  |  |  | #VALUE! | #VALUE!
[6 empty] | Slope: | 0.016236 |  | 0 |  |  | 1.6438 | 44.0368 | [6 empty] | Slope: | #VALUE! |  |  | #VALUE! | #VALUE!
[6 empty] | Intercept: | 1.6438 |  | 0 |  |  | 1.6438 | 44.0368 | [6 empty] | Intercept: | #VALUE! |  |  | #VALUE! | #VALUE!
[6 empty] | Rsq: | 1 |  |  |  |  | 1.6438 | 44.0368 | [6 empty] | Rsq: | #VALUE! |  |  | #VALUE! | #VALUE!
[12 empty] | 1.6438 | 44.0368 | [10 empty] | #VALUE! | #VALUE!
[8 empty] | TABLE NO. 2 | [15 empty] | #VALUE! | #VALUE!
[8 empty] | 1024 MEAN CH# |  | CONVERTED VALUES
[8 empty] | to 256 REL. CH# |  | CAN BE COPIED TO
[8 empty] | CONVERSION |  | THE CH# COLUMN BY
[8 empty] | 1024 CH# | 256 CH# | SELECTING THE CELLS
[9 empty] | #VALUE! | TO BE COPIED; THEN,
[9 empty] | #VALUE! | CLICKING [COPY],
[9 empty] | #VALUE! | [PASTE SPECIAL], AND
[9 empty] | #VALUE! | FINALLY [PASTE VALUE]
#VALUE!
#VALUE!
#VALUE!
#VALUE!
[8 empty] | TABLE NO. 3 |  | TABLE NO. 5
[8 empty] | 104 MEAN CH# |  | Determination of the
[8 empty] | to 256 REL. CH# |  | MEBFP/CH# for the
[8 empty] | CONVERSION |  | normalization cell or particle
[8 empty] | 104 CH# | 256 CH# | 256 CH# | 104 CH# | Calc. MEBFP | MEBFP/CH#
[9 empty] | #VALUE! | 0 | 1 | 44.0368 | 44.0368
[9 empty] | #VALUE! | 0 | 1 | 44.0368 | 44.0368
[9 empty] | #VALUE! | 0 | 1 | 44.0368 | 44.0368
[9 empty] | #VALUE! | 0 | 1 | 44.0368 | 44.0368
[9 empty] | #VALUE! | 0 | 1 | 44.0368 | 44.0368
#VALUE!
[9 empty] | #VALUE! | TABLE NO. 6
Rainbow Calibration Particles (RCP-30-5A) |  |  |  | Lot No.: |  | File # |  |  | #VALUE! | Determination of New MEBFP
Acceptable: | [9 empty] | values for RCP-30-5A
Action taken if not linear: |  |  | By: |  |  | Date: |  | TABLE NO. 4 |  | 256 CH# | 104 CH# | New MEBFP
[8 empty] | 105 MEAN CH# |  |  | 1 | 44.0368
[8 empty] | to 256 REL. CH# |  |  | 1 | 44.0368
[8 empty] | CONVERSION |  |  | 1 | 44.0368
[8 empty] | 105 CH# | 256 CH# |  | 1 | 44.0368
[9 empty] | #VALUE! |  | 1 | 44.0368
[9 empty] | #VALUE! |  | 1 | 44.0368
[9 empty] | #VALUE! |  | 1 | 44.0368
[9 empty] | #VALUE! |  | 1 | 44.0368
#VALUE!
#VALUE!
#VALUE!
#VALUE!
Note on J20: Use this Table to convert Beckman-Coulter 1024 Mean CH # to 256 Relative CH#
Note on J35: Use this Table to convert BD-FACS 104 Mean CH # to 256 Relative CH#
Note on J50: Use this Table to convert BD-FACS Canto 105 Mean CH # to 384 Relative CH#

## MEFL
TYPE THE NAME OF YOUR LAB HERE
| PMT LINEARITY QC RECORD | [12 empty] | Normalization Graph for Instrument B
[8 empty] | TABLE NO. 1 |  | CROSS CALIBRATION TABLE
| PEAK # | CH # | MEFL | MEFL LOG | CALC. | RESIDUAL | CALC. MEFL | 1024 REL. CH# |  | FOR UNKNOWN SAMPLES |  |  |  |  | PEAK # | CH # | MEFL | MEFL LOG | CALC. | RESIDUAL | CALC. MEFL | CROSS CALIBRATION TABLE
| 1 | 18.2757 |  |  | 1.8522 |  | 71.1621 | to 256 REL. CH# |  | Sample | CH# | Calc. | Calc. MEFL |  | 1 | 0 | 36.6711 | 1.5643 | #VALUE! | #VALUE! | #VALUE! | FOR NORMALIZATION GRAPH
| 2 | 83.9658 | 771.2042 | 2.8872 | 2.8872 | 0% | 771.2042 | CONVERSION |  |  |  | 1.5643 | 36.6711 |  | 2 | 0 | 36.6711 | 1.5643 | #VALUE! | #VALUE! | #VALUE! | Sample | CH# | Calc. | Calc. MEFL
| 3 | 111.6648 | 2106.4697 | 3.3236 | 3.3236 | 0% | 2106.4697 | 1024 CH# | 256 CH# |  |  | 1.5643 | 36.6711 |  | 3 | 0 | 36.6711 | 1.5643 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 4 | 141.6991 | 6262.2951 | 3.7967 | 3.7967 | 0% | 6262.2951 |  | 0 |  |  | 1.5643 | 36.6711 |  | 4 | 0 | 36.6711 | 1.5643 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 5 | 166.1118 | 15182.5413 | 4.1813 | 4.1813 | 0% | 15182.5413 |  | 0 |  |  | 1.5643 | 36.6711 |  | 5 | 0 | 36.6711 | 1.5643 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 6 | 196.241 | 45291.7071 | 4.656 | 4.656 | 0% | 45291.7071 |  | 0 |  |  | 1.5643 | 36.6711 |  | 6 | 0 | 36.6711 | 1.5643 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 7 | 226.6032 | 136257.8478 | 5.1344 | 5.1344 | 0% | 136257.8478 |  | 0 |  |  | 1.5643 | 36.6711 |  | 7 | 0 | 36.6711 | 1.5643 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 8 | 247.5237 | 291041.7409 | 5.464 | 5.464 | 0% | 291041.7409 |  | 0 |  |  | 1.5643 | 36.6711 |  | 8 | 0 | 36.6711 | 1.5643 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
|  |  |  | Ave Residual |  | 0% |  |  | 0 |  |  | 1.5643 | 36.6711 |  |  |  |  | Ave Residual |  | #VALUE! |  |  |  | #VALUE! | #VALUE!
[6 empty] | Slope: | 0.015755 |  | 0 |  |  | 1.5643 | 36.6711 | [6 empty] | Slope: | #VALUE! |  |  | #VALUE! | #VALUE!
[6 empty] | Intercept: | 1.5643 |  | 0 |  |  | 1.5643 | 36.6711 | [6 empty] | Intercept: | #VALUE! |  |  | #VALUE! | #VALUE!
[6 empty] | Rsq: | 1 |  |  |  |  | 1.5643 | 36.6711 | [6 empty] | Rsq: | #VALUE! |  |  | #VALUE! | #VALUE!
[12 empty] | 1.5643 | 36.6711 | [10 empty] | #VALUE! | #VALUE!
[8 empty] | TABLE NO. 2 | [15 empty] | #VALUE! | #VALUE!
[8 empty] | 1024 MEAN CH# |  | CONVERTED VALUES
[8 empty] | to 256 REL. CH# |  | CAN BE COPIED TO
[8 empty] | CONVERSION |  | THE CH# COLUMN BY
[8 empty] | 1024 CH# | 256 CH# | SELECTING THE CELLS
[9 empty] | #VALUE! | TO BE COPIED; THEN,
[9 empty] | #VALUE! | CLICKING [COPY],
[9 empty] | #VALUE! | [PASTE SPECIAL], AND
[9 empty] | #VALUE! | FINALLY [PASTE VALUE]
#VALUE!
#VALUE!
#VALUE!
#VALUE!
[8 empty] | TABLE NO. 3 |  | TABLE NO. 5
[8 empty] | 104 MEAN CH# |  | Determination of the
[8 empty] | to 256 REL. CH# |  | MEFL/CH# for the
[8 empty] | CONVERSION |  | normalization cell or particle
[8 empty] | 104 CH# | 256 CH# | 256 CH# | 104 CH# | Calc. MEFL | MEFL/CH#
[9 empty] | #VALUE! | 0 | 1 | 36.6711 | 36.6711
[9 empty] | #VALUE! | 0 | 1 | 36.6711 | 36.6711
[9 empty] | #VALUE! | 0 | 1 | 36.6711 | 36.6711
[9 empty] | #VALUE! | 0 | 1 | 36.6711 | 36.6711
[9 empty] | #VALUE! | 0 | 1 | 36.6711 | 36.6711
#VALUE!
[9 empty] | #VALUE! | TABLE NO. 6
Rainbow Calibration Particles (RCP-30-5A) |  |  |  | Lot No.: |  | File # |  |  | #VALUE! | Determination of New MEFL
Acceptable: | [9 empty] | values for RCP-30-5A
Action taken if not linear: |  |  | By: |  |  | Date: |  | TABLE NO. 4 |  | 256 CH# | 104 CH# | New MEFL
[8 empty] | 105 MEAN CH# |  |  | 1 | 36.6711
[8 empty] | to 256 REL. CH# |  |  | 1 | 36.6711
[8 empty] | CONVERSION |  |  | 1 | 36.6711
[8 empty] | 105 CH# | 256 CH# |  | 1 | 36.6711
[9 empty] | #VALUE! |  | 1 | 36.6711
[9 empty] | #VALUE! |  | 1 | 36.6711
[9 empty] | #VALUE! |  | 1 | 36.6711
[9 empty] | #VALUE! |  | 1 | 36.6711
#VALUE!
#VALUE!
#VALUE!
#VALUE!
Note on J20: Use this Table to convert Beckman-Coulter 1024 Mean CH # to 256 Relative CH#
Note on J35: Use this Table to convert BD-FACS 104 Mean CH # to 256 Relative CH#
Note on J50: Use this Table to convert BD-FACS Canto 105 Mean CH # to 384 Relative CH#

## MEPE
TYPE THE NAME OF YOUR LAB HERE
| PMT LINEARITY QC RECORD | [12 empty] | Normalization Graph for Instrument B
[8 empty] | TABLE NO. 1 |  | CROSS CALIBRATION TABLE
| PEAK # | CH # | MEPE | MEPE LOG | CALC. | RESIDUAL | CALC. MEPE | 1024 REL. CH# |  | FOR UNKNOWN SAMPLES |  |  |  | PEAK # | CH # | MEPE | MEPE LOG | CALC. | RESIDUAL | CALC. MEPE | CROSS CALIBRATION TABLE
| 1 | 18.7044 |  |  | 1.7867 |  | 61.1961 | to 256 REL. CH# |  | Sample | CH# | Calc. | Calc. MEPE | 1 | 0 | 31.0445 | 1.492 | #VALUE! | #VALUE! | #VALUE! | FOR NORMALIZATION GRAPH
| 2 | 75.8928 | 487.3985 | 2.6879 | 2.6879 | 0% | 487.3985 | CONVERSION |  |  |  | 1.492 | 31.0445 | 2 | 0 | 31.0445 | 1.492 | #VALUE! | #VALUE! | #VALUE! | Sample | CH# | Calc. | Calc. MEPE
| 3 | 106.3863 | 1473.6422 | 3.1684 | 3.1684 | 0% | 1473.6422 | 1024 CH# | 256 CH# |  |  | 1.492 | 31.0445 | 3 | 0 | 31.0445 | 1.492 | #VALUE! | #VALUE! | #VALUE! |  | 200 | #VALUE! | #VALUE!
| 4 | 137.2527 | 4516.2498 | 3.6548 | 3.6548 | 0% | 4516.2498 |  | 0 |  |  | 1.492 | 31.0445 | 4 | 0 | 31.0445 | 1.492 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 5 | 162.4317 | 11260.0754 | 4.0515 | 4.0515 | 0% | 11260.0754 |  | 0 |  |  | 1.492 | 31.0445 | 5 | 0 | 31.0445 | 1.492 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 6 | 193.1641 | 34341.0801 | 4.5358 | 4.5358 | 0% | 34341.0801 |  | 0 |  |  | 1.492 | 31.0445 | 6 | 0 | 31.0445 | 1.492 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 7 | 224.6426 | 107608.0129 | 5.0318 | 5.0318 | 0% | 107608.0129 |  | 0 |  |  | 1.492 | 31.0445 | 7 | 0 | 31.0445 | 1.492 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 8 | 249.0051 | 260461.2999 | 5.4157 | 5.4157 | 0% | 260461.2999 |  | 0 |  |  | 1.492 | 31.0445 | 8 | 0 | 31.0445 | 1.492 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
|  |  |  | Ave Residual |  | 0% |  |  | 0 |  |  | 1.492 | 31.0445 |  |  |  | Ave Residual |  | #VALUE! |  |  |  | #VALUE! | #VALUE!
[6 empty] | Slope: | 0.015758 |  | 0 |  |  | 1.492 | 31.0445 | [5 empty] | Slope: | #VALUE! |  |  | #VALUE! | #VALUE!
[6 empty] | Intercept: | 1.492 |  | 0 |  |  | 1.492 | 31.0445 | [5 empty] | Intercept: | #VALUE! |  |  | #VALUE! | #VALUE!
[6 empty] | Rsq: | 1 |  |  |  |  | 1.492 | 31.0445 | [5 empty] | Rsq: | #VALUE! |  |  | #VALUE! | #VALUE!
[12 empty] | 1.492 | 31.0445 | [9 empty] | #VALUE! | #VALUE!
[8 empty] | TABLE NO. 2 | [14 empty] | #VALUE! | #VALUE!
[8 empty] | 1024 MEAN CH# |  | CONVERTED VALUES
[7 empty] | 21 | to 256 REL. CH# |  | CAN BE COPIED TO
[7 empty] | 56.5 | CONVERSION |  | THE CH# COLUMN BY | [9 empty] | 21
[8 empty] | 1024 CH# | 256 CH# | SELECTING THE CELLS | [9 empty] | 56.5
[9 empty] | #VALUE! | TO BE COPIED; THEN,
[9 empty] | #VALUE! | CLICKING [COPY],
[9 empty] | #VALUE! | [PASTE SPECIAL], AND
[9 empty] | #VALUE! | FINALLY [PASTE VALUE]
#VALUE!
#VALUE!
#VALUE!
#VALUE!
[8 empty] | TABLE NO. 3 |  | TABLE NO. 5
[8 empty] | 104 MEAN CH# |  | Determination of the
[8 empty] | to 256 REL. CH# |  | MEPE/CH# for the
[8 empty] | CONVERSION |  | normalization cell or particle
[8 empty] | 104 CH# | 256 CH# | 256 CH# | 104 CH# | Calc. MEPE | MEPE/CH#
[9 empty] | #VALUE! | 0 | 1 | 31.0445 | 31.0445
[9 empty] | #VALUE! | 0 | 1 | 31.0445 | 31.0445
[9 empty] | #VALUE! | 0 | 1 | 31.0445 | 31.0445
[9 empty] | #VALUE! | 0 | 1 | 31.0445 | 31.0445
[9 empty] | #VALUE! | 0 | 1 | 31.0445 | 31.0445
#VALUE!
[9 empty] | #VALUE! | TABLE NO. 6
Rainbow Calibration Particles (RCP-30-5A) |  |  |  | Lot No.: |  | File # |  |  | #VALUE! | Determination of New MEPE
Acceptable: | [9 empty] | values for RCP-30-5A
Action taken if not linear: |  |  | By: |  |  | Date: |  | TABLE NO. 4 |  | 256 CH# | 104 CH# | New MEPE
[8 empty] | 105 MEAN CH# |  |  | 1 | 31.0445
[8 empty] | to 256 REL. CH# |  |  | 1 | 31.0445
[8 empty] | CONVERSION |  |  | 1 | 31.0445
[8 empty] | 105 CH# | 256 CH# |  | 1 | 31.0445
[9 empty] | #VALUE! |  | 1 | 31.0445
[9 empty] | #VALUE! |  | 1 | 31.0445
[9 empty] | #VALUE! |  | 1 | 31.0445
[9 empty] | #VALUE! |  | 1 | 31.0445
#VALUE!
#VALUE!
#VALUE!
#VALUE!
Note on J20: Use this Table to convert Beckman-Coulter 1024 Mean CH # to 256 Relative CH#
Note on J35: Use this Table to convert BD-FACS 104 Mean CH # to 256 Relative CH#
Note on J50: Use this Table to convert BD-FACS Canto 105 Mean CH # to 384 Relative CH#
Note on T5: RCP-30-5 Relative Channel Numbers obtained with your Instrument in 256 Channel Scale.

## MEPTR
TYPE THE NAME OF YOUR LAB HERE
| PMT LINEARITY QC RECORD | [12 empty] | Normalization Graph for Instrument B
[8 empty] | TABLE NO. 1 |  | CROSS CALIBRATION TABLE
[8 empty] | 1024 REL. CH# |  | FOR UNKNOWN SAMPLES |  |  |  |  | PEAK # | CH # | MEPTR | MEPTR LOG | CALC. | RESIDUAL | CALC. MEPTR | CROSS CALIBRATION TABLE
| PEAK # | CH # | MEPTR | MEPTR LOG | CALC. | RESIDUAL | CALC. MEPTR | to 256 REL. CH# |  | Sample | CH# | Calc. | Calc. MEPTR |  | 1 | 0 | 16.8775 | 1.2273 | #VALUE! | #VALUE! | #VALUE! | FOR NORMALIZATION GRAPH
| 1 | 3.6419 |  |  | 1.2866 |  | 19.3472 | CONVERSION |  |  |  | 1.2273 | 16.8775 |  | 2 | 0 | 16.8775 | 1.2273 | #VALUE! | #VALUE! | #VALUE! | Sample | CH# | Calc. | Calc. MEPTR
| 2 | 66.5732 | 204.8685 | 2.3115 | 2.3115 | 0% | 204.8685 | 1024 CH# | 256 CH# |  |  | 1.2273 | 16.8775 |  | 3 | 0 | 16.8775 | 1.2273 | #VALUE! | #VALUE! | #VALUE! |  | 200 | #VALUE! | #VALUE!
| 3 | 97.0836 | 643.2022 | 2.8083 | 2.8083 | 0% | 643.2022 |  | 0 |  |  | 1.2273 | 16.8775 |  | 4 | 0 | 16.8775 | 1.2273 | #VALUE! | #VALUE! | #VALUE! |  | 125 | #VALUE! | #VALUE!
| 4 | 127.6166 | 2021.0948 | 3.3056 | 3.3056 | 0% | 2021.0948 |  | 0 |  |  | 1.2273 | 16.8775 |  | 5 | 0 | 16.8775 | 1.2273 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 5 | 153.2169 | 5278.3244 | 3.7225 | 3.7225 | 0% | 5278.3244 |  | 0 |  |  | 1.2273 | 16.8775 |  | 6 | 0 | 16.8775 | 1.2273 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 6 | 184.4356 | 17017.8228 | 4.2309 | 4.2309 | 0% | 17017.8228 |  | 0 |  |  | 1.2273 | 16.8775 |  | 7 | 0 | 16.8775 | 1.2273 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 7 | 219.107 | 62450.9816 | 4.7955 | 4.7955 | 0% | 62450.9816 |  | 0 |  |  | 1.2273 | 16.8775 |  | 8 | 0 | 16.8775 | 1.2273 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 8 | 250.004 | 198932.6785 | 5.2987 | 5.2987 | 0% | 198932.6785 |  | 0 |  |  | 1.2273 | 16.8775 |  |  |  |  | Ave Residual |  | #VALUE! |  |  |  | #VALUE! | #VALUE!
|  |  |  | Ave Residual |  | 0% |  |  | 0 |  |  | 1.2273 | 16.8775 | [6 empty] | Slope: | #VALUE! |  |  | #VALUE! | #VALUE!
[6 empty] | Slope: | 0.016285 |  | 0 |  |  | 1.2273 | 16.8775 | [6 empty] | Intercept: | #VALUE! |  |  | #VALUE! | #VALUE!
[6 empty] | Intercept: | 1.2273 |  |  |  |  | 1.2273 | 16.8775 | [6 empty] | Rsq: | #VALUE! |  |  | #VALUE! | #VALUE!
[6 empty] | Rsq: | 1 |  |  |  |  | 1.2273 | 16.8775 | [10 empty] | #VALUE! | #VALUE!
[8 empty] | TABLE NO. 2 | [15 empty] | #VALUE! | #VALUE!
[8 empty] | 1024 MEAN CH# |  | CONVERTED VALUES
[8 empty] | to 256 REL. CH# |  | CAN BE COPIED TO
[8 empty] | CONVERSION |  | THE CH# COLUMN BY
[8 empty] | 1024 CH# | 256 CH# | SELECTING THE CELLS
[9 empty] | #VALUE! | TO BE COPIED; THEN,
[9 empty] | #VALUE! | CLICKING [COPY],
[9 empty] | #VALUE! | [PASTE SPECIAL], AND
[9 empty] | #VALUE! | FINALLY [PASTE VALUE]
#VALUE!
#VALUE!
#VALUE!
#VALUE!
[8 empty] | TABLE NO. 3 |  | TABLE NO. 5
[8 empty] | 104 MEAN CH# |  | Determination of the
[8 empty] | to 256 REL. CH# |  | MEPTR/CH# for the
[8 empty] | CONVERSION |  | normalization cell or particle
[8 empty] | 104 CH# | 256 CH# | 256 CH# | 104 CH# | Calc. MEPTR | MEPTR/CH#
[9 empty] | #VALUE! | 0 | 1 | 16.8775 | 16.8775
[9 empty] | #VALUE! | 0 | 1 | 16.8775 | 16.8775
[9 empty] | #VALUE! | 0 | 1 | 16.8775 | 16.8775
[9 empty] | #VALUE! | 0 | 1 | 16.8775 | 16.8775
[9 empty] | #VALUE! | 0 | 1 | 16.8775 | 16.8775
#VALUE!
[9 empty] | #VALUE! | TABLE NO. 6
[9 empty] | #VALUE! | Determination of New MEPTR
Rainbow Calibration Particles (RCP-30-5A) |  |  |  | Lot No.: |  | File # |  |  |  | values for RCP-30-5A
Acceptable:
[8 empty] | TABLE NO. 4 |  | 256 CH# | 104 CH# | New MEPTR
Action taken if not linear: |  |  | By: |  |  | Date: |  | 105 MEAN CH# |  |  | 1 | 16.8775
[8 empty] | to 256 REL. CH# |  |  | 1 | 16.8775
[8 empty] | CONVERSION |  |  | 1 | 16.8775
[8 empty] | 105 CH# | 256 CH# |  | 1 | 16.8775
[9 empty] | #VALUE! |  | 1 | 16.8775
[9 empty] | #VALUE! |  | 1 | 16.8775
[9 empty] | #VALUE! |  | 1 | 16.8775
[9 empty] | #VALUE! |  | 1 | 16.8775
#VALUE!
#VALUE!
#VALUE!
#VALUE!
Note on J20: Use this Table to convert Beckman-Coulter 1024 Mean CH # to 256 Relative CH#
Note on J35: Use this Table to convert BD-FACS 104 Mean CH # to 256 Relative CH#
Note on J50: Use this Table to convert BD-FACS Canto 105 Mean CH # to 384 Relative CH#

## MECY
TYPE THE NAME OF YOUR LAB HERE
| PMT LINEARITY QC RECORD | [12 empty] | Normalization Graph for Instrument B
[8 empty] | TABLE NO. 1 |  | CROSS CALIBRATION TABLE
| PEAK # | CH # | MECY | MECY LOG | CALC. | RESIDUAL | CALC. MECY | 1024 REL. CH# |  | FOR UNKNOWN SAMPLES |  |  |  |  | PEAK # | CH # | MECY | MECY LOG | CALC. | RESIDUAL | CALC. MECY | CROSS CALIBRATION TABLE
| 1 | 6.4237 |  |  | 2.4171 |  | 261.291 | to 256 REL. CH# |  | Sample | CH# | Calc. | Calc. MECY |  | 1 | 0 | 208.3353 | 2.3188 | #VALUE! | #VALUE! | #VALUE! | FOR NORMALIZATION GRAPH
| 2 | 54.3235 | 1414.4203 | 3.1506 | 3.1506 | 0% | 1414.4203 | CONVERSION |  |  |  | 2.3188 | 208.3353 |  | 2 | 0 | 208.3353 | 2.3188 | #VALUE! | #VALUE! | #VALUE! | Sample | CH# | Calc. | Calc. MECY
| 3 | 82.4193 | 3808.8064 | 3.5808 | 3.5808 | 0% | 3808.8064 | 1024 CH# | 256 CH# |  |  | 2.3188 | 208.3353 |  | 3 | 0 | 208.3353 | 2.3188 | #VALUE! | #VALUE! | #VALUE! |  | 200 | #VALUE! | #VALUE!
| 4 | 112.1163 | 10852.1945 | 4.0355 | 4.0355 | 0% | 10852.1945 |  | 0 |  |  | 2.3188 | 208.3353 |  | 4 | 0 | 208.3353 | 2.3188 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 5 | 138.9024 | 27904.3885 | 4.4457 | 4.4457 | 0% | 27904.3885 |  | 0 |  |  | 2.3188 | 208.3353 |  | 5 | 0 | 208.3353 | 2.3188 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 6 | 170.7821 | 85866.2648 | 4.9338 | 4.9338 | 0% | 85866.2648 |  | 0 |  |  | 2.3188 | 208.3353 |  | 6 | 0 | 208.3353 | 2.3188 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 7 | 208.4555 | 324106.4198 | 5.5107 | 5.5107 | 0% | 324106.4198 |  | 0 |  |  | 2.3188 | 208.3353 |  | 7 | 0 | 208.3353 | 2.3188 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 8 | 241.5479 | 1040895.4288 | 6.0174 | 6.0174 | 0% | 1040895.4288 |  | 0 |  |  | 2.3188 | 208.3353 |  | 8 | 0 | 208.3353 | 2.3188 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
|  |  |  | Ave Residual |  | 0% |  |  | 0 |  |  | 2.3188 | 208.3353 |  |  |  |  | Ave Residual |  | #VALUE! |  |  |  | #VALUE! | #VALUE!
[6 empty] | Slope: | 0.015312 |  | 0 |  |  | 2.3188 | 208.3353 | [6 empty] | Slope: | #VALUE! |  |  | #VALUE! | #VALUE!
[6 empty] | Intercept: | 2.3188 |  | 0 |  |  | 2.3188 | 208.3353 | [6 empty] | Intercept: | #VALUE! |  |  | #VALUE! | #VALUE!
[6 empty] | Rsq: | 1 |  |  |  |  | 2.3188 | 208.3353 | [6 empty] | Rsq: | #VALUE! |  |  | #VALUE! | #VALUE!
[12 empty] | 2.3188 | 208.3353 | [10 empty] | #VALUE! | #VALUE!
[8 empty] | TABLE NO. 2 | [15 empty] | #VALUE! | #VALUE!
[8 empty] | 1024 MEAN CH# |  | CONVERTED VALUES
[8 empty] | to 256 REL. CH# |  | CAN BE COPIED TO
[8 empty] | CONVERSION |  | THE CH# COLUMN BY
[8 empty] | 1024 CH# | 256 CH# | SELECTING THE CELLS
[9 empty] | #VALUE! | TO BE COPIED; THEN,
[9 empty] | #VALUE! | CLICKING [COPY],
[9 empty] | #VALUE! | [PASTE SPECIAL], AND
[9 empty] | #VALUE! | FINALLY [PASTE VALUE]
#VALUE!
#VALUE!
#VALUE!
#VALUE!
[8 empty] | TABLE NO. 3 |  | TABLE NO. 5
[8 empty] | 104 MEAN CH# |  | Determination of the
[8 empty] | to 256 REL. CH# |  | MECY/CH# for the
[8 empty] | CONVERSION |  | normalization cell or particle
[8 empty] | 104 CH# | 256 CH# | 256 CH# | 104 CH# | Calc. MECY | MECY/CH#
[9 empty] | #VALUE! | 0 | 1 | 208.3353 | 208.3353
[9 empty] | #VALUE! | 0 | 1 | 208.3353 | 208.3353
[9 empty] | #VALUE! | 0 | 1 | 208.3353 | 208.3353
[9 empty] | #VALUE! | 0 | 1 | 208.3353 | 208.3353
[9 empty] | #VALUE! | 0 | 1 | 208.3353 | 208.3353
#VALUE!
[9 empty] | #VALUE! | TABLE NO. 6
Rainbow Calibration Particles (RCP-30-5A) |  |  |  | Lot No.: |  | File # |  |  | #VALUE! | Determination of New MECY
Acceptable: | [9 empty] | values for RCP-30-5A
Action taken if not linear: |  |  | By: |  |  | Date: |  | TABLE NO. 4 |  | 256 CH# | 104 CH# | New MECY
[8 empty] | 105 MEAN CH# |  |  | 1 | 208.3353
[8 empty] | to 256 REL. CH# |  |  | 1 | 208.3353
[8 empty] | CONVERSION |  |  | 1 | 208.3353
[8 empty] | 105 CH# | 256 CH# |  | 1 | 208.3353
[9 empty] | #VALUE! |  | 1 | 208.3353
[9 empty] | #VALUE! |  | 1 | 208.3353
[9 empty] | #VALUE! |  | 1 | 208.3353
[9 empty] | #VALUE! |  | 1 | 208.3353
#VALUE!
#VALUE!
#VALUE!
#VALUE!
Note on J20: Use this Table to convert Beckman-Coulter 1024 Mean CH # to 256 Relative CH#
Note on J35: Use this Table to convert BD-FACS 104 Mean CH # to 256 Relative CH#
Note on J50: Use this Table to convert BD-FACS Canto 105 Mean CH # to 384 Relative CH#

## MEPCY7
TYPE THE NAME OF YOUR LAB HERE
| PMT LINEARITY QC RECORD | [12 empty] | Normalization Graph for Instrument B
[8 empty] | TABLE NO. 1 |  | CROSS CALIBRATION TABLE
| PEAK # | CH # | MEPCY7 | MEPCY7 LOG | CALC. | RESIDUAL | CALC. MEPCY7 | 1024 REL. CH# |  | FOR UNKNOWN SAMPLES |  |  |  |  | PEAK # | CH # | MEPCY7 | MEPCY7 LOG | CALC. | RESIDUAL | CALC. MEPCY7 | CROSS CALIBRATION TABLE
| 1 | [6 empty] | to 256 REL. CH# |  | Sample | CH# | Calc. | Calc. MEPCY7 |  | 1 | 0 | 170.0507 | 2.2306 | #VALUE! | #VALUE! | #VALUE! | FOR NORMALIZATION GRAPH
| 2 | [6 empty] | CONVERSION |  |  |  | 2.2306 | 170.0507 |  | 2 | 0 | 170.0507 | 2.2306 | #VALUE! | #VALUE! | #VALUE! | Sample | CH# | Calc. | Calc. MEPCY7
| 3 | [6 empty] | 1024 CH# | 256 CH# |  |  | 2.2306 | 170.0507 |  | 3 | 0 | 170.0507 | 2.2306 | #VALUE! | #VALUE! | #VALUE! |  | 200 | #VALUE! | #VALUE!
| 4 | [7 empty] | 0 |  |  | 2.2306 | 170.0507 |  | 4 | 0 | 170.0507 | 2.2306 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 5 | 124.3044 | 12752.0446 | 4.1056 | 4.1056 | 0% | 12752.0446 |  | 0 |  |  | 2.2306 | 170.0507 |  | 5 | 0 | 170.0507 | 2.2306 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 6 | 156.5316 | 39056.534 | 4.5917 | 4.5917 | 0% | 39056.534 |  | 0 |  |  | 2.2306 | 170.0507 |  | 6 | 0 | 170.0507 | 2.2306 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 7 | 193.8902 | 142957.9549 | 5.1552 | 5.1552 | 0% | 142957.9549 |  | 0 |  |  | 2.2306 | 170.0507 |  | 7 | 0 | 170.0507 | 2.2306 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 8 | 226.8346 | 448890.0555 | 5.6521 | 5.6521 | 0% | 448890.0555 |  | 0 |  |  | 2.2306 | 170.0507 |  | 8 | 0 | 170.0507 | 2.2306 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
|  |  |  | Ave Residual |  | 0% |  |  | 0 |  |  | 2.2306 | 170.0507 |  |  |  |  | Ave Residual |  | #VALUE! |  |  |  | #VALUE! | #VALUE!
[6 empty] | Slope: | 0.015084 |  | 0 |  |  | 2.2306 | 170.0507 | [6 empty] | Slope: | #VALUE! |  |  | #VALUE! | #VALUE!
[6 empty] | Intercept: | 2.2306 |  | 0 |  |  | 2.2306 | 170.0507 | [6 empty] | Intercept: | #VALUE! |  |  | #VALUE! | #VALUE!
[6 empty] | Rsq: | 1 |  |  |  |  | 2.2306 | 170.0507 | [6 empty] | Rsq: | #VALUE! |  |  | #VALUE! | #VALUE!
[12 empty] | 2.2306 | 170.0507 | [10 empty] | #VALUE! | #VALUE!
[8 empty] | TABLE NO. 2 | [15 empty] | #VALUE! | #VALUE!
[8 empty] | 1024 MEAN CH# |  | CONVERTED VALUES
[8 empty] | to 256 REL. CH# |  | CAN BE COPIED TO
[8 empty] | CONVERSION |  | THE CH# COLUMN BY
[8 empty] | 1024 CH# | 256 CH# | SELECTING THE CELLS
[9 empty] | #VALUE! | TO BE COPIED; THEN,
[9 empty] | #VALUE! | CLICKING [COPY],
[9 empty] | #VALUE! | [PASTE SPECIAL], AND
[9 empty] | #VALUE! | FINALLY [PASTE VALUE]
#VALUE!
#VALUE!
#VALUE!
#VALUE!
[8 empty] | TABLE NO. 3 |  | TABLE NO. 5
[8 empty] | 104 MEAN CH# |  | Determination of the
[8 empty] | to 256 REL. CH# |  | MEPCY7/CH# for the
[8 empty] | CONVERSION |  | normalization cell or particle
[8 empty] | 104 CH# | 256 CH# | 256 CH# | 104 CH# | Calc. MEPCY7 | MEPCY7/CH#
[9 empty] | #VALUE! | 0 | 1 | 170.0507 | 170.0507
[9 empty] | #VALUE! | 0 | 1 | 170.0507 | 170.0507
[9 empty] | #VALUE! | 0 | 1 | 170.0507 | 170.0507
[9 empty] | #VALUE! | 0 | 1 | 170.0507 | 170.0507
[9 empty] | #VALUE! | 0 | 1 | 170.0507 | 170.0507
#VALUE!
[9 empty] | #VALUE! | TABLE NO. 6
Rainbow Calibration Particles (RCP-30-5A) |  |  |  | Lot No.: |  | File # |  |  | #VALUE! | Determination of New MEPCY7
Acceptable: | [9 empty] | values for RCP-30-5A
Action taken if not linear: |  |  | By: |  |  | Date: |  | TABLE NO. 4 |  | 256 CH# | 104 CH# | New MEPCY7
[8 empty] | 105 MEAN CH# |  |  | 1 | 170.0507
[8 empty] | to 256 REL. CH# |  |  | 1 | 170.0507
[8 empty] | CONVERSION |  |  | 1 | 170.0507
[8 empty] | 105 CH# | 256 CH# |  | 1 | 170.0507
[9 empty] | #VALUE! |  | 1 | 170.0507
[9 empty] | #VALUE! |  | 1 | 170.0507
[9 empty] | #VALUE! |  | 1 | 170.0507
[9 empty] | #VALUE! |  | 1 | 170.0507
#VALUE!
#VALUE!
#VALUE!
#VALUE!
Note on J20: Use this Table to convert Beckman-Coulter 1024 Mean CH # to 256 Relative CH#
Note on J35: Use this Table to convert BD-FACS 104 Mean CH # to 256 Relative CH#
Note on J50: Use this Table to convert BD-FACS Canto 105 Mean CH # to 384 Relative CH#

## MEAP
TYPE THE NAME OF YOUR LAB HERE
| PMT LINEARITY QC RECORD | [12 empty] | Normalization Graph for Instrument B
[8 empty] | TABLE NO. 1 |  | CROSS CALIBRATION TABLE
| PEAK # | CH # | MEAP | MEAP LOG | CALC. | RESIDUAL | CALC. MEAP | 1024 REL. CH# |  | FOR UNKNOWN SAMPLES |  |  |  |  | PEAK # | CH # | MEAP | MEAP LOG | CALC. | RESIDUAL | CALC. MEAP | CROSS CALIBRATION TABLE
| 1 | 4.835 |  |  | 1.4196 |  | 26.278 | to 256 REL. CH# |  | Sample | CH# | Calc. | Calc. MEAP |  | 1 | 0 | 22.0684 | 1.3438 | #VALUE! | #VALUE! | #VALUE! | FOR NORMALIZATION GRAPH
| 2 | 75.8203 | 341.0104 | 2.5328 | 2.5328 | 0% | 341.0104 | CONVERSION |  |  |  | 1.3438 | 22.0684 |  | 2 | 0 | 22.0684 | 1.3438 | #VALUE! | #VALUE! | #VALUE! | Sample | CH# | Calc. | Calc. MEAP
| 3 | 106.3621 | 1027.349 | 3.0117 | 3.0117 | 0% | 1027.349 | 1024 CH# | 256 CH# |  |  | 1.3438 | 22.0684 |  | 3 | 0 | 22.0684 | 1.3438 | #VALUE! | #VALUE! | #VALUE! |  | 200 | #VALUE! | #VALUE!
| 4 | 137.4414 | 3155.7129 | 3.4991 | 3.4991 | 0% | 3155.7129 |  | 0 |  |  | 1.3438 | 22.0684 |  | 4 | 0 | 22.0684 | 1.3438 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 5 | 162.3244 | 7750.1014 | 3.8893 | 3.8893 | 0% | 7750.1014 |  | 0 |  |  | 1.3438 | 22.0684 |  | 5 | 0 | 22.0684 | 1.3438 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 6 | 192.9822 | 23446.4538 | 4.3701 | 4.3701 | 0% | 23446.4538 |  | 0 |  |  | 1.3438 | 22.0684 |  | 6 | 0 | 22.0684 | 1.3438 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 7 | 222.755 | 68701.8051 | 4.837 | 4.837 | 0% | 68701.8051 |  | 0 |  |  | 1.3438 | 22.0684 |  | 7 | 0 | 22.0684 | 1.3438 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 8 | 237.4551 | 116813.0974 | 5.0675 | 5.0675 | 0% | 116813.0974 |  | 0 |  |  | 1.3438 | 22.0684 |  | 8 | 0 | 22.0684 | 1.3438 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
|  |  |  | Ave Residual |  | 0% |  |  | 0 |  |  | 1.3438 | 22.0684 |  |  |  |  | Ave Residual |  | #VALUE! |  |  |  | #VALUE! | #VALUE!
[6 empty] | Slope: | 0.015682 |  | 0 |  |  | 1.3438 | 22.0684 | [6 empty] | Slope: | #VALUE! |  |  | #VALUE! | #VALUE!
[6 empty] | Intercept: | 1.3438 |  | 0 |  |  | 1.3438 | 22.0684 | [6 empty] | Intercept: | #VALUE! |  |  | #VALUE! | #VALUE!
[6 empty] | Rsq: | 1 |  |  |  |  | 1.3438 | 22.0684 | [6 empty] | Rsq: | #VALUE! |  |  | #VALUE! | #VALUE!
[12 empty] | 1.3438 | 22.0684 | [10 empty] | #VALUE! | #VALUE!
[8 empty] | TABLE NO. 2 | [15 empty] | #VALUE! | #VALUE!
[8 empty] | 1024 MEAN CH# |  | CONVERTED VALUES
[8 empty] | to 256 REL. CH# |  | CAN BE COPIED TO
[8 empty] | CONVERSION |  | THE CH# COLUMN BY
[8 empty] | 1024 CH# | 256 CH# | SELECTING THE CELLS
[9 empty] | #VALUE! | TO BE COPIED; THEN,
[9 empty] | #VALUE! | CLICKING [COPY],
[9 empty] | #VALUE! | [PASTE SPECIAL], AND
[9 empty] | #VALUE! | FINALLY [PASTE VALUE]
#VALUE!
#VALUE!
#VALUE!
#VALUE!
[8 empty] | TABLE NO. 3 |  | TABLE NO. 5
[8 empty] | 104 MEAN CH# |  | Determination of the
[8 empty] | to 256 REL. CH# |  | MEAP/CH# for the
[8 empty] | CONVERSION |  | normalization cell or particle
[8 empty] | 104 CH# | 256 CH# | 256 CH# | 104 CH# | Calc. MEAP | MEAP/CH#
[9 empty] | #VALUE! | 0 | 1 | 22.0684 | 22.0684
[9 empty] | #VALUE! | 0 | 1 | 22.0684 | 22.0684
[9 empty] | #VALUE! | 0 | 1 | 22.0684 | 22.0684
[9 empty] | #VALUE! | 0 | 1 | 22.0684 | 22.0684
[9 empty] | #VALUE! | 0 | 1 | 22.0684 | 22.0684
#VALUE!
[9 empty] | #VALUE! | TABLE NO. 6
Rainbow Calibration Particles (RCP-30-5A) |  |  |  | Lot No.: |  | File # |  |  | #VALUE! | Determination of New MEAP
Acceptable: | [9 empty] | values for RCP-30-5A
Action taken if not linear: |  |  | By: |  |  | Date: |  | TABLE NO. 4 |  | 256 CH# | 104 CH# | New MEAP
[8 empty] | 105 MEAN CH# |  |  | 1 | 22.0684
[8 empty] | to 256 REL. CH# |  |  | 1 | 22.0684
[8 empty] | CONVERSION |  |  | 1 | 22.0684
[8 empty] | 105 CH# | 256 CH# |  | 1 | 22.0684
[9 empty] | #VALUE! |  | 1 | 22.0684
[9 empty] | #VALUE! |  | 1 | 22.0684
[9 empty] | #VALUE! |  | 1 | 22.0684
[9 empty] | #VALUE! |  | 1 | 22.0684
#VALUE!
#VALUE!
#VALUE!
#VALUE!
Note on J20: Use this Table to convert Beckman-Coulter 1024 Mean CH # to 256 Relative CH#
Note on J35: Use this Table to convert BD-FACS 104 Mean CH # to 256 Relative CH#
Note on J50: Use this Table to convert BD-FACS Canto 105 Mean CH # to 384 Relative CH#

## MEAPCY7
TYPE THE NAME OF YOUR LAB HERE
| PMT LINEARITY QC RECORD | [12 empty] | Normalization Graph for Instrument B
[8 empty] | TABLE NO. 1 |  | CROSS CALIBRATION TABLE
| PEAK # | CH # | MEAPCY7 | MEAPCY7 LOG | CALC. | RESIDUAL | CALC. MEAPCY7 | 1024 REL. CH# |  | FOR UNKNOWN SAMPLES |  |  |  |  | PEAK # | CH # | MEAPCY7 | MEAPCY7 LOG | CALC. | RESIDUAL | CALC. MEAPCY7 | CROSS CALIBRATION TABLE
| 1 | 10.1352 |  |  | 1.3867 |  |  | to 256 REL. CH# |  | Sample | CH# | Calc. | Calc. MEAPCY7 |  | 1 | 0 | 17.7418 | 1.249 | #VALUE! | #VALUE! | #VALUE! | FOR NORMALIZATION GRAPH
| 2 | 72.8514 | 173.3097 | 2.2388 | 2.2388 | 0% | 173.3097 | CONVERSION |  |  |  | 1.249 | 17.7418 |  | 2 | 0 | 17.7418 | 1.249 | #VALUE! | #VALUE! | #VALUE! | Sample | CH# | Calc. | Calc. MEAPCY7
| 3 | 101.7067 | 427.4429 | 2.6309 | 2.6309 | 0% | 427.4429 | 1024 CH# | 256 CH# |  |  | 1.249 | 17.7418 |  | 3 | 0 | 17.7418 | 1.249 | #VALUE! | #VALUE! | #VALUE! |  | 200 | #VALUE! | #VALUE!
| 4 | 131.846 | 1097.4324 | 3.0404 | 3.0404 | 0% | 1097.4324 |  | 0 |  |  | 1.249 | 17.7418 |  | 4 | 0 | 17.7418 | 1.249 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 5 | 156.8465 | 2399.1528 | 3.3801 | 3.3801 | 0% | 2399.1528 |  | 0 |  |  | 1.249 | 17.7418 |  | 5 | 0 | 17.7418 | 1.249 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 6 | 188.005 | 6359.2556 | 3.8034 | 3.8034 | 0% | 6359.2556 |  | 0 |  |  | 1.249 | 17.7418 |  | 6 | 0 | 17.7418 | 1.249 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 7 | 220.3162 | 17474.9563 | 4.2424 | 4.2424 | 0% | 17474.9563 |  | 0 |  |  | 1.249 | 17.7418 |  | 7 | 0 | 17.7418 | 1.249 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 8 | 238.3543 | 30725.4486 | 4.4875 | 4.4875 | 0% | 30725.4486 |  | 0 |  |  | 1.249 | 17.7418 |  | 8 | 0 | 17.7418 | 1.249 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
|  |  |  | Ave Residual |  | 0% |  |  | 0 |  |  | 1.249 | 17.7418 |  |  |  |  | Ave Residual |  | #VALUE! |  |  |  | #VALUE! | #VALUE!
[6 empty] | Slope: | 0.013587 |  | 0 |  |  | 1.249 | 17.7418 | [6 empty] | Slope: | #VALUE! |  |  | #VALUE! | #VALUE!
[6 empty] | Intercept: | 1.249 |  | 0 |  |  | 1.249 | 17.7418 | [6 empty] | Intercept: | #VALUE! |  |  | #VALUE! | #VALUE!
[6 empty] | Rsq: | 1 |  |  |  |  | 1.249 | 17.7418 | [6 empty] | Rsq: | #VALUE! |  |  | #VALUE! | #VALUE!
[12 empty] | 1.249 | 17.7418 | [10 empty] | #VALUE! | #VALUE!
[8 empty] | TABLE NO. 2 | [15 empty] | #VALUE! | #VALUE!
[8 empty] | 1024 MEAN CH# |  | CONVERTED VALUES
[8 empty] | to 256 REL. CH# |  | CAN BE COPIED TO
[8 empty] | CONVERSION |  | THE CH# COLUMN BY
[8 empty] | 1024 CH# | 256 CH# | SELECTING THE CELLS
[9 empty] | #VALUE! | TO BE COPIED; THEN,
[9 empty] | #VALUE! | CLICKING [COPY],
[9 empty] | #VALUE! | [PASTE SPECIAL], AND
[9 empty] | #VALUE! | FINALLY [PASTE VALUE]
#VALUE!
#VALUE!
#VALUE!
#VALUE!
[8 empty] | TABLE NO. 3 |  | TABLE NO. 5
[8 empty] | 104 MEAN CH# |  | Determination of the
[8 empty] | to 256 REL. CH# |  | MEAPCY7/CH# for the
[8 empty] | CONVERSION |  | normalization cell or particle
[8 empty] | 104 CH# | 256 CH# | 256 CH# | 104 CH# | Calc. MEAPCY7 | MEAPCY7/CH#
[8 empty] | 63.62 | 115.43 | 0 | 1 | 17.7418 | 17.7418
[8 empty] | 197.33 | 146.8924 | 0 | 1 | 17.7418 | 17.7418
[8 empty] | 566.52 | 176.2058 | 0 | 1 | 17.7418 | 17.7418
[8 empty] | 1225.36 | 197.6489 | 0 | 1 | 17.7418 | 17.7418
[9 empty] | #VALUE! | 0 | 1 | 17.7418 | 17.7418
#VALUE!
[9 empty] | #VALUE! | TABLE NO. 6
Rainbow Calibration Particles (RCP-30-5A) |  |  |  | Lot No.: |  | File # |  |  | #VALUE! | Determination of New MEAPCY7
Acceptable: | [9 empty] | values for RCP-30-5A
Action taken if not linear: |  |  | By: |  |  | Date: |  | TABLE NO. 4 |  | 256 CH# | 104 CH# | New MEAPCY7
[8 empty] | 105 MEAN CH# |  |  | 1 | 17.7418
[8 empty] | to 256 REL. CH# |  |  | 1 | 17.7418
[8 empty] | CONVERSION |  |  | 1 | 17.7418
[8 empty] | 105 CH# | 256 CH# |  | 1 | 17.7418
[9 empty] | #VALUE! |  | 1 | 17.7418
[9 empty] | #VALUE! |  | 1 | 17.7418
[9 empty] | #VALUE! |  | 1 | 17.7418
[9 empty] | #VALUE! |  | 1 | 17.7418
#VALUE!
#VALUE!
#VALUE!
#VALUE!
Note on J20: Use this Table to convert Beckman-Coulter 1024 Mean CH # to 256 Relative CH#
Note on J35: Use this Table to convert BD-FACS 104 Mean CH # to 256 Relative CH#
Note on J50: Use this Table to convert BD-FACS Canto 105 Mean CH # to 384 Relative CH#