## MECSB
RCP-30-5A ML# 092623-A to H
| PMT LINEARITY QC RECORD | [12 empty] | Normalization Graph for Instrument B
[8 empty] | TABLE NO. 1 |  | CROSS CALIBRATION TABLE
| PEAK # | CH # | MECSB | MECSB LOG | CALC. | RESIDUAL | CALC. MECSB | 1024 REL. CH# |  | FOR UNKNOWN SAMPLES |  |  |  |  | PEAK # | CH # | MECSB | MECSB LOG | CALC. | RESIDUAL | CALC. MECSB | CROSS CALIBRATION TABLE
| 1 | 101.3942 |  |  | 1.7059 |  | 50.8031 | to 256 REL. CH# |  | Sample | CH# | Calc. | Calc. MECSB |  | 1 | 0 | 0.37439 | -0.42667 | #VALUE! | #VALUE! | #VALUE! | FOR NORMALIZATION GRAPH
| 2 | 125.7579 | 165.316 | 2.2183 | 2.2183 | 0% | 165.316 | CONVERSION |  |  |  | -0.42667 | 0.37439 |  | 2 | 0 | 0.37439 | -0.42667 | #VALUE! | #VALUE! | #VALUE! | Sample | CH# | Calc. | Calc. MECSB
| 3 | 143.5414 | 391.1518 | 2.5923 | 2.5923 | 0% | 391.1518 | 1024 CH# | 256 CH# |  |  | -0.42667 | 0.37439 |  | 3 | 0 | 0.37439 | -0.42667 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 4 | 164.5288 | 1080.8349 | 3.0338 | 3.0338 | 0% | 1080.8349 |  | 0 |  |  | -0.42667 | 0.37439 |  | 4 | 0 | 0.37439 | -0.42667 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 5 | 186.2363 | 3092.5651 | 3.4903 | 3.4903 | 0% | 3092.5651 |  | 0 |  |  | -0.42667 | 0.37439 |  | 5 | 0 | 0.37439 | -0.42667 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 6 | 207.025 | 8463.6058 | 3.9276 | 3.9276 | 0% | 8463.6058 |  | 0 |  |  | -0.42667 | 0.37439 |  | 6 | 0 | 0.37439 | -0.42667 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 7 | 226.256 | 21479.7545 | 4.332 | 4.332 | 0% | 21479.7545 |  | 0 |  |  | -0.42667 | 0.37439 |  | 7 | 0 | 0.37439 | -0.42667 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 8 | 240.0698 | 41933.8896 | 4.6226 | 4.6226 | 0% | 41933.8896 |  | 0 |  |  | -0.42667 | 0.37439 |  | 8 | 0 | 0.37439 | -0.42667 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
|  |  |  | Ave Residual |  | 0% |  |  | 0 |  |  | -0.42667 | 0.37439 |  |  |  |  | Ave Residual |  | #VALUE! |  |  |  | #VALUE! | #VALUE!
[6 empty] | Slope: | 0.021032 |  | 0 |  |  | -0.42667 | 0.37439 | [6 empty] | Slope: | #VALUE! |  |  | #VALUE! | #VALUE!
[6 empty] | Intercept: | -0.42667 |  | 0 |  |  | -0.42667 | 0.37439 | [6 empty] | Intercept: | #VALUE! |  |  | #VALUE! | #VALUE!
[6 empty] | Rsq: | 1 |  |  |  |  | -0.42667 | 0.37439 | [6 empty] | Rsq: | #VALUE! |  |  | #VALUE! | #VALUE!
[12 empty] | -0.42667 | 0.37439 | [10 empty] | #VALUE! | #VALUE!
[8 empty] | TABLE NO. 2 | [15 empty] | #VALUE! | #VALUE!
[8 empty] | 1024 MEAN CH# |  | CONVERTED VALUES
[8 empty] | to 256 REL. CH# |  | CAN BE COPIED TO
[8 empty] | CONVERSION |  | THE CH# COLUMN BY
[8 empty] | 1024 CH# | 256 CH# | SELECTING THE CELLS
[9 empty] | #VALUE! | TO BE COPIED; THEN,
[9 empty] | #VALUE! | CLICKING [COPY],
[9 empty] | #VALUE! | [PASTE SPECIAL], AND
[9 empty] | #VALUE! | FINALLY [PASTE VALUE]
#VALUE!
#VALUE!
#VALUE!
#VALUE!
[8 empty] | TABLE NO. 3 |  | TABLE NO. 5
[8 empty] | 104 MEAN CH# |  | Determination of the
[8 empty] | to 256 REL. CH# |  | MECSB/CH# for the
[8 empty] | CONVERSION |  | normalization cell or particle
[8 empty] | 104 CH# | 256 CH# | 256 CH# | 104 CH# | Calc. MECSB | MECSB/CH#
[9 empty] | #VALUE! | 0 | 1 | 0.37439 | 0.37439
[9 empty] | #VALUE! | 0 | 1 | 0.37439 | 0.37439
[9 empty] | #VALUE! | 0 | 1 | 0.37439 | 0.37439
[9 empty] | #VALUE! | 0 | 1 | 0.37439 | 0.37439
[9 empty] | #VALUE! | 0 | 1 | 0.37439 | 0.37439
#VALUE!
[9 empty] | #VALUE! | TABLE NO. 6
Rainbow Calibration Particles (RCP-30-5A) |  |  |  | Lot No.: |  | File # |  |  | #VALUE! | Determination of New MECSB
Acceptable: | [9 empty] | values for RCP-30-5A
Action taken if not linear: |  |  | By: |  |  | Date: |  | TABLE NO. 4 |  | 256 CH# | 104 CH# | New MECSB
[8 empty] | 105 MEAN CH# |  |  | 1 | 0.37439
[8 empty] | to 256 REL. CH# |  |  | 1 | 0.37439
[8 empty] | CONVERSION |  |  | 1 | 0.37439
[8 empty] | 105 CH# | 256 CH# |  | 1 | 0.37439
[9 empty] | #VALUE! |  | 1 | 0.37439
[9 empty] | #VALUE! |  | 1 | 0.37439
[9 empty] | #VALUE! |  | 1 | 0.37439
[9 empty] | #VALUE! |  | 1 | 0.37439
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
Note on J20: Use this Table to convert Beckman-Coulter 1024 Mean CH # to 256 Relative CH#
Note on J35: Use this Table to convert BD-FACS 104 Mean CH # to 256 Relative CH#
Note on J50: Use this Table to convert BD-FACS Canto 105 Mean CH # to 384 Relative CH#

## MEBFP
RCP-30-5A ML# 092623-A to H
| PMT LINEARITY QC RECORD | [12 empty] | Normalization Graph for Instrument B
[8 empty] | TABLE NO. 1 |  | CROSS CALIBRATION TABLE
| PEAK # | CH # | MEBFP | MEBFP LOG | CALC. | RESIDUAL | CALC. MEBFP | 1024 REL. CH# |  | FOR UNKNOWN SAMPLES |  |  |  |  | PEAK # | CH # | MEBFP | MEBFP LOG | CALC. | RESIDUAL | CALC. MEBFP | CROSS CALIBRATION TABLE
| 1 | 52.6285 |  |  | 1.6106 |  | 40.7917 | to 256 REL. CH# |  | Sample | CH# | Calc. | Calc. MEBFP |  | 1 | 0 | 2.6972 | 0.43091 | #VALUE! | #VALUE! | #VALUE! | FOR NORMALIZATION GRAPH
| 2 | 104.5152 | 593.7582 | 2.7736 | 2.7736 | 0% | 593.7582 | CONVERSION |  |  |  | 0.43091 | 2.6972 |  | 2 | 0 | 2.6972 | 0.43091 | #VALUE! | #VALUE! | #VALUE! | Sample | CH# | Calc. | Calc. MEBFP
| 3 | 125.9359 | 1793.7091 | 3.2538 | 3.2538 | 0% | 1793.7091 | 1024 CH# | 256 CH# |  |  | 0.43091 | 2.6972 |  | 3 | 0 | 2.6972 | 0.43091 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 4 | 148.2847 | 5684.567 | 3.7547 | 3.7547 | 0% | 5684.567 |  | 0 |  |  | 0.43091 | 2.6972 |  | 4 | 0 | 2.6972 | 0.43091 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 5 | 170.6316 | 18013.6496 | 4.2556 | 4.2556 | 0% | 18013.6496 |  | 0 |  |  | 0.43091 | 2.6972 |  | 5 | 0 | 2.6972 | 0.43091 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 6 | 192.9191 | 56908.2691 | 4.7552 | 4.7552 | 0% | 56908.2691 |  | 0 |  |  | 0.43091 | 2.6972 |  | 6 | 0 | 2.6972 | 0.43091 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 7 | 214.9302 | 177235.5664 | 5.2486 | 5.2486 | 0% | 177235.5664 |  | 0 |  |  | 0.43091 | 2.6972 |  | 7 | 0 | 2.6972 | 0.43091 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 8 | 234.3494 | 482872.5932 | 5.6838 | 5.6838 | 0% | 482872.5932 |  | 0 |  |  | 0.43091 | 2.6972 |  | 8 | 0 | 2.6972 | 0.43091 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
|  |  |  | Ave Residual |  | 0% |  |  | 0 |  |  | 0.43091 | 2.6972 |  |  |  |  | Ave Residual |  | #VALUE! |  |  |  | #VALUE! | #VALUE!
[6 empty] | Slope: | 0.022415 |  | 0 |  |  | 0.43091 | 2.6972 | [6 empty] | Slope: | #VALUE! |  |  | #VALUE! | #VALUE!
[6 empty] | Intercept: | 0.43091 |  | 0 |  |  | 0.43091 | 2.6972 | [6 empty] | Intercept: | #VALUE! |  |  | #VALUE! | #VALUE!
[6 empty] | Rsq: | 1 |  |  |  |  | 0.43091 | 2.6972 | [6 empty] | Rsq: | #VALUE! |  |  | #VALUE! | #VALUE!
[12 empty] | 0.43091 | 2.6972 | [10 empty] | #VALUE! | #VALUE!
[8 empty] | TABLE NO. 2 | [15 empty] | #VALUE! | #VALUE!
[8 empty] | 1024 MEAN CH# |  | CONVERTED VALUES
[8 empty] | to 256 REL. CH# |  | CAN BE COPIED TO
[8 empty] | CONVERSION |  | THE CH# COLUMN BY
[8 empty] | 1024 CH# | 256 CH# | SELECTING THE CELLS
[9 empty] | #VALUE! | TO BE COPIED; THEN,
[9 empty] | #VALUE! | CLICKING [COPY],
[9 empty] | #VALUE! | [PASTE SPECIAL], AND
[9 empty] | #VALUE! | FINALLY [PASTE VALUE]
#VALUE!
#VALUE!
#VALUE!
#VALUE!
[8 empty] | TABLE NO. 3 |  | TABLE NO. 5
[8 empty] | 104 MEAN CH# |  | Determination of the
[8 empty] | to 256 REL. CH# |  | MEBFP/CH# for the
[8 empty] | CONVERSION |  | normalization cell or particle
[8 empty] | 104 CH# | 256 CH# | 256 CH# | 104 CH# | Calc. MEBFP | MEBFP/CH#
[9 empty] | #VALUE! | 0 | 1 | 2.6972 | 2.6972
[9 empty] | #VALUE! | 0 | 1 | 2.6972 | 2.6972
[9 empty] | #VALUE! | 0 | 1 | 2.6972 | 2.6972
[9 empty] | #VALUE! | 0 | 1 | 2.6972 | 2.6972
[9 empty] | #VALUE! | 0 | 1 | 2.6972 | 2.6972
#VALUE!
[9 empty] | #VALUE! | TABLE NO. 6
Rainbow Calibration Particles (RCP-30-5A) |  |  |  | Lot No.: |  | File # |  |  | #VALUE! | Determination of New MEBFP
Acceptable: | [9 empty] | values for RCP-30-5A
Action taken if not linear: |  |  | By: |  |  | Date: |  | TABLE NO. 4 |  | 256 CH# | 104 CH# | New MEBFP
[8 empty] | 105 MEAN CH# |  |  | 1 | 2.6972
[8 empty] | to 256 REL. CH# |  |  | 1 | 2.6972
[8 empty] | CONVERSION |  |  | 1 | 2.6972
[8 empty] | 105 CH# | 256 CH# |  | 1 | 2.6972
[9 empty] | #NUM! |  | 1 | 2.6972
[9 empty] | #NUM! |  | 1 | 2.6972
[9 empty] | #NUM! |  | 1 | 2.6972
[9 empty] | #NUM! |  | 1 | 2.6972
#NUM!
#NUM!
#NUM!
#NUM!
Note on J20: Use this Table to convert Beckman-Coulter 1024 Mean CH # to 256 Relative CH#
Note on J35: Use this Table to convert BD-FACS 104 Mean CH # to 256 Relative CH#
Note on J50: Use this Table to convert BD-FACS Canto 105 Mean CH # to 384 Relative CH#

## MEFL
RCP-30-5A ML# 092623-A to H
| PMT LINEARITY QC RECORD | [12 empty] | Normalization Graph for Instrument B
[8 empty] | TABLE NO. 1 |  | CROSS CALIBRATION TABLE
| PEAK # | CH # | MEFL | MEFL LOG | CALC. | RESIDUAL | CALC. MEFL | 1024 REL. CH# |  | FOR UNKNOWN SAMPLES |  |  |  |  | PEAK # | CH # | MEFL | MEFL LOG | CALC. | RESIDUAL | CALC. MEFL | CROSS CALIBRATION TABLE
| 1 | 28.4444 |  |  | 1.1648 |  | 14.6139 | to 256 REL. CH# |  | Sample | CH# | Calc. | Calc. MEFL |  | 1 | 0 | 3.6819 | 0.56608 | #VALUE! | #VALUE! | #VALUE! | FOR NORMALIZATION GRAPH
| 2 | 107.113 | 653.961 | 2.8156 | 2.8206 | 0.1773% | 661.5359 | CONVERSION |  |  |  | 0.56608 | 3.6819 |  | 2 | 0 | 3.6819 | 0.56608 | #VALUE! | #VALUE! | #VALUE! | Sample | CH# | Calc. | Calc. MEFL
| 3 | 129.5806 | 1957.0161 | 3.2916 | 3.2934 | 0.05616% | 1965.3682 | 1024 CH# | 256 CH# |  |  | 0.56608 | 3.6819 |  | 3 | 0 | 3.6819 | 0.56608 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 4 | 152.0975 | 5870.5928 | 3.7687 | 3.7674 | 0.03476% | 5852.9196 |  | 0 |  |  | 0.56608 | 3.6819 |  | 4 | 0 | 3.6819 | 0.56608 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 5 | 174.1421 | 17209.1788 | 4.2358 | 4.2314 | 0.104% | 17035.6252 |  | 0 |  |  | 0.56608 | 3.6819 |  | 5 | 0 | 3.6819 | 0.56608 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 6 | 195.9578 | 49887.3692 | 4.698 | 4.6905 | 0.1591% | 49037.4598 |  | 0 |  |  | 0.56608 | 3.6819 |  | 6 | 0 | 3.6819 | 0.56608 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 7 | 216.4375 | 135491.798 | 5.1319 | 5.1216 | 0.2018% | 132305.2992 |  | 0 |  |  | 0.56608 | 3.6819 |  | 7 | 0 | 3.6819 | 0.56608 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 8 | 233.4958 | 291041.7409 | 5.464 | 5.4806 | 0.304% | 302422.4785 |  | 0 |  |  | 0.56608 | 3.6819 |  | 8 | 0 | 3.6819 | 0.56608 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
|  |  |  | Ave Residual |  | 0.1482% |  |  | 0 |  |  | 0.56608 | 3.6819 |  |  |  |  | Ave Residual |  | #VALUE! |  |  |  | #VALUE! | #VALUE!
[6 empty] | Slope: | 0.021048 |  | 0 |  |  | 0.56608 | 3.6819 | [6 empty] | Slope: | #VALUE! |  |  | #VALUE! | #VALUE!
[6 empty] | Intercept: | 0.56608 |  | 0 |  |  | 0.56608 | 3.6819 | [6 empty] | Intercept: | #VALUE! |  |  | #VALUE! | #VALUE!
[6 empty] | Rsq: | 0.99991 |  |  |  |  | 0.56608 | 3.6819 | [6 empty] | Rsq: | #VALUE! |  |  | #VALUE! | #VALUE!
[12 empty] | 0.56608 | 3.6819 | [10 empty] | #VALUE! | #VALUE!
[8 empty] | TABLE NO. 2 | [15 empty] | #VALUE! | #VALUE!
[8 empty] | 1024 MEAN CH# |  | CONVERTED VALUES
[8 empty] | to 256 REL. CH# |  | CAN BE COPIED TO
[8 empty] | CONVERSION |  | THE CH# COLUMN BY
[8 empty] | 1024 CH# | 256 CH# | SELECTING THE CELLS
[9 empty] | #VALUE! | TO BE COPIED; THEN,
[9 empty] | #VALUE! | CLICKING [COPY],
[9 empty] | #VALUE! | [PASTE SPECIAL], AND
[9 empty] | #VALUE! | FINALLY [PASTE VALUE]
#VALUE!
#VALUE!
#VALUE!
#VALUE!
[8 empty] | TABLE NO. 3 |  | TABLE NO. 5
[8 empty] | 104 MEAN CH# |  | Determination of the
[8 empty] | to 256 REL. CH# |  | MEFL/CH# for the
[8 empty] | CONVERSION |  | normalization cell or particle
[8 empty] | 104 CH# | 256 CH# | 256 CH# | 104 CH# | Calc. MEFL | MEFL/CH#
[9 empty] | #VALUE! | 0 | 1 | 3.6819 | 3.6819
[9 empty] | #VALUE! | 0 | 1 | 3.6819 | 3.6819
[9 empty] | #VALUE! | 0 | 1 | 3.6819 | 3.6819
[9 empty] | #VALUE! | 0 | 1 | 3.6819 | 3.6819
[9 empty] | #VALUE! | 0 | 1 | 3.6819 | 3.6819
#VALUE!
[9 empty] | #VALUE! | TABLE NO. 6
Rainbow Calibration Particles (RCP-30-5A) |  |  |  | Lot No.: |  | File # |  |  | #VALUE! | Determination of New MEFL
Acceptable: | [9 empty] | values for RCP-30-5A
Action taken if not linear: |  |  | By: |  |  | Date: |  | TABLE NO. 4 |  | 256 CH# | 104 CH# | New MEFL
[8 empty] | 105 MEAN CH# |  |  | 1 | 3.6819
[8 empty] | to 256 REL. CH# |  |  | 1 | 3.6819
[8 empty] | CONVERSION |  |  | 1 | 3.6819
[8 empty] | 105 CH# | 256 CH# |  | 1 | 3.6819
[9 empty] | #VALUE! |  | 1 | 3.6819
[9 empty] | #VALUE! |  | 1 | 3.6819
[9 empty] | #VALUE! |  | 1 | 3.6819
[9 empty] | #VALUE! |  | 1 | 3.6819
#VALUE!
#VALUE!
#VALUE!
#VALUE!
Note on J20: Use this Table to convert Beckman-Coulter 1024 Mean CH # to 256 Relative CH#
Note on J35: Use this Table to convert BD-FACS 104 Mean CH # to 256 Relative CH#
Note on J50: Use this Table to convert BD-FACS Canto 105 Mean CH # to 384 Relative CH#

## MEPE
RCP-30-5A ML# 092623-A to H
| PMT LINEARITY QC RECORD | [12 empty] | Normalization Graph for Instrument B
[8 empty] | TABLE NO. 1 |  | CROSS CALIBRATION TABLE
| PEAK # | CH # | MEPE | MEPE LOG | CALC. | RESIDUAL | CALC. MEPE | 1024 REL. CH# |  | FOR UNKNOWN SAMPLES |  |  |  | PEAK # | CH # | MEPE | MEPE LOG | CALC. | RESIDUAL | CALC. MEPE | CROSS CALIBRATION TABLE
| 1 | 100.4955 |  |  | 2.2944 |  | 196.9866 | to 256 REL. CH# |  | Sample | CH# | Calc. | Calc. MEPE | 1 | 0 | 1.12 | 0.049227 | #VALUE! | #VALUE! | #VALUE! | FOR NORMALIZATION GRAPH
| 2 | 121.9363 | 593.5464 | 2.7735 | 2.7735 | 0% | 593.5464 | CONVERSION |  |  |  | 0.049227 | 1.12 | 2 | 0 | 1.12 | 0.049227 | #VALUE! | #VALUE! | #VALUE! | Sample | CH# | Calc. | Calc. MEPE
| 3 | 139.2752 | 1448.2064 | 3.1608 | 3.1608 | 0% | 1448.2064 | 1024 CH# | 256 CH# |  |  | 0.049227 | 1.12 | 3 | 0 | 1.12 | 0.049227 | #VALUE! | #VALUE! | #VALUE! |  | 200 | #VALUE! | #VALUE!
| 4 | 159.6731 | 4135.68 | 3.6165 | 3.6165 | 0% | 4135.68 |  | 0 |  |  | 0.049227 | 1.12 | 4 | 0 | 1.12 | 0.049227 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 5 | 181.0797 | 12439.4388 | 4.0948 | 4.0948 | 0% | 12439.4388 |  | 0 |  |  | 0.049227 | 1.12 | 5 | 0 | 1.12 | 0.049227 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 6 | 202.8146 | 38053.0598 | 4.5804 | 4.5804 | 0% | 38053.0598 |  | 0 |  |  | 0.049227 | 1.12 | 6 | 0 | 1.12 | 0.049227 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 7 | 223.9557 | 112903.9319 | 5.0527 | 5.0527 | 0% | 112903.9319 |  | 0 |  |  | 0.049227 | 1.12 | 7 | 0 | 1.12 | 0.049227 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 8 | 243.0133 | 300942.4389 | 5.4785 | 5.4785 | 0% | 300942.4389 |  | 0 |  |  | 0.049227 | 1.12 | 8 | 0 | 1.12 | 0.049227 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
|  |  |  | Ave Residual |  | 0% |  |  | 0 |  |  | 0.049227 | 1.12 |  |  |  | Ave Residual |  | #VALUE! |  |  |  | #VALUE! | #VALUE!
[6 empty] | Slope: | 0.022341 |  | 0 |  |  | 0.049227 | 1.12 | [5 empty] | Slope: | #VALUE! |  |  | #VALUE! | #VALUE!
[6 empty] | Intercept: | 0.049227 |  | 0 |  |  | 0.049227 | 1.12 | [5 empty] | Intercept: | #VALUE! |  |  | #VALUE! | #VALUE!
[6 empty] | Rsq: | 1 |  |  |  |  | 0.049227 | 1.12 | [5 empty] | Rsq: | #VALUE! |  |  | #VALUE! | #VALUE!
[12 empty] | 0.049227 | 1.12 | [9 empty] | #VALUE! | #VALUE!
[8 empty] | TABLE NO. 2 | [14 empty] | #VALUE! | #VALUE!
[8 empty] | 1024 MEAN CH# |  | CONVERTED VALUES
[7 empty] | 21 | to 256 REL. CH# |  | CAN BE COPIED TO
[7 empty] | 56.5 | CONVERSION |  | THE CH# COLUMN BY | [9 empty] | 21
[8 empty] | 1024 CH# | 256 CH# | SELECTING THE CELLS | [9 empty] | 56.5
[9 empty] | #VALUE! | TO BE COPIED; THEN,
[9 empty] | #VALUE! | CLICKING [COPY],
[9 empty] | #VALUE! | [PASTE SPECIAL], AND
[9 empty] | #VALUE! | FINALLY [PASTE VALUE]
#VALUE!
#VALUE!
#VALUE!
#VALUE!
[8 empty] | TABLE NO. 3 |  | TABLE NO. 5
[8 empty] | 104 MEAN CH# |  | Determination of the
[8 empty] | to 256 REL. CH# |  | MEPE/CH# for the
[8 empty] | CONVERSION |  | normalization cell or particle
[8 empty] | 104 CH# | 256 CH# | 256 CH# | 104 CH# | Calc. MEPE | MEPE/CH#
[9 empty] | #VALUE! | 0 | 1 | 1.12 | 1.12
[9 empty] | #VALUE! | 0 | 1 | 1.12 | 1.12
[9 empty] | #VALUE! | 0 | 1 | 1.12 | 1.12
[9 empty] | #VALUE! | 0 | 1 | 1.12 | 1.12
[9 empty] | #VALUE! | 0 | 1 | 1.12 | 1.12
#VALUE!
[9 empty] | #VALUE! | TABLE NO. 6
Rainbow Calibration Particles (RCP-30-5A) |  |  |  | Lot No.: |  | File # |  |  | #VALUE! | Determination of New MEPE
Acceptable: | [9 empty] | values for RCP-30-5A
Action taken if not linear: |  |  | By: |  |  | Date: |  | TABLE NO. 4 |  | 256 CH# | 104 CH# | New MEPE
[8 empty] | 105 MEAN CH# |  |  | 1 | 1.12
[8 empty] | to 256 REL. CH# |  |  | 1 | 1.12
[8 empty] | CONVERSION |  |  | 1 | 1.12
[8 empty] | 105 CH# | 256 CH# |  | 1 | 1.12
[9 empty] | #VALUE! |  | 1 | 1.12
[9 empty] | #VALUE! |  | 1 | 1.12
[9 empty] | #VALUE! |  | 1 | 1.12
[9 empty] | #VALUE! |  | 1 | 1.12
#VALUE!
#VALUE!
#VALUE!
#VALUE!
Note on J20: Use this Table to convert Beckman-Coulter 1024 Mean CH # to 256 Relative CH#
Note on J35: Use this Table to convert BD-FACS 104 Mean CH # to 256 Relative CH#
Note on J50: Use this Table to convert BD-FACS Canto 105 Mean CH # to 384 Relative CH#
Note on T5: RCP-30-5 Relative Channel Numbers obtained with your Instrument in 256 Channel Scale.

## MEPTR
RCP-30-5A ML# 092623-A to H
| PMT LINEARITY QC RECORD | [12 empty] | Normalization Graph for Instrument B
[8 empty] | TABLE NO. 1 |  | CROSS CALIBRATION TABLE
[8 empty] | 1024 REL. CH# |  | FOR UNKNOWN SAMPLES |  |  |  |  | PEAK # | CH # | MEPTR | MEPTR LOG | CALC. | RESIDUAL | CALC. MEPTR | CROSS CALIBRATION TABLE
| PEAK # | CH # | MEPTR | MEPTR LOG | CALC. | RESIDUAL | CALC. MEPTR | to 256 REL. CH# |  | Sample | CH# | Calc. | Calc. MEPTR |  | 1 | 0 | 0.50331 | -0.29817 | #VALUE! | #VALUE! | #VALUE! | FOR NORMALIZATION GRAPH
| 1 | 22.5417 |  |  | 0.20871 |  | 1.617 | CONVERSION |  |  |  | -0.29817 | 0.50331 |  | 2 | 0 | 0.50331 | -0.29817 | #VALUE! | #VALUE! | #VALUE! | Sample | CH# | Calc. | Calc. MEPTR
| 2 | 117.1684 | 217.0151 | 2.3365 | 2.3365 | 0% | 217.0151 | 1024 CH# | 256 CH# |  |  | -0.29817 | 0.50331 |  | 3 | 0 | 0.50331 | -0.29817 | #VALUE! | #VALUE! | #VALUE! |  | 200 | #VALUE! | #VALUE!
| 3 | 139.5966 | 693.1236 | 2.8408 | 2.8408 | 0% | 693.1236 |  | 0 |  |  | -0.29817 | 0.50331 |  | 4 | 0 | 0.50331 | -0.29817 | #VALUE! | #VALUE! | #VALUE! |  | 125 | #VALUE! | #VALUE!
| 4 | 162.3272 | 2248.704 | 3.3519 | 3.3519 | 0% | 2248.704 |  | 0 |  |  | -0.29817 | 0.50331 |  | 5 | 0 | 0.50331 | -0.29817 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 5 | 184.5937 | 7122.2967 | 3.8526 | 3.8526 | 0% | 7122.2967 |  | 0 |  |  | -0.29817 | 0.50331 |  | 6 | 0 | 0.50331 | -0.29817 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 6 | 206.8548 | 22552.0036 | 4.3532 | 4.3532 | 0% | 22552.0036 |  | 0 |  |  | -0.29817 | 0.50331 |  | 7 | 0 | 0.50331 | -0.29817 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 7 | 228.5767 | 69442.2277 | 4.8416 | 4.8416 | 0% | 69442.2277 |  | 0 |  |  | -0.29817 | 0.50331 |  | 8 | 0 | 0.50331 | -0.29817 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 8 | 248.8789 | 198674.3945 | 5.2981 | 5.2981 | 0% | 198674.3945 |  | 0 |  |  | -0.29817 | 0.50331 |  |  |  |  | Ave Residual |  | #VALUE! |  |  |  | #VALUE! | #VALUE!
|  |  |  | Ave Residual |  | 0% |  |  | 0 |  |  | -0.29817 | 0.50331 | [6 empty] | Slope: | #VALUE! |  |  | #VALUE! | #VALUE!
[6 empty] | Slope: | 0.022486 |  | 0 |  |  | -0.29817 | 0.50331 | [6 empty] | Intercept: | #VALUE! |  |  | #VALUE! | #VALUE!
[6 empty] | Intercept: | -0.29817 |  |  |  |  | -0.29817 | 0.50331 | [6 empty] | Rsq: | #VALUE! |  |  | #VALUE! | #VALUE!
[6 empty] | Rsq: | 1 |  |  |  |  | -0.29817 | 0.50331 | [10 empty] | #VALUE! | #VALUE!
[8 empty] | TABLE NO. 2 | [15 empty] | #VALUE! | #VALUE!
[8 empty] | 1024 MEAN CH# |  | CONVERTED VALUES
[8 empty] | to 256 REL. CH# |  | CAN BE COPIED TO
[8 empty] | CONVERSION |  | THE CH# COLUMN BY
[8 empty] | 1024 CH# | 256 CH# | SELECTING THE CELLS
[9 empty] | #VALUE! | TO BE COPIED; THEN,
[9 empty] | #VALUE! | CLICKING [COPY],
[9 empty] | #VALUE! | [PASTE SPECIAL], AND
[9 empty] | #VALUE! | FINALLY [PASTE VALUE]
#VALUE!
#VALUE!
#VALUE!
#VALUE!
[8 empty] | TABLE NO. 3 |  | TABLE NO. 5
[8 empty] | 104 MEAN CH# |  | Determination of the
[8 empty] | to 256 REL. CH# |  | MEPTR/CH# for the
[8 empty] | CONVERSION |  | normalization cell or particle
[8 empty] | 104 CH# | 256 CH# | 256 CH# | 104 CH# | Calc. MEPTR | MEPTR/CH#
[9 empty] | #VALUE! | 0 | 1 | 0.50331 | 0.50331
[9 empty] | #VALUE! | 0 | 1 | 0.50331 | 0.50331
[9 empty] | #VALUE! | 0 | 1 | 0.50331 | 0.50331
[9 empty] | #VALUE! | 0 | 1 | 0.50331 | 0.50331
[9 empty] | #VALUE! | 0 | 1 | 0.50331 | 0.50331
#VALUE!
[9 empty] | #VALUE! | TABLE NO. 6
[9 empty] | #VALUE! | Determination of New MEPTR
Rainbow Calibration Particles (RCP-30-5A) |  |  |  | Lot No.: |  | File # |  |  |  | values for RCP-30-5A
Acceptable:
[8 empty] | TABLE NO. 4 |  | 256 CH# | 104 CH# | New MEPTR
Action taken if not linear: |  |  | By: |  |  | Date: |  | 105 MEAN CH# |  |  | 1 | 0.50331
[8 empty] | to 256 REL. CH# |  |  | 1 | 0.50331
[8 empty] | CONVERSION |  |  | 1 | 0.50331
[8 empty] | 105 CH# | 256 CH# |  | 1 | 0.50331
[9 empty] | #VALUE! |  | 1 | 0.50331
[9 empty] | #VALUE! |  | 1 | 0.50331
[9 empty] | #VALUE! |  | 1 | 0.50331
[9 empty] | #VALUE! |  | 1 | 0.50331
#VALUE!
#VALUE!
#VALUE!
#VALUE!
Note on J20: Use this Table to convert Beckman-Coulter 1024 Mean CH # to 256 Relative CH#
Note on J35: Use this Table to convert BD-FACS 104 Mean CH # to 256 Relative CH#
Note on J50: Use this Table to convert BD-FACS Canto 105 Mean CH # to 384 Relative CH#

## MECY
RCP-30-5A ML# 092623-A to H
| PMT LINEARITY QC RECORD | [12 empty] | Normalization Graph for Instrument B
[8 empty] | TABLE NO. 1 |  | CROSS CALIBRATION TABLE
| PEAK # | CH # | MECY | MECY LOG | CALC. | RESIDUAL | CALC. MECY | 1024 REL. CH# |  | FOR UNKNOWN SAMPLES |  |  |  |  | PEAK # | CH # | MECY | MECY LOG | CALC. | RESIDUAL | CALC. MECY | CROSS CALIBRATION TABLE
| 1 | 0 |  |  | 0.85392 |  | 7.1437 | to 256 REL. CH# |  | Sample | CH# | Calc. | Calc. MECY |  | 1 | 0 | 7.1437 | 0.85392 | #VALUE! | #VALUE! | #VALUE! | FOR NORMALIZATION GRAPH
| 2 | 99.3946 | 991.3977 | 2.9962 | 2.9962 | 0% | 991.3977 | CONVERSION |  |  |  | 0.85392 | 7.1437 |  | 2 | 0 | 7.1437 | 0.85392 | #VALUE! | #VALUE! | #VALUE! | Sample | CH# | Calc. | Calc. MECY
| 3 | 122.3627 | 3099.5292 | 3.4913 | 3.4913 | 0% | 3099.5292 | 1024 CH# | 256 CH# |  |  | 0.85392 | 7.1437 |  | 3 | 0 | 7.1437 | 0.85392 | #VALUE! | #VALUE! | #VALUE! |  | 200 | #VALUE! | #VALUE!
| 4 | 144.9044 | 9487.5412 | 3.9772 | 3.9772 | 0% | 9487.5412 |  | 0 |  |  | 0.85392 | 7.1437 |  | 4 | 0 | 7.1437 | 0.85392 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 5 | 167.2458 | 28753.8326 | 4.4587 | 4.4587 | 0% | 28753.8326 |  | 0 |  |  | 0.85392 | 7.1437 |  | 5 | 0 | 7.1437 | 0.85392 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 6 | 189.9565 | 88755.5127 | 4.9482 | 4.9482 | 0% | 88755.5127 |  | 0 |  |  | 0.85392 | 7.1437 |  | 6 | 0 | 7.1437 | 0.85392 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 7 | 213.021 | 278819.2407 | 5.4453 | 5.4453 | 0% | 278819.2407 |  | 0 |  |  | 0.85392 | 7.1437 |  | 7 | 0 | 7.1437 | 0.85392 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 8 | 235.7861 | 862971.0058 | 5.936 | 5.936 | 0% | 862971.0058 |  | 0 |  |  | 0.85392 | 7.1437 |  | 8 | 0 | 7.1437 | 0.85392 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
|  |  |  | Ave Residual |  | 0% |  |  | 0 |  |  | 0.85392 | 7.1437 |  |  |  |  | Ave Residual |  | #VALUE! |  |  |  | #VALUE! | #VALUE!
[6 empty] | Slope: | 0.021554 |  | 0 |  |  | 0.85392 | 7.1437 | [6 empty] | Slope: | #VALUE! |  |  | #VALUE! | #VALUE!
[6 empty] | Intercept: | 0.85392 |  | 0 |  |  | 0.85392 | 7.1437 | [6 empty] | Intercept: | #VALUE! |  |  | #VALUE! | #VALUE!
[6 empty] | Rsq: | 1 |  |  |  |  | 0.85392 | 7.1437 | [6 empty] | Rsq: | #VALUE! |  |  | #VALUE! | #VALUE!
[12 empty] | 0.85392 | 7.1437 | [10 empty] | #VALUE! | #VALUE!
[8 empty] | TABLE NO. 2 | [15 empty] | #VALUE! | #VALUE!
[8 empty] | 1024 MEAN CH# |  | CONVERTED VALUES
[8 empty] | to 256 REL. CH# |  | CAN BE COPIED TO
[8 empty] | CONVERSION |  | THE CH# COLUMN BY
[8 empty] | 1024 CH# | 256 CH# | SELECTING THE CELLS
[9 empty] | #VALUE! | TO BE COPIED; THEN,
[9 empty] | #VALUE! | CLICKING [COPY],
[9 empty] | #VALUE! | [PASTE SPECIAL], AND
[9 empty] | #VALUE! | FINALLY [PASTE VALUE]
#VALUE!
#VALUE!
#VALUE!
#VALUE!
[8 empty] | TABLE NO. 3 |  | TABLE NO. 5
[8 empty] | 104 MEAN CH# |  | Determination of the
[8 empty] | to 256 REL. CH# |  | MECY/CH# for the
[8 empty] | CONVERSION |  | normalization cell or particle
[8 empty] | 104 CH# | 256 CH# | 256 CH# | 104 CH# | Calc. MECY | MECY/CH#
[9 empty] | #VALUE! | 0 | 1 | 7.1437 | 7.1437
[9 empty] | #VALUE! | 0 | 1 | 7.1437 | 7.1437
[9 empty] | #VALUE! | 0 | 1 | 7.1437 | 7.1437
[9 empty] | #VALUE! | 0 | 1 | 7.1437 | 7.1437
[9 empty] | #VALUE! | 0 | 1 | 7.1437 | 7.1437
#VALUE!
[9 empty] | #VALUE! | TABLE NO. 6
Rainbow Calibration Particles (RCP-30-5A) |  |  |  | Lot No.: |  | File # |  |  | #VALUE! | Determination of New MECY
Acceptable: | [9 empty] | values for RCP-30-5A
Action taken if not linear: |  |  | By: |  |  | Date: |  | TABLE NO. 4 |  | 256 CH# | 104 CH# | New MECY
[8 empty] | 105 MEAN CH# |  |  | 1 | 7.1437
[8 empty] | to 256 REL. CH# |  |  | 1 | 7.1437
[8 empty] | CONVERSION |  |  | 1 | 7.1437
[8 empty] | 105 CH# | 256 CH# |  | 1 | 7.1437
[9 empty] | #VALUE! |  | 1 | 7.1437
[9 empty] | #VALUE! |  | 1 | 7.1437
[9 empty] | #VALUE! |  | 1 | 7.1437
[9 empty] | #VALUE! |  | 1 | 7.1437
#VALUE!
#VALUE!
#VALUE!
#VALUE!
Note on J20: Use this Table to convert Beckman-Coulter 1024 Mean CH # to 256 Relative CH#
Note on J35: Use this Table to convert BD-FACS 104 Mean CH # to 256 Relative CH#
Note on J50: Use this Table to convert BD-FACS Canto 105 Mean CH # to 384 Relative CH#

## MEPCY7
RCP-30-5A ML# 092623-A to H
| PMT LINEARITY QC RECORD | [12 empty] | Normalization Graph for Instrument B
[8 empty] | TABLE NO. 1 |  | CROSS CALIBRATION TABLE
| PEAK # | CH # | MEPCY7 | MEPCY7 LOG | CALC. | RESIDUAL | CALC. MEPCY7 | 1024 REL. CH# |  | FOR UNKNOWN SAMPLES |  |  |  |  | PEAK # | CH # | MEPCY7 | MEPCY7 LOG | CALC. | RESIDUAL | CALC. MEPCY7 | CROSS CALIBRATION TABLE
| 1 | 28.4444 | [5 empty] | to 256 REL. CH# |  | Sample | CH# | Calc. | Calc. MEPCY7 |  | 1 | 0 | 1.0683 | 0.028684 | #VALUE! | #VALUE! | #VALUE! | FOR NORMALIZATION GRAPH
| 2 | 101.3942 | [5 empty] | CONVERSION |  |  |  | 0.028684 | 1.0683 |  | 2 | 0 | 1.0683 | 0.028684 | #VALUE! | #VALUE! | #VALUE! | Sample | CH# | Calc. | Calc. MEPCY7
| 3 | 125.0761 | [5 empty] | 1024 CH# | 256 CH# |  |  | 0.028684 | 1.0683 |  | 3 | 0 | 1.0683 | 0.028684 | #VALUE! | #VALUE! | #VALUE! |  | 200 | #VALUE! | #VALUE!
| 4 | 146.8648 | [6 empty] | 0 |  |  | 0.028684 | 1.0683 |  | 4 | 0 | 1.0683 | 0.028684 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 5 | 168.8613 | 10809.3454 | 4.0338 | 4.0338 | 0% | 10809.3454 |  | 0 |  |  | 0.028684 | 1.0683 |  | 5 | 0 | 1.0683 | 0.028684 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 6 | 191.7967 | 37825.912 | 4.5778 | 4.5778 | 0% | 37825.912 |  | 0 |  |  | 0.028684 | 1.0683 |  | 6 | 0 | 1.0683 | 0.028684 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 7 | 216.2976 | 144182.183 | 5.1589 | 5.1589 | 0% | 144182.183 |  | 0 |  |  | 0.028684 | 1.0683 |  | 7 | 0 | 1.0683 | 0.028684 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 8 | 244.4533 | 670996.0766 | 5.8267 | 5.8267 | 0% | 670996.0766 |  | 0 |  |  | 0.028684 | 1.0683 |  | 8 | 0 | 1.0683 | 0.028684 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
|  |  |  | Ave Residual |  | 0% |  |  | 0 |  |  | 0.028684 | 1.0683 |  |  |  |  | Ave Residual |  | #VALUE! |  |  |  | #VALUE! | #VALUE!
[6 empty] | Slope: | 0.023718 |  | 0 |  |  | 0.028684 | 1.0683 | [6 empty] | Slope: | #VALUE! |  |  | #VALUE! | #VALUE!
[6 empty] | Intercept: | 0.028684 |  | 0 |  |  | 0.028684 | 1.0683 | [6 empty] | Intercept: | #VALUE! |  |  | #VALUE! | #VALUE!
[6 empty] | Rsq: | 1 |  |  |  |  | 0.028684 | 1.0683 | [6 empty] | Rsq: | #VALUE! |  |  | #VALUE! | #VALUE!
[12 empty] | 0.028684 | 1.0683 | [10 empty] | #VALUE! | #VALUE!
[8 empty] | TABLE NO. 2 | [15 empty] | #VALUE! | #VALUE!
[8 empty] | 1024 MEAN CH# |  | CONVERTED VALUES
[8 empty] | to 256 REL. CH# |  | CAN BE COPIED TO
[8 empty] | CONVERSION |  | THE CH# COLUMN BY
[8 empty] | 1024 CH# | 256 CH# | SELECTING THE CELLS
[9 empty] | #VALUE! | TO BE COPIED; THEN,
[9 empty] | #VALUE! | CLICKING [COPY],
[9 empty] | #VALUE! | [PASTE SPECIAL], AND
[9 empty] | #VALUE! | FINALLY [PASTE VALUE]
#VALUE!
#VALUE!
#VALUE!
#VALUE!
[8 empty] | TABLE NO. 3 |  | TABLE NO. 5
[8 empty] | 104 MEAN CH# |  | Determination of the
[8 empty] | to 256 REL. CH# |  | MEPCY7/CH# for the
[8 empty] | CONVERSION |  | normalization cell or particle
[8 empty] | 104 CH# | 256 CH# | 256 CH# | 104 CH# | Calc. MEPCY7 | MEPCY7/CH#
[9 empty] | #VALUE! | 0 | 1 | 1.0683 | 1.0683
[9 empty] | #VALUE! | 0 | 1 | 1.0683 | 1.0683
[9 empty] | #VALUE! | 0 | 1 | 1.0683 | 1.0683
[9 empty] | #VALUE! | 0 | 1 | 1.0683 | 1.0683
[9 empty] | #VALUE! | 0 | 1 | 1.0683 | 1.0683
#VALUE!
[9 empty] | #VALUE! | TABLE NO. 6
Rainbow Calibration Particles (RCP-30-5A) |  |  |  | Lot No.: |  | File # |  |  | #VALUE! | Determination of New MEPCY7
Acceptable: | [9 empty] | values for RCP-30-5A
Action taken if not linear: |  |  | By: |  |  | Date: |  | TABLE NO. 4 |  | 256 CH# | 104 CH# | New MEPCY7
[8 empty] | 105 MEAN CH# |  |  | 1 | 1.0683
[8 empty] | to 256 REL. CH# |  |  | 1 | 1.0683
[8 empty] | CONVERSION |  |  | 1 | 1.0683
[8 empty] | 105 CH# | 256 CH# |  | 1 | 1.0683
[9 empty] | #VALUE! |  | 1 | 1.0683
[9 empty] | #VALUE! |  | 1 | 1.0683
[9 empty] | #VALUE! |  | 1 | 1.0683
[9 empty] | #VALUE! |  | 1 | 1.0683
#VALUE!
#VALUE!
#VALUE!
#VALUE!
Note on J20: Use this Table to convert Beckman-Coulter 1024 Mean CH # to 256 Relative CH#
Note on J35: Use this Table to convert BD-FACS 104 Mean CH # to 256 Relative CH#
Note on J50: Use this Table to convert BD-FACS Canto 105 Mean CH # to 384 Relative CH#

## MEAP
RCP-30-5A ML# 092623-A to H
| PMT LINEARITY QC RECORD | [12 empty] | Normalization Graph for Instrument B
[8 empty] | TABLE NO. 1 |  | CROSS CALIBRATION TABLE
| PEAK # | CH # | MEAP | MEAP LOG | CALC. | RESIDUAL | CALC. MEAP | 1024 REL. CH# |  | FOR UNKNOWN SAMPLES |  |  |  |  | PEAK # | CH # | MEAP | MEAP LOG | CALC. | RESIDUAL | CALC. MEAP | CROSS CALIBRATION TABLE
| 1 | 50.9861 |  |  | 1.1133 |  | 12.98 | to 256 REL. CH# |  | Sample | CH# | Calc. | Calc. MEAP |  | 1 | 0 | 1.0425 | 0.018084 | #VALUE! | #VALUE! | #VALUE! | FOR NORMALIZATION GRAPH
| 2 | 109.0181 | 228.9878 | 2.3598 | 2.3598 | 0% | 228.9878 | CONVERSION |  |  |  | 0.018084 | 1.0425 |  | 2 | 0 | 1.0425 | 0.018084 | #VALUE! | #VALUE! | #VALUE! | Sample | CH# | Calc. | Calc. MEAP
| 3 | 130.9095 | 676.1491 | 2.83 | 2.83 | 0% | 676.1491 | 1024 CH# | 256 CH# |  |  | 0.018084 | 1.0425 |  | 3 | 0 | 1.0425 | 0.018084 | #VALUE! | #VALUE! | #VALUE! |  | 200 | #VALUE! | #VALUE!
| 4 | 152.994 | 2015.6829 | 3.3044 | 3.3044 | 0% | 2015.6829 |  | 0 |  |  | 0.018084 | 1.0425 |  | 4 | 0 | 1.0425 | 0.018084 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 5 | 175.1085 | 6017.909 | 3.7794 | 3.7794 | 0% | 6017.909 |  | 0 |  |  | 0.018084 | 1.0425 |  | 5 | 0 | 1.0425 | 0.018084 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 6 | 197.4339 | 18155.1156 | 4.259 | 4.259 | 0% | 18155.1156 |  | 0 |  |  | 0.018084 | 1.0425 |  | 6 | 0 | 1.0425 | 0.018084 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 7 | 219.4465 | 53930.4309 | 4.7318 | 4.7318 | 0% | 53930.4309 |  | 0 |  |  | 0.018084 | 1.0425 |  | 7 | 0 | 1.0425 | 0.018084 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 8 | 234.7601 | 115019.9886 | 5.0608 | 5.0608 | 0% | 115019.9886 |  | 0 |  |  | 0.018084 | 1.0425 |  | 8 | 0 | 1.0425 | 0.018084 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
|  |  |  | Ave Residual |  | 0% |  |  | 0 |  |  | 0.018084 | 1.0425 |  |  |  |  | Ave Residual |  | #VALUE! |  |  |  | #VALUE! | #VALUE!
[6 empty] | Slope: | 0.02148 |  | 0 |  |  | 0.018084 | 1.0425 | [6 empty] | Slope: | #VALUE! |  |  | #VALUE! | #VALUE!
[6 empty] | Intercept: | 0.018084 |  | 0 |  |  | 0.018084 | 1.0425 | [6 empty] | Intercept: | #VALUE! |  |  | #VALUE! | #VALUE!
[6 empty] | Rsq: | 1 |  |  |  |  | 0.018084 | 1.0425 | [6 empty] | Rsq: | #VALUE! |  |  | #VALUE! | #VALUE!
[12 empty] | 0.018084 | 1.0425 | [10 empty] | #VALUE! | #VALUE!
[8 empty] | TABLE NO. 2 | [15 empty] | #VALUE! | #VALUE!
[8 empty] | 1024 MEAN CH# |  | CONVERTED VALUES
[8 empty] | to 256 REL. CH# |  | CAN BE COPIED TO
[8 empty] | CONVERSION |  | THE CH# COLUMN BY
[8 empty] | 1024 CH# | 256 CH# | SELECTING THE CELLS
[9 empty] | #VALUE! | TO BE COPIED; THEN,
[9 empty] | #VALUE! | CLICKING [COPY],
[9 empty] | #VALUE! | [PASTE SPECIAL], AND
[9 empty] | #VALUE! | FINALLY [PASTE VALUE]
#VALUE!
#VALUE!
#VALUE!
#VALUE!
[8 empty] | TABLE NO. 3 |  | TABLE NO. 5
[8 empty] | 104 MEAN CH# |  | Determination of the
[8 empty] | to 256 REL. CH# |  | MEAP/CH# for the
[8 empty] | CONVERSION |  | normalization cell or particle
[8 empty] | 104 CH# | 256 CH# | 256 CH# | 104 CH# | Calc. MEAP | MEAP/CH#
[9 empty] | #VALUE! | 0 | 1 | 1.0425 | 1.0425
[9 empty] | #VALUE! | 0 | 1 | 1.0425 | 1.0425
[9 empty] | #VALUE! | 0 | 1 | 1.0425 | 1.0425
[9 empty] | #VALUE! | 0 | 1 | 1.0425 | 1.0425
[9 empty] | #VALUE! | 0 | 1 | 1.0425 | 1.0425
#VALUE!
[9 empty] | #VALUE! | TABLE NO. 6
Rainbow Calibration Particles (RCP-30-5A) |  |  |  | Lot No.: |  | File # |  |  | #VALUE! | Determination of New MEAP
Acceptable: | [9 empty] | values for RCP-30-5A
Action taken if not linear: |  |  | By: |  |  | Date: |  | TABLE NO. 4 |  | 256 CH# | 104 CH# | New MEAP
[8 empty] | 105 MEAN CH# |  |  | 1 | 1.0425
[8 empty] | to 256 REL. CH# |  |  | 1 | 1.0425
[8 empty] | CONVERSION |  |  | 1 | 1.0425
[8 empty] | 105 CH# | 256 CH# |  | 1 | 1.0425
[9 empty] | #VALUE! |  | 1 | 1.0425
[9 empty] | #VALUE! |  | 1 | 1.0425
[9 empty] | #VALUE! |  | 1 | 1.0425
[9 empty] | #VALUE! |  | 1 | 1.0425
#VALUE!
#VALUE!
#VALUE!
#VALUE!
Note on J20: Use this Table to convert Beckman-Coulter 1024 Mean CH # to 256 Relative CH#
Note on J35: Use this Table to convert BD-FACS 104 Mean CH # to 256 Relative CH#
Note on J50: Use this Table to convert BD-FACS Canto 105 Mean CH # to 384 Relative CH#

## MEAPCY7
RCP-30-5A ML# 092623-A to H
| PMT LINEARITY QC RECORD | [12 empty] | Normalization Graph for Instrument B
[8 empty] | TABLE NO. 1 |  | CROSS CALIBRATION TABLE
| PEAK # | CH # | MEAPCY7 | MEAPCY7 LOG | CALC. | RESIDUAL | CALC. MEAPCY7 | 1024 REL. CH# |  | FOR UNKNOWN SAMPLES |  |  |  |  | PEAK # | CH # | MEAPCY7 | MEAPCY7 LOG | CALC. | RESIDUAL | CALC. MEAPCY7 | CROSS CALIBRATION TABLE
| 1 | 14.2222 |  |  | 0.33013 |  |  | to 256 REL. CH# |  | Sample | CH# | Calc. | Calc. MEAPCY7 |  | 1 | 0 | 1.1469 | 0.059524 | #VALUE! | #VALUE! | #VALUE! | FOR NORMALIZATION GRAPH
| 2 | 103.876 | 108.6325 | 2.036 | 2.036 | 0% | 108.6325 | CONVERSION |  |  |  | 0.059524 | 1.1469 |  | 2 | 0 | 1.1469 | 0.059524 | #VALUE! | #VALUE! | #VALUE! | Sample | CH# | Calc. | Calc. MEAPCY7
| 3 | 128.6314 | 321.3494 | 2.507 | 2.507 | 0% | 321.3494 | 1024 CH# | 256 CH# |  |  | 0.059524 | 1.1469 |  | 3 | 0 | 1.1469 | 0.059524 | #VALUE! | #VALUE! | #VALUE! |  | 200 | #VALUE! | #VALUE!
| 4 | 149.7102 | 809.1738 | 2.908 | 2.908 | 0% | 809.1738 |  | 0 |  |  | 0.059524 | 1.1469 |  | 4 | 0 | 1.1469 | 0.059524 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 5 | 171.264 | 2080.3841 | 3.3181 | 3.3181 | 0% | 2080.3841 |  | 0 |  |  | 0.059524 | 1.1469 |  | 5 | 0 | 1.1469 | 0.059524 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 6 | 193.515 | 5514.5439 | 3.7415 | 3.7415 | 0% | 5514.5439 |  | 0 |  |  | 0.059524 | 1.1469 |  | 6 | 0 | 1.1469 | 0.059524 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 7 | 216.3187 | 14975.9371 | 4.1754 | 4.1754 | 0% | 14975.9371 |  | 0 |  |  | 0.059524 | 1.1469 |  | 7 | 0 | 1.1469 | 0.059524 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 8 | 239.5634 | 41463.6558 | 4.6177 | 4.6177 | 0% | 41463.6558 |  | 0 |  |  | 0.059524 | 1.1469 |  | 8 | 0 | 1.1469 | 0.059524 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
|  |  |  | Ave Residual |  | 0% |  |  | 0 |  |  | 0.059524 | 1.1469 |  |  |  |  | Ave Residual |  | #VALUE! |  |  |  | #VALUE! | #VALUE!
[6 empty] | Slope: | 0.019027 |  | 0 |  |  | 0.059524 | 1.1469 | [6 empty] | Slope: | #VALUE! |  |  | #VALUE! | #VALUE!
[6 empty] | Intercept: | 0.059524 |  | 0 |  |  | 0.059524 | 1.1469 | [6 empty] | Intercept: | #VALUE! |  |  | #VALUE! | #VALUE!
[6 empty] | Rsq: | 1 |  |  |  |  | 0.059524 | 1.1469 | [6 empty] | Rsq: | #VALUE! |  |  | #VALUE! | #VALUE!
[12 empty] | 0.059524 | 1.1469 | [10 empty] | #VALUE! | #VALUE!
[8 empty] | TABLE NO. 2 | [15 empty] | #VALUE! | #VALUE!
[8 empty] | 1024 MEAN CH# |  | CONVERTED VALUES
[8 empty] | to 256 REL. CH# |  | CAN BE COPIED TO
[8 empty] | CONVERSION |  | THE CH# COLUMN BY
[8 empty] | 1024 CH# | 256 CH# | SELECTING THE CELLS
[9 empty] | #VALUE! | TO BE COPIED; THEN,
[9 empty] | #VALUE! | CLICKING [COPY],
[9 empty] | #VALUE! | [PASTE SPECIAL], AND
[9 empty] | #VALUE! | FINALLY [PASTE VALUE]
#VALUE!
#VALUE!
#VALUE!
#VALUE!
[8 empty] | TABLE NO. 3 |  | TABLE NO. 5
[8 empty] | 104 MEAN CH# |  | Determination of the
[8 empty] | to 256 REL. CH# |  | MEAPCY7/CH# for the
[8 empty] | CONVERSION |  | normalization cell or particle
[8 empty] | 104 CH# | 256 CH# | 256 CH# | 104 CH# | Calc. MEAPCY7 | MEAPCY7/CH#
[9 empty] | #VALUE! | 0 | 1 | 1.1469 | 1.1469
[9 empty] | #VALUE! | 0 | 1 | 1.1469 | 1.1469
[9 empty] | #VALUE! | 0 | 1 | 1.1469 | 1.1469
[9 empty] | #VALUE! | 0 | 1 | 1.1469 | 1.1469
[9 empty] | #VALUE! | 0 | 1 | 1.1469 | 1.1469
#VALUE!
[9 empty] | #VALUE! | TABLE NO. 6
Rainbow Calibration Particles (RCP-30-5A) |  |  |  | Lot No.: |  | File # |  |  | #VALUE! | Determination of New MEAPCY7
Acceptable: | [9 empty] | values for RCP-30-5A
Action taken if not linear: |  |  | By: |  |  | Date: |  | TABLE NO. 4 |  | 256 CH# | 104 CH# | New MEAPCY7
[8 empty] | 105 MEAN CH# |  |  | 1 | 1.1469
[8 empty] | to 256 REL. CH# |  |  | 1 | 1.1469
[8 empty] | CONVERSION |  |  | 1 | 1.1469
[8 empty] | 105 CH# | 256 CH# |  | 1 | 1.1469
[9 empty] | #VALUE! |  | 1 | 1.1469
[9 empty] | #VALUE! |  | 1 | 1.1469
[9 empty] | #VALUE! |  | 1 | 1.1469
[9 empty] | #VALUE! |  | 1 | 1.1469
#VALUE!
#VALUE!
#VALUE!
#VALUE!
Note on J20: Use this Table to convert Beckman-Coulter 1024 Mean CH # to 256 Relative CH#
Note on J35: Use this Table to convert BD-FACS 104 Mean CH # to 256 Relative CH#
Note on J50: Use this Table to convert BD-FACS Canto 105 Mean CH # to 384 Relative CH#