## MECSB
TYPE THE NAME OF YOUR LAB HERE
| PMT LINEARITY QC RECORD | [12 empty] | Normalization Graph for Instrument B
[8 empty] | TABLE NO. 1 |  | CROSS CALIBRATION TABLE
| PEAK # | CH # | MECSB | MECSB LOG | CALC. | RESIDUAL | CALC. MECSB | 1024 REL. CH# |  | FOR UNKNOWN SAMPLES |  |  |  |  | PEAK # | CH # | MECSB | MECSB LOG | CALC. | RESIDUAL | CALC. MECSB | CROSS CALIBRATION TABLE
| 1 | 23.7483 |  |  | 1.5013 |  | 31.7146 | to 256 REL. CH# |  | Sample | CH# | Calc. | Calc. MECSB |  | 1 | 0 | 13.6918 | 1.1365 | #DIV/0! | #DIV/0! | #DIV/0! | FOR NORMALIZATION GRAPH
| 2 | 70.4898 | 165.6743 | 2.2193 | 2.2193 | 0% | 165.6743 | CONVERSION |  |  |  | 1.1365 | 13.6918 |  | 2 | 0 | 13.6918 | 1.1365 | #DIV/0! | #DIV/0! | #DIV/0! | Sample | CH# | Calc. | Calc. MECSB
| 3 | 90.856 | 340.487 | 2.5321 | 2.5321 | 0% | 340.487 | 1024 CH# | 256 CH# |  |  | 1.1365 | 13.6918 |  | 3 | 0 | 13.6918 | 1.1365 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
| 4 | 115.9322 | 826.6009 | 2.9173 | 2.9173 | 1.522e-13% | 826.6009 |  | 0 |  |  | 1.1365 | 13.6918 |  | 4 | 0 | 13.6918 | 1.1365 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
| 5 | 148.5942 | 2624.3203 | 3.419 | 3.419 | 1.299e-13% | 2624.3203 |  | 0 |  |  | 1.1365 | 13.6918 |  | 5 | 0 | 13.6918 | 1.1365 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
| 6 | 176.88 | 7136.9784 | 3.8535 | 3.8535 | 1.152e-13% | 7136.9784 |  | 0 |  |  | 1.1365 | 13.6918 |  | 6 | 0 | 13.6918 | 1.1365 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
| 7 | 204.5882 | 19016.8923 | 4.2791 | 4.2791 | 0% | 19016.8923 |  | 0 |  |  | 1.1365 | 13.6918 |  | 7 | 0 | 13.6918 | 1.1365 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
| 8 | 219.7276 | 32485.9723 | 4.5117 | 4.5117 | 1.969e-13% | 32485.9723 |  | 0 |  |  | 1.1365 | 13.6918 |  | 8 | 0 | 13.6918 | 1.1365 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
|  |  |  | Ave Residual |  | 8.489e-14% |  |  | 0 |  |  | 1.1365 | 13.6918 |  |  |  |  | Ave Residual |  | #DIV/0! |  |  |  | #DIV/0! | #DIV/0!
[6 empty] | Slope: | 0.015361 |  | 0 |  |  | 1.1365 | 13.6918 | [6 empty] | Slope: | #DIV/0! |  |  | #DIV/0! | #DIV/0!
[6 empty] | Intercept: | 1.1365 |  | 0 |  |  | 1.1365 | 13.6918 | [6 empty] | Intercept: | #DIV/0! |  |  | #DIV/0! | #DIV/0!
[6 empty] | Rsq: | 1 |  |  |  |  | 1.1365 | 13.6918 | [6 empty] | Rsq: | #DIV/0! |  |  | #DIV/0! | #DIV/0!
[12 empty] | 1.1365 | 13.6918 | [10 empty] | #DIV/0! | #DIV/0!
[8 empty] | TABLE NO. 2 | [15 empty] | #DIV/0! | #DIV/0!
[8 empty] | 1024 MEAN CH# |  | CONVERTED VALUES
[8 empty] | to 256 REL. CH# |  | CAN BE COPIED TO
[8 empty] | CONVERSION |  | THE CH# COLUMN BY
[8 empty] | 1024 CH# | 256 CH# | SELECTING THE CELLS
[9 empty] | #NUM! | TO BE COPIED; THEN,
[9 empty] | #NUM! | CLICKING [COPY],
[9 empty] | #NUM! | [PASTE SPECIAL], AND
[9 empty] | #NUM! | FINALLY [PASTE VALUE]
#NUM!
#NUM!
#NUM!
#NUM!
[8 empty] | TABLE NO. 3 |  | TABLE NO. 5
[8 empty] | 104 MEAN CH# |  | Determination of the
[8 empty] | to 256 REL. CH# |  | MECSB/CH# for the
[8 empty] | CONVERSION |  | normalization cell or particle
[8 empty] | 104 CH# | 256 CH# | 256 CH# | 104 CH# | Calc. MECSB | MECSB/CH#
[9 empty] | #NUM! | 0 | 1 | 13.6918 | 13.6918
[9 empty] | #NUM! | 0 | 1 | 13.6918 | 13.6918
[9 empty] | #NUM! | 0 | 1 | 13.6918 | 13.6918
[9 empty] | #NUM! | 0 | 1 | 13.6918 | 13.6918
[9 empty] | #NUM! | 0 | 1 | 13.6918 | 13.6918
#NUM!
[9 empty] | #NUM! | TABLE NO. 6
Rainbow Calibration Particles (RCP-30-5A) |  |  |  | Lot No.: |  | File # |  |  | #NUM! | Determination of New MECSB
Acceptable: | [9 empty] | values for RCP-30-5A
Action taken if not linear: |  |  | By: |  |  | Date: |  | TABLE NO. 4 |  | 256 CH# | 104 CH# | New MECSB
[8 empty] | 105 MEAN CH# |  |  | 1 | 13.6918
[8 empty] | to 256 REL. CH# |  |  | 1 | 13.6918
[8 empty] | CONVERSION |  |  | 1 | 13.6918
[8 empty] | 105 CH# | 256 CH# |  | 1 | 13.6918
[9 empty] | #NUM! |  | 1 | 13.6918
[9 empty] | #NUM! |  | 1 | 13.6918
[9 empty] | #NUM! |  | 1 | 13.6918
[9 empty] | #NUM! |  | 1 | 13.6918
#NUM!
#NUM!
#NUM!
#NUM!
Note on J20: Use this Table to convert Beckman-Coulter 1024 Mean CH # to 256 Relative CH#
Note on J35: Use this Table to convert BD-FACS 104 Mean CH # to 256 Relative CH#
Note on J50: Use this Table to convert BD-FACS Canto 105 Mean CH # to 384 Relative CH#

## MEBFP
TYPE THE NAME OF YOUR LAB HERE
| PMT LINEARITY QC RECORD | [12 empty] | Normalization Graph for Instrument B
[8 empty] | TABLE NO. 1 |  | CROSS CALIBRATION TABLE
| PEAK # | CH # | MEBFP | MEBFP LOG | CALC. | RESIDUAL | CALC. MEBFP | 1024 REL. CH# |  | FOR UNKNOWN SAMPLES |  |  |  |  | PEAK # | CH # | MEBFP | MEBFP LOG | CALC. | RESIDUAL | CALC. MEBFP | CROSS CALIBRATION TABLE
| 1 | 23.8664 |  |  | 2.1527 |  | 142.1212 | to 256 REL. CH# |  | Sample | CH# | Calc. | Calc. MEBFP |  | 1 | 0 | 57.7584 | 1.7616 | #DIV/0! | #DIV/0! | #DIV/0! | FOR NORMALIZATION GRAPH
| 2 | 69.1139 | 783.4794 | 2.894 | 2.894 | 1.535e-13% | 783.4794 | CONVERSION |  |  |  | 1.7616 | 57.7584 |  | 2 | 0 | 57.7584 | 1.7616 | #DIV/0! | #DIV/0! | #DIV/0! | Sample | CH# | Calc. | Calc. MEBFP
| 3 | 88.8498 | 1649.6664 | 3.2174 | 3.2174 | 1.38e-13% | 1649.6664 | 1024 CH# | 256 CH# |  |  | 1.7616 | 57.7584 |  | 3 | 0 | 57.7584 | 1.7616 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
| 4 | 113.6111 | 4198.5821 | 3.6231 | 3.6231 | 0% | 4198.5821 |  | 0 |  |  | 1.7616 | 57.7584 |  | 4 | 0 | 57.7584 | 1.7616 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
| 5 | 146.7554 | 14660.9867 | 4.1662 | 4.1662 | 0% | 14660.9867 |  | 0 |  |  | 1.7616 | 57.7584 |  | 5 | 0 | 57.7584 | 1.7616 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
| 6 | 176.5311 | 45084.8326 | 4.654 | 4.654 | 0% | 45084.8326 |  | 0 |  |  | 1.7616 | 57.7584 |  | 6 | 0 | 57.7584 | 1.7616 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
| 7 | 209.3956 | 155778.3083 | 5.1925 | 5.1925 | 0% | 155778.3083 |  | 0 |  |  | 1.7616 | 57.7584 |  | 7 | 0 | 57.7584 | 1.7616 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
| 8 | 233.4654 | 386263.848 | 5.5869 | 5.5869 | 1.59e-13% | 386263.848 |  | 0 |  |  | 1.7616 | 57.7584 |  | 8 | 0 | 57.7584 | 1.7616 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
|  |  |  | Ave Residual |  | 6.435e-14% |  |  | 0 |  |  | 1.7616 | 57.7584 |  |  |  |  | Ave Residual |  | #DIV/0! |  |  |  | #DIV/0! | #DIV/0!
[6 empty] | Slope: | 0.016385 |  | 0 |  |  | 1.7616 | 57.7584 | [6 empty] | Slope: | #DIV/0! |  |  | #DIV/0! | #DIV/0!
[6 empty] | Intercept: | 1.7616 |  | 0 |  |  | 1.7616 | 57.7584 | [6 empty] | Intercept: | #DIV/0! |  |  | #DIV/0! | #DIV/0!
[6 empty] | Rsq: | 1 |  |  |  |  | 1.7616 | 57.7584 | [6 empty] | Rsq: | #DIV/0! |  |  | #DIV/0! | #DIV/0!
[12 empty] | 1.7616 | 57.7584 | [10 empty] | #DIV/0! | #DIV/0!
[8 empty] | TABLE NO. 2 | [15 empty] | #DIV/0! | #DIV/0!
[8 empty] | 1024 MEAN CH# |  | CONVERTED VALUES
[8 empty] | to 256 REL. CH# |  | CAN BE COPIED TO
[8 empty] | CONVERSION |  | THE CH# COLUMN BY
[8 empty] | 1024 CH# | 256 CH# | SELECTING THE CELLS
[9 empty] | #NUM! | TO BE COPIED; THEN,
[9 empty] | #NUM! | CLICKING [COPY],
[9 empty] | #NUM! | [PASTE SPECIAL], AND
[9 empty] | #NUM! | FINALLY [PASTE VALUE]
#NUM!
#NUM!
#NUM!
#NUM!
[8 empty] | TABLE NO. 3 |  | TABLE NO. 5
[8 empty] | 104 MEAN CH# |  | Determination of the
[8 empty] | to 256 REL. CH# |  | MEBFP/CH# for the
[8 empty] | CONVERSION |  | normalization cell or particle
[8 empty] | 104 CH# | 256 CH# | 256 CH# | 104 CH# | Calc. MEBFP | MEBFP/CH#
[9 empty] | #NUM! | 0 | 1 | 57.7584 | 57.7584
[9 empty] | #NUM! | 0 | 1 | 57.7584 | 57.7584
[9 empty] | #NUM! | 0 | 1 | 57.7584 | 57.7584
[9 empty] | #NUM! | 0 | 1 | 57.7584 | 57.7584
[9 empty] | #NUM! | 0 | 1 | 57.7584 | 57.7584
#NUM!
[9 empty] | #NUM! | TABLE NO. 6
Rainbow Calibration Particles (RCP-30-5A) |  |  |  | Lot No.: |  | File # |  |  | #NUM! | Determination of New MEBFP
Acceptable: | [9 empty] | values for RCP-30-5A
Action taken if not linear: |  |  | By: |  |  | Date: |  | TABLE NO. 4 |  | 256 CH# | 104 CH# | New MEBFP
[8 empty] | 105 MEAN CH# |  |  | 1 | 57.7584
[8 empty] | to 256 REL. CH# |  |  | 1 | 57.7584
[8 empty] | CONVERSION |  |  | 1 | 57.7584
[8 empty] | 105 CH# | 256 CH# |  | 1 | 57.7584
[9 empty] | #NUM! |  | 1 | 57.7584
[9 empty] | #NUM! |  | 1 | 57.7584
[9 empty] | #NUM! |  | 1 | 57.7584
[9 empty] | #NUM! |  | 1 | 57.7584
#NUM!
#NUM!
#NUM!
#NUM!
Note on J20: Use this Table to convert Beckman-Coulter 1024 Mean CH # to 256 Relative CH#
Note on J35: Use this Table to convert BD-FACS 104 Mean CH # to 256 Relative CH#
Note on J50: Use this Table to convert BD-FACS Canto 105 Mean CH # to 384 Relative CH#

## MEFL
TYPE THE NAME OF YOUR LAB HERE
| PMT LINEARITY QC RECORD | [12 empty] | Normalization Graph for Instrument B
[8 empty] | TABLE NO. 1 |  | CROSS CALIBRATION TABLE
| PEAK # | CH # | MEFL | MEFL LOG | CALC. | RESIDUAL | CALC. MEFL | 1024 REL. CH# |  | FOR UNKNOWN SAMPLES |  |  |  |  | PEAK # | CH # | MEFL | MEFL LOG | CALC. | RESIDUAL | CALC. MEFL | CROSS CALIBRATION TABLE
| 1 | 20.62 |  |  | 1.858 |  | 72.1187 | to 256 REL. CH# |  | Sample | CH# | Calc. | Calc. MEFL |  | 1 | 0 | 33.658 | 1.5271 | #DIV/0! | #DIV/0! | #DIV/0! | FOR NORMALIZATION GRAPH
| 2 | 79.93 | 646 | 2.8102 | 2.81 | 0.08356% | 645.6508 | CONVERSION |  |  |  | 1.5271 | 33.658 |  | 2 | 0 | 33.658 | 1.5271 | #DIV/0! | #DIV/0! | #DIV/0! | Sample | CH# | Calc. | Calc. MEFL
| 3 | 106.2 | 1704 | 3.2315 | 3.2316 | 0.05337% | 1704.6769 | 1024 CH# | 256 CH# |  |  | 1.5271 | 33.658 |  | 3 | 0 | 33.658 | 1.5271 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
| 4 | 134.37 | 4827 | 3.6837 | 3.6838 | 0.02848% | 4828.1664 |  | 0 |  |  | 1.5271 | 33.658 |  | 4 | 0 | 33.658 | 1.5271 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
| 5 | 166.78 | 15991 | 4.2039 | 4.204 | 0.02391% | 15994.7013 |  | 0 |  |  | 1.5271 | 33.658 |  | 5 | 0 | 33.658 | 1.5271 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
| 6 | 196.29 | 47609 | 4.6777 | 4.6776 | 0.01394% | 47601.851 |  | 0 |  |  | 1.5271 | 33.658 |  | 6 | 0 | 33.658 | 1.5271 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
| 7 | 224.67 | 135896 | 5.1332 | 5.1331 | 0.01404% | 135873.443 |  | 0 |  |  | 1.5271 | 33.658 |  | 7 | 0 | 33.658 | 1.5271 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
| 8 | 243.55 | 273006 | 5.4362 | 5.4362 | 0.001067% | 273002.3531 |  | 0 |  |  | 1.5271 | 33.658 |  | 8 | 0 | 33.658 | 1.5271 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
|  |  |  | Ave Residual |  | 0.0312% |  |  | 0 |  |  | 1.5271 | 33.658 |  |  |  |  | Ave Residual |  | #DIV/0! |  |  |  | #DIV/0! | #DIV/0!
[6 empty] | Slope: | 0.01605 |  | 0 |  |  | 1.5271 | 33.658 | [6 empty] | Slope: | #DIV/0! |  |  | #DIV/0! | #DIV/0!
[6 empty] | Intercept: | 1.5271 |  | 0 |  |  | 1.5271 | 33.658 | [6 empty] | Intercept: | #DIV/0! |  |  | #DIV/0! | #DIV/0!
[6 empty] | Rsq: | 1 |  |  |  |  | 1.5271 | 33.658 | [6 empty] | Rsq: | #DIV/0! |  |  | #DIV/0! | #DIV/0!
[12 empty] | 1.5271 | 33.658 | [10 empty] | #DIV/0! | #DIV/0!
[8 empty] | TABLE NO. 2 | [15 empty] | #DIV/0! | #DIV/0!
[8 empty] | 1024 MEAN CH# |  | CONVERTED VALUES
[8 empty] | to 256 REL. CH# |  | CAN BE COPIED TO
[8 empty] | CONVERSION |  | THE CH# COLUMN BY
[8 empty] | 1024 CH# | 256 CH# | SELECTING THE CELLS
[9 empty] | #NUM! | TO BE COPIED; THEN,
[9 empty] | #NUM! | CLICKING [COPY],
[9 empty] | #NUM! | [PASTE SPECIAL], AND
[9 empty] | #NUM! | FINALLY [PASTE VALUE]
#NUM!
#NUM!
#NUM!
#NUM!
[8 empty] | TABLE NO. 3 |  | TABLE NO. 5
[8 empty] | 104 MEAN CH# |  | Determination of the
[8 empty] | to 256 REL. CH# |  | MEFL/CH# for the
[8 empty] | CONVERSION |  | normalization cell or particle
[8 empty] | 104 CH# | 256 CH# | 256 CH# | 104 CH# | Calc. MEFL | MEFL/CH#
[9 empty] | #NUM! | 0 | 1 | 33.658 | 33.658
[9 empty] | #NUM! | 0 | 1 | 33.658 | 33.658
[9 empty] | #NUM! | 0 | 1 | 33.658 | 33.658
[9 empty] | #NUM! | 0 | 1 | 33.658 | 33.658
[9 empty] | #NUM! | 0 | 1 | 33.658 | 33.658
#NUM!
[9 empty] | #NUM! | TABLE NO. 6
Rainbow Calibration Particles (RCP-30-5A) |  |  |  | Lot No.: |  | File # |  |  | #NUM! | Determination of New MEFL
Acceptable: | [9 empty] | values for RCP-30-5A
Action taken if not linear: |  |  | By: |  |  | Date: |  | TABLE NO. 4 |  | 256 CH# | 104 CH# | New MEFL
[8 empty] | 105 MEAN CH# |  |  | 1 | 33.658
[8 empty] | to 256 REL. CH# |  |  | 1 | 33.658
[8 empty] | CONVERSION |  |  | 1 | 33.658
[8 empty] | 105 CH# | 256 CH# |  | 1 | 33.658
[9 empty] | #NUM! |  | 1 | 33.658
[9 empty] | #NUM! |  | 1 | 33.658
[9 empty] | #NUM! |  | 1 | 33.658
[9 empty] | #NUM! |  | 1 | 33.658
#NUM!
#NUM!
#NUM!
#NUM!
Note on J20: Use this Table to convert Beckman-Coulter 1024 Mean CH # to 256 Relative CH#
Note on J35: Use this Table to convert BD-FACS 104 Mean CH # to 256 Relative CH#
Note on J50: Use this Table to convert BD-FACS Canto 105 Mean CH # to 384 Relative CH#

## MEPE
TYPE THE NAME OF YOUR LAB HERE
| PMT LINEARITY QC RECORD | [12 empty] | Normalization Graph for Instrument B
[8 empty] | TABLE NO. 1 |  | CROSS CALIBRATION TABLE
| PEAK # | CH # | MEPE | MEPE LOG | CALC. | RESIDUAL | CALC. MEPE | 1024 REL. CH# |  | FOR UNKNOWN SAMPLES |  |  |  | PEAK # | CH # | MEPE | MEPE LOG | CALC. | RESIDUAL | CALC. MEPE | CROSS CALIBRATION TABLE
| 1 | 19.82 |  |  | 1.7911 |  | 61.8104 | to 256 REL. CH# |  | Sample | CH# | Calc. | Calc. MEPE | 1 | 0 | 29.8287 | 1.4746 | #DIV/0! | #DIV/0! | #DIV/0! | FOR NORMALIZATION GRAPH
| 2 | 71.82 | 418 | 2.6212 | 2.6212 | 0.02631% | 418.0664 | CONVERSION |  |  |  | 1.4746 | 29.8287 | 2 | 0 | 29.8287 | 1.4746 | #DIV/0! | #DIV/0! | #DIV/0! | Sample | CH# | Calc. | Calc. MEPE
| 3 | 100.23 | 1188 | 3.0748 | 3.0748 | 0.001139% | 1187.9904 | 1024 CH# | 256 CH# |  |  | 1.4746 | 29.8287 | 3 | 0 | 29.8287 | 1.4746 | #DIV/0! | #DIV/0! | #DIV/0! |  | 200 | #DIV/0! | #DIV/0!
| 4 | 129.19 | 3445 | 3.5372 | 3.5372 | 0.007858% | 3444.7795 |  | 0 |  |  | 1.4746 | 29.8287 | 4 | 0 | 29.8287 | 1.4746 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
| 5 | 162.81 | 11858 | 4.074 | 4.0739 | 0.0256% | 11855.1529 |  | 0 |  |  | 1.4746 | 29.8287 | 5 | 0 | 29.8287 | 1.4746 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
| 6 | 192.89 | 35821 | 4.5541 | 4.5541 | 0.0002579% | 35820.9031 |  | 0 |  |  | 1.4746 | 29.8287 | 6 | 0 | 29.8287 | 1.4746 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
| 7 | 222.95 | 108150 | 5.034 | 5.034 | 0.003989% | 108155.0003 |  | 0 |  |  | 1.4746 | 29.8287 | 7 | 0 | 29.8287 | 1.4746 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
| 8 | 245.53 | 248022 | 5.3945 | 5.3945 | 0.008848% | 248049.259 |  | 0 |  |  | 1.4746 | 29.8287 | 8 | 0 | 29.8287 | 1.4746 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
|  |  |  | Ave Residual |  | 0.01057% |  |  | 0 |  |  | 1.4746 | 29.8287 |  |  |  | Ave Residual |  | #DIV/0! |  |  |  | #DIV/0! | #DIV/0!
[6 empty] | Slope: | 0.015965 |  | 0 |  |  | 1.4746 | 29.8287 | [5 empty] | Slope: | #DIV/0! |  |  | #DIV/0! | #DIV/0!
[6 empty] | Intercept: | 1.4746 |  | 0 |  |  | 1.4746 | 29.8287 | [5 empty] | Intercept: | #DIV/0! |  |  | #DIV/0! | #DIV/0!
[6 empty] | Rsq: | 1 |  |  |  |  | 1.4746 | 29.8287 | [5 empty] | Rsq: | #DIV/0! |  |  | #DIV/0! | #DIV/0!
[12 empty] | 1.4746 | 29.8287 | [9 empty] | #DIV/0! | #DIV/0!
[8 empty] | TABLE NO. 2 | [14 empty] | #DIV/0! | #DIV/0!
[8 empty] | 1024 MEAN CH# |  | CONVERTED VALUES
[7 empty] | 21 | to 256 REL. CH# |  | CAN BE COPIED TO
[7 empty] | 56.5 | CONVERSION |  | THE CH# COLUMN BY | [9 empty] | 21
[8 empty] | 1024 CH# | 256 CH# | SELECTING THE CELLS | [9 empty] | 56.5
[9 empty] | #NUM! | TO BE COPIED; THEN,
[9 empty] | #NUM! | CLICKING [COPY],
[9 empty] | #NUM! | [PASTE SPECIAL], AND
[9 empty] | #NUM! | FINALLY [PASTE VALUE]
#NUM!
#NUM!
#NUM!
#NUM!
[8 empty] | TABLE NO. 3 |  | TABLE NO. 5
[8 empty] | 104 MEAN CH# |  | Determination of the
[8 empty] | to 256 REL. CH# |  | MEPE/CH# for the
[8 empty] | CONVERSION |  | normalization cell or particle
[8 empty] | 104 CH# | 256 CH# | 256 CH# | 104 CH# | Calc. MEPE | MEPE/CH#
[9 empty] | #NUM! | 0 | 1 | 29.8287 | 29.8287
[9 empty] | #NUM! | 0 | 1 | 29.8287 | 29.8287
[9 empty] | #NUM! | 0 | 1 | 29.8287 | 29.8287
[9 empty] | #NUM! | 0 | 1 | 29.8287 | 29.8287
[9 empty] | #NUM! | 0 | 1 | 29.8287 | 29.8287
#NUM!
[9 empty] | #NUM! | TABLE NO. 6
Rainbow Calibration Particles (RCP-30-5A) |  |  |  | Lot No.: |  | File # |  |  | #NUM! | Determination of New MEPE
Acceptable: | [9 empty] | values for RCP-30-5A
Action taken if not linear: |  |  | By: |  |  | Date: |  | TABLE NO. 4 |  | 256 CH# | 104 CH# | New MEPE
[8 empty] | 105 MEAN CH# |  |  | 1 | 29.8287
[8 empty] | to 256 REL. CH# |  |  | 1 | 29.8287
[8 empty] | CONVERSION |  |  | 1 | 29.8287
[8 empty] | 105 CH# | 256 CH# |  | 1 | 29.8287
[9 empty] | #NUM! |  | 1 | 29.8287
[9 empty] | #NUM! |  | 1 | 29.8287
[9 empty] | #NUM! |  | 1 | 29.8287
[9 empty] | #NUM! |  | 1 | 29.8287
#NUM!
#NUM!
#NUM!
#NUM!
Note on J20: Use this Table to convert Beckman-Coulter 1024 Mean CH # to 256 Relative CH#
Note on J35: Use this Table to convert BD-FACS 104 Mean CH # to 256 Relative CH#
Note on T5: RCP-30-5 Relative Channel Numbers obtained with your Instrument in 256 Channel Scale.
Note on J50: Use this Table to convert BD-FACS Canto 105 Mean CH # to 384 Relative CH#

## MEPTR
TYPE THE NAME OF YOUR LAB HERE
| PMT LINEARITY QC RECORD | [12 empty] | Normalization Graph for Instrument B
[8 empty] | TABLE NO. 1 |  | CROSS CALIBRATION TABLE
[8 empty] | 1024 REL. CH# |  | FOR UNKNOWN SAMPLES |  |  |  |  | PEAK # | CH # | MEPTR | MEPTR LOG | CALC. | RESIDUAL | CALC. MEPTR | CROSS CALIBRATION TABLE
| PEAK # | CH # | MEPTR | MEPTR LOG | CALC. | RESIDUAL | CALC. MEPTR | to 256 REL. CH# |  | Sample | CH# | Calc. | Calc. MEPTR |  | 1 | 0 | 15.0784 | 1.1784 | #DIV/0! | #DIV/0! | #DIV/0! | FOR NORMALIZATION GRAPH
| 1 | 5.53 |  |  | 1.2696 |  | 18.6052 | CONVERSION |  |  |  | 1.1784 | 15.0784 |  | 2 | 0 | 15.0784 | 1.1784 | #DIV/0! | #DIV/0! | #DIV/0! | Sample | CH# | Calc. | Calc. MEPTR
| 2 | 65.51 | 182 | 2.2601 | 2.2597 | 0.1771% | 181.8324 | 1024 CH# | 256 CH# |  |  | 1.1784 | 15.0784 |  | 3 | 0 | 15.0784 | 1.1784 | #DIV/0! | #DIV/0! | #DIV/0! |  | 200 | #DIV/0! | #DIV/0!
| 3 | 92.77 | 512 | 2.7093 | 2.7096 | 0.1323% | 512.4228 |  | 0 |  |  | 1.1784 | 15.0784 |  | 4 | 0 | 15.0784 | 1.1784 | #DIV/0! | #DIV/0! | #DIV/0! |  | 125 | #DIV/0! | #DIV/0!
| 4 | 121.09 | 1503 | 3.177 | 3.1771 | 0.03877% | 1503.4264 |  | 0 |  |  | 1.1784 | 15.0784 |  | 5 | 0 | 15.0784 | 1.1784 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
| 5 | 155.42 | 5542 | 3.7437 | 3.7437 | 0.01902% | 5542.9086 |  | 0 |  |  | 1.1784 | 15.0784 |  | 6 | 0 | 15.0784 | 1.1784 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
| 6 | 185.91 | 17662 | 4.247 | 4.247 | 0.007101% | 17660.7735 |  | 0 |  |  | 1.1784 | 15.0784 |  | 7 | 0 | 15.0784 | 1.1784 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
| 7 | 218.88 | 61847 | 4.7913 | 4.7912 | 0.02123% | 61832.5187 |  | 0 |  |  | 1.1784 | 15.0784 |  | 8 | 0 | 15.0784 | 1.1784 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
| 8 | 246.95 | 179707 | 5.2546 | 5.2545 | 0.003976% | 179698.3543 |  | 0 |  |  | 1.1784 | 15.0784 |  |  |  |  | Ave Residual |  | #DIV/0! |  |  |  | #DIV/0! | #DIV/0!
|  |  |  | Ave Residual |  | 0.05707% |  |  | 0 |  |  | 1.1784 | 15.0784 | [6 empty] | Slope: | #DIV/0! |  |  | #DIV/0! | #DIV/0!
[6 empty] | Slope: | 0.016506 |  | 0 |  |  | 1.1784 | 15.0784 | [6 empty] | Intercept: | #DIV/0! |  |  | #DIV/0! | #DIV/0!
[6 empty] | Intercept: | 1.1784 |  |  |  |  | 1.1784 | 15.0784 | [6 empty] | Rsq: | #DIV/0! |  |  | #DIV/0! | #DIV/0!
[6 empty] | Rsq: | 1 |  |  |  |  | 1.1784 | 15.0784 | [10 empty] | #DIV/0! | #DIV/0!
[8 empty] | TABLE NO. 2 | [15 empty] | #DIV/0! | #DIV/0!
[8 empty] | 1024 MEAN CH# |  | CONVERTED VALUES
[8 empty] | to 256 REL. CH# |  | CAN BE COPIED TO
[8 empty] | CONVERSION |  | THE CH# COLUMN BY
[8 empty] | 1024 CH# | 256 CH# | SELECTING THE CELLS
[9 empty] | #NUM! | TO BE COPIED; THEN,
[9 empty] | #NUM! | CLICKING [COPY],
[9 empty] | #NUM! | [PASTE SPECIAL], AND
[9 empty] | #NUM! | FINALLY [PASTE VALUE]
#NUM!
#NUM!
#NUM!
#NUM!
[8 empty] | TABLE NO. 3 |  | TABLE NO. 5
[8 empty] | 104 MEAN CH# |  | Determination of the
[8 empty] | to 256 REL. CH# |  | MEPTR/CH# for the
[8 empty] | CONVERSION |  | normalization cell or particle
[8 empty] | 104 CH# | 256 CH# | 256 CH# | 104 CH# | Calc. MEPTR | MEPTR/CH#
[9 empty] | #NUM! | 0 | 1 | 15.0784 | 15.0784
[9 empty] | #NUM! | 0 | 1 | 15.0784 | 15.0784
[9 empty] | #NUM! | 0 | 1 | 15.0784 | 15.0784
[9 empty] | #NUM! | 0 | 1 | 15.0784 | 15.0784
[9 empty] | #NUM! | 0 | 1 | 15.0784 | 15.0784
#NUM!
[9 empty] | #NUM! | TABLE NO. 6
[9 empty] | #NUM! | Determination of New MEPTR
Rainbow Calibration Particles (RCP-30-5A) |  |  |  | Lot No.: |  | File # |  |  |  | values for RCP-30-5A
Acceptable:
[8 empty] | TABLE NO. 4 |  | 256 CH# | 104 CH# | New MEPTR
Action taken if not linear: |  |  | By: |  |  | Date: |  | 105 MEAN CH# |  |  | 1 | 15.0784
[8 empty] | to 256 REL. CH# |  |  | 1 | 15.0784
[8 empty] | CONVERSION |  |  | 1 | 15.0784
[8 empty] | 105 CH# | 256 CH# |  | 1 | 15.0784
[9 empty] | #NUM! |  | 1 | 15.0784
[9 empty] | #NUM! |  | 1 | 15.0784
[9 empty] | #NUM! |  | 1 | 15.0784
[9 empty] | #NUM! |  | 1 | 15.0784
#NUM!
#NUM!
#NUM!
#NUM!
Note on J20: Use this Table to convert Beckman-Coulter 1024 Mean CH # to 256 Relative CH#
Note on J35: Use this Table to convert BD-FACS 104 Mean CH # to 256 Relative CH#
Note on J50: Use this Table to convert BD-FACS Canto 105 Mean CH # to 384 Relative CH#

## MECY
TYPE THE NAME OF YOUR LAB HERE
| PMT LINEARITY QC RECORD | [12 empty] | Normalization Graph for Instrument B
[8 empty] | TABLE NO. 1 |  | CROSS CALIBRATION TABLE
| PEAK # | CH # | MECY | MECY LOG | CALC. | RESIDUAL | CALC. MECY | 1024 REL. CH# |  | FOR UNKNOWN SAMPLES |  |  |  |  | PEAK # | CH # | MECY | MECY LOG | CALC. | RESIDUAL | CALC. MECY | CROSS CALIBRATION TABLE
| 1 | 7.72 |  |  | 2.3262 |  | 211.9471 | to 256 REL. CH# |  | Sample | CH# | Calc. | Calc. MECY |  | 1 | 0 | 160.6608 | 2.2059 | #DIV/0! | #DIV/0! | #DIV/0! | FOR NORMALIZATION GRAPH
| 2 | 58.28 | 1301 | 3.1143 | 3.1142 | 0.02043% | 1300.8095 | CONVERSION |  |  |  | 2.2059 | 160.6608 |  | 2 | 0 | 160.6608 | 2.2059 | #DIV/0! | #DIV/0! | #DIV/0! | Sample | CH# | Calc. | Calc. MECY
| 3 | 83.88 | 3260 | 3.5132 | 3.5132 | 0.006702% | 3259.8233 | 1024 CH# | 256 CH# |  |  | 2.2059 | 160.6608 |  | 3 | 0 | 160.6608 | 2.2059 | #DIV/0! | #DIV/0! | #DIV/0! |  | 200 | #DIV/0! | #DIV/0!
| 4 | 111.18 | 8681 | 3.9386 | 3.9387 | 0.02525% | 8682.9883 |  | 0 |  |  | 2.2059 | 160.6608 |  | 4 | 0 | 160.6608 | 2.2059 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
| 5 | 146.23 | 30542 | 4.4849 | 4.4849 | 0.007131% | 30544.2491 |  | 0 |  |  | 2.2059 | 160.6608 |  | 5 | 0 | 160.6608 | 2.2059 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
| 6 | 177.77 | 94737 | 4.9765 | 4.9765 | 0.00681% | 94729.6076 |  | 0 |  |  | 2.2059 | 160.6608 |  | 6 | 0 | 160.6608 | 2.2059 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
| 7 | 214.59 | 355044 | 5.5503 | 5.5503 | 0.008927% | 355084.5088 |  | 0 |  |  | 2.2059 | 160.6608 |  | 7 | 0 | 160.6608 | 2.2059 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
| 8 | 244.57 | 1041442 | 6.0176 | 6.0176 | 0.009961% | 1041298.266 |  | 0 |  |  | 2.2059 | 160.6608 |  | 8 | 0 | 160.6608 | 2.2059 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
|  |  |  | Ave Residual |  | 0.01217% |  |  | 0 |  |  | 2.2059 | 160.6608 |  |  |  |  | Ave Residual |  | #DIV/0! |  |  |  | #DIV/0! | #DIV/0!
[6 empty] | Slope: | 0.015585 |  | 0 |  |  | 2.2059 | 160.6608 | [6 empty] | Slope: | #DIV/0! |  |  | #DIV/0! | #DIV/0!
[6 empty] | Intercept: | 2.2059 |  | 0 |  |  | 2.2059 | 160.6608 | [6 empty] | Intercept: | #DIV/0! |  |  | #DIV/0! | #DIV/0!
[6 empty] | Rsq: | 1 |  |  |  |  | 2.2059 | 160.6608 | [6 empty] | Rsq: | #DIV/0! |  |  | #DIV/0! | #DIV/0!
[12 empty] | 2.2059 | 160.6608 | [10 empty] | #DIV/0! | #DIV/0!
[8 empty] | TABLE NO. 2 | [15 empty] | #DIV/0! | #DIV/0!
[8 empty] | 1024 MEAN CH# |  | CONVERTED VALUES
[8 empty] | to 256 REL. CH# |  | CAN BE COPIED TO
[8 empty] | CONVERSION |  | THE CH# COLUMN BY
[8 empty] | 1024 CH# | 256 CH# | SELECTING THE CELLS
[9 empty] | #NUM! | TO BE COPIED; THEN,
[9 empty] | #NUM! | CLICKING [COPY],
[9 empty] | #NUM! | [PASTE SPECIAL], AND
[9 empty] | #NUM! | FINALLY [PASTE VALUE]
#NUM!
#NUM!
#NUM!
#NUM!
[8 empty] | TABLE NO. 3 |  | TABLE NO. 5
[8 empty] | 104 MEAN CH# |  | Determination of the
[8 empty] | to 256 REL. CH# |  | MECY/CH# for the
[8 empty] | CONVERSION |  | normalization cell or particle
[8 empty] | 104 CH# | 256 CH# | 256 CH# | 104 CH# | Calc. MECY | MECY/CH#
[9 empty] | #NUM! | 0 | 1 | 160.6608 | 160.6608
[9 empty] | #NUM! | 0 | 1 | 160.6608 | 160.6608
[9 empty] | #NUM! | 0 | 1 | 160.6608 | 160.6608
[9 empty] | #NUM! | 0 | 1 | 160.6608 | 160.6608
[9 empty] | #NUM! | 0 | 1 | 160.6608 | 160.6608
#NUM!
[9 empty] | #NUM! | TABLE NO. 6
Rainbow Calibration Particles (RCP-30-5A) |  |  |  | Lot No.: |  | File # |  |  | #NUM! | Determination of New MECY
Acceptable: | [9 empty] | values for RCP-30-5A
Action taken if not linear: |  |  | By: |  |  | Date: |  | TABLE NO. 4 |  | 256 CH# | 104 CH# | New MECY
[8 empty] | 105 MEAN CH# |  |  | 1 | 160.6608
[8 empty] | to 256 REL. CH# |  |  | 1 | 160.6608
[8 empty] | CONVERSION |  |  | 1 | 160.6608
[8 empty] | 105 CH# | 256 CH# |  | 1 | 160.6608
[9 empty] | #NUM! |  | 1 | 160.6608
[9 empty] | #NUM! |  | 1 | 160.6608
[9 empty] | #NUM! |  | 1 | 160.6608
[9 empty] | #NUM! |  | 1 | 160.6608
#NUM!
#NUM!
#NUM!
#NUM!
Note on J20: Use this Table to convert Beckman-Coulter 1024 Mean CH # to 256 Relative CH#
Note on J35: Use this Table to convert BD-FACS 104 Mean CH # to 256 Relative CH#
Note on J50: Use this Table to convert BD-FACS Canto 105 Mean CH # to 384 Relative CH#

## MEPCY7
TYPE THE NAME OF YOUR LAB HERE
| PMT LINEARITY QC RECORD | [12 empty] | Normalization Graph for Instrument B
[8 empty] | TABLE NO. 1 |  | CROSS CALIBRATION TABLE
| PEAK # | CH # | MEPCY7 | MEPCY7 LOG | CALC. | RESIDUAL | CALC. MEPCY7 | 1024 REL. CH# |  | FOR UNKNOWN SAMPLES |  |  |  |  | PEAK # | CH # | MEPCY7 | MEPCY7 LOG | CALC. | RESIDUAL | CALC. MEPCY7 | CROSS CALIBRATION TABLE
| 1 | [6 empty] | to 256 REL. CH# |  | Sample | CH# | Calc. | Calc. MEPCY7 |  | 1 | 0 | 188.6303 | 2.2756 | #DIV/0! | #DIV/0! | #DIV/0! | FOR NORMALIZATION GRAPH
| 2 | [6 empty] | CONVERSION |  |  |  | 2.2756 | 188.6303 |  | 2 | 0 | 188.6303 | 2.2756 | #DIV/0! | #DIV/0! | #DIV/0! | Sample | CH# | Calc. | Calc. MEPCY7
| 3 | [6 empty] | 1024 CH# | 256 CH# |  |  | 2.2756 | 188.6303 |  | 3 | 0 | 188.6303 | 2.2756 | #DIV/0! | #DIV/0! | #DIV/0! |  | 200 | #DIV/0! | #DIV/0!
| 4 | [7 empty] | 0 |  |  | 2.2756 | 188.6303 |  | 4 | 0 | 188.6303 | 2.2756 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
| 5 | [7 empty] | 0 |  |  | 2.2756 | 188.6303 |  | 5 | 0 | 188.6303 | 2.2756 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
| 6 | 159.4292 | 43612.1317 | 4.6396 | 4.6447 | 1.096% | 44126.5094 |  | 0 |  |  | 2.2756 | 188.6303 |  | 6 | 0 | 188.6303 | 2.2756 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
| 7 | 195.8556 | 157277.9997 | 5.1967 | 5.186 | 2.059% | 153458.0031 |  | 0 |  |  | 2.2756 | 188.6303 |  | 7 | 0 | 188.6303 | 2.2756 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
| 8 | 229.0613 | 471882.5796 | 5.6738 | 5.6794 | 0.9836% | 477991.4401 |  | 0 |  |  | 2.2756 | 188.6303 |  | 8 | 0 | 188.6303 | 2.2756 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
|  |  |  | Ave Residual |  | 1.38% |  |  | 0 |  |  | 2.2756 | 188.6303 |  |  |  |  | Ave Residual |  | #DIV/0! |  |  |  | #DIV/0! | #DIV/0!
[6 empty] | Slope: | 0.01486 |  | 0 |  |  | 2.2756 | 188.6303 | [6 empty] | Slope: | #DIV/0! |  |  | #DIV/0! | #DIV/0!
[6 empty] | Intercept: | 2.2756 |  | 0 |  |  | 2.2756 | 188.6303 | [6 empty] | Intercept: | #DIV/0! |  |  | #DIV/0! | #DIV/0!
[6 empty] | Rsq: | 0.99968 |  |  |  |  | 2.2756 | 188.6303 | [6 empty] | Rsq: | #DIV/0! |  |  | #DIV/0! | #DIV/0!
[12 empty] | 2.2756 | 188.6303 | [10 empty] | #DIV/0! | #DIV/0!
[8 empty] | TABLE NO. 2 | [15 empty] | #DIV/0! | #DIV/0!
[8 empty] | 1024 MEAN CH# |  | CONVERTED VALUES
[8 empty] | to 256 REL. CH# |  | CAN BE COPIED TO
[8 empty] | CONVERSION |  | THE CH# COLUMN BY
[8 empty] | 1024 CH# | 256 CH# | SELECTING THE CELLS
[9 empty] | #NUM! | TO BE COPIED; THEN,
[9 empty] | #NUM! | CLICKING [COPY],
[9 empty] | #NUM! | [PASTE SPECIAL], AND
[9 empty] | #NUM! | FINALLY [PASTE VALUE]
#NUM!
#NUM!
#NUM!
#NUM!
[8 empty] | TABLE NO. 3 |  | TABLE NO. 5
[8 empty] | 104 MEAN CH# |  | Determination of the
[8 empty] | to 256 REL. CH# |  | MEPCY7/CH# for the
[8 empty] | CONVERSION |  | normalization cell or particle
[8 empty] | 104 CH# | 256 CH# | 256 CH# | 104 CH# | Calc. MEPCY7 | MEPCY7/CH#
[9 empty] | #NUM! | 0 | 1 | 188.6303 | 188.6303
[9 empty] | #NUM! | 0 | 1 | 188.6303 | 188.6303
[9 empty] | #NUM! | 0 | 1 | 188.6303 | 188.6303
[9 empty] | #NUM! | 0 | 1 | 188.6303 | 188.6303
[9 empty] | #NUM! | 0 | 1 | 188.6303 | 188.6303
#NUM!
[9 empty] | #NUM! | TABLE NO. 6
Rainbow Calibration Particles (RCP-30-5A) |  |  |  | Lot No.: |  | File # |  |  | #NUM! | Determination of New MEPCY7
Acceptable: | [9 empty] | values for RCP-30-5A
Action taken if not linear: |  |  | By: |  |  | Date: |  | TABLE NO. 4 |  | 256 CH# | 104 CH# | New MEPCY7
[8 empty] | 105 MEAN CH# |  |  | 1 | 188.6303
[8 empty] | to 256 REL. CH# |  |  | 1 | 188.6303
[8 empty] | CONVERSION |  |  | 1 | 188.6303
[8 empty] | 105 CH# | 256 CH# |  | 1 | 188.6303
[9 empty] | #NUM! |  | 1 | 188.6303
[9 empty] | #NUM! |  | 1 | 188.6303
[9 empty] | #NUM! |  | 1 | 188.6303
[9 empty] | #NUM! |  | 1 | 188.6303
#NUM!
#NUM!
#NUM!
#NUM!
Note on J20: Use this Table to convert Beckman-Coulter 1024 Mean CH # to 256 Relative CH#
Note on J35: Use this Table to convert BD-FACS 104 Mean CH # to 256 Relative CH#
Note on J50: Use this Table to convert BD-FACS Canto 105 Mean CH # to 384 Relative CH#

## MEAP
TYPE THE NAME OF YOUR LAB HERE
| PMT LINEARITY QC RECORD | [12 empty] | Normalization Graph for Instrument B
[8 empty] | TABLE NO. 1 |  | CROSS CALIBRATION TABLE
| PEAK # | CH # | MEAP | MEAP LOG | CALC. | RESIDUAL | CALC. MEAP | 1024 REL. CH# |  | FOR UNKNOWN SAMPLES |  |  |  |  | PEAK # | CH # | MEAP | MEAP LOG | CALC. | RESIDUAL | CALC. MEAP | CROSS CALIBRATION TABLE
| 1 | 14.09 |  |  | 1.3502 |  | 22.3956 | to 256 REL. CH# |  | Sample | CH# | Calc. | Calc. MEAP |  | 1 | 0 | 13.3262 | 1.1247 | #DIV/0! | #DIV/0! | #DIV/0! | FOR NORMALIZATION GRAPH
| 2 | 83.79 | 292 | 2.4654 | 2.4654 | 0.02218% | 292.0368 | CONVERSION |  |  |  | 1.1247 | 13.3262 |  | 2 | 0 | 13.3262 | 1.1247 | #DIV/0! | #DIV/0! | #DIV/0! | Sample | CH# | Calc. | Calc. MEAP
| 3 | 114.42 | 903 | 2.9557 | 2.9556 | 0.04633% | 902.7154 | 1024 CH# | 256 CH# |  |  | 1.1247 | 13.3262 |  | 3 | 0 | 13.3262 | 1.1247 | #DIV/0! | #DIV/0! | #DIV/0! |  | 200 | #DIV/0! | #DIV/0!
| 4 | 146.51 | 2944 | 3.4689 | 3.469 | 0.02534% | 2944.596 |  | 0 |  |  | 1.1247 | 13.3262 |  | 4 | 0 | 13.3262 | 1.1247 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
| 5 | 180.44 | 10279 | 4.012 | 4.0119 | 0.002059% | 10278.8045 |  | 0 |  |  | 1.1247 | 13.3262 |  | 5 | 0 | 13.3262 | 1.1247 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
| 6 | 211.12 | 31830 | 4.5028 | 4.5029 | 0.004291% | 31831.4162 |  | 0 |  |  | 1.1247 | 13.3262 |  | 6 | 0 | 13.3262 | 1.1247 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
| 7 | 238.96 | 88779 | 4.9483 | 4.9483 | 0.003229% | 88782.2665 |  | 0 |  |  | 1.1247 | 13.3262 |  | 7 | 0 | 13.3262 | 1.1247 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
| 8 | 250.71 | 136890 | 5.1364 | 5.1363 | 0.006371% | 136879.6866 |  | 0 |  |  | 1.1247 | 13.3262 |  | 8 | 0 | 13.3262 | 1.1247 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
|  |  |  | Ave Residual |  | 0.01569% |  |  | 0 |  |  | 1.1247 | 13.3262 |  |  |  |  | Ave Residual |  | #DIV/0! |  |  |  | #DIV/0! | #DIV/0!
[6 empty] | Slope: | 0.016001 |  | 0 |  |  | 1.1247 | 13.3262 | [6 empty] | Slope: | #DIV/0! |  |  | #DIV/0! | #DIV/0!
[6 empty] | Intercept: | 1.1247 |  | 0 |  |  | 1.1247 | 13.3262 | [6 empty] | Intercept: | #DIV/0! |  |  | #DIV/0! | #DIV/0!
[6 empty] | Rsq: | 1 |  |  |  |  | 1.1247 | 13.3262 | [6 empty] | Rsq: | #DIV/0! |  |  | #DIV/0! | #DIV/0!
[12 empty] | 1.1247 | 13.3262 | [10 empty] | #DIV/0! | #DIV/0!
[8 empty] | TABLE NO. 2 | [15 empty] | #DIV/0! | #DIV/0!
[8 empty] | 1024 MEAN CH# |  | CONVERTED VALUES
[8 empty] | to 256 REL. CH# |  | CAN BE COPIED TO
[8 empty] | CONVERSION |  | THE CH# COLUMN BY
[8 empty] | 1024 CH# | 256 CH# | SELECTING THE CELLS
[9 empty] | #NUM! | TO BE COPIED; THEN,
[9 empty] | #NUM! | CLICKING [COPY],
[9 empty] | #NUM! | [PASTE SPECIAL], AND
[9 empty] | #NUM! | FINALLY [PASTE VALUE]
#NUM!
#NUM!
#NUM!
#NUM!
[8 empty] | TABLE NO. 3 |  | TABLE NO. 5
[8 empty] | 104 MEAN CH# |  | Determination of the
[8 empty] | to 256 REL. CH# |  | MEAP/CH# for the
[8 empty] | CONVERSION |  | normalization cell or particle
[8 empty] | 104 CH# | 256 CH# | 256 CH# | 104 CH# | Calc. MEAP | MEAP/CH#
[9 empty] | #NUM! | 0 | 1 | 13.3262 | 13.3262
[9 empty] | #NUM! | 0 | 1 | 13.3262 | 13.3262
[9 empty] | #NUM! | 0 | 1 | 13.3262 | 13.3262
[9 empty] | #NUM! | 0 | 1 | 13.3262 | 13.3262
[9 empty] | #NUM! | 0 | 1 | 13.3262 | 13.3262
#NUM!
[9 empty] | #NUM! | TABLE NO. 6
Rainbow Calibration Particles (RCP-30-5A) |  |  |  | Lot No.: |  | File # |  |  | #NUM! | Determination of New MEAP
Acceptable: | [9 empty] | values for RCP-30-5A
Action taken if not linear: |  |  | By: |  |  | Date: |  | TABLE NO. 4 |  | 256 CH# | 104 CH# | New MEAP
[8 empty] | 105 MEAN CH# |  |  | 1 | 13.3262
[8 empty] | to 256 REL. CH# |  |  | 1 | 13.3262
[8 empty] | CONVERSION |  |  | 1 | 13.3262
[8 empty] | 105 CH# | 256 CH# |  | 1 | 13.3262
[9 empty] | #NUM! |  | 1 | 13.3262
[9 empty] | #NUM! |  | 1 | 13.3262
[9 empty] | #NUM! |  | 1 | 13.3262
[9 empty] | #NUM! |  | 1 | 13.3262
#NUM!
#NUM!
#NUM!
#NUM!
Note on J20: Use this Table to convert Beckman-Coulter 1024 Mean CH # to 256 Relative CH#
Note on J35: Use this Table to convert BD-FACS 104 Mean CH # to 256 Relative CH#
Note on J50: Use this Table to convert BD-FACS Canto 105 Mean CH # to 384 Relative CH#

## MEAPCY7
TYPE THE NAME OF YOUR LAB HERE
| PMT LINEARITY QC RECORD | [12 empty] | Normalization Graph for Instrument B
[8 empty] | TABLE NO. 1 |  | CROSS CALIBRATION TABLE
| PEAK # | CH # | MEAPCY7 | MEAPCY7 LOG | CALC. | RESIDUAL | CALC. MEAPCY7 | 1024 REL. CH# |  | FOR UNKNOWN SAMPLES |  |  |  |  | PEAK # | CH # | MEAPCY7 | MEAPCY7 LOG | CALC. | RESIDUAL | CALC. MEAPCY7 | CROSS CALIBRATION TABLE
| 1 | 28.6181 |  |  | 1.4138 |  | 25.9286 | to 256 REL. CH# |  | Sample | CH# | Calc. | Calc. MEAPCY7 |  | 1 | 0 | 10.2235 | 1.0096 | #DIV/0! | #DIV/0! | #DIV/0! | FOR NORMALIZATION GRAPH
| 2 | 83.0986 | 152.481 | 2.1832 | 2.1832 | 4.068e-13% | 152.481 | CONVERSION |  |  |  | 1.0096 | 10.2235 |  | 2 | 0 | 10.2235 | 1.0096 | #DIV/0! | #DIV/0! | #DIV/0! | Sample | CH# | Calc. | Calc. MEAPCY7
| 3 | 109.3444 | 358.0044 | 2.5539 | 2.5539 | 0% | 358.0044 | 1024 CH# | 256 CH# |  |  | 1.0096 | 10.2235 |  | 3 | 0 | 10.2235 | 1.0096 | #DIV/0! | #DIV/0! | #DIV/0! |  | 200 | #DIV/0! | #DIV/0!
| 4 | 139.8874 | 966.6118 | 2.9853 | 2.9853 | 0% | 966.6118 |  | 0 |  |  | 1.0096 | 10.2235 |  | 4 | 0 | 10.2235 | 1.0096 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
| 5 | 173.2627 | 2861.6509 | 3.4566 | 3.4566 | 0% | 2861.6509 |  | 0 |  |  | 1.0096 | 10.2235 |  | 5 | 0 | 10.2235 | 1.0096 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
| 6 | 205.0347 | 8041.5026 | 3.9053 | 3.9053 | 1.137e-13% | 8041.5026 |  | 0 |  |  | 1.0096 | 10.2235 |  | 6 | 0 | 10.2235 | 1.0096 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
| 7 | 235.2586 | 21487.9458 | 4.3322 | 4.3322 | 0% | 21487.9458 |  | 0 |  |  | 1.0096 | 10.2235 |  | 7 | 0 | 10.2235 | 1.0096 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
| 8 | 249.7047 | 34373.1493 | 4.5362 | 4.5362 | 0% | 34373.1493 |  | 0 |  |  | 1.0096 | 10.2235 |  | 8 | 0 | 10.2235 | 1.0096 | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
|  |  |  | Ave Residual |  | 1.895e-14% |  |  | 0 |  |  | 1.0096 | 10.2235 |  |  |  |  | Ave Residual |  | #DIV/0! |  |  |  | #DIV/0! | #DIV/0!
[6 empty] | Slope: | 0.014123 |  | 0 |  |  | 1.0096 | 10.2235 | [6 empty] | Slope: | #DIV/0! |  |  | #DIV/0! | #DIV/0!
[6 empty] | Intercept: | 1.0096 |  | 0 |  |  | 1.0096 | 10.2235 | [6 empty] | Intercept: | #DIV/0! |  |  | #DIV/0! | #DIV/0!
[6 empty] | Rsq: | 1 |  |  |  |  | 1.0096 | 10.2235 | [6 empty] | Rsq: | #DIV/0! |  |  | #DIV/0! | #DIV/0!
[12 empty] | 1.0096 | 10.2235 | [10 empty] | #DIV/0! | #DIV/0!
[8 empty] | TABLE NO. 2 | [15 empty] | #DIV/0! | #DIV/0!
[8 empty] | 1024 MEAN CH# |  | CONVERTED VALUES
[8 empty] | to 256 REL. CH# |  | CAN BE COPIED TO
[8 empty] | CONVERSION |  | THE CH# COLUMN BY
[8 empty] | 1024 CH# | 256 CH# | SELECTING THE CELLS
[9 empty] | #NUM! | TO BE COPIED; THEN,
[9 empty] | #NUM! | CLICKING [COPY],
[9 empty] | #NUM! | [PASTE SPECIAL], AND
[9 empty] | #NUM! | FINALLY [PASTE VALUE]
#NUM!
#NUM!
#NUM!
#NUM!
[8 empty] | TABLE NO. 3 |  | TABLE NO. 5
[8 empty] | 104 MEAN CH# |  | Determination of the
[8 empty] | to 256 REL. CH# |  | MEAPCY7/CH# for the
[8 empty] | CONVERSION |  | normalization cell or particle
[8 empty] | 104 CH# | 256 CH# | 256 CH# | 104 CH# | Calc. MEAPCY7 | MEAPCY7/CH#
[9 empty] | #NUM! | 0 | 1 | 10.2235 | 10.2235
[9 empty] | #NUM! | 0 | 1 | 10.2235 | 10.2235
[9 empty] | #NUM! | 0 | 1 | 10.2235 | 10.2235
[9 empty] | #NUM! | 0 | 1 | 10.2235 | 10.2235
[9 empty] | #NUM! | 0 | 1 | 10.2235 | 10.2235
#NUM!
[9 empty] | #NUM! | TABLE NO. 6
Rainbow Calibration Particles (RCP-30-5A) |  |  |  | Lot No.: |  | File # |  |  | #NUM! | Determination of New MEAPCY7
Acceptable: | [9 empty] | values for RCP-30-5A
Action taken if not linear: |  |  | By: |  |  | Date: |  | TABLE NO. 4 |  | 256 CH# | 104 CH# | New MEAPCY7
[8 empty] | 105 MEAN CH# |  |  | 1 | 10.2235
[8 empty] | to 256 REL. CH# |  |  | 1 | 10.2235
[8 empty] | CONVERSION |  |  | 1 | 10.2235
[8 empty] | 105 CH# | 256 CH# |  | 1 | 10.2235
[9 empty] | #NUM! |  | 1 | 10.2235
[9 empty] | #NUM! |  | 1 | 10.2235
[9 empty] | #NUM! |  | 1 | 10.2235
[9 empty] | #NUM! |  | 1 | 10.2235
#NUM!
#NUM!
#NUM!
#NUM!
Note on J20: Use this Table to convert Beckman-Coulter 1024 Mean CH # to 256 Relative CH#
Note on J35: Use this Table to convert BD-FACS 104 Mean CH # to 256 Relative CH#
Note on J50: Use this Table to convert BD-FACS Canto 105 Mean CH # to 384 Relative CH#