## MECSB
TYPE THE NAME OF YOUR LAB HERE
| PMT LINEARITY QC RECORD | [12 empty] | Normalization Graph for Instrument B
[8 empty] | TABLE NO. 1 |  | CROSS CALIBRATION TABLE
| PEAK # | CH # | MECSB | MECSB LOG | CALC. | RESIDUAL | CALC. MECSB | 1024 REL. CH# |  | FOR UNKNOWN SAMPLES |  |  |  |  | PEAK # | CH # | MECSB | MECSB LOG | CALC. | RESIDUAL | CALC. MECSB | CROSS CALIBRATION TABLE
| 1 | [6 empty] | to 256 REL. CH# |  | Sample | CH# | Calc. | Calc. MECSB |  | 1 | 0 | 12.1595 | 1.0849 | #VALUE! | #VALUE! | #VALUE! | FOR NORMALIZATION GRAPH
| 2 | 79.3952 | 179 | 2.2529 | 2.2519 | 0.4314% | 178.6 | CONVERSION |  |  |  | 1.0849 | 12.1595 |  | 2 | 0 | 12.1595 | 1.0849 | #VALUE! | #VALUE! | #VALUE! | Sample | CH# | Calc. | Calc. MECSB
| 3 | 103.2588 | 400 | 2.6021 | 2.6026 | 0.2206% | 400.5293 | 1024 CH# | 256 CH# |  |  | 1.0849 | 12.1595 |  | 3 | 0 | 12.1595 | 1.0849 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 4 | 130.1288 | 993 | 2.9969 | 2.9976 | 0.2087% | 994.4317 |  | 0 |  |  | 1.0849 | 12.1595 |  | 4 | 0 | 12.1595 | 1.0849 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 5 | 164.6987 | 3203 | 3.5056 | 3.5057 | 0.03786% | 3203.9791 |  | 0 |  |  | 1.0849 | 12.1595 |  | 5 | 0 | 12.1595 | 1.0849 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 6 | 183.6455 | 6083 | 3.7841 | 3.7842 | 0.01465% | 6083.7764 |  | 0 |  |  | 1.0849 | 12.1595 |  | 6 | 0 | 12.1595 | 1.0849 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 7 | 215.3194 | 17777 | 4.2499 | 4.2497 | 0.03201% | 17771.4333 |  | 0 |  |  | 1.0849 | 12.1595 |  | 7 | 0 | 12.1595 | 1.0849 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 8 | 236.4291 | 36331 | 4.5603 | 4.56 | 0.06153% | 36307.5346 |  | 0 |  |  | 1.0849 | 12.1595 |  | 8 | 0 | 12.1595 | 1.0849 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
|  |  |  | Ave Residual |  | 0.1438% |  |  | 0 |  |  | 1.0849 | 12.1595 |  |  |  |  | Ave Residual |  | #VALUE! |  |  |  | #VALUE! | #VALUE!
[6 empty] | Slope: | 0.014698 |  | 0 |  |  | 1.0849 | 12.1595 | [6 empty] | Slope: | #VALUE! |  |  | #VALUE! | #VALUE!
[6 empty] | Intercept: | 1.0849 |  | 0 |  |  | 1.0849 | 12.1595 | [6 empty] | Intercept: | #VALUE! |  |  | #VALUE! | #VALUE!
[6 empty] | Rsq: | 1 |  |  |  |  | 1.0849 | 12.1595 | [6 empty] | Rsq: | #VALUE! |  |  | #VALUE! | #VALUE!
[12 empty] | 1.0849 | 12.1595 | [10 empty] | #VALUE! | #VALUE!
[8 empty] | TABLE NO. 2 | [15 empty] | #VALUE! | #VALUE!
[8 empty] | 1024 MEAN CH# |  | CONVERTED VALUES
[8 empty] | to 256 REL. CH# |  | CAN BE COPIED TO
[8 empty] | CONVERSION |  | THE CH# COLUMN BY
[8 empty] | 1024 CH# | 256 CH# | SELECTING THE CELLS
[9 empty] | #VALUE! | TO BE COPIED; THEN,
[9 empty] | #VALUE! | CLICKING [COPY],
[9 empty] | #VALUE! | [PASTE SPECIAL], AND
[9 empty] | #VALUE! | FINALLY [PASTE VALUE]
#VALUE!
#VALUE!
#VALUE!
#VALUE!
[8 empty] | TABLE NO. 3 |  | TABLE NO. 5
[8 empty] | 104 MEAN CH# |  | Determination of the
[8 empty] | to 256 REL. CH# |  | MECSB/CH# for the
[8 empty] | CONVERSION |  | normalization cell or particle
[8 empty] | 104 CH# | 256 CH# | 256 CH# | 104 CH# | Calc. MECSB | MECSB/CH#
[8 empty] | 17.4 | 79.3952 | 0 | 1 | 12.1595 | 12.1595
[8 empty] | 41.06 | 103.2588 | 0 | 1 | 12.1595 | 12.1595
[8 empty] | 107.96 | 130.1288 | 0 | 1 | 12.1595 | 12.1595
[8 empty] | 374.47 | 164.6987 | 0 | 1 | 12.1595 | 12.1595
[8 empty] | 740.39 | 183.6455 | 0 | 1 | 12.1595 | 12.1595
[8 empty] | 2314.01 | 215.3194
[8 empty] | 4945.43 | 236.4291 | TABLE NO. 6
Rainbow Calibration Particles (RCP-30-5A) |  |  |  | Lot No.: |  | File # |  |  | #VALUE! | Determination of New MECSB
Acceptable: | [9 empty] | values for RCP-30-5A
Action taken if not linear: |  |  | By: |  |  | Date: |  | TABLE NO. 4 |  | 256 CH# | 104 CH# | New MECSB
[8 empty] | 105 MEAN CH# |  |  | 1 | 12.1595
[8 empty] | to 256 REL. CH# |  |  | 1 | 12.1595
[8 empty] | CONVERSION |  |  | 1 | 12.1595
[8 empty] | 105 CH# | 256 CH# |  | 1 | 12.1595
[9 empty] | #VALUE! |  | 1 | 12.1595
[9 empty] | #VALUE! |  | 1 | 12.1595
[9 empty] | #VALUE! |  | 1 | 12.1595
[9 empty] | #VALUE! |  | 1 | 12.1595
#VALUE!
#VALUE!
#VALUE!
#VALUE!
Note on J20: Use this Table to convert Beckman-Coulter 1024 Mean CH # to 256 Relative CH#
Note on J35: Use this Table to convert BD-FACS 104 Mean CH # to 256 Relative CH#
Note on J50: Use this Table to convert BD-FACS Canto 105 Mean CH # to 384 Relative CH#

## MEBFP
TYPE THE NAME OF YOUR LAB HERE
| PMT LINEARITY QC RECORD | [12 empty] | Normalization Graph for Instrument B
[8 empty] | TABLE NO. 1 |  | CROSS CALIBRATION TABLE
| PEAK # | CH # | MEBFP | MEBFP LOG | CALC. | RESIDUAL | CALC. MEBFP | 1024 REL. CH# |  | FOR UNKNOWN SAMPLES |  |  |  |  | PEAK # | CH # | MEBFP | MEBFP LOG | CALC. | RESIDUAL | CALC. MEBFP | CROSS CALIBRATION TABLE
| 1 | 22.4159 | [5 empty] | to 256 REL. CH# |  | Sample | CH# | Calc. | Calc. MEBFP |  | 1 | 0 | 75.1854 | 1.8761 | #VALUE! | #VALUE! | #VALUE! | FOR NORMALIZATION GRAPH
| 2 | 60.5415 | 700 | 2.8451 | 2.8446 | 0.1864% | 699.146 | CONVERSION |  |  |  | 1.8761 | 75.1854 |  | 2 | 0 | 75.1854 | 1.8761 | #VALUE! | #VALUE! | #VALUE! | Sample | CH# | Calc. | Calc. MEBFP
| 3 | 84.7672 | 1705 | 3.2317 | 3.2321 | 0.1126% | 1706.4293 | 1024 CH# | 256 CH# |  |  | 1.8761 | 75.1854 |  | 3 | 0 | 75.1854 | 1.8761 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 4 | 109.6311 | 4262 | 3.6296 | 3.6298 | 0.05582% | 4263.9889 |  | 0 |  |  | 1.8761 | 75.1854 |  | 4 | 0 | 75.1854 | 1.8761 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 5 | 148.0456 | 17546 | 4.2442 | 4.2443 | 0.02941% | 17551.0433 |  | 0 |  |  | 1.8761 | 75.1854 |  | 5 | 0 | 75.1854 | 1.8761 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 6 | 167.3028 | 35669 | 4.5523 | 4.5523 | 0.01169% | 35673.3708 |  | 0 |  |  | 1.8761 | 75.1854 |  | 6 | 0 | 75.1854 | 1.8761 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 7 | 203.1057 | 133387 | 5.1251 | 5.1251 | 0.01124% | 133369.3025 |  | 0 |  |  | 1.8761 | 75.1854 |  | 7 | 0 | 75.1854 | 1.8761 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 8 | 233.7241 | 412089 | 5.615 | 5.6148 | 0.02792% | 411940.2713 |  | 0 |  |  | 1.8761 | 75.1854 |  | 8 | 0 | 75.1854 | 1.8761 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
|  |  |  | Ave Residual |  | 0.06215% |  |  | 0 |  |  | 1.8761 | 75.1854 |  |  |  |  | Ave Residual |  | #VALUE! |  |  |  | #VALUE! | #VALUE!
[6 empty] | Slope: | 0.015996 |  | 0 |  |  | 1.8761 | 75.1854 | [6 empty] | Slope: | #VALUE! |  |  | #VALUE! | #VALUE!
[6 empty] | Intercept: | 1.8761 |  | 0 |  |  | 1.8761 | 75.1854 | [6 empty] | Intercept: | #VALUE! |  |  | #VALUE! | #VALUE!
[6 empty] | Rsq: | 1 |  |  |  |  | 1.8761 | 75.1854 | [6 empty] | Rsq: | #VALUE! |  |  | #VALUE! | #VALUE!
[12 empty] | 1.8761 | 75.1854 | [10 empty] | #VALUE! | #VALUE!
[8 empty] | TABLE NO. 2 | [15 empty] | #VALUE! | #VALUE!
[8 empty] | 1024 MEAN CH# |  | CONVERTED VALUES
[8 empty] | to 256 REL. CH# |  | CAN BE COPIED TO
[8 empty] | CONVERSION |  | THE CH# COLUMN BY
[8 empty] | 1024 CH# | 256 CH# | SELECTING THE CELLS
[9 empty] | #VALUE! | TO BE COPIED; THEN,
[9 empty] | #VALUE! | CLICKING [COPY],
[9 empty] | #VALUE! | [PASTE SPECIAL], AND
[9 empty] | #VALUE! | FINALLY [PASTE VALUE]
#VALUE!
#VALUE!
#VALUE!
#VALUE!
[8 empty] | TABLE NO. 3 |  | TABLE NO. 5
[8 empty] | 104 MEAN CH# |  | Determination of the
[8 empty] | to 256 REL. CH# |  | MEBFP/CH# for the
[8 empty] | CONVERSION |  | normalization cell or particle
[8 empty] | 104 CH# | 256 CH# | 256 CH# | 104 CH# | Calc. MEBFP | MEBFP/CH#
[8 empty] | 8.83 | 60.5415 | 0 | 1 | 75.1854 | 75.1854
[8 empty] | 21.11 | 84.7672 | 0 | 1 | 75.1854 | 75.1854
[8 empty] | 51.64 | 109.6311 | 0 | 1 | 75.1854 | 75.1854
[8 empty] | 205.69 | 148.0456 | 0 | 1 | 75.1854 | 75.1854
[8 empty] | 411.25 | 167.3028 | 0 | 1 | 75.1854 | 75.1854
[8 empty] | 1491.17 | 203.1057
[8 empty] | 4486.83 | 233.7241 | TABLE NO. 6
Rainbow Calibration Particles (RCP-30-5A) |  |  |  | Lot No.: |  | File # |  |  | #VALUE! | Determination of New MEBFP
Acceptable: | [9 empty] | values for RCP-30-5A
Action taken if not linear: |  |  | By: |  |  | Date: |  | TABLE NO. 4 |  | 256 CH# | 104 CH# | New MEBFP
[8 empty] | 105 MEAN CH# |  |  | 1 | 75.1854
[8 empty] | to 256 REL. CH# |  |  | 1 | 75.1854
[8 empty] | CONVERSION |  |  | 1 | 75.1854
[8 empty] | 105 CH# | 256 CH# |  | 1 | 75.1854
[9 empty] | #VALUE! |  | 1 | 75.1854
[9 empty] | #VALUE! |  | 1 | 75.1854
[9 empty] | #VALUE! |  | 1 | 75.1854
[9 empty] | #VALUE! |  | 1 | 75.1854
#VALUE!
#VALUE!
#VALUE!
#VALUE!
Note on J20: Use this Table to convert Beckman-Coulter 1024 Mean CH # to 256 Relative CH#
Note on J35: Use this Table to convert BD-FACS 104 Mean CH # to 256 Relative CH#
Note on J50: Use this Table to convert BD-FACS Canto 105 Mean CH # to 384 Relative CH#

## MEFL
TYPE THE NAME OF YOUR LAB HERE
| PMT LINEARITY QC RECORD | [12 empty] | Normalization Graph for Instrument B
[8 empty] | TABLE NO. 1 |  | CROSS CALIBRATION TABLE
| PEAK # | CH # | MEFL | MEFL LOG | CALC. | RESIDUAL | CALC. MEFL | 1024 REL. CH# |  | FOR UNKNOWN SAMPLES |  |  |  |  | PEAK # | CH # | MEFL | MEFL LOG | CALC. | RESIDUAL | CALC. MEFL | CROSS CALIBRATION TABLE
| 1 | 22.4159 | [5 empty] | to 256 REL. CH# |  | Sample | CH# | Calc. | Calc. MEFL |  | 1 | 0 | 39.4859 | 1.5964 | #VALUE! | #VALUE! | #VALUE! | FOR NORMALIZATION GRAPH
| 2 | 77.1331 | 692 | 2.8401 | 2.8402 | 0.04425% | 692.2003 | CONVERSION |  |  |  | 1.5964 | 39.4859 |  | 2 | 0 | 39.4859 | 1.5964 | #VALUE! | #VALUE! | #VALUE! | Sample | CH# | Calc. | Calc. MEFL
| 3 | 108.1725 | 2192 | 3.3408 | 3.3408 | 0.02681% | 2191.5479 | 1024 CH# | 256 CH# |  |  | 1.5964 | 39.4859 |  | 3 | 0 | 39.4859 | 1.5964 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 4 | 135.4204 | 6028 | 3.7802 | 3.7801 | 0.01177% | 6027.3826 |  | 0 |  |  | 1.5964 | 39.4859 |  | 4 | 0 | 39.4859 | 1.5964 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 5 | 164.1136 | 17493 | 4.2429 | 4.2428 | 0.01168% | 17491.0039 |  | 0 |  |  | 1.5964 | 39.4859 |  | 5 | 0 | 39.4859 | 1.5964 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 6 | 183.3086 | 35674 | 4.5524 | 4.5523 | 0.003004% | 35672.8768 |  | 0 |  |  | 1.5964 | 39.4859 |  | 6 | 0 | 39.4859 | 1.5964 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 7 | 217.4892 | 126907 | 5.1035 | 5.1035 | 0.004517% | 126913.7371 |  | 0 |  |  | 1.5964 | 39.4859 |  | 7 | 0 | 39.4859 | 1.5964 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 8 | 239.8397 | 290983 | 5.4639 | 5.4639 | 0.008887% | 291015.5346 |  | 0 |  |  | 1.5964 | 39.4859 |  | 8 | 0 | 39.4859 | 1.5964 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
|  |  |  | Ave Residual |  | 0.01585% |  |  | 0 |  |  | 1.5964 | 39.4859 |  |  |  |  | Ave Residual |  | #VALUE! |  |  |  | #VALUE! | #VALUE!
[6 empty] | Slope: | 0.016125 |  | 0 |  |  | 1.5964 | 39.4859 | [6 empty] | Slope: | #VALUE! |  |  | #VALUE! | #VALUE!
[6 empty] | Intercept: | 1.5964 |  | 0 |  |  | 1.5964 | 39.4859 | [6 empty] | Intercept: | #VALUE! |  |  | #VALUE! | #VALUE!
[6 empty] | Rsq: | 1 |  |  |  |  | 1.5964 | 39.4859 | [6 empty] | Rsq: | #VALUE! |  |  | #VALUE! | #VALUE!
[12 empty] | 1.5964 | 39.4859 | [10 empty] | #VALUE! | #VALUE!
[8 empty] | TABLE NO. 2 | [15 empty] | #VALUE! | #VALUE!
[8 empty] | 1024 MEAN CH# |  | CONVERTED VALUES
[8 empty] | to 256 REL. CH# |  | CAN BE COPIED TO
[8 empty] | CONVERSION |  | THE CH# COLUMN BY
[8 empty] | 1024 CH# | 256 CH# | SELECTING THE CELLS
[9 empty] | #VALUE! | TO BE COPIED; THEN,
[9 empty] | #VALUE! | CLICKING [COPY],
[9 empty] | #VALUE! | [PASTE SPECIAL], AND
[9 empty] | #VALUE! | FINALLY [PASTE VALUE]
#VALUE!
#VALUE!
#VALUE!
#VALUE!
[8 empty] | TABLE NO. 3 |  | TABLE NO. 5
[8 empty] | 104 MEAN CH# |  | Determination of the
[8 empty] | to 256 REL. CH# |  | MEFL/CH# for the
[8 empty] | CONVERSION |  | normalization cell or particle
[8 empty] | 104 CH# | 256 CH# | 256 CH# | 104 CH# | Calc. MEFL | MEFL/CH#
[8 empty] | 2.24 | 22.4159 | 0 | 1 | 39.4859 | 39.4859
[8 empty] | 16.04 | 77.1331 | 0 | 1 | 39.4859 | 39.4859
[8 empty] | 49 | 108.1725 | 0 | 1 | 39.4859 | 39.4859
[8 empty] | 130.6 | 135.4204 | 0 | 1 | 39.4859 | 39.4859
[8 empty] | 366.67 | 164.1136 | 0 | 1 | 39.4859 | 39.4859
[8 empty] | 731.47 | 183.3086
[8 empty] | 2501.89 | 217.4892 | TABLE NO. 6
Rainbow Calibration Particles (RCP-30-5A) |  |  |  | Lot No.: |  | File # |  | 5591.07 | 239.8397 | Determination of New MEFL
Acceptable: | [9 empty] | values for RCP-30-5A
Action taken if not linear: |  |  | By: |  |  | Date: |  | TABLE NO. 4 |  | 256 CH# | 104 CH# | New MEFL
[8 empty] | 105 MEAN CH# |  |  | 1 | 39.4859
[8 empty] | to 256 REL. CH# |  |  | 1 | 39.4859
[8 empty] | CONVERSION |  |  | 1 | 39.4859
[8 empty] | 105 CH# | 256 CH# |  | 1 | 39.4859
[9 empty] | #VALUE! |  | 1 | 39.4859
[9 empty] | #VALUE! |  | 1 | 39.4859
[9 empty] | #VALUE! |  | 1 | 39.4859
[9 empty] | #VALUE! |  | 1 | 39.4859
#VALUE!
#VALUE!
#VALUE!
#VALUE!
Note on J20: Use this Table to convert Beckman-Coulter 1024 Mean CH # to 256 Relative CH#
Note on J35: Use this Table to convert BD-FACS 104 Mean CH # to 256 Relative CH#
Note on J50: Use this Table to convert BD-FACS Canto 105 Mean CH # to 384 Relative CH#

## MEPE
TYPE THE NAME OF YOUR LAB HERE
| PMT LINEARITY QC RECORD | [12 empty] | Normalization Graph for Instrument B
[8 empty] | TABLE NO. 1 |  | CROSS CALIBRATION TABLE
| PEAK # | CH # | MEPE | MEPE LOG | CALC. | RESIDUAL | CALC. MEPE | 1024 REL. CH# |  | FOR UNKNOWN SAMPLES |  |  |  | PEAK # | CH # | MEPE | MEPE LOG | CALC. | RESIDUAL | CALC. MEPE | CROSS CALIBRATION TABLE
| 1 | 12.1812 | [5 empty] | to 256 REL. CH# |  | Sample | CH# | Calc. | Calc. MEPE | 1 | 0 | 29.5551 | 1.4706 | #VALUE! | #VALUE! | #VALUE! | FOR NORMALIZATION GRAPH
| 2 | 77.0289 | 505 | 2.7033 | 2.7034 | 0.03361% | 505.1057 | CONVERSION |  |  |  | 1.4706 | 29.5551 | 2 | 0 | 29.5551 | 1.4706 | #VALUE! | #VALUE! | #VALUE! | Sample | CH# | Calc. | Calc. MEPE
| 3 | 111.16 | 1777 | 3.2497 | 3.2496 | 0.02489% | 1776.6691 | 1024 CH# | 256 CH# |  |  | 1.4706 | 29.5551 | 3 | 0 | 29.5551 | 1.4706 | #VALUE! | #VALUE! | #VALUE! |  | 200 | #VALUE! | #VALUE!
| 4 | 139.0951 | 4974 | 3.6967 | 3.6967 | 0.008763% | 4973.629 |  | 0 |  |  | 1.4706 | 29.5551 | 4 | 0 | 29.5551 | 1.4706 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 5 | 165.4124 | 13118 | 4.1179 | 4.1178 | 0.004699% | 13117.4155 |  | 0 |  |  | 1.4706 | 29.5551 | 5 | 0 | 29.5551 | 1.4706 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 6 | 184.7574 | 26757 | 4.4274 | 4.4274 | 0.0007946% | 26757.2167 |  | 0 |  |  | 1.4706 | 29.5551 | 6 | 0 | 29.5551 | 1.4706 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 7 | 219.1229 | 94930 | 4.9774 | 4.9774 | 0.002578% | 94932.8053 |  | 0 |  |  | 1.4706 | 29.5551 | 7 | 0 | 29.5551 | 1.4706 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 8 | 245.452 | 250470 | 5.3988 | 5.3988 | 0.004706% | 250484.6531 |  | 0 |  |  | 1.4706 | 29.5551 | 8 | 0 | 29.5551 | 1.4706 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
|  |  |  | Ave Residual |  | 0.01144% |  |  | 0 |  |  | 1.4706 | 29.5551 |  |  |  | Ave Residual |  | #VALUE! |  |  |  | #VALUE! | #VALUE!
[6 empty] | Slope: | 0.016004 |  | 0 |  |  | 1.4706 | 29.5551 | [5 empty] | Slope: | #VALUE! |  |  | #VALUE! | #VALUE!
[6 empty] | Intercept: | 1.4706 |  | 0 |  |  | 1.4706 | 29.5551 | [5 empty] | Intercept: | #VALUE! |  |  | #VALUE! | #VALUE!
[6 empty] | Rsq: | 1 |  |  |  |  | 1.4706 | 29.5551 | [5 empty] | Rsq: | #VALUE! |  |  | #VALUE! | #VALUE!
[12 empty] | 1.4706 | 29.5551 | [9 empty] | #VALUE! | #VALUE!
[8 empty] | TABLE NO. 2 | [14 empty] | #VALUE! | #VALUE!
[8 empty] | 1024 MEAN CH# |  | CONVERTED VALUES
[7 empty] | 21 | to 256 REL. CH# |  | CAN BE COPIED TO
[7 empty] | 56.5 | CONVERSION |  | THE CH# COLUMN BY | [9 empty] | 21
[8 empty] | 1024 CH# | 256 CH# | SELECTING THE CELLS | [9 empty] | 56.5
[9 empty] | #VALUE! | TO BE COPIED; THEN,
[9 empty] | #VALUE! | CLICKING [COPY],
[9 empty] | #VALUE! | [PASTE SPECIAL], AND
[9 empty] | #VALUE! | FINALLY [PASTE VALUE]
#VALUE!
#VALUE!
#VALUE!
#VALUE!
[8 empty] | TABLE NO. 3 |  | TABLE NO. 5
[8 empty] | 104 MEAN CH# |  | Determination of the
[8 empty] | to 256 REL. CH# |  | MEPE/CH# for the
[8 empty] | CONVERSION |  | normalization cell or particle
[8 empty] | 104 CH# | 256 CH# | 256 CH# | 104 CH# | Calc. MEPE | MEPE/CH#
[8 empty] | 1.55 | 12.1812 | 0 | 1 | 29.5551 | 29.5551
[8 empty] | 15.98 | 77.0289 | 0 | 1 | 29.5551 | 29.5551
[8 empty] | 54.56 | 111.16 | 0 | 1 | 29.5551 | 29.5551
[8 empty] | 149.06 | 139.0951 | 0 | 1 | 29.5551 | 29.5551
[8 empty] | 384.21 | 165.4124 | 0 | 1 | 29.5551 | 29.5551
[8 empty] | 770.61 | 184.7574
[8 empty] | 2653.35 | 219.1229 | TABLE NO. 6
Rainbow Calibration Particles (RCP-30-5A) |  |  |  | Lot No.: |  | File # |  | 6842.07 | 245.452 | Determination of New MEPE
Acceptable: | [9 empty] | values for RCP-30-5A
Action taken if not linear: |  |  | By: |  |  | Date: |  | TABLE NO. 4 |  | 256 CH# | 104 CH# | New MEPE
[8 empty] | 105 MEAN CH# |  |  | 1 | 29.5551
[8 empty] | to 256 REL. CH# |  |  | 1 | 29.5551
[8 empty] | CONVERSION |  |  | 1 | 29.5551
[8 empty] | 105 CH# | 256 CH# |  | 1 | 29.5551
[9 empty] | #VALUE! |  | 1 | 29.5551
[9 empty] | #VALUE! |  | 1 | 29.5551
[9 empty] | #VALUE! |  | 1 | 29.5551
[9 empty] | #VALUE! |  | 1 | 29.5551
#VALUE!
#VALUE!
#VALUE!
#VALUE!
Note on J20: Use this Table to convert Beckman-Coulter 1024 Mean CH # to 256 Relative CH#
Note on J35: Use this Table to convert BD-FACS 104 Mean CH # to 256 Relative CH#
Note on J50: Use this Table to convert BD-FACS Canto 105 Mean CH # to 384 Relative CH#
Note on T5: RCP-30-5 Relative Channel Numbers obtained with your Instrument in 256 Channel Scale.

## MEPTR
TYPE THE NAME OF YOUR LAB HERE
| PMT LINEARITY QC RECORD | [12 empty] | Normalization Graph for Instrument B
[8 empty] | TABLE NO. 1 |  | CROSS CALIBRATION TABLE
[8 empty] | 1024 REL. CH# |  | FOR UNKNOWN SAMPLES |  |  |  |  | PEAK # | CH # | MEPTR | MEPTR LOG | CALC. | RESIDUAL | CALC. MEPTR | CROSS CALIBRATION TABLE
| PEAK # | CH # | MEPTR | MEPTR LOG | CALC. | RESIDUAL | CALC. MEPTR | to 256 REL. CH# |  | Sample | CH# | Calc. | Calc. MEPTR |  | 1 | 0 | 14.1667 | 1.1513 | #VALUE! | #VALUE! | #VALUE! | FOR NORMALIZATION GRAPH
| 1 | 4.3639 | [5 empty] | CONVERSION |  |  |  | 1.1513 | 14.1667 |  | 2 | 0 | 14.1667 | 1.1513 | #VALUE! | #VALUE! | #VALUE! | Sample | CH# | Calc. | Calc. MEPTR
| 2 | 70.3353 | 207 | 2.316 | 2.3162 | 0.09354% | 207.1033 | 1024 CH# | 256 CH# |  |  | 1.1513 | 14.1667 |  | 3 | 0 | 14.1667 | 1.1513 | #VALUE! | #VALUE! | #VALUE! |  | 200 | #VALUE! | #VALUE!
| 3 | 104.0726 | 750 | 2.8751 | 2.875 | 0.03677% | 749.8175 |  | 0 |  |  | 1.1513 | 14.1667 |  | 4 | 0 | 14.1667 | 1.1513 | #VALUE! | #VALUE! | #VALUE! |  | 125 | #VALUE! | #VALUE!
| 4 | 132.2663 | 2198 | 3.342 | 3.3419 | 0.03556% | 2197.3986 |  | 0 |  |  | 1.1513 | 14.1667 |  | 5 | 0 | 14.1667 | 1.1513 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 5 | 158.8737 | 6063 | 3.7827 | 3.7826 | 0.02592% | 6061.6315 |  | 0 |  |  | 1.1513 | 14.1667 |  | 6 | 0 | 14.1667 | 1.1513 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 6 | 178.6493 | 12887 | 4.1102 | 4.1101 | 0.007763% | 12886.0532 |  | 0 |  |  | 1.1513 | 14.1667 |  | 7 | 0 | 14.1667 | 1.1513 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 7 | 215.0748 | 51686 | 4.7134 | 4.7134 | 0.008117% | 51690.5537 |  | 0 |  |  | 1.1513 | 14.1667 |  | 8 | 0 | 14.1667 | 1.1513 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 8 | 246.3323 | 170219 | 5.231 | 5.2311 | 0.01903% | 170258.0314 |  | 0 |  |  | 1.1513 | 14.1667 |  |  |  |  | Ave Residual |  | #VALUE! |  |  |  | #VALUE! | #VALUE!
|  |  |  | Ave Residual |  | 0.03239% |  |  | 0 |  |  | 1.1513 | 14.1667 | [6 empty] | Slope: | #VALUE! |  |  | #VALUE! | #VALUE!
[6 empty] | Slope: | 0.016562 |  | 0 |  |  | 1.1513 | 14.1667 | [6 empty] | Intercept: | #VALUE! |  |  | #VALUE! | #VALUE!
[6 empty] | Intercept: | 1.1513 |  |  |  |  | 1.1513 | 14.1667 | [6 empty] | Rsq: | #VALUE! |  |  | #VALUE! | #VALUE!
[6 empty] | Rsq: | 1 |  |  |  |  | 1.1513 | 14.1667 | [10 empty] | #VALUE! | #VALUE!
[8 empty] | TABLE NO. 2 | [15 empty] | #VALUE! | #VALUE!
[8 empty] | 1024 MEAN CH# |  | CONVERTED VALUES
[8 empty] | to 256 REL. CH# |  | CAN BE COPIED TO
[8 empty] | CONVERSION |  | THE CH# COLUMN BY
[8 empty] | 1024 CH# | 256 CH# | SELECTING THE CELLS
[9 empty] | #VALUE! | TO BE COPIED; THEN,
[9 empty] | #VALUE! | CLICKING [COPY],
[9 empty] | #VALUE! | [PASTE SPECIAL], AND
[9 empty] | #VALUE! | FINALLY [PASTE VALUE]
#VALUE!
#VALUE!
#VALUE!
#VALUE!
[8 empty] | TABLE NO. 3 |  | TABLE NO. 5
[8 empty] | 104 MEAN CH# |  | Determination of the
[8 empty] | to 256 REL. CH# |  | MEPTR/CH# for the
[8 empty] | CONVERSION |  | normalization cell or particle
[8 empty] | 104 CH# | 256 CH# | 256 CH# | 104 CH# | Calc. MEPTR | MEPTR/CH#
[8 empty] | 1.17 | 4.3639 | 0 | 1 | 14.1667 | 14.1667
[8 empty] | 12.56 | 70.3353 | 0 | 1 | 14.1667 | 14.1667
[8 empty] | 42.28 | 104.0726 | 0 | 1 | 14.1667 | 14.1667
[8 empty] | 116.59 | 132.2663 | 0 | 1 | 14.1667 | 14.1667
[8 empty] | 303.67 | 158.8737 | 0 | 1 | 14.1667 | 14.1667
[8 empty] | 618.58 | 178.6493
[8 empty] | 2293.74 | 215.0748 | TABLE NO. 6
[8 empty] | 7062.23 | 246.3323 | Determination of New MEPTR
Rainbow Calibration Particles (RCP-30-5A) |  |  |  | Lot No.: |  | File # |  |  |  | values for RCP-30-5A
Acceptable:
[8 empty] | TABLE NO. 4 |  | 256 CH# | 104 CH# | New MEPTR
Action taken if not linear: |  |  | By: |  |  | Date: |  | 105 MEAN CH# |  |  | 1 | 14.1667
[8 empty] | to 256 REL. CH# |  |  | 1 | 14.1667
[8 empty] | CONVERSION |  |  | 1 | 14.1667
[8 empty] | 105 CH# | 256 CH# |  | 1 | 14.1667
[9 empty] | #VALUE! |  | 1 | 14.1667
[9 empty] | #VALUE! |  | 1 | 14.1667
[9 empty] | #VALUE! |  | 1 | 14.1667
[9 empty] | #VALUE! |  | 1 | 14.1667
#VALUE!
#VALUE!
#VALUE!
#VALUE!
Note on J20: Use this Table to convert Beckman-Coulter 1024 Mean CH # to 256 Relative CH#
Note on J35: Use this Table to convert BD-FACS 104 Mean CH # to 256 Relative CH#
Note on J50: Use this Table to convert BD-FACS Canto 105 Mean CH # to 384 Relative CH#

## MECY
TYPE THE NAME OF YOUR LAB HERE
| PMT LINEARITY QC RECORD | [12 empty] | Normalization Graph for Instrument B
[8 empty] | TABLE NO. 1 |  | CROSS CALIBRATION TABLE
| PEAK # | CH # | MECY | MECY LOG | CALC. | RESIDUAL | CALC. MECY | 1024 REL. CH# |  | FOR UNKNOWN SAMPLES |  |  |  |  | PEAK # | CH # | MECY | MECY LOG | CALC. | RESIDUAL | CALC. MECY | CROSS CALIBRATION TABLE
| 1 | 10.1352 | [5 empty] | to 256 REL. CH# |  | Sample | CH# | Calc. | Calc. MECY |  | 1 | 0 | 136.5655 | 2.1353 | #VALUE! | #VALUE! | #VALUE! | FOR NORMALIZATION GRAPH
| 2 | 65.1435 | 1437 | 3.1575 | 3.1575 | 0.006004% | 1437.0627 | CONVERSION |  |  |  | 2.1353 | 136.5655 |  | 2 | 0 | 136.5655 | 2.1353 | #VALUE! | #VALUE! | #VALUE! | Sample | CH# | Calc. | Calc. MECY
| 3 | 97.9 | 4693 | 3.6715 | 3.6714 | 0.002711% | 4692.8925 | 1024 CH# | 256 CH# |  |  | 2.1353 | 136.5655 |  | 3 | 0 | 136.5655 | 2.1353 | #VALUE! | #VALUE! | #VALUE! |  | 200 | #VALUE! | #VALUE!
| 4 | 125.8901 | 12901 | 4.1106 | 4.1106 | 0.0008293% | 12900.8987 |  | 0 |  |  | 2.1353 | 136.5655 |  | 4 | 0 | 136.5655 | 2.1353 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 5 | 154.93 | 36837 | 4.5663 | 4.5663 | 0.003144% | 36835.7824 |  | 0 |  |  | 2.1353 | 136.5655 |  | 5 | 0 | 136.5655 | 2.1353 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 6 | 175.2017 | 76621 | 4.8843 | 4.8843 | 0.0008378% | 76620.2781 |  | 0 |  |  | 2.1353 | 136.5655 |  | 6 | 0 | 136.5655 | 2.1353 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 7 | 209.1977 | 261671 | 5.4178 | 5.4178 | 0.0003775% | 261672.2324 |  | 0 |  |  | 2.1353 | 136.5655 |  | 7 | 0 | 136.5655 | 2.1353 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 8 | 248.1753 | 1069858 | 6.0293 | 6.0293 | 0.001792% | 1069884.6191 |  | 0 |  |  | 2.1353 | 136.5655 |  | 8 | 0 | 136.5655 | 2.1353 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
|  |  |  | Ave Residual |  | 0.002242% |  |  | 0 |  |  | 2.1353 | 136.5655 |  |  |  |  | Ave Residual |  | #VALUE! |  |  |  | #VALUE! | #VALUE!
[6 empty] | Slope: | 0.015691 |  | 0 |  |  | 2.1353 | 136.5655 | [6 empty] | Slope: | #VALUE! |  |  | #VALUE! | #VALUE!
[6 empty] | Intercept: | 2.1353 |  | 0 |  |  | 2.1353 | 136.5655 | [6 empty] | Intercept: | #VALUE! |  |  | #VALUE! | #VALUE!
[6 empty] | Rsq: | 1 |  |  |  |  | 2.1353 | 136.5655 | [6 empty] | Rsq: | #VALUE! |  |  | #VALUE! | #VALUE!
[12 empty] | 2.1353 | 136.5655 | [10 empty] | #VALUE! | #VALUE!
[8 empty] | TABLE NO. 2 | [15 empty] | #VALUE! | #VALUE!
[8 empty] | 1024 MEAN CH# |  | CONVERTED VALUES
[8 empty] | to 256 REL. CH# |  | CAN BE COPIED TO
[8 empty] | CONVERSION |  | THE CH# COLUMN BY
[8 empty] | 1024 CH# | 256 CH# | SELECTING THE CELLS
[9 empty] | #VALUE! | TO BE COPIED; THEN,
[9 empty] | #VALUE! | CLICKING [COPY],
[9 empty] | #VALUE! | [PASTE SPECIAL], AND
[9 empty] | #VALUE! | FINALLY [PASTE VALUE]
#VALUE!
#VALUE!
#VALUE!
#VALUE!
[8 empty] | TABLE NO. 3 |  | TABLE NO. 5
[8 empty] | 104 MEAN CH# |  | Determination of the
[8 empty] | to 256 REL. CH# |  | MECY/CH# for the
[8 empty] | CONVERSION |  | normalization cell or particle
[8 empty] | 104 CH# | 256 CH# | 256 CH# | 104 CH# | Calc. MECY | MECY/CH#
[8 empty] | 1.44 | 10.1352 | 0 | 1 | 136.5655 | 136.5655
[8 empty] | 10.42 | 65.1435 | 0 | 1 | 136.5655 | 136.5655
[8 empty] | 33.86 | 97.9 | 0 | 1 | 136.5655 | 136.5655
[8 empty] | 92.69 | 125.8901 | 0 | 1 | 136.5655 | 136.5655
[8 empty] | 263.5 | 154.93 | 0 | 1 | 136.5655 | 136.5655
[8 empty] | 546.42 | 175.2017
[8 empty] | 1856.58 | 209.1977 | TABLE NO. 6
Rainbow Calibration Particles (RCP-30-5A) |  |  |  | Lot No.: |  | File # |  | 7546.4 | 248.1753 | Determination of New MECY
Acceptable: | [9 empty] | values for RCP-30-5A
Action taken if not linear: |  |  | By: |  |  | Date: |  | TABLE NO. 4 |  | 256 CH# | 104 CH# | New MECY
[8 empty] | 105 MEAN CH# |  |  | 1 | 136.5655
[8 empty] | to 256 REL. CH# |  |  | 1 | 136.5655
[8 empty] | CONVERSION |  |  | 1 | 136.5655
[8 empty] | 105 CH# | 256 CH# |  | 1 | 136.5655
[9 empty] | #VALUE! |  | 1 | 136.5655
[9 empty] | #VALUE! |  | 1 | 136.5655
[9 empty] | #VALUE! |  | 1 | 136.5655
[9 empty] | #VALUE! |  | 1 | 136.5655
#VALUE!
#VALUE!
#VALUE!
#VALUE!
Note on J20: Use this Table to convert Beckman-Coulter 1024 Mean CH # to 256 Relative CH#
Note on J35: Use this Table to convert BD-FACS 104 Mean CH # to 256 Relative CH#
Note on J50: Use this Table to convert BD-FACS Canto 105 Mean CH # to 384 Relative CH#

## MEPCY7
TYPE THE NAME OF YOUR LAB HERE
| PMT LINEARITY QC RECORD | [12 empty] | Normalization Graph for Instrument B
[8 empty] | TABLE NO. 1 |  | CROSS CALIBRATION TABLE
| PEAK # | CH # | MEPCY7 | MEPCY7 LOG | CALC. | RESIDUAL | CALC. MEPCY7 | 1024 REL. CH# |  | FOR UNKNOWN SAMPLES |  |  |  |  | PEAK # | CH # | MEPCY7 | MEPCY7 LOG | CALC. | RESIDUAL | CALC. MEPCY7 | CROSS CALIBRATION TABLE
| 1 | [6 empty] | to 256 REL. CH# |  | Sample | CH# | Calc. | Calc. MEPCY7 |  | 1 | 0 | 162.0598 | 2.2097 | #VALUE! | #VALUE! | #VALUE! | FOR NORMALIZATION GRAPH
| 2 | [6 empty] | CONVERSION |  |  |  | 2.2097 | 162.0598 |  | 2 | 0 | 162.0598 | 2.2097 | #VALUE! | #VALUE! | #VALUE! | Sample | CH# | Calc. | Calc. MEPCY7
| 3 | [6 empty] | 1024 CH# | 256 CH# |  |  | 2.2097 | 162.0598 |  | 3 | 0 | 162.0598 | 2.2097 | #VALUE! | #VALUE! | #VALUE! |  | 200 | #VALUE! | #VALUE!
| 4 | [7 empty] | 0 |  |  | 2.2097 | 162.0598 |  | 4 | 0 | 162.0598 | 2.2097 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 5 | [7 empty] | 0 |  |  | 2.2097 | 162.0598 |  | 5 | 0 | 162.0598 | 2.2097 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 6 | 146.5166 | 32907 | 4.5173 | 4.5173 | 0.0003062% | 32907.1048 |  | 0 |  |  | 2.2097 | 162.0598 |  | 6 | 0 | 162.0598 | 2.2097 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 7 | 179.2327 | 107787 | 5.0326 | 5.0326 | 0.0004863% | 107786.3926 |  | 0 |  |  | 2.2097 | 162.0598 |  | 7 | 0 | 162.0598 | 2.2097 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 8 | 221.7533 | 503797 | 5.7023 | 5.7023 | 0.0001866% | 503798.2346 |  | 0 |  |  | 2.2097 | 162.0598 |  | 8 | 0 | 162.0598 | 2.2097 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
|  |  |  | Ave Residual |  | 0.0003264% |  |  | 0 |  |  | 2.2097 | 162.0598 |  |  |  |  | Ave Residual |  | #VALUE! |  |  |  | #VALUE! | #VALUE!
[6 empty] | Slope: | 0.01575 |  | 0 |  |  | 2.2097 | 162.0598 | [6 empty] | Slope: | #VALUE! |  |  | #VALUE! | #VALUE!
[6 empty] | Intercept: | 2.2097 |  | 0 |  |  | 2.2097 | 162.0598 | [6 empty] | Intercept: | #VALUE! |  |  | #VALUE! | #VALUE!
[6 empty] | Rsq: | 1 |  |  |  |  | 2.2097 | 162.0598 | [6 empty] | Rsq: | #VALUE! |  |  | #VALUE! | #VALUE!
[12 empty] | 2.2097 | 162.0598 | [10 empty] | #VALUE! | #VALUE!
[8 empty] | TABLE NO. 2 | [15 empty] | #VALUE! | #VALUE!
[8 empty] | 1024 MEAN CH# |  | CONVERTED VALUES
[8 empty] | to 256 REL. CH# |  | CAN BE COPIED TO
[8 empty] | CONVERSION |  | THE CH# COLUMN BY
[8 empty] | 1024 CH# | 256 CH# | SELECTING THE CELLS
[9 empty] | #VALUE! | TO BE COPIED; THEN,
[9 empty] | #VALUE! | CLICKING [COPY],
[9 empty] | #VALUE! | [PASTE SPECIAL], AND
[9 empty] | #VALUE! | FINALLY [PASTE VALUE]
#VALUE!
#VALUE!
#VALUE!
#VALUE!
[8 empty] | TABLE NO. 3 |  | TABLE NO. 5
[8 empty] | 104 MEAN CH# |  | Determination of the
[8 empty] | to 256 REL. CH# |  | MEPCY7/CH# for the
[8 empty] | CONVERSION |  | normalization cell or particle
[8 empty] | 104 CH# | 256 CH# | 256 CH# | 104 CH# | Calc. MEPCY7 | MEPCY7/CH#
[8 empty] | 194.68 | 146.5166 | 0 | 1 | 162.0598 | 162.0598
[8 empty] | 631.7 | 179.2327 | 0 | 1 | 162.0598 | 162.0598
[8 empty] | 2916.72 | 221.7533 | 0 | 1 | 162.0598 | 162.0598
[9 empty] | #VALUE! | 0 | 1 | 162.0598 | 162.0598
[9 empty] | #VALUE! | 0 | 1 | 162.0598 | 162.0598
#VALUE!
[9 empty] | #VALUE! | TABLE NO. 6
Rainbow Calibration Particles (RCP-30-5A) |  |  |  | Lot No.: |  | File # |  |  | #VALUE! | Determination of New MEPCY7
Acceptable: | [9 empty] | values for RCP-30-5A
Action taken if not linear: |  |  | By: |  |  | Date: |  | TABLE NO. 4 |  | 256 CH# | 104 CH# | New MEPCY7
[8 empty] | 105 MEAN CH# |  |  | 1 | 162.0598
[8 empty] | to 256 REL. CH# |  |  | 1 | 162.0598
[8 empty] | CONVERSION |  |  | 1 | 162.0598
[8 empty] | 105 CH# | 256 CH# |  | 1 | 162.0598
[9 empty] | #VALUE! |  | 1 | 162.0598
[9 empty] | #VALUE! |  | 1 | 162.0598
[9 empty] | #VALUE! |  | 1 | 162.0598
[9 empty] | #VALUE! |  | 1 | 162.0598
#VALUE!
#VALUE!
#VALUE!
#VALUE!
Note on J20: Use this Table to convert Beckman-Coulter 1024 Mean CH # to 256 Relative CH#
Note on J35: Use this Table to convert BD-FACS 104 Mean CH # to 256 Relative CH#
Note on J50: Use this Table to convert BD-FACS Canto 105 Mean CH # to 384 Relative CH#

## MEAP
TYPE THE NAME OF YOUR LAB HERE
| PMT LINEARITY QC RECORD | [12 empty] | Normalization Graph for Instrument B
[8 empty] | TABLE NO. 1 |  | CROSS CALIBRATION TABLE
| PEAK # | CH # | MEAP | MEAP LOG | CALC. | RESIDUAL | CALC. MEAP | 1024 REL. CH# |  | FOR UNKNOWN SAMPLES |  |  |  |  | PEAK # | CH # | MEAP | MEAP LOG | CALC. | RESIDUAL | CALC. MEAP | CROSS CALIBRATION TABLE
| 1 | 15.3952 | [5 empty] | to 256 REL. CH# |  | Sample | CH# | Calc. | Calc. MEAP |  | 1 | 0 | 20.0167 | 1.3014 | #VALUE! | #VALUE! | #VALUE! | FOR NORMALIZATION GRAPH
| 2 | 90.9194 | 578 | 2.7619 | 2.762 | 0.02527% | 578.0929 | CONVERSION |  |  |  | 1.3014 | 20.0167 |  | 2 | 0 | 20.0167 | 1.3014 | #VALUE! | #VALUE! | #VALUE! | Sample | CH# | Calc. | Calc. MEAP
| 3 | 129.766 | 2433 | 3.3861 | 3.3861 | 0.02368% | 2432.5509 | 1024 CH# | 256 CH# |  |  | 1.3014 | 20.0167 |  | 3 | 0 | 20.0167 | 1.3014 | #VALUE! | #VALUE! | #VALUE! |  | 200 | #VALUE! | #VALUE!
| 4 | 157.2356 | 6720 | 3.8274 | 3.8274 | 0.003519% | 6719.7916 |  | 0 |  |  | 1.3014 | 20.0167 |  | 4 | 0 | 20.0167 | 1.3014 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 5 | 183.8146 | 17962 | 4.2544 | 4.2543 | 0.002594% | 17961.5436 |  | 0 |  |  | 1.3014 | 20.0167 |  | 5 | 0 | 20.0167 | 1.3014 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 6 | 198.4515 | 30866 | 4.4895 | 4.4895 | 0.0004079% | 30866.1301 |  | 0 |  |  | 1.3014 | 20.0167 |  | 6 | 0 | 20.0167 | 1.3014 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 7 | 212.3978 | 51704 | 4.7135 | 4.7135 | 0.0008054% | 51704.452 |  | 0 |  |  | 1.3014 | 20.0167 |  | 7 | 0 | 20.0167 | 1.3014 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 8 | 240.4773 | 146080 | 5.1646 | 5.1646 | 0.005664% | 146089.839 |  | 0 |  |  | 1.3014 | 20.0167 |  | 8 | 0 | 20.0167 | 1.3014 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
|  |  |  | Ave Residual |  | 0.008848% |  |  | 0 |  |  | 1.3014 | 20.0167 |  |  |  |  | Ave Residual |  | #VALUE! |  |  |  | #VALUE! | #VALUE!
[6 empty] | Slope: | 0.016065 |  | 0 |  |  | 1.3014 | 20.0167 | [6 empty] | Slope: | #VALUE! |  |  | #VALUE! | #VALUE!
[6 empty] | Intercept: | 1.3014 |  | 0 |  |  | 1.3014 | 20.0167 | [6 empty] | Intercept: | #VALUE! |  |  | #VALUE! | #VALUE!
[6 empty] | Rsq: | 1 |  |  |  |  | 1.3014 | 20.0167 | [6 empty] | Rsq: | #VALUE! |  |  | #VALUE! | #VALUE!
[12 empty] | 1.3014 | 20.0167 | [10 empty] | #VALUE! | #VALUE!
[8 empty] | TABLE NO. 2 | [15 empty] | #VALUE! | #VALUE!
[8 empty] | 1024 MEAN CH# |  | CONVERTED VALUES
[8 empty] | to 256 REL. CH# |  | CAN BE COPIED TO
[8 empty] | CONVERSION |  | THE CH# COLUMN BY
[8 empty] | 1024 CH# | 256 CH# | SELECTING THE CELLS
[9 empty] | #VALUE! | TO BE COPIED; THEN,
[9 empty] | #VALUE! | CLICKING [COPY],
[9 empty] | #VALUE! | [PASTE SPECIAL], AND
[9 empty] | #VALUE! | FINALLY [PASTE VALUE]
#VALUE!
#VALUE!
#VALUE!
#VALUE!
[8 empty] | TABLE NO. 3 |  | TABLE NO. 5
[8 empty] | 104 MEAN CH# |  | Determination of the
[8 empty] | to 256 REL. CH# |  | MEAP/CH# for the
[8 empty] | CONVERSION |  | normalization cell or particle
[8 empty] | 104 CH# | 256 CH# | 256 CH# | 104 CH# | Calc. MEAP | MEAP/CH#
[8 empty] | 1.74 | 15.3952 | 0 | 1 | 20.0167 | 20.0167
[8 empty] | 26.34 | 90.9194 | 0 | 1 | 20.0167 | 20.0167
[8 empty] | 106.56 | 129.766 | 0 | 1 | 20.0167 | 20.0167
[8 empty] | 286.29 | 157.2356 | 0 | 1 | 20.0167 | 20.0167
[8 empty] | 744.91 | 183.8146 | 0 | 1 | 20.0167 | 20.0167
[8 empty] | 1261.26 | 198.4515
[8 empty] | 2083.13 | 212.3978 | TABLE NO. 6
Rainbow Calibration Particles (RCP-30-5A) |  |  |  | Lot No.: |  | File # |  | 5720.82 | 240.4773 | Determination of New MEAP
Acceptable: | [9 empty] | values for RCP-30-5A
Action taken if not linear: |  |  | By: |  |  | Date: |  | TABLE NO. 4 |  | 256 CH# | 104 CH# | New MEAP
[8 empty] | 105 MEAN CH# |  |  | 1 | 20.0167
[8 empty] | to 256 REL. CH# |  |  | 1 | 20.0167
[8 empty] | CONVERSION |  |  | 1 | 20.0167
[8 empty] | 105 CH# | 256 CH# |  | 1 | 20.0167
[9 empty] | #VALUE! |  | 1 | 20.0167
[9 empty] | #VALUE! |  | 1 | 20.0167
[9 empty] | #VALUE! |  | 1 | 20.0167
[9 empty] | #VALUE! |  | 1 | 20.0167
#VALUE!
#VALUE!
#VALUE!
#VALUE!
Note on J20: Use this Table to convert Beckman-Coulter 1024 Mean CH # to 256 Relative CH#
Note on J35: Use this Table to convert BD-FACS 104 Mean CH # to 256 Relative CH#
Note on J50: Use this Table to convert BD-FACS Canto 105 Mean CH # to 384 Relative CH#

## MEAPCY7
TYPE THE NAME OF YOUR LAB HERE
| PMT LINEARITY QC RECORD | [12 empty] | Normalization Graph for Instrument B
[8 empty] | TABLE NO. 1 |  | CROSS CALIBRATION TABLE
| PEAK # | CH # | MEAPCY7 | MEAPCY7 LOG | CALC. | RESIDUAL | CALC. MEAPCY7 | 1024 REL. CH# |  | FOR UNKNOWN SAMPLES |  |  |  |  | PEAK # | CH # | MEAPCY7 | MEAPCY7 LOG | CALC. | RESIDUAL | CALC. MEAPCY7 | CROSS CALIBRATION TABLE
| 1 | [6 empty] | to 256 REL. CH# |  | Sample | CH# | Calc. | Calc. MEAPCY7 |  | 1 | 0 | 53.4052 | 1.7276 | #VALUE! | #VALUE! | #VALUE! | FOR NORMALIZATION GRAPH
| 2 | [6 empty] | CONVERSION |  |  |  | 1.7276 | 53.4052 |  | 2 | 0 | 53.4052 | 1.7276 | #VALUE! | #VALUE! | #VALUE! | Sample | CH# | Calc. | Calc. MEAPCY7
| 3 | 74.2892 | 718 | 2.8561 | 2.8562 | 0.02449% | 718.1157 | 1024 CH# | 256 CH# |  |  | 1.7276 | 53.4052 |  | 3 | 0 | 53.4052 | 1.7276 | #VALUE! | #VALUE! | #VALUE! |  | 200 | #VALUE! | #VALUE!
| 4 | 102.3995 | 1920 | 3.2833 | 3.2832 | 0.01564% | 1919.773 |  | 0 |  |  | 1.7276 | 53.4052 |  | 4 | 0 | 53.4052 | 1.7276 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 5 | 130.5098 | 5133 | 3.7104 | 3.7103 | 0.01777% | 5132.2206 |  | 0 |  |  | 1.7276 | 53.4052 |  | 5 | 0 | 53.4052 | 1.7276 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 6 | 147.5769 | 9324 | 3.9696 | 3.9696 | 0.003027% | 9323.742 |  | 0 |  |  | 1.7276 | 53.4052 |  | 6 | 0 | 53.4052 | 1.7276 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 7 | 159.6232 | 14210 | 4.1526 | 4.1526 | 0.001434% | 14210.1948 |  | 0 |  |  | 1.7276 | 53.4052 |  | 7 | 0 | 53.4052 | 1.7276 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 8 | 177.694 | 26735 | 4.4271 | 4.4271 | 0.01207% | 26738.2886 |  | 0 |  |  | 1.7276 | 53.4052 |  | 8 | 0 | 53.4052 | 1.7276 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
|  |  |  | Ave Residual |  | 0.01241% |  |  | 0 |  |  | 1.7276 | 53.4052 |  |  |  |  | Ave Residual |  | #VALUE! |  |  |  | #VALUE! | #VALUE!
[6 empty] | Slope: | 0.015192 |  | 0 |  |  | 1.7276 | 53.4052 | [6 empty] | Slope: | #VALUE! |  |  | #VALUE! | #VALUE!
[6 empty] | Intercept: | 1.7276 |  | 0 |  |  | 1.7276 | 53.4052 | [6 empty] | Intercept: | #VALUE! |  |  | #VALUE! | #VALUE!
[6 empty] | Rsq: | 1 |  |  |  |  | 1.7276 | 53.4052 | [6 empty] | Rsq: | #VALUE! |  |  | #VALUE! | #VALUE!
[12 empty] | 1.7276 | 53.4052 | [10 empty] | #VALUE! | #VALUE!
[8 empty] | TABLE NO. 2 | [15 empty] | #VALUE! | #VALUE!
[8 empty] | 1024 MEAN CH# |  | CONVERTED VALUES
[8 empty] | to 256 REL. CH# |  | CAN BE COPIED TO
[8 empty] | CONVERSION |  | THE CH# COLUMN BY
[8 empty] | 1024 CH# | 256 CH# | SELECTING THE CELLS
[9 empty] | #VALUE! | TO BE COPIED; THEN,
[9 empty] | #VALUE! | CLICKING [COPY],
[9 empty] | #VALUE! | [PASTE SPECIAL], AND
[9 empty] | #VALUE! | FINALLY [PASTE VALUE]
#VALUE!
#VALUE!
#VALUE!
#VALUE!
[8 empty] | TABLE NO. 3 |  | TABLE NO. 5
[8 empty] | 104 MEAN CH# |  | Determination of the
[8 empty] | to 256 REL. CH# |  | MEAPCY7/CH# for the
[8 empty] | CONVERSION |  | normalization cell or particle
[8 empty] | 104 CH# | 256 CH# | 256 CH# | 104 CH# | Calc. MEAPCY7 | MEAPCY7/CH#
[8 empty] | 14.48 | 74.2892 | 0 | 1 | 53.4052 | 53.4052
[8 empty] | 39.81 | 102.3995 | 0 | 1 | 53.4052 | 53.4052
[8 empty] | 109.45 | 130.5098 | 0 | 1 | 53.4052 | 53.4052
[8 empty] | 202.25 | 147.5769 | 0 | 1 | 53.4052 | 53.4052
[8 empty] | 311.97 | 159.6232 | 0 | 1 | 53.4052 | 53.4052
[8 empty] | 597.68 | 177.694
[9 empty] | #VALUE! | TABLE NO. 6
Rainbow Calibration Particles (RCP-30-5A) |  |  |  | Lot No.: |  | File # |  |  | #VALUE! | Determination of New MEAPCY7
Acceptable: | [9 empty] | values for RCP-30-5A
Action taken if not linear: |  |  | By: |  |  | Date: |  | TABLE NO. 4 |  | 256 CH# | 104 CH# | New MEAPCY7
[8 empty] | 105 MEAN CH# |  |  | 1 | 53.4052
[8 empty] | to 256 REL. CH# |  |  | 1 | 53.4052
[8 empty] | CONVERSION |  |  | 1 | 53.4052
[8 empty] | 105 CH# | 256 CH# |  | 1 | 53.4052
[9 empty] | #VALUE! |  | 1 | 53.4052
[9 empty] | #VALUE! |  | 1 | 53.4052
[9 empty] | #VALUE! |  | 1 | 53.4052
[9 empty] | #VALUE! |  | 1 | 53.4052
#VALUE!
#VALUE!
#VALUE!
#VALUE!
Note on J20: Use this Table to convert Beckman-Coulter 1024 Mean CH # to 256 Relative CH#
Note on J35: Use this Table to convert BD-FACS 104 Mean CH # to 256 Relative CH#
Note on J50: Use this Table to convert BD-FACS Canto 105 Mean CH # to 384 Relative CH#