## MEPB
TYPE THE NAME OF YOUR LAB HERE
| PMT LINEARITY QC RECORD | [12 empty] | Normalization Graph for Instrument B
[8 empty] | TABLE NO. 1 |  | CROSS CALIBRATION TABLE
| PEAK # | CH # | MEPB | MEPB LOG | CALC. | RESIDUAL | CALC. MEPB | 1024 REL. CH# |  | FOR UNKNOWN SAMPLES |  |  |  |  | PEAK # | CH # | MEPB | MEPB LOG | CALC. | RESIDUAL | CALC. MEPB | CROSS CALIBRATION TABLE
| 1 | 10.3276 |  |  | 1.7411 |  | 55.0912 | to 256 REL. CH# |  | Sample | CH# | Calc. | Calc. MEPB |  | 1 | 0 | 38.7125 | 1.5879 | #VALUE! | #VALUE! | #VALUE! | FOR NORMALIZATION GRAPH
| 2 | 44.9004 | 179.4908 | 2.254 | 2.254 | 0% | 179.4908 | CONVERSION |  |  |  | 1.5879 | 38.7125 |  | 2 | 0 | 38.7125 | 1.5879 | #VALUE! | #VALUE! | #VALUE! | Sample | CH# | Calc. | Calc. MEPB
| 3 | 68.2925 | 399.1303 | 2.6011 | 2.6011 | 0% | 399.1303 | 1024 CH# | 256 CH# |  |  | 1.5879 | 38.7125 |  | 3 | 0 | 38.7125 | 1.5879 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 4 | 95.3033 | 1004.3304 | 3.0019 | 3.0019 | 0% | 1004.3304 |  | 0 |  |  | 1.5879 | 38.7125 |  | 4 | 0 | 38.7125 | 1.5879 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 5 | 130.3545 | 3326.0922 | 3.5219 | 3.5219 | 0% | 3326.0922 |  | 0 |  |  | 1.5879 | 38.7125 |  | 5 | 0 | 38.7125 | 1.5879 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 6 | 148.9627 | 6280.9782 | 3.798 | 3.798 | 0% | 6280.9782 |  | 0 |  |  | 1.5879 | 38.7125 |  | 6 | 0 | 38.7125 | 1.5879 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 7 | 180.0747 | 18181.9009 | 4.2596 | 4.2596 | 0% | 18181.9009 |  | 0 |  |  | 1.5879 | 38.7125 |  | 7 | 0 | 38.7125 | 1.5879 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 8 | 201.2224 | 37446.4126 | 4.5734 | 4.5734 | 0% | 37446.4126 |  | 0 |  |  | 1.5879 | 38.7125 |  | 8 | 0 | 38.7125 | 1.5879 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
|  |  |  | Ave Residual |  | 0% |  |  | 0 |  |  | 1.5879 | 38.7125 |  |  |  |  | Ave Residual |  | #VALUE! |  |  |  | #VALUE! | #VALUE!
[6 empty] | Slope: | 0.014837 |  | 0 |  |  | 1.5879 | 38.7125 | [6 empty] | Slope: | #VALUE! |  |  | #VALUE! | #VALUE!
[6 empty] | Intercept: | 1.5879 |  | 0 |  |  | 1.5879 | 38.7125 | [6 empty] | Intercept: | #VALUE! |  |  | #VALUE! | #VALUE!
[6 empty] | Rsq: | 1 |  |  |  |  | 1.5879 | 38.7125 | [6 empty] | Rsq: | #VALUE! |  |  | #VALUE! | #VALUE!
[12 empty] | 1.5879 | 38.7125 | [10 empty] | #VALUE! | #VALUE!
[8 empty] | TABLE NO. 2 | [15 empty] | #VALUE! | #VALUE!
[8 empty] | 1024 MEAN CH# |  | CONVERTED VALUES
[8 empty] | to 256 REL. CH# |  | CAN BE COPIED TO
[8 empty] | CONVERSION |  | THE CH# COLUMN BY
[8 empty] | 1024 CH# | 256 CH# | SELECTING THE CELLS
[9 empty] | #VALUE! | TO BE COPIED; THEN,
[9 empty] | #VALUE! | CLICKING [COPY],
[9 empty] | #VALUE! | [PASTE SPECIAL], AND
[9 empty] | #VALUE! | FINALLY [PASTE VALUE]
#VALUE!
#VALUE!
#VALUE!
#VALUE!
[8 empty] | TABLE NO. 3 |  | TABLE NO. 5
[8 empty] | 104 MEAN CH# |  | Determination of the
[8 empty] | to 256 REL. CH# |  | MEPB/CH# for the
[8 empty] | CONVERSION |  | normalization cell or particle
[8 empty] | 104 CH# | 256 CH# | 256 CH# | 104 CH# | Calc. MEPB | MEPB/CH#
[9 empty] | #VALUE! | 0 | 1 | 38.7125 | 38.7125
[9 empty] | #VALUE! | 0 | 1 | 38.7125 | 38.7125
[9 empty] | #VALUE! | 0 | 1 | 38.7125 | 38.7125
[9 empty] | #VALUE! | 0 | 1 | 38.7125 | 38.7125
[9 empty] | #VALUE! | 0 | 1 | 38.7125 | 38.7125
#VALUE!
[9 empty] | #VALUE! | TABLE NO. 6
Rainbow Calibration Particles (RCP-30-5A) |  |  |  | Lot No.: |  | File # |  |  | #VALUE! | Determination of New MEPB
Acceptable: | [9 empty] | values for RCP-30-5A
Action taken if not linear: |  |  | By: |  |  | Date: |  | TABLE NO. 4 |  | 256 CH# | 104 CH# | New MEPB
[8 empty] | 105 MEAN CH# |  |  | 1 | 38.7125
[8 empty] | to 256 REL. CH# |  |  | 1 | 38.7125
[8 empty] | CONVERSION |  |  | 1 | 38.7125
[8 empty] | 105 CH# | 256 CH# |  | 1 | 38.7125
[9 empty] | #VALUE! |  | 1 | 38.7125
[9 empty] | #VALUE! |  | 1 | 38.7125
[9 empty] | #VALUE! |  | 1 | 38.7125
[9 empty] | #VALUE! |  | 1 | 38.7125
#VALUE!
#VALUE!
#VALUE!
#VALUE!
Note on J20: Use this Table to convert Beckman-Coulter 1024 Mean CH # to 256 Relative CH#
Note on J35: Use this Table to convert BD-FACS 104 Mean CH # to 256 Relative CH#
Note on J50: Use this Table to convert BD-FACS Canto 105 Mean CH # to 384 Relative CH#

## MEAmC
TYPE THE NAME OF YOUR LAB HERE
| PMT LINEARITY QC RECORD | [12 empty] | Normalization Graph for Instrument B
[8 empty] | TABLE NO. 1 |  | CROSS CALIBRATION TABLE
| PEAK # | CH # | MEAmC | MEAmC LOG | CALC. | RESIDUAL | CALC. MEAmC | 1024 REL. CH# |  | FOR UNKNOWN SAMPLES |  |  |  |  | PEAK # | CH # | MEAmC | MEAmC LOG | CALC. | RESIDUAL | CALC. MEAmC | CROSS CALIBRATION TABLE
| 1 | 15.7128 |  |  | 2.3709 |  | 234.9113 | to 256 REL. CH# |  | Sample | CH# | Calc. | Calc. MEAmC |  | 1 | 0 | 130.8077 | 2.1166 | #VALUE! | #VALUE! | #VALUE! | FOR NORMALIZATION GRAPH
| 2 | 44.6227 | 689.8184 | 2.8387 | 2.8387 | 0% | 689.8184 | CONVERSION |  |  |  | 2.1166 | 130.8077 |  | 2 | 0 | 130.8077 | 2.1166 | #VALUE! | #VALUE! | #VALUE! | Sample | CH# | Calc. | Calc. MEAmC
| 3 | 67.9571 | 1645.6638 | 3.2163 | 3.2163 | 0% | 1645.6638 | 1024 CH# | 256 CH# |  |  | 2.1166 | 130.8077 |  | 3 | 0 | 130.8077 | 2.1166 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 4 | 94.0686 | 4353.9973 | 3.6389 | 3.6389 | 0% | 4353.9973 |  | 0 |  |  | 2.1166 | 130.8077 |  | 4 | 0 | 130.8077 | 2.1166 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 5 | 132.0941 | 17956.9359 | 4.2542 | 4.2542 | 0% | 17956.9359 |  | 0 |  |  | 2.1166 | 130.8077 |  | 5 | 0 | 130.8077 | 2.1166 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 6 | 151.6381 | 37196.3751 | 4.5705 | 4.5705 | 0% | 37196.3751 |  | 0 |  |  | 2.1166 | 130.8077 |  | 6 | 0 | 130.8077 | 2.1166 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 7 | 186.621 | 136964.3615 | 5.1366 | 5.1366 | 0% | 136964.3615 |  | 0 |  |  | 2.1166 | 130.8077 |  | 7 | 0 | 130.8077 | 2.1166 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 8 | 216.8617 | 422642.7518 | 5.626 | 5.626 | 0% | 422642.7518 |  | 0 |  |  | 2.1166 | 130.8077 |  | 8 | 0 | 130.8077 | 2.1166 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
|  |  |  | Ave Residual |  | 0% |  |  | 0 |  |  | 2.1166 | 130.8077 |  |  |  |  | Ave Residual |  | #VALUE! |  |  |  | #VALUE! | #VALUE!
[6 empty] | Slope: | 0.016182 |  | 0 |  |  | 2.1166 | 130.8077 | [6 empty] | Slope: | #VALUE! |  |  | #VALUE! | #VALUE!
[6 empty] | Intercept: | 2.1166 |  | 0 |  |  | 2.1166 | 130.8077 | [6 empty] | Intercept: | #VALUE! |  |  | #VALUE! | #VALUE!
[6 empty] | Rsq: | 1 |  |  |  |  | 2.1166 | 130.8077 | [6 empty] | Rsq: | #VALUE! |  |  | #VALUE! | #VALUE!
[12 empty] | 2.1166 | 130.8077 | [10 empty] | #VALUE! | #VALUE!
[8 empty] | TABLE NO. 2 | [15 empty] | #VALUE! | #VALUE!
[8 empty] | 1024 MEAN CH# |  | CONVERTED VALUES
[8 empty] | to 256 REL. CH# |  | CAN BE COPIED TO
[8 empty] | CONVERSION |  | THE CH# COLUMN BY
[8 empty] | 1024 CH# | 256 CH# | SELECTING THE CELLS
[9 empty] | #VALUE! | TO BE COPIED; THEN,
[9 empty] | #VALUE! | CLICKING [COPY],
[9 empty] | #VALUE! | [PASTE SPECIAL], AND
[9 empty] | #VALUE! | FINALLY [PASTE VALUE]
#VALUE!
#VALUE!
#VALUE!
#VALUE!
[8 empty] | TABLE NO. 3 |  | TABLE NO. 5
[8 empty] | 104 MEAN CH# |  | Determination of the
[8 empty] | to 256 REL. CH# |  | MEBFP/CH# for the
[8 empty] | CONVERSION |  | normalization cell or particle
[8 empty] | 104 CH# | 256 CH# | 256 CH# | 104 CH# | Calc. MEAmC | MEAmC/CH#
[9 empty] | #VALUE! | 0 | 1 | 130.8077 | 130.8077
[9 empty] | #VALUE! | 0 | 1 | 130.8077 | 130.8077
[9 empty] | #VALUE! | 0 | 1 | 130.8077 | 130.8077
[9 empty] | #VALUE! | 0 | 1 | 130.8077 | 130.8077
[9 empty] | #VALUE! | 0 | 1 | 130.8077 | 130.8077
#VALUE!
[9 empty] | #VALUE! | TABLE NO. 6
Rainbow Calibration Particles (RCP-30-5A) |  |  |  | Lot No.: |  | File # |  |  | #VALUE! | Determination of New MEAmC
Acceptable: | [9 empty] | values for RCP-30-5A
Action taken if not linear: |  |  | By: |  |  | Date: |  | TABLE NO. 4 |  | 256 CH# | 104 CH# | New MEAmC
[8 empty] | 105 MEAN CH# |  |  | 1 | 130.8077
[8 empty] | to 256 REL. CH# |  |  | 1 | 130.8077
[8 empty] | CONVERSION |  |  | 1 | 130.8077
[8 empty] | 105 CH# | 256 CH# |  | 1 | 130.8077
[9 empty] | #VALUE! |  | 1 | 130.8077
[9 empty] | #VALUE! |  | 1 | 130.8077
[9 empty] | #VALUE! |  | 1 | 130.8077
[9 empty] | #VALUE! |  | 1 | 130.8077
#VALUE!
#VALUE!
#VALUE!
#VALUE!
Note on J20: Use this Table to convert Beckman-Coulter 1024 Mean CH # to 256 Relative CH#
Note on J35: Use this Table to convert BD-FACS 104 Mean CH # to 256 Relative CH#
Note on J50: Use this Table to convert BD-FACS Canto 105 Mean CH # to 384 Relative CH#

## MEFL
TYPE THE NAME OF YOUR LAB HERE
| PMT LINEARITY QC RECORD | [12 empty] | Normalization Graph for Instrument B
[8 empty] | TABLE NO. 1 |  | CROSS CALIBRATION TABLE
| PEAK # | CH # | MEFL | MEFL LOG | CALC. | RESIDUAL | CALC. MEFL | 1024 REL. CH# |  | FOR UNKNOWN SAMPLES |  |  |  |  | PEAK # | CH # | MEFL | MEFL LOG | CALC. | RESIDUAL | CALC. MEFL | CROSS CALIBRATION TABLE
| 1 | 24.3335 |  |  | 1.9604 |  | 91.2877 | to 256 REL. CH# |  | Sample | CH# | Calc. | Calc. MEFL |  | 1 | 0 | 37.0953 | 1.5693 | #VALUE! | #VALUE! | #VALUE! | FOR NORMALIZATION GRAPH
| 2 | 78.6833 | 694.3168 | 2.8416 | 2.8339 | 2.691% | 682.2296 | CONVERSION |  |  |  | 1.5693 | 37.0953 |  | 2 | 0 | 37.0953 | 1.5693 | #VALUE! | #VALUE! | #VALUE! | Sample | CH# | Calc. | Calc. MEFL
| 3 | 109.9469 | 2095.5471 | 3.3213 | 3.3364 | 4.528% | 2169.7269 | 1024 CH# | 256 CH# |  |  | 1.5693 | 37.0953 |  | 3 | 0 | 37.0953 | 1.5693 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 4 | 137.376 | 6077.98 | 3.7838 | 3.7773 | 1.723% | 5987.5729 |  | 0 |  |  | 1.5693 | 37.0953 |  | 4 | 0 | 37.0953 | 1.5693 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 5 | 167.3979 | 18079.7186 | 4.2572 | 4.2598 | 0.6048% | 18187.2959 |  | 0 |  |  | 1.5693 | 37.0953 |  | 5 | 0 | 37.0953 | 1.5693 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 6 | 186.6584 | 37488.3222 | 4.5739 | 4.5693 | 1% | 37095.9733 |  | 0 |  |  | 1.5693 | 37.0953 |  | 6 | 0 | 37.0953 | 1.5693 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 7 | 220.0097 | 127548.7059 | 5.1057 | 5.1054 | 0.06293% | 127454.3853 |  | 0 |  |  | 1.5693 | 37.0953 |  | 7 | 0 | 37.0953 | 1.5693 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 8 | 242.5317 | 292408.0034 | 5.466 | 5.4673 | 0.2455% | 293312.9328 |  | 0 |  |  | 1.5693 | 37.0953 |  | 8 | 0 | 37.0953 | 1.5693 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
|  |  |  | Ave Residual |  | 1.551% |  |  | 0 |  |  | 1.5693 | 37.0953 |  |  |  |  | Ave Residual |  | #VALUE! |  |  |  | #VALUE! | #VALUE!
[6 empty] | Slope: | 0.016072 |  | 0 |  |  | 1.5693 | 37.0953 | [6 empty] | Slope: | #VALUE! |  |  | #VALUE! | #VALUE!
[6 empty] | Intercept: | 1.5693 |  | 0 |  |  | 1.5693 | 37.0953 | [6 empty] | Intercept: | #VALUE! |  |  | #VALUE! | #VALUE!
[6 empty] | Rsq: | 0.99993 |  |  |  |  | 1.5693 | 37.0953 | [6 empty] | Rsq: | #VALUE! |  |  | #VALUE! | #VALUE!
[12 empty] | 1.5693 | 37.0953 | [10 empty] | #VALUE! | #VALUE!
[8 empty] | TABLE NO. 2 | [15 empty] | #VALUE! | #VALUE!
[8 empty] | 1024 MEAN CH# |  | CONVERTED VALUES
[8 empty] | to 256 REL. CH# |  | CAN BE COPIED TO
[8 empty] | CONVERSION |  | THE CH# COLUMN BY
[8 empty] | 1024 CH# | 256 CH# | SELECTING THE CELLS
[9 empty] | #VALUE! | TO BE COPIED; THEN,
[9 empty] | #VALUE! | CLICKING [COPY],
[9 empty] | #VALUE! | [PASTE SPECIAL], AND
[9 empty] | #VALUE! | FINALLY [PASTE VALUE]
#VALUE!
#VALUE!
#VALUE!
#VALUE!
[8 empty] | TABLE NO. 3 |  | TABLE NO. 5
[8 empty] | 104 MEAN CH# |  | Determination of the
[8 empty] | to 256 REL. CH# |  | MEFL/CH# for the
[8 empty] | CONVERSION |  | normalization cell or particle
[8 empty] | 104 CH# | 256 CH# | 256 CH# | 104 CH# | Calc. MEFL | MEFL/CH#
[9 empty] | #VALUE! | 0 | 1 | 37.0953 | 37.0953
[9 empty] | #VALUE! | 0 | 1 | 37.0953 | 37.0953
[9 empty] | #VALUE! | 0 | 1 | 37.0953 | 37.0953
[9 empty] | #VALUE! | 0 | 1 | 37.0953 | 37.0953
[9 empty] | #VALUE! | 0 | 1 | 37.0953 | 37.0953
#VALUE!
[9 empty] | #VALUE! | TABLE NO. 6
Rainbow Calibration Particles (RCP-30-5A) |  |  |  | Lot No.: |  | File # |  |  | #VALUE! | Determination of New MEFL
Acceptable: | [9 empty] | values for RCP-30-5A
Action taken if not linear: |  |  | By: |  |  | Date: |  | TABLE NO. 4 |  | 256 CH# | 104 CH# | New MEFL
[8 empty] | 105 MEAN CH# |  |  | 1 | 37.0953
[8 empty] | to 256 REL. CH# |  |  | 1 | 37.0953
[8 empty] | CONVERSION |  |  | 1 | 37.0953
[8 empty] | 105 CH# | 256 CH# |  | 1 | 37.0953
[9 empty] | #VALUE! |  | 1 | 37.0953
[9 empty] | #VALUE! |  | 1 | 37.0953
[9 empty] | #VALUE! |  | 1 | 37.0953
[9 empty] | #VALUE! |  | 1 | 37.0953
#VALUE!
#VALUE!
#VALUE!
#VALUE!
Note on J20: Use this Table to convert Beckman-Coulter 1024 Mean CH # to 256 Relative CH#
Note on J35: Use this Table to convert BD-FACS 104 Mean CH # to 256 Relative CH#
Note on J50: Use this Table to convert BD-FACS Canto 105 Mean CH # to 384 Relative CH#

## MEPE
TYPE THE NAME OF YOUR LAB HERE
| PMT LINEARITY QC RECORD | [12 empty] | Normalization Graph for Instrument B
[8 empty] | TABLE NO. 1 |  | CROSS CALIBRATION TABLE
| PEAK # | CH # | MEPE | MEPE LOG | CALC. | RESIDUAL | CALC. MEPE | 1024 REL. CH# |  | FOR UNKNOWN SAMPLES |  |  |  | PEAK # | CH # | MEPE | MEPE LOG | CALC. | RESIDUAL | CALC. MEPE | CROSS CALIBRATION TABLE
| 1 | 10.3276 |  |  | 1.777 |  | 59.8448 | to 256 REL. CH# |  | Sample | CH# | Calc. | Calc. MEPE | 1 | 0 | 40.949 | 1.6122 | #VALUE! | #VALUE! | #VALUE! | FOR NORMALIZATION GRAPH
| 2 | 68.9748 | 525.9881 | 2.721 | 2.7128 | 3.02% | 516.1572 | CONVERSION |  |  |  | 1.6122 | 40.949 | 2 | 0 | 40.949 | 1.6122 | #VALUE! | #VALUE! | #VALUE! | Sample | CH# | Calc. | Calc. MEPE
| 3 | 102.6912 | 1735.7287 | 3.2395 | 3.2507 | 3.466% | 1781.3518 | 1024 CH# | 256 CH# |  |  | 1.6122 | 40.949 | 3 | 0 | 40.949 | 1.6122 | #VALUE! | #VALUE! | #VALUE! |  | 200 | #VALUE! | #VALUE!
| 4 | 130.682 | 5023.4898 | 3.701 | 3.6974 | 0.9857% | 4981.5087 |  | 0 |  |  | 1.6122 | 40.949 | 4 | 0 | 40.949 | 1.6122 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 5 | 157.6863 | 13251.1367 | 4.1223 | 4.1282 | 1.448% | 13434.8515 |  | 0 |  |  | 1.6122 | 40.949 | 5 | 0 | 40.949 | 1.6122 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 6 | 176.821 | 27327.3893 | 4.4366 | 4.4335 | 0.6897% | 27135.6615 |  | 0 |  |  | 1.6122 | 40.949 | 6 | 0 | 40.949 | 1.6122 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 7 | 211.2699 | 96552.6808 | 4.9848 | 4.9832 | 0.3147% | 96204.6141 |  | 0 |  |  | 1.6122 | 40.949 | 7 | 0 | 40.949 | 1.6122 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 8 | 238.2695 | 259880.669 | 5.4148 | 5.414 | 0.1446% | 259412.6166 |  | 0 |  |  | 1.6122 | 40.949 | 8 | 0 | 40.949 | 1.6122 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
|  |  |  | Ave Residual |  | 1.439% |  |  | 0 |  |  | 1.6122 | 40.949 |  |  |  | Ave Residual |  | #VALUE! |  |  |  | #VALUE! | #VALUE!
[6 empty] | Slope: | 0.015956 |  | 0 |  |  | 1.6122 | 40.949 | [5 empty] | Slope: | #VALUE! |  |  | #VALUE! | #VALUE!
[6 empty] | Intercept: | 1.6122 |  | 0 |  |  | 1.6122 | 40.949 | [5 empty] | Intercept: | #VALUE! |  |  | #VALUE! | #VALUE!
[6 empty] | Rsq: | 0.99995 |  |  |  |  | 1.6122 | 40.949 | [5 empty] | Rsq: | #VALUE! |  |  | #VALUE! | #VALUE!
[12 empty] | 1.6122 | 40.949 | [9 empty] | #VALUE! | #VALUE!
[8 empty] | TABLE NO. 2 | [14 empty] | #VALUE! | #VALUE!
[8 empty] | 1024 MEAN CH# |  | CONVERTED VALUES
[7 empty] | 21 | to 256 REL. CH# |  | CAN BE COPIED TO
[7 empty] | 56.5 | CONVERSION |  | THE CH# COLUMN BY | [9 empty] | 21
[8 empty] | 1024 CH# | 256 CH# | SELECTING THE CELLS | [9 empty] | 56.5
[9 empty] | #VALUE! | TO BE COPIED; THEN,
[9 empty] | #VALUE! | CLICKING [COPY],
[9 empty] | #VALUE! | [PASTE SPECIAL], AND
[9 empty] | #VALUE! | FINALLY [PASTE VALUE]
#VALUE!
#VALUE!
#VALUE!
#VALUE!
[8 empty] | TABLE NO. 3 |  | TABLE NO. 5
[8 empty] | 104 MEAN CH# |  | Determination of the
[8 empty] | to 256 REL. CH# |  | MEPE/CH# for the
[8 empty] | CONVERSION |  | normalization cell or particle
[8 empty] | 104 CH# | 256 CH# | 256 CH# | 104 CH# | Calc. MEPE | MEPE/CH#
[9 empty] | #VALUE! | 0 | 1 | 40.949 | 40.949
[9 empty] | #VALUE! | 0 | 1 | 40.949 | 40.949
[9 empty] | #VALUE! | 0 | 1 | 40.949 | 40.949
[9 empty] | #VALUE! | 0 | 1 | 40.949 | 40.949
[9 empty] | #VALUE! | 0 | 1 | 40.949 | 40.949
#VALUE!
[9 empty] | #VALUE! | TABLE NO. 6
Rainbow Calibration Particles (RCP-30-5A) |  |  |  | Lot No.: |  | File # |  |  | #VALUE! | Determination of New MEPE
Acceptable: | [9 empty] | values for RCP-30-5A
Action taken if not linear: |  |  | By: |  |  | Date: |  | TABLE NO. 4 |  | 256 CH# | 104 CH# | New MEPE
[8 empty] | 105 MEAN CH# |  |  | 1 | 40.949
[8 empty] | to 256 REL. CH# |  |  | 1 | 40.949
[8 empty] | CONVERSION |  |  | 1 | 40.949
[8 empty] | 105 CH# | 256 CH# |  | 1 | 40.949
[9 empty] | #VALUE! |  | 1 | 40.949
[9 empty] | #VALUE! |  | 1 | 40.949
[9 empty] | #VALUE! |  | 1 | 40.949
[9 empty] | #VALUE! |  | 1 | 40.949
#VALUE!
#VALUE!
#VALUE!
#VALUE!
Note on J20: Use this Table to convert Beckman-Coulter 1024 Mean CH # to 256 Relative CH#
Note on J35: Use this Table to convert BD-FACS 104 Mean CH # to 256 Relative CH#
Note on J50: Use this Table to convert BD-FACS Canto 105 Mean CH # to 384 Relative CH#
Note on T5: RCP-30-5 Relative Channel Numbers obtained with your Instrument in 256 Channel Scale.

## MEPTR
TYPE THE NAME OF YOUR LAB HERE
| PMT LINEARITY QC RECORD | [12 empty] | Normalization Graph for Instrument B
[8 empty] | TABLE NO. 1 |  | CROSS CALIBRATION TABLE
| PEAK # | CH # | MEPTR | MEPTR LOG | CALC. | RESIDUAL | CALC. MEPTR | 1024 REL. CH# |  | FOR UNKNOWN SAMPLES |  |  |  | PEAK # | CH # | MEPTR | MEPTR LOG | CALC. | RESIDUAL | CALC. MEPTR | CROSS CALIBRATION TABLE
| 1 | 3.397 |  |  | 1.322 |  | 20.9906 | to 256 REL. CH# |  | Sample | CH# | Calc. | Calc. MEPTR | 1 | 0 | 18.4571 | 1.2662 | #VALUE! | #VALUE! | #VALUE! | FOR NORMALIZATION GRAPH
| 2 | 65.2234 | 218.1231 | 2.3387 | 2.3387 | 0% | 218.1231 | CONVERSION |  |  |  | 1.2662 | 18.4571 | 2 | 0 | 18.4571 | 1.2662 | #VALUE! | #VALUE! | #VALUE! | Sample | CH# | Calc. | Calc. MEPTR
| 3 | 97.3863 | 737.2067 | 2.8676 | 2.8676 | 0% | 737.2067 | 1024 CH# | 256 CH# |  |  | 1.2662 | 18.4571 | 3 | 0 | 18.4571 | 1.2662 | #VALUE! | #VALUE! | #VALUE! |  | 200 | #VALUE! | #VALUE!
| 4 | 126.2328 | 2197.5713 | 3.3419 | 3.3419 | 0% | 2197.5713 |  | 0 |  |  | 1.2662 | 18.4571 | 4 | 0 | 18.4571 | 1.2662 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 5 | 153.118 | 6081.9597 | 3.784 | 3.784 | 0% | 6081.9597 |  | 0 |  |  | 1.2662 | 18.4571 | 5 | 0 | 18.4571 | 1.2662 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 6 | 173.2774 | 13048.0691 | 4.1155 | 4.1155 | 0% | 13048.0691 |  | 0 |  |  | 1.2662 | 18.4571 | 6 | 0 | 18.4571 | 1.2662 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 7 | 210.0186 | 52446.8891 | 4.7197 | 4.7197 | 0% | 52446.8891 |  | 0 |  |  | 1.2662 | 18.4571 | 7 | 0 | 18.4571 | 1.2662 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 8 | 242.2891 | 177982.8839 | 5.2504 | 5.2504 | 0% | 177982.8839 |  | 0 |  |  | 1.2662 | 18.4571 | 8 | 0 | 18.4571 | 1.2662 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
|  |  |  | Ave Residual |  | 0% |  |  | 0 |  |  | 1.2662 | 18.4571 |  |  |  | Ave Residual |  | #VALUE! |  |  |  | #VALUE! | #VALUE!
[6 empty] | Slope: | 0.016444 |  | 0 |  |  | 1.2662 | 18.4571 | [5 empty] | Slope: | #VALUE! |  |  | #VALUE! | #VALUE!
[6 empty] | Intercept: | 1.2662 |  | 0 |  |  | 1.2662 | 18.4571 | [5 empty] | Intercept: | #VALUE! |  |  | #VALUE! | #VALUE!
[6 empty] | Rsq: | 1 |  |  |  |  | 1.2662 | 18.4571 | [5 empty] | Rsq: | #VALUE! |  |  | #VALUE! | #VALUE!
[12 empty] | 1.2662 | 18.4571 | [9 empty] | #VALUE! | #VALUE!
[8 empty] | TABLE NO. 2 | [14 empty] | #VALUE! | #VALUE!
[8 empty] | 1024 MEAN CH# |  | CONVERTED VALUES
[7 empty] | 21 | to 256 REL. CH# |  | CAN BE COPIED TO
[7 empty] | 56.5 | CONVERSION |  | THE CH# COLUMN BY | [9 empty] | 21
[8 empty] | 1024 CH# | 256 CH# | SELECTING THE CELLS | [9 empty] | 56.5
[9 empty] | #VALUE! | TO BE COPIED; THEN,
[9 empty] | #VALUE! | CLICKING [COPY],
[9 empty] | #VALUE! | [PASTE SPECIAL], AND
[9 empty] | #VALUE! | FINALLY [PASTE VALUE]
#VALUE!
#VALUE!
#VALUE!
#VALUE!
[8 empty] | TABLE NO. 3 |  | TABLE NO. 5
[8 empty] | 104 MEAN CH# |  | Determination of the
[8 empty] | to 256 REL. CH# |  | MEPTR/CH# for the
[8 empty] | CONVERSION |  | normalization cell or particle
[8 empty] | 104 CH# | 256 CH# | 256 CH# | 104 CH# | Calc. MEPTR | MEPTR/CH#
[9 empty] | #VALUE! | 0 | 1 | 18.4571 | 18.4571
[9 empty] | #VALUE! | 0 | 1 | 18.4571 | 18.4571
[9 empty] | #VALUE! | 0 | 1 | 18.4571 | 18.4571
[9 empty] | #VALUE! | 0 | 1 | 18.4571 | 18.4571
[9 empty] | #VALUE! | 0 | 1 | 18.4571 | 18.4571
#VALUE!
[9 empty] | #VALUE! | TABLE NO. 6
Rainbow Calibration Particles (RCP-30-5A) |  |  |  | Lot No.: |  | File # |  |  | #VALUE! | Determination of New MEPTR
Acceptable: | [9 empty] | values for RCP-30-5A
Action taken if not linear: |  |  | By: |  |  | Date: |  | TABLE NO. 4 |  | 256 CH# | 104 CH# | New MEPTR
[8 empty] | 105 MEAN CH# |  |  | 1 | 18.4571
[8 empty] | to 256 REL. CH# |  |  | 1 | 18.4571
[8 empty] | CONVERSION |  |  | 1 | 18.4571
[8 empty] | 105 CH# | 256 CH# |  | 1 | 18.4571
[9 empty] | #VALUE! |  | 1 | 18.4571
[9 empty] | #VALUE! |  | 1 | 18.4571
[9 empty] | #VALUE! |  | 1 | 18.4571
[9 empty] | #VALUE! |  | 1 | 18.4571
#VALUE!
#VALUE!
#VALUE!
#VALUE!
Note on J20: Use this Table to convert Beckman-Coulter 1024 Mean CH # to 256 Relative CH#
Note on J35: Use this Table to convert BD-FACS 104 Mean CH # to 256 Relative CH#
Note on J50: Use this Table to convert BD-FACS Canto 105 Mean CH # to 384 Relative CH#

## MECY
TYPE THE NAME OF YOUR LAB HERE
| PMT LINEARITY QC RECORD | [12 empty] | Normalization Graph for Instrument B
[8 empty] | TABLE NO. 1 |  | CROSS CALIBRATION TABLE
| PEAK # | CH # | MECY | MECY LOG | CALC. | RESIDUAL | CALC. MECY | 1024 REL. CH# |  | FOR UNKNOWN SAMPLES |  |  |  |  | PEAK # | CH # | MECY | MECY LOG | CALC. | RESIDUAL | CALC. MECY | CROSS CALIBRATION TABLE
| 1 | 7.7167 |  |  | 2.4015 |  | 252.0437 | to 256 REL. CH# |  | Sample | CH# | Calc. | Calc. MECY |  | 1 | 0 | 191.6735 | 2.2826 | #VALUE! | #VALUE! | #VALUE! | FOR NORMALIZATION GRAPH
| 2 | 56.7354 | 1434.9834 | 3.1568 | 3.1568 | 0% | 1434.9834 | CONVERSION |  |  |  | 2.2826 | 191.6735 |  | 2 | 0 | 191.6735 | 2.2826 | #VALUE! | #VALUE! | #VALUE! | Sample | CH# | Calc. | Calc. MECY
| 3 | 90.3221 | 4725.1255 | 3.6744 | 3.6744 | 0% | 4725.1255 | 1024 CH# | 256 CH# |  |  | 2.2826 | 191.6735 |  | 3 | 0 | 191.6735 | 2.2826 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 4 | 118.7958 | 12977.4579 | 4.1132 | 4.1132 | 0% | 12977.4579 |  | 0 |  |  | 2.2826 | 191.6735 |  | 4 | 0 | 191.6735 | 2.2826 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 5 | 146.737 | 34975.0986 | 4.5438 | 4.5438 | 0% | 34975.0986 |  | 0 |  |  | 2.2826 | 191.6735 |  | 5 | 0 | 191.6735 | 2.2826 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 6 | 167.0441 | 71893.2991 | 4.8567 | 4.8567 | 0% | 71893.2991 |  | 0 |  |  | 2.2826 | 191.6735 |  | 6 | 0 | 191.6735 | 2.2826 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 7 | 203.0955 | 258366.2154 | 5.4122 | 5.4122 | 0% | 258366.2154 |  | 0 |  |  | 2.2826 | 191.6735 |  | 7 | 0 | 191.6735 | 2.2826 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 8 | 244.4468 | 1120607.1115 | 6.0495 | 6.0495 | 0% | 1120607.1115 |  | 0 |  |  | 2.2826 | 191.6735 |  | 8 | 0 | 191.6735 | 2.2826 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
|  |  |  | Ave Residual |  | 0% |  |  | 0 |  |  | 2.2826 | 191.6735 |  |  |  |  | Ave Residual |  | #VALUE! |  |  |  | #VALUE! | #VALUE!
[6 empty] | Slope: | 0.01541 |  | 0 |  |  | 2.2826 | 191.6735 | [6 empty] | Slope: | #VALUE! |  |  | #VALUE! | #VALUE!
[6 empty] | Intercept: | 2.2826 |  | 0 |  |  | 2.2826 | 191.6735 | [6 empty] | Intercept: | #VALUE! |  |  | #VALUE! | #VALUE!
[6 empty] | Rsq: | 1 |  |  |  |  | 2.2826 | 191.6735 | [6 empty] | Rsq: | #VALUE! |  |  | #VALUE! | #VALUE!
[12 empty] | 2.2826 | 191.6735 | [10 empty] | #VALUE! | #VALUE!
[8 empty] | TABLE NO. 2 | [15 empty] | #VALUE! | #VALUE!
[8 empty] | 1024 MEAN CH# |  | CONVERTED VALUES
[8 empty] | to 256 REL. CH# |  | CAN BE COPIED TO
[8 empty] | CONVERSION |  | THE CH# COLUMN BY
[8 empty] | 1024 CH# | 256 CH# | SELECTING THE CELLS
[9 empty] | #VALUE! | TO BE COPIED; THEN,
[9 empty] | #VALUE! | CLICKING [COPY],
[9 empty] | #VALUE! | [PASTE SPECIAL], AND
[9 empty] | #VALUE! | FINALLY [PASTE VALUE]
#VALUE!
#VALUE!
#VALUE!
#VALUE!
[8 empty] | TABLE NO. 3 |  | TABLE NO. 5
[8 empty] | 104 MEAN CH# |  | Determination of the
[8 empty] | to 256 REL. CH# |  | MECY5.5/CH# for the
[8 empty] | CONVERSION |  | normalization cell or particle
[8 empty] | 104 CH# | 256 CH# | 256 CH# | 104 CH# | Calc. MECY | MECY/CH#
[9 empty] | #VALUE! | 0 | 1 | 191.6735 | 191.6735
[9 empty] | #VALUE! | 0 | 1 | 191.6735 | 191.6735
[9 empty] | #VALUE! | 0 | 1 | 191.6735 | 191.6735
[9 empty] | #VALUE! | 0 | 1 | 191.6735 | 191.6735
[9 empty] | #VALUE! | 0 | 1 | 191.6735 | 191.6735
#VALUE!
[9 empty] | #VALUE! | TABLE NO. 6
Rainbow Calibration Particles (RCP-30-5A) |  |  |  | Lot No.: |  | File # |  |  | #VALUE! | Determination of New MECY
Acceptable: | [9 empty] | values for RCP-30-5A
Action taken if not linear: |  |  | By: |  |  | Date: |  | TABLE NO. 4 |  | 256 CH# | 104 CH# | New MECY
[8 empty] | 105 MEAN CH# |  |  | 1 | 191.6735
[8 empty] | to 256 REL. CH# |  |  | 1 | 191.6735
[8 empty] | CONVERSION |  |  | 1 | 191.6735
[8 empty] | 105 CH# | 256 CH# |  | 1 | 191.6735
[9 empty] | #VALUE! |  | 1 | 191.6735
[9 empty] | #VALUE! |  | 1 | 191.6735
[9 empty] | #VALUE! |  | 1 | 191.6735
[9 empty] | #VALUE! |  | 1 | 191.6735
#VALUE!
#VALUE!
#VALUE!
#VALUE!
Note on J20: Use this Table to convert Beckman-Coulter 1024 Mean CH # to 256 Relative CH#
Note on J35: Use this Table to convert BD-FACS 104 Mean CH # to 256 Relative CH#
Note on J50: Use this Table to convert BD-FACS Canto 105 Mean CH # to 384 Relative CH#

## MEPCY7
TYPE THE NAME OF YOUR LAB HERE
| PMT LINEARITY QC RECORD | [12 empty] | Normalization Graph for Instrument B
[8 empty] | TABLE NO. 1 |  | CROSS CALIBRATION TABLE
| PEAK # | CH # | MEPCY7 | MEPCY7 LOG | CALC. | RESIDUAL | CALC. MEPCY7 | 1024 REL. CH# |  | FOR UNKNOWN SAMPLES |  |  |  |  | PEAK # | CH # | MEPCY7 | MEPCY7 LOG | CALC. | RESIDUAL | CALC. MEPCY7 | CROSS CALIBRATION TABLE
| 1 | [6 empty] | to 256 REL. CH# |  | Sample | CH# | Calc. | Calc. MEPCY7 |  | 1 | 0 | 84.8712 | 1.9288 | #VALUE! | #VALUE! | #VALUE! | FOR NORMALIZATION GRAPH
| 2 | [6 empty] | CONVERSION |  |  |  | 1.9288 | 84.8712 |  | 2 | 0 | 84.8712 | 1.9288 | #VALUE! | #VALUE! | #VALUE! | Sample | CH# | Calc. | Calc. MEPCY7
| 3 | [6 empty] | 1024 CH# | 256 CH# |  |  | 1.9288 | 84.8712 |  | 3 | 0 | 84.8712 | 1.9288 | #VALUE! | #VALUE! | #VALUE! |  | 200 | #VALUE! | #VALUE!
| 4 | [7 empty] | 0 |  |  | 1.9288 | 84.8712 |  | 4 | 0 | 84.8712 | 1.9288 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 5 | 136.8776 | 14858.8422 | 4.172 | 4.1705 | 0.3549% | 14808.2872 |  | 0 |  |  | 1.9288 | 84.8712 |  | 5 | 0 | 84.8712 | 1.9288 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 6 | 157.1539 | 31336.9779 | 4.4961 | 4.5026 | 1.45% | 31811.5055 |  | 0 |  |  | 1.9288 | 84.8712 |  | 6 | 0 | 84.8712 | 1.9288 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 7 | 188.88 | 107223.7014 | 5.0303 | 5.0222 | 1.614% | 105241.067 |  | 0 |  |  | 1.9288 | 84.8712 |  | 7 | 0 | 84.8712 | 1.9288 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 8 | 231.4189 | 519777.2681 | 5.7158 | 5.7189 | 0.5348% | 523450.7964 |  | 0 |  |  | 1.9288 | 84.8712 |  | 8 | 0 | 84.8712 | 1.9288 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
|  |  |  | Ave Residual |  | 0.9883% |  |  | 0 |  |  | 1.9288 | 84.8712 |  |  |  |  | Ave Residual |  | #VALUE! |  |  |  | #VALUE! | #VALUE!
[6 empty] | Slope: | 0.016378 |  | 0 |  |  | 1.9288 | 84.8712 | [6 empty] | Slope: | #VALUE! |  |  | #VALUE! | #VALUE!
[6 empty] | Intercept: | 1.9288 |  | 0 |  |  | 1.9288 | 84.8712 | [6 empty] | Intercept: | #VALUE! |  |  | #VALUE! | #VALUE!
[6 empty] | Rsq: | 0.99991 |  |  |  |  | 1.9288 | 84.8712 | [6 empty] | Rsq: | #VALUE! |  |  | #VALUE! | #VALUE!
[12 empty] | 1.9288 | 84.8712 | [10 empty] | #VALUE! | #VALUE!
[8 empty] | TABLE NO. 2 | [15 empty] | #VALUE! | #VALUE!
[8 empty] | 1024 MEAN CH# |  | CONVERTED VALUES
[8 empty] | to 256 REL. CH# |  | CAN BE COPIED TO
[8 empty] | CONVERSION |  | THE CH# COLUMN BY
[8 empty] | 1024 CH# | 256 CH# | SELECTING THE CELLS
[9 empty] | #VALUE! | TO BE COPIED; THEN,
[9 empty] | #VALUE! | CLICKING [COPY],
[9 empty] | #VALUE! | [PASTE SPECIAL], AND
[9 empty] | #VALUE! | FINALLY [PASTE VALUE]
#VALUE!
#VALUE!
#VALUE!
#VALUE!
[8 empty] | TABLE NO. 3 |  | TABLE NO. 5
[8 empty] | 104 MEAN CH# |  | Determination of the
[8 empty] | to 256 REL. CH# |  | MEPCY7/CH# for the
[8 empty] | CONVERSION |  | normalization cell or particle
[8 empty] | 104 CH# | 256 CH# | 256 CH# | 104 CH# | Calc. MEPCY7 | MEPCY7/CH#
[9 empty] | #VALUE! | 0 | 1 | 84.8712 | 84.8712
[9 empty] | #VALUE! | 0 | 1 | 84.8712 | 84.8712
[9 empty] | #VALUE! | 0 | 1 | 84.8712 | 84.8712
[9 empty] | #VALUE! | 0 | 1 | 84.8712 | 84.8712
[9 empty] | #VALUE! | 0 | 1 | 84.8712 | 84.8712
#VALUE!
[9 empty] | #VALUE! | TABLE NO. 6
Rainbow Calibration Particles (RCP-30-5A) |  |  |  | Lot No.: |  | File # |  |  | #VALUE! | Determination of New MEPCY7
Acceptable: | [9 empty] | values for RCP-30-5A
Action taken if not linear: |  |  | By: |  |  | Date: |  | TABLE NO. 4 |  | 256 CH# | 104 CH# | New MEPCY7
[8 empty] | 105 MEAN CH# |  |  | 1 | 84.8712
[8 empty] | to 256 REL. CH# |  |  | 1 | 84.8712
[8 empty] | CONVERSION |  |  | 1 | 84.8712
[8 empty] | 105 CH# | 256 CH# |  | 1 | 84.8712
[9 empty] | #VALUE! |  | 1 | 84.8712
[9 empty] | #VALUE! |  | 1 | 84.8712
[9 empty] | #VALUE! |  | 1 | 84.8712
[9 empty] | #VALUE! |  | 1 | 84.8712
#VALUE!
#VALUE!
#VALUE!
#VALUE!
Note on J20: Use this Table to convert Beckman-Coulter 1024 Mean CH # to 256 Relative CH#
Note on J35: Use this Table to convert BD-FACS 104 Mean CH # to 256 Relative CH#
Note on J50: Use this Table to convert BD-FACS Canto 105 Mean CH # to 384 Relative CH#

## MEAP
TYPE THE NAME OF YOUR LAB HERE
| PMT LINEARITY QC RECORD | [12 empty] | Normalization Graph for Instrument B
[8 empty] | TABLE NO. 1 |  | CROSS CALIBRATION TABLE
| PEAK # | CH # | MEAP | MEAP LOG | CALC. | RESIDUAL | CALC. MEAP | 1024 REL. CH# |  | FOR UNKNOWN SAMPLES |  |  |  |  | PEAK # | CH # | MEAP | MEAP LOG | CALC. | RESIDUAL | CALC. MEAP | CROSS CALIBRATION TABLE
| 1 | 5.979 |  |  | 2.2802 |  | 190.6147 | to 256 REL. CH# |  | Sample | CH# | Calc. | Calc. MEAP |  | 1 | 0 | 157.5854 | 2.1975 | #VALUE! | #VALUE! | #VALUE! | FOR NORMALIZATION GRAPH
| 2 | 62.3687 | 1184 | 3.0734 | 3.0596 | 4.506% | 1147.0028 | CONVERSION |  |  |  | 2.1975 | 157.5854 |  | 2 | 0 | 157.5854 | 2.1975 | #VALUE! | #VALUE! | #VALUE! | Sample | CH# | Calc. | Calc. MEAP
| 3 | 101.7925 | 4024 | 3.6047 | 3.6045 | 0.05174% | 4022.2723 | 1024 CH# | 256 CH# |  |  | 2.1975 | 157.5854 |  | 3 | 0 | 157.5854 | 2.1975 | #VALUE! | #VALUE! | #VALUE! |  | 200 | #VALUE! | #VALUE!
| 4 | 127.9666 | 8892 | 3.949 | 3.9662 | 4.348% | 9252.208 |  | 0 |  |  | 2.1975 | 157.5854 |  | 4 | 0 | 157.5854 | 2.1975 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 5 | 154.0556 | 20919 | 4.3205 | 4.3268 | 1.456% | 21224.7275 |  | 0 |  |  | 2.1975 | 157.5854 |  | 5 | 0 | 157.5854 | 2.1975 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 6 | 170.714 | 35336 | 4.5482 | 4.5571 | 1.947% | 36065.4329 |  | 0 |  |  | 2.1975 | 157.5854 |  | 6 | 0 | 157.5854 | 2.1975 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 7 | 187.4697 | 62371 | 4.795 | 4.7887 | 1.315% | 61473.1568 |  | 0 |  |  | 2.1975 | 157.5854 |  | 7 | 0 | 157.5854 | 2.1975 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 8 | 216.717 | 160356 | 5.2051 | 5.1929 | 2.34% | 155931.997 |  | 0 |  |  | 2.1975 | 157.5854 |  | 8 | 0 | 157.5854 | 2.1975 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
|  |  |  | Ave Residual |  | 2.281% |  |  | 0 |  |  | 2.1975 | 157.5854 |  |  |  |  | Ave Residual |  | #VALUE! |  |  |  | #VALUE! | #VALUE!
[6 empty] | Slope: | 0.013822 |  | 0 |  |  | 2.1975 | 157.5854 | [6 empty] | Slope: | #VALUE! |  |  | #VALUE! | #VALUE!
[6 empty] | Intercept: | 2.1975 |  | 0 |  |  | 2.1975 | 157.5854 | [6 empty] | Intercept: | #VALUE! |  |  | #VALUE! | #VALUE!
[6 empty] | Rsq: | 0.99975 |  |  |  |  | 2.1975 | 157.5854 | [6 empty] | Rsq: | #VALUE! |  |  | #VALUE! | #VALUE!
[12 empty] | 2.1975 | 157.5854 | [10 empty] | #VALUE! | #VALUE!
[8 empty] | TABLE NO. 2 | [15 empty] | #VALUE! | #VALUE!
[8 empty] | 1024 MEAN CH# |  | CONVERTED VALUES
[8 empty] | to 256 REL. CH# |  | CAN BE COPIED TO
[8 empty] | CONVERSION |  | THE CH# COLUMN BY
[8 empty] | 1024 CH# | 256 CH# | SELECTING THE CELLS
[9 empty] | #VALUE! | TO BE COPIED; THEN,
[9 empty] | #VALUE! | CLICKING [COPY],
[9 empty] | #VALUE! | [PASTE SPECIAL], AND
[9 empty] | #VALUE! | FINALLY [PASTE VALUE]
#VALUE!
#VALUE!
#VALUE!
#VALUE!
[8 empty] | TABLE NO. 3 |  | TABLE NO. 5
[8 empty] | 104 MEAN CH# |  | Determination of the
[8 empty] | to 256 REL. CH# |  | MEAP/CH# for the
[8 empty] | CONVERSION |  | normalization cell or particle
[8 empty] | 104 CH# | 256 CH# | 256 CH# | 104 CH# | Calc. MEAP | MEAP/CH#
[9 empty] | #VALUE! | 0 | 1 | 157.5854 | 157.5854
[9 empty] | #VALUE! | 0 | 1 | 157.5854 | 157.5854
[9 empty] | #VALUE! | 0 | 1 | 157.5854 | 157.5854
[9 empty] | #VALUE! | 0 | 1 | 157.5854 | 157.5854
[9 empty] | #VALUE! | 0 | 1 | 157.5854 | 157.5854
#VALUE!
[9 empty] | #VALUE! | TABLE NO. 6
Rainbow Calibration Particles (RCP-30-5A) |  |  |  | Lot No.: |  | File # |  |  | #VALUE! | Determination of New MEAP
Acceptable: | [9 empty] | values for RCP-30-5A
Action taken if not linear: |  |  | By: |  |  | Date: |  | TABLE NO. 4 |  | 256 CH# | 104 CH# | New MEAP
[8 empty] | 105 MEAN CH# |  |  | 1 | 157.5854
[8 empty] | to 256 REL. CH# |  |  | 1 | 157.5854
[8 empty] | CONVERSION |  |  | 1 | 157.5854
[8 empty] | 105 CH# | 256 CH# |  | 1 | 157.5854
[9 empty] | #VALUE! |  | 1 | 157.5854
[9 empty] | #VALUE! |  | 1 | 157.5854
[9 empty] | #VALUE! |  | 1 | 157.5854
[9 empty] | #VALUE! |  | 1 | 157.5854
#VALUE!
#VALUE!
#VALUE!
#VALUE!
Note on J20: Use this Table to convert Beckman-Coulter 1024 Mean CH # to 256 Relative CH#
Note on J35: Use this Table to convert BD-FACS 104 Mean CH # to 256 Relative CH#
Note on J50: Use this Table to convert BD-FACS Canto 105 Mean CH # to 384 Relative CH#

## MEAPCY7
TYPE THE NAME OF YOUR LAB HERE
| PMT LINEARITY QC RECORD | [12 empty] | Normalization Graph for Instrument B
[8 empty] | TABLE NO. 1 |  | CROSS CALIBRATION TABLE
| PEAK # | CH # | MEAPCY7 | MEAPCY7 LOG | CALC. | RESIDUAL | CALC. MEAPCY7 | 1024 REL. CH# |  | FOR UNKNOWN SAMPLES |  |  |  |  | PEAK # | CH # | MEAPCY7 | MEAPCY7 LOG | CALC. | RESIDUAL | CALC. MEAPCY7 | CROSS CALIBRATION TABLE
| 1 | [6 empty] | to 256 REL. CH# |  | Sample | CH# | Calc. | Calc. MEAPCY7 |  | 1 | 0 | 33.8402 | 1.5294 | #VALUE! | #VALUE! | #VALUE! | FOR NORMALIZATION GRAPH
| 2 | [6 empty] | CONVERSION |  |  |  | 1.5294 | 33.8402 |  | 2 | 0 | 33.8402 | 1.5294 | #VALUE! | #VALUE! | #VALUE! | Sample | CH# | Calc. | Calc. MEAPCY7
| 3 | [6 empty] | 1024 CH# | 256 CH# |  |  | 1.5294 | 33.8402 |  | 3 | 0 | 33.8402 | 1.5294 | #VALUE! | #VALUE! | #VALUE! |  | 200 | #VALUE! | #VALUE!
| 4 | 113.6344 | 1638.4452 | 3.2144 | 3.2144 | 0% | 1638.4452 |  | 0 |  |  | 1.5294 | 33.8402 |  | 4 | 0 | 33.8402 | 1.5294 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 5 | 141.433 | 4232.8797 | 3.6266 | 3.6266 | 0% | 4232.8797 |  | 0 |  |  | 1.5294 | 33.8402 |  | 5 | 0 | 33.8402 | 1.5294 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 6 | 160.1562 | 8021.7437 | 3.9043 | 3.9043 | 0% | 8021.7437 |  | 0 |  |  | 1.5294 | 33.8402 |  | 6 | 0 | 33.8402 | 1.5294 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 7 | 176.6584 | 14091.806 | 4.149 | 4.149 | 0% | 14091.806 |  | 0 |  |  | 1.5294 | 33.8402 |  | 7 | 0 | 33.8402 | 1.5294 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 8 | 195.7055 | 27002.385 | 4.4314 | 4.4314 | 0% | 27002.385 |  | 0 |  |  | 1.5294 | 33.8402 |  | 8 | 0 | 33.8402 | 1.5294 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
|  |  |  | Ave Residual |  | 0% |  |  | 0 |  |  | 1.5294 | 33.8402 |  |  |  |  | Ave Residual |  | #VALUE! |  |  |  | #VALUE! | #VALUE!
[6 empty] | Slope: | 0.014828 |  | 0 |  |  | 1.5294 | 33.8402 | [6 empty] | Slope: | #VALUE! |  |  | #VALUE! | #VALUE!
[6 empty] | Intercept: | 1.5294 |  | 0 |  |  | 1.5294 | 33.8402 | [6 empty] | Intercept: | #VALUE! |  |  | #VALUE! | #VALUE!
[6 empty] | Rsq: | 1 |  |  |  |  | 1.5294 | 33.8402 | [6 empty] | Rsq: | #VALUE! |  |  | #VALUE! | #VALUE!
[12 empty] | 1.5294 | 33.8402 | [10 empty] | #VALUE! | #VALUE!
[8 empty] | TABLE NO. 2 | [15 empty] | #VALUE! | #VALUE!
[8 empty] | 1024 MEAN CH# |  | CONVERTED VALUES
[8 empty] | to 256 REL. CH# |  | CAN BE COPIED TO
[8 empty] | CONVERSION |  | THE CH# COLUMN BY
[8 empty] | 1024 CH# | 256 CH# | SELECTING THE CELLS
[9 empty] | #VALUE! | TO BE COPIED; THEN,
[9 empty] | #VALUE! | CLICKING [COPY],
[9 empty] | #VALUE! | [PASTE SPECIAL], AND
[9 empty] | #VALUE! | FINALLY [PASTE VALUE]
#VALUE!
#VALUE!
#VALUE!
#VALUE!
[8 empty] | TABLE NO. 3 |  | TABLE NO. 5
[8 empty] | 104 MEAN CH# |  | Determination of the
[8 empty] | to 256 REL. CH# |  | MEAPCY7/CH# for the
[8 empty] | CONVERSION |  | normalization cell or particle
[8 empty] | 104 CH# | 256 CH# | 256 CH# | 104 CH# | Calc. MEAPCY7 | MEAPCY7/CH#
[9 empty] | #VALUE! | 0 | 1 | 33.8402 | 33.8402
[9 empty] | #VALUE! | 0 | 1 | 33.8402 | 33.8402
[9 empty] | #VALUE! | 0 | 1 | 33.8402 | 33.8402
[9 empty] | #VALUE! | 0 | 1 | 33.8402 | 33.8402
[9 empty] | #VALUE! | 0 | 1 | 33.8402 | 33.8402
#VALUE!
[9 empty] | #VALUE! | TABLE NO. 6
Rainbow Calibration Particles (RCP-30-5A) |  |  |  | Lot No.: |  | File # |  |  | #VALUE! | Determination of New MEAPCY7
Acceptable: | [9 empty] | values for RCP-30-5A
Action taken if not linear: |  |  | By: |  |  | Date: |  | TABLE NO. 4 |  | 256 CH# | 104 CH# | New MEAPCY7
[8 empty] | 105 MEAN CH# |  |  | 1 | 33.8402
[8 empty] | to 256 REL. CH# |  |  | 1 | 33.8402
[8 empty] | CONVERSION |  |  | 1 | 33.8402
[8 empty] | 105 CH# | 256 CH# |  | 1 | 33.8402
[9 empty] | #VALUE! |  | 1 | 33.8402
[9 empty] | #VALUE! |  | 1 | 33.8402
[9 empty] | #VALUE! |  | 1 | 33.8402
[9 empty] | #VALUE! |  | 1 | 33.8402
#VALUE!
#VALUE!
#VALUE!
#VALUE!
Note on J20: Use this Table to convert Beckman-Coulter 1024 Mean CH # to 256 Relative CH#
Note on J35: Use this Table to convert BD-FACS 104 Mean CH # to 256 Relative CH#
Note on J50: Use this Table to convert BD-FACS Canto 105 Mean CH # to 384 Relative CH#