## MEFL
TYPE THE NAME OF YOUR LAB HERE
| PMT LINEARITY QC RECORD | [12 empty] | Normalization Graph for Instrument B
[8 empty] | TABLE NO. 1 |  | CROSS CALIBRATION TABLE
| PEAK # | CH # | MEFL | MEFL LOG | CALC. | RESIDUAL | CALC. MEFL | 1024 REL. CH# |  | FOR UNKNOWN SAMPLES |  |  |  |  | PEAK # | CH # | MEFL | MEFL LOG | CALC. | RESIDUAL | CALC. MEFL | CROSS CALIBRATION TABLE
| 1 | 9.9415 | [5 empty] | to 256 REL. CH# |  | Sample | CH# | Calc. | Calc. MEFL |  | 1 | 0 | 55.2131 | 1.742 | #VALUE! | #VALUE! | #VALUE! | FOR NORMALIZATION GRAPH
| 2 | 65.3031 | 601 | 2.7789 | 2.7784 | 0.01671% | 600.3578 | CONVERSION |  |  |  | 1.742 | 55.2131 |  | 2 | 0 | 55.2131 | 1.742 | #VALUE! | #VALUE! | #VALUE! | Sample | CH# | Calc. | Calc. MEFL
| 3 | 92.8849 | 1645 | 3.2162 | 3.2161 | 0.0009555% | 1644.8836 | 1024 CH# | 256 CH# |  |  | 1.742 | 55.2131 |  | 3 | 0 | 55.2131 | 1.742 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 4 | 122.8812 | 4920 | 3.692 | 3.6922 | 0.005838% | 4922.4425 |  | 0 |  |  | 1.742 | 55.2131 |  | 4 | 0 | 55.2131 | 1.742 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 5 | 153.7282 | 15169 | 4.181 | 4.1817 | 0.01839% | 15195.882 |  | 0 |  |  | 1.742 | 55.2131 |  | 5 | 0 | 55.2131 | 1.742 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 6 | 179.9824 | 39664 | 4.5984 | 4.5984 | 0.000308% | 39662.7067 |  | 0 |  |  | 1.742 | 55.2131 |  | 6 | 0 | 55.2131 | 1.742 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 7 | 216.3237 | 149723 | 5.1753 | 5.1751 | 0.003204% | 149665.844 |  | 0 |  |  | 1.742 | 55.2131 |  | 7 | 0 | 55.2131 | 1.742 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 8 | 236.2288 | 309976 | 5.4913 | 5.491 | 0.005635% | 309755.2132 |  | 0 |  |  | 1.742 | 55.2131 |  | 8 | 0 | 55.2131 | 1.742 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
|  |  |  | Ave Residual |  | 0.007292% |  |  | 0 |  |  | 1.742 | 55.2131 |  |  |  |  | Ave Residual |  | #VALUE! |  |  |  | #VALUE! | #VALUE!
[6 empty] | Slope: | 0.01587 |  | 0 |  |  | 1.742 | 55.2131 | [6 empty] | Slope: | #VALUE! |  |  | #VALUE! | #VALUE!
[6 empty] | Intercept: | 1.742 |  | 0 |  |  | 1.742 | 55.2131 | [6 empty] | Intercept: | #VALUE! |  |  | #VALUE! | #VALUE!
[6 empty] | Rsq: | 1 |  |  |  |  | 1.742 | 55.2131 | [6 empty] | Rsq: | #VALUE! |  |  | #VALUE! | #VALUE!
[12 empty] | 1.742 | 55.2131 | [10 empty] | #VALUE! | #VALUE!
[8 empty] | TABLE NO. 2 | [15 empty] | #VALUE! | #VALUE!
[8 empty] | 1024 MEAN CH# |  | CONVERTED VALUES
[8 empty] | to 256 REL. CH# |  | CAN BE COPIED TO
[8 empty] | CONVERSION |  | THE CH# COLUMN BY
[8 empty] | 1024 CH# | 256 CH# | SELECTING THE CELLS
[9 empty] | #VALUE! | TO BE COPIED; THEN,
[9 empty] | #VALUE! | CLICKING [COPY],
[9 empty] | #VALUE! | [PASTE SPECIAL], AND
[9 empty] | #VALUE! | FINALLY [PASTE VALUE]
#VALUE!
#VALUE!
#VALUE!
#VALUE!
[8 empty] | TABLE NO. 3 |  | TABLE NO. 5
[8 empty] | 104 MEAN CH# |  | Determination of the
[8 empty] | to 256 REL. CH# |  | MEFL/CH# for the
[8 empty] | CONVERSION |  | normalization cell or particle
[8 empty] | 104 CH# | 256 CH# | 256 CH# | 104 CH# | Calc. MEFL | MEFL/CH#
[9 empty] | #VALUE! | 0 | 1 | 55.2131 | 55.2131
[9 empty] | #VALUE! | 0 | 1 | 55.2131 | 55.2131
[9 empty] | #VALUE! | 0 | 1 | 55.2131 | 55.2131
[9 empty] | #VALUE! | 0 | 1 | 55.2131 | 55.2131
[9 empty] | #VALUE! | 0 | 1 | 55.2131 | 55.2131
#VALUE!
[9 empty] | #VALUE! | TABLE NO. 6
Rainbow Calibration Particles (RCP-30-5A) |  |  |  | Lot No.: |  | File # |  |  | #VALUE! | Determination of New MEFL
Acceptable: | [9 empty] | values for RCP-30-5A
Action taken if not linear: |  |  | By: |  |  | Date: |  | TABLE NO. 4 |  | 256 CH# | 104 CH# | New MEFL
[8 empty] | 105 MEAN CH# |  |  | 1 | 55.2131
[8 empty] | to 256 REL. CH# |  |  | 1 | 55.2131
[8 empty] | CONVERSION |  |  | 1 | 55.2131
[8 empty] | 105 CH# | 256 CH# |  | 1 | 55.2131
[9 empty] | #VALUE! |  | 1 | 55.2131
[9 empty] | #VALUE! |  | 1 | 55.2131
[9 empty] | #VALUE! |  | 1 | 55.2131
[9 empty] | #VALUE! |  | 1 | 55.2131
#VALUE!
#VALUE!
#VALUE!
#VALUE!
Note on J20: Use this Table to convert Beckman-Coulter 1024 Mean CH # to 256 Relative CH#
Note on J35: Use this Table to convert BD-FACS 104 Mean CH # to 256 Relative CH#
Note on J50: Use this Table to convert BD-FACS Canto 105 Mean CH # to 384 Relative CH#

## MEPE
TYPE THE NAME OF YOUR LAB HERE
| PMT LINEARITY QC RECORD | [12 empty] | Normalization Graph for Instrument B
[8 empty] | TABLE NO. 1 |  | CROSS CALIBRATION TABLE
| PEAK # | CH # | MEPE | MEPE LOG | CALC. | RESIDUAL | CALC. MEPE | 1024 REL. CH# |  | FOR UNKNOWN SAMPLES |  |  |  | PEAK # | CH # | MEPE | MEPE LOG | CALC. | RESIDUAL | CALC. MEPE | CROSS CALIBRATION TABLE
| 1 | 1.0901 | [5 empty] | to 256 REL. CH# |  | Sample | CH# | Calc. | Calc. MEPE | 1 | 0 | 55.3381 | 1.743 | #VALUE! | #VALUE! | #VALUE! | FOR NORMALIZATION GRAPH
| 2 | 54.0863 | 404 | 2.6064 | 2.6065 | 0.004344% | 404.1053 | CONVERSION |  |  |  | 1.743 | 55.3381 | 2 | 0 | 55.3381 | 1.743 | #VALUE! | #VALUE! | #VALUE! | Sample | CH# | Calc. | Calc. MEPE
| 3 | 81.2189 | 1096 | 3.0398 | 3.0397 | 0.004996% | 1095.6168 | 1024 CH# | 256 CH# |  |  | 1.743 | 55.3381 | 3 | 0 | 55.3381 | 1.743 | #VALUE! | #VALUE! | #VALUE! |  | 200 | #VALUE! | #VALUE!
| 4 | 114.7131 | 3752 | 3.5743 | 3.5744 | 0.003333% | 3753.0294 |  | 0 |  |  | 1.743 | 55.3381 | 4 | 0 | 55.3381 | 1.743 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 5 | 146.2627 | 11972 | 4.0782 | 4.0781 | 0.002572% | 11969.1085 |  | 0 |  |  | 1.743 | 55.3381 | 5 | 0 | 55.3381 | 1.743 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 6 | 170.8886 | 29596 | 4.4712 | 4.4712 | 0.0005936% | 29594.1914 |  | 0 |  |  | 1.743 | 55.3381 | 6 | 0 | 55.3381 | 1.743 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 7 | 210.5001 | 126945 | 5.1036 | 5.1036 | 0.0004629% | 126938.0942 |  | 0 |  |  | 1.743 | 55.3381 | 7 | 0 | 55.3381 | 1.743 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 8 | 233.2339 | 292721 | 5.4665 | 5.4665 | 0.001365% | 292771.282 |  | 0 |  |  | 1.743 | 55.3381 | 8 | 0 | 55.3381 | 1.743 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
|  |  |  | Ave Residual |  | 0.002524% |  |  | 0 |  |  | 1.743 | 55.3381 |  |  |  | Ave Residual |  | #VALUE! |  |  |  | #VALUE! | #VALUE!
[6 empty] | Slope: | 0.015965 |  | 0 |  |  | 1.743 | 55.3381 | [5 empty] | Slope: | #VALUE! |  |  | #VALUE! | #VALUE!
[6 empty] | Intercept: | 1.743 |  | 0 |  |  | 1.743 | 55.3381 | [5 empty] | Intercept: | #VALUE! |  |  | #VALUE! | #VALUE!
[6 empty] | Rsq: | 1 |  |  |  |  | 1.743 | 55.3381 | [5 empty] | Rsq: | #VALUE! |  |  | #VALUE! | #VALUE!
[12 empty] | 1.743 | 55.3381 | [9 empty] | #VALUE! | #VALUE!
[8 empty] | TABLE NO. 2 | [14 empty] | #VALUE! | #VALUE!
[8 empty] | 1024 MEAN CH# |  | CONVERTED VALUES
[7 empty] | 21 | to 256 REL. CH# |  | CAN BE COPIED TO
[7 empty] | 56.5 | CONVERSION |  | THE CH# COLUMN BY | [9 empty] | 21
[8 empty] | 1024 CH# | 256 CH# | SELECTING THE CELLS | [9 empty] | 56.5
[9 empty] | #VALUE! | TO BE COPIED; THEN,
[9 empty] | #VALUE! | CLICKING [COPY],
[9 empty] | #VALUE! | [PASTE SPECIAL], AND
[9 empty] | #VALUE! | FINALLY [PASTE VALUE]
#VALUE!
#VALUE!
#VALUE!
#VALUE!
[8 empty] | TABLE NO. 3 |  | TABLE NO. 5
[8 empty] | 104 MEAN CH# |  | Determination of the
[8 empty] | to 256 REL. CH# |  | MEPE/CH# for the
[8 empty] | CONVERSION |  | normalization cell or particle
[8 empty] | 104 CH# | 256 CH# | 256 CH# | 104 CH# | Calc. MEPE | MEPE/CH#
[9 empty] | #VALUE! | 0 | 1 | 55.3381 | 55.3381
[9 empty] | #VALUE! | 0 | 1 | 55.3381 | 55.3381
[9 empty] | #VALUE! | 0 | 1 | 55.3381 | 55.3381
[9 empty] | #VALUE! | 0 | 1 | 55.3381 | 55.3381
[9 empty] | #VALUE! | 0 | 1 | 55.3381 | 55.3381
#VALUE!
[9 empty] | #VALUE! | TABLE NO. 6
Rainbow Calibration Particles (RCP-30-5A) |  |  |  | Lot No.: |  | File # |  |  | #VALUE! | Determination of New MEPE
Acceptable: | [9 empty] | values for RCP-30-5A
Action taken if not linear: |  |  | By: |  |  | Date: |  | TABLE NO. 4 |  | 256 CH# | 104 CH# | New MEPE
[8 empty] | 105 MEAN CH# |  |  | 1 | 55.3381
[8 empty] | to 256 REL. CH# |  |  | 1 | 55.3381
[8 empty] | CONVERSION |  |  | 1 | 55.3381
[8 empty] | 105 CH# | 256 CH# |  | 1 | 55.3381
[9 empty] | #VALUE! |  | 1 | 55.3381
[9 empty] | #VALUE! |  | 1 | 55.3381
[9 empty] | #VALUE! |  | 1 | 55.3381
[9 empty] | #VALUE! |  | 1 | 55.3381
#VALUE!
#VALUE!
#VALUE!
#VALUE!
Note on J20: Use this Table to convert Beckman-Coulter 1024 Mean CH # to 256 Relative CH#
Note on J35: Use this Table to convert BD-FACS 104 Mean CH # to 256 Relative CH#
Note on J50: Use this Table to convert BD-FACS Canto 105 Mean CH # to 384 Relative CH#
Note on T5: RCP-30-5 Relative Channel Numbers obtained with your Instrument in 256 Channel Scale.

## MEPTR
TYPE THE NAME OF YOUR LAB HERE
| PMT LINEARITY QC RECORD | [12 empty] | Normalization Graph for Instrument B
[8 empty] | TABLE NO. 1 |  | CROSS CALIBRATION TABLE
[8 empty] | 1024 REL. CH# |  | FOR UNKNOWN SAMPLES |  |  |  |  | PEAK # | CH # | MEPTR | MEPTR LOG | CALC. | RESIDUAL | CALC. MEPTR | CROSS CALIBRATION TABLE
| PEAK # | CH # | MEPTR | MEPTR LOG | CALC. | RESIDUAL | CALC. MEPTR | to 256 REL. CH# |  | Sample | CH# | Calc. | Calc. MEPTR |  | 1 | 0 | 27.1529 | 1.4338 | #VALUE! | #VALUE! | #VALUE! | FOR NORMALIZATION GRAPH
| 1 | 0.27657 | [5 empty] | CONVERSION |  |  |  | 1.4338 | 27.1529 |  | 2 | 0 | 27.1529 | 1.4338 | #VALUE! | #VALUE! | #VALUE! | Sample | CH# | Calc. | Calc. MEPTR
| 2 | 49.7553 | 175 | 2.243 | 2.2429 | 0.006797% | 174.9386 | 1024 CH# | 256 CH# |  |  | 1.4338 | 27.1529 |  | 3 | 0 | 27.1529 | 1.4338 | #VALUE! | #VALUE! | #VALUE! |  | 200 | #VALUE! | #VALUE!
| 3 | 76.6965 | 480 | 2.6812 | 2.681 | 0.009962% | 479.7049 |  | 0 |  |  | 1.4338 | 27.1529 |  | 4 | 0 | 27.1529 | 1.4338 | #VALUE! | #VALUE! | #VALUE! |  | 125 | #VALUE! | #VALUE!
| 4 | 110.2801 | 1687 | 3.2271 | 3.2271 | 0.001187% | 1686.8512 |  | 0 |  |  | 1.4338 | 27.1529 |  | 5 | 0 | 27.1529 | 1.4338 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 5 | 142.1338 | 5549 | 3.7442 | 3.745 | 0.02222% | 5559.6438 |  | 0 |  |  | 1.4338 | 27.1529 |  | 6 | 0 | 27.1529 | 1.4338 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 6 | 166.8105 | 14005 | 4.1463 | 4.1463 | 0.0007388% | 14005.9879 |  | 0 |  |  | 1.4338 | 27.1529 |  | 7 | 0 | 27.1529 | 1.4338 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 7 | 208.2915 | 66220 | 4.821 | 4.8208 | 0.00319% | 66196.555 |  | 0 |  |  | 1.4338 | 27.1529 |  | 8 | 0 | 27.1529 | 1.4338 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 8 | 235.1092 | 180787 | 5.2572 | 5.2569 | 0.00478% | 180682.4367 |  | 0 |  |  | 1.4338 | 27.1529 |  |  |  |  | Ave Residual |  | #VALUE! |  |  |  | #VALUE! | #VALUE!
|  |  |  | Ave Residual |  | 0.006982% |  |  | 0 |  |  | 1.4338 | 27.1529 | [6 empty] | Slope: | #VALUE! |  |  | #VALUE! | #VALUE!
[6 empty] | Slope: | 0.016261 |  | 0 |  |  | 1.4338 | 27.1529 | [6 empty] | Intercept: | #VALUE! |  |  | #VALUE! | #VALUE!
[6 empty] | Intercept: | 1.4338 |  |  |  |  | 1.4338 | 27.1529 | [6 empty] | Rsq: | #VALUE! |  |  | #VALUE! | #VALUE!
[6 empty] | Rsq: | 1 |  |  |  |  | 1.4338 | 27.1529 | [10 empty] | #VALUE! | #VALUE!
[8 empty] | TABLE NO. 2 | [15 empty] | #VALUE! | #VALUE!
[8 empty] | 1024 MEAN CH# |  | CONVERTED VALUES
[8 empty] | to 256 REL. CH# |  | CAN BE COPIED TO
[8 empty] | CONVERSION |  | THE CH# COLUMN BY
[8 empty] | 1024 CH# | 256 CH# | SELECTING THE CELLS
[9 empty] | #VALUE! | TO BE COPIED; THEN,
[9 empty] | #VALUE! | CLICKING [COPY],
[9 empty] | #VALUE! | [PASTE SPECIAL], AND
[9 empty] | #VALUE! | FINALLY [PASTE VALUE]
#VALUE!
#VALUE!
#VALUE!
#VALUE!
[8 empty] | TABLE NO. 3 |  | TABLE NO. 5
[8 empty] | 104 MEAN CH# |  | Determination of the
[8 empty] | to 256 REL. CH# |  | MEPTR/CH# for the
[8 empty] | CONVERSION |  | normalization cell or particle
[8 empty] | 104 CH# | 256 CH# | 256 CH# | 104 CH# | Calc. MEPTR | MEPTR/CH#
[9 empty] | #VALUE! | 0 | 1 | 27.1529 | 27.1529
[9 empty] | #VALUE! | 0 | 1 | 27.1529 | 27.1529
[9 empty] | #VALUE! | 0 | 1 | 27.1529 | 27.1529
[9 empty] | #VALUE! | 0 | 1 | 27.1529 | 27.1529
[9 empty] | #VALUE! | 0 | 1 | 27.1529 | 27.1529
#VALUE!
[9 empty] | #VALUE! | TABLE NO. 6
[9 empty] | #VALUE! | Determination of New MEPTR
Rainbow Calibration Particles (RCP-30-5A) |  |  |  | Lot No.: |  | File # |  |  |  | values for RCP-30-5A
Acceptable:
[8 empty] | TABLE NO. 4 |  | 256 CH# | 104 CH# | New MEPTR
Action taken if not linear: |  |  | By: |  |  | Date: |  | 105 MEAN CH# |  |  | 1 | 27.1529
[8 empty] | to 256 REL. CH# |  |  | 1 | 27.1529
[8 empty] | CONVERSION |  |  | 1 | 27.1529
[8 empty] | 105 CH# | 256 CH# |  | 1 | 27.1529
[9 empty] | #VALUE! |  | 1 | 27.1529
[9 empty] | #VALUE! |  | 1 | 27.1529
[9 empty] | #VALUE! |  | 1 | 27.1529
[9 empty] | #VALUE! |  | 1 | 27.1529
#VALUE!
#VALUE!
#VALUE!
#VALUE!
Note on J20: Use this Table to convert Beckman-Coulter 1024 Mean CH # to 256 Relative CH#
Note on J35: Use this Table to convert BD-FACS 104 Mean CH # to 256 Relative CH#
Note on J50: Use this Table to convert BD-FACS Canto 105 Mean CH # to 384 Relative CH#

## MECY
TYPE THE NAME OF YOUR LAB HERE
| PMT LINEARITY QC RECORD | [12 empty] | Normalization Graph for Instrument B
[8 empty] | TABLE NO. 1 |  | CROSS CALIBRATION TABLE
| PEAK # | CH # | MECY | MECY LOG | CALC. | RESIDUAL | CALC. MECY | 1024 REL. CH# |  | FOR UNKNOWN SAMPLES |  |  |  |  | PEAK # | CH # | MECY | MECY LOG | CALC. | RESIDUAL | CALC. MECY | CROSS CALIBRATION TABLE
| 1 | 5.979 | [5 empty] | to 256 REL. CH# |  | Sample | CH# | Calc. | Calc. MECY |  | 1 | 0 | 285.9178 | 2.4562 | #VALUE! | #VALUE! | #VALUE! | FOR NORMALIZATION GRAPH
| 2 | 51.8979 | 1684 | 3.2263 | 3.2267 | 0.01202% | 1685.5047 | CONVERSION |  |  |  | 2.4562 | 285.9178 |  | 2 | 0 | 285.9178 | 2.4562 | #VALUE! | #VALUE! | #VALUE! | Sample | CH# | Calc. | Calc. MECY
| 3 | 74.0966 | 3603 | 3.5567 | 3.5563 | 0.01032% | 3599.9571 | 1024 CH# | 256 CH# |  |  | 2.4562 | 285.9178 |  | 3 | 0 | 285.9178 | 2.4562 | #VALUE! | #VALUE! | #VALUE! |  | 200 | #VALUE! | #VALUE!
| 4 | 105.2567 | 10436 | 4.0185 | 4.0189 | 0.009304% | 10444.9889 |  | 0 |  |  | 2.4562 | 285.9178 |  | 4 | 0 | 285.9178 | 2.4562 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 5 | 135.8449 | 29791 | 4.4741 | 4.473 | 0.02363% | 29718.5868 |  | 0 |  |  | 2.4562 | 285.9178 |  | 5 | 0 | 285.9178 | 2.4562 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 6 | 160.9599 | 70042 | 4.8454 | 4.8459 | 0.01102% | 70128.1819 |  | 0 |  |  | 2.4562 | 285.9178 |  | 6 | 0 | 285.9178 | 2.4562 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 7 | 204.4928 | 310480 | 5.492 | 5.4922 | 0.002875% | 310592.8978 |  | 0 |  |  | 2.4562 | 285.9178 |  | 7 | 0 | 285.9178 | 2.4562 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 8 | 233.2746 | 830853 | 5.9195 | 5.9195 | 0.0005045% | 830795.8647 |  | 0 |  |  | 2.4562 | 285.9178 |  | 8 | 0 | 285.9178 | 2.4562 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
|  |  |  | Ave Residual |  | 0.009953% |  |  | 0 |  |  | 2.4562 | 285.9178 |  |  |  |  | Ave Residual |  | #VALUE! |  |  |  | #VALUE! | #VALUE!
[6 empty] | Slope: | 0.014846 |  | 0 |  |  | 2.4562 | 285.9178 | [6 empty] | Slope: | #VALUE! |  |  | #VALUE! | #VALUE!
[6 empty] | Intercept: | 2.4562 |  | 0 |  |  | 2.4562 | 285.9178 | [6 empty] | Intercept: | #VALUE! |  |  | #VALUE! | #VALUE!
[6 empty] | Rsq: | 1 |  |  |  |  | 2.4562 | 285.9178 | [6 empty] | Rsq: | #VALUE! |  |  | #VALUE! | #VALUE!
[12 empty] | 2.4562 | 285.9178 | [10 empty] | #VALUE! | #VALUE!
[8 empty] | TABLE NO. 2 | [15 empty] | #VALUE! | #VALUE!
[8 empty] | 1024 MEAN CH# |  | CONVERTED VALUES
[8 empty] | to 256 REL. CH# |  | CAN BE COPIED TO
[8 empty] | CONVERSION |  | THE CH# COLUMN BY
[8 empty] | 1024 CH# | 256 CH# | SELECTING THE CELLS
[9 empty] | #VALUE! | TO BE COPIED; THEN,
[9 empty] | #VALUE! | CLICKING [COPY],
[9 empty] | #VALUE! | [PASTE SPECIAL], AND
[9 empty] | #VALUE! | FINALLY [PASTE VALUE]
#VALUE!
#VALUE!
#VALUE!
#VALUE!
[8 empty] | TABLE NO. 3 |  | TABLE NO. 5
[8 empty] | 104 MEAN CH# |  | Determination of the
[8 empty] | to 256 REL. CH# |  | MECY/CH# for the
[8 empty] | CONVERSION |  | normalization cell or particle
[8 empty] | 104 CH# | 256 CH# | 256 CH# | 104 CH# | Calc. MECY | MECY/CH#
[9 empty] | #VALUE! | 0 | 1 | 285.9178 | 285.9178
[9 empty] | #VALUE! | 0 | 1 | 285.9178 | 285.9178
[9 empty] | #VALUE! | 0 | 1 | 285.9178 | 285.9178
[9 empty] | #VALUE! | 0 | 1 | 285.9178 | 285.9178
[9 empty] | #VALUE! | 0 | 1 | 285.9178 | 285.9178
#VALUE!
[9 empty] | #VALUE! | TABLE NO. 6
Rainbow Calibration Particles (RCP-30-5A) |  |  |  | Lot No.: |  | File # |  |  | #VALUE! | Determination of New MECY
Acceptable: | [9 empty] | values for RCP-30-5A
Action taken if not linear: |  |  | By: |  |  | Date: |  | TABLE NO. 4 |  | 256 CH# | 104 CH# | New MECY
[8 empty] | 105 MEAN CH# |  |  | 1 | 285.9178
[8 empty] | to 256 REL. CH# |  |  | 1 | 285.9178
[8 empty] | CONVERSION |  |  | 1 | 285.9178
[8 empty] | 105 CH# | 256 CH# |  | 1 | 285.9178
[9 empty] | #VALUE! |  | 1 | 285.9178
[9 empty] | #VALUE! |  | 1 | 285.9178
[9 empty] | #VALUE! |  | 1 | 285.9178
[9 empty] | #VALUE! |  | 1 | 285.9178
#VALUE!
#VALUE!
#VALUE!
#VALUE!
Note on J20: Use this Table to convert Beckman-Coulter 1024 Mean CH # to 256 Relative CH#
Note on J35: Use this Table to convert BD-FACS 104 Mean CH # to 256 Relative CH#
Note on J50: Use this Table to convert BD-FACS Canto 105 Mean CH # to 384 Relative CH#

## MEAP
TYPE THE NAME OF YOUR LAB HERE
| PMT LINEARITY QC RECORD | [12 empty] | Normalization Graph for Instrument B
[8 empty] | TABLE NO. 1 |  | CROSS CALIBRATION TABLE
| PEAK # | CH # | MEAP | MEAP LOG | CALC. | RESIDUAL | CALC. MEAP | 1024 REL. CH# |  | FOR UNKNOWN SAMPLES |  |  |  |  | PEAK # | CH # | MEAP | MEAP LOG | CALC. | RESIDUAL | CALC. MEAP | CROSS CALIBRATION TABLE
| 1 | [6 empty] | to 256 REL. CH# |  | Sample | CH# | Calc. | Calc. MEAP |  | 1 | 0 | 49.0457 | 1.6906 | #VALUE! | #VALUE! | #VALUE! | FOR NORMALIZATION GRAPH
| 2 | [6 empty] | CONVERSION |  |  |  | 1.6906 | 49.0457 |  | 2 | 0 | 49.0457 | 1.6906 | #VALUE! | #VALUE! | #VALUE! | Sample | CH# | Calc. | Calc. MEAP
| 3 | [6 empty] | 1024 CH# | 256 CH# |  |  | 1.6906 | 49.0457 |  | 3 | 0 | 49.0457 | 1.6906 | #VALUE! | #VALUE! | #VALUE! |  | 200 | #VALUE! | #VALUE!
| 4 | 150.3239 | 6600 | 3.8195 | 3.8169 | 0.06862% | 6560.3134 |  | 0 |  |  | 1.6906 | 49.0457 |  | 4 | 0 | 49.0457 | 1.6906 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 5 | 166.4176 | 11135 | 4.0467 | 4.0446 | 0.05243% | 11080.7668 |  | 0 |  |  | 1.6906 | 49.0457 |  | 5 | 0 | 49.0457 | 1.6906 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 6 | 185.5931 | 20320 | 4.3079 | 4.3158 | 0.1826% | 20692.125 |  | 0 |  |  | 1.6906 | 49.0457 |  | 6 | 0 | 49.0457 | 1.6906 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 7 | 222.0754 | 68250 | 4.8341 | 4.8318 | 0.04671% | 67896.2467 |  | 0 |  |  | 1.6906 | 49.0457 |  | 7 | 0 | 49.0457 | 1.6906 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 8 | 242.9038 | 134075 | 5.1273 | 5.1265 | 0.01726% | 133802.1405 |  | 0 |  |  | 1.6906 | 49.0457 |  | 8 | 0 | 49.0457 | 1.6906 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
|  |  |  | Ave Residual |  | 0.07353% |  |  | 0 |  |  | 1.6906 | 49.0457 |  |  |  |  | Ave Residual |  | #VALUE! |  |  |  | #VALUE! | #VALUE!
[6 empty] | Slope: | 0.014145 |  | 0 |  |  | 1.6906 | 49.0457 | [6 empty] | Slope: | #VALUE! |  |  | #VALUE! | #VALUE!
[6 empty] | Intercept: | 1.6906 |  | 0 |  |  | 1.6906 | 49.0457 | [6 empty] | Intercept: | #VALUE! |  |  | #VALUE! | #VALUE!
[6 empty] | Rsq: | 0.99993 |  |  |  |  | 1.6906 | 49.0457 | [6 empty] | Rsq: | #VALUE! |  |  | #VALUE! | #VALUE!
[12 empty] | 1.6906 | 49.0457 | [10 empty] | #VALUE! | #VALUE!
[8 empty] | TABLE NO. 2 | [15 empty] | #VALUE! | #VALUE!
[8 empty] | 1024 MEAN CH# |  | CONVERTED VALUES
[8 empty] | to 256 REL. CH# |  | CAN BE COPIED TO
[8 empty] | CONVERSION |  | THE CH# COLUMN BY
[8 empty] | 1024 CH# | 256 CH# | SELECTING THE CELLS
[9 empty] | #VALUE! | TO BE COPIED; THEN,
[9 empty] | #VALUE! | CLICKING [COPY],
[9 empty] | #VALUE! | [PASTE SPECIAL], AND
[9 empty] | #VALUE! | FINALLY [PASTE VALUE]
#VALUE!
#VALUE!
#VALUE!
#VALUE!
[8 empty] | TABLE NO. 3 |  | TABLE NO. 5
[8 empty] | 104 MEAN CH# |  | Determination of the
[8 empty] | to 256 REL. CH# |  | MEAP/CH# for the
[8 empty] | CONVERSION |  | normalization cell or particle
[8 empty] | 104 CH# | 256 CH# | 256 CH# | 104 CH# | Calc. MEAP | MEAP/CH#
[9 empty] | #VALUE! | 0 | 1 | 49.0457 | 49.0457
[9 empty] | #VALUE! | 0 | 1 | 49.0457 | 49.0457
[9 empty] | #VALUE! | 0 | 1 | 49.0457 | 49.0457
[9 empty] | #VALUE! | 0 | 1 | 49.0457 | 49.0457
[9 empty] | #VALUE! | 0 | 1 | 49.0457 | 49.0457
#VALUE!
[9 empty] | #VALUE! | TABLE NO. 6
Rainbow Calibration Particles (RCP-30-5A) |  |  |  | Lot No.: |  | File # |  |  | #VALUE! | Determination of New MEAP
Acceptable: | [9 empty] | values for RCP-30-5A
Action taken if not linear: |  |  | By: |  |  | Date: |  | TABLE NO. 4 |  | 256 CH# | 104 CH# | New MEAP
[8 empty] | 105 MEAN CH# |  |  | 1 | 49.0457
[8 empty] | to 256 REL. CH# |  |  | 1 | 49.0457
[8 empty] | CONVERSION |  |  | 1 | 49.0457
[8 empty] | 105 CH# | 256 CH# |  | 1 | 49.0457
[9 empty] | #VALUE! |  | 1 | 49.0457
[9 empty] | #VALUE! |  | 1 | 49.0457
[9 empty] | #VALUE! |  | 1 | 49.0457
[9 empty] | #VALUE! |  | 1 | 49.0457
#VALUE!
#VALUE!
#VALUE!
#VALUE!
Note on J20: Use this Table to convert Beckman-Coulter 1024 Mean CH # to 256 Relative CH#
Note on J35: Use this Table to convert BD-FACS 104 Mean CH # to 256 Relative CH#
Note on J50: Use this Table to convert BD-FACS Canto 105 Mean CH # to 384 Relative CH#