## MECSB
TYPE THE NAME OF YOUR LAB HERE
| PMT LINEARITY QC RECORD | [12 empty] | Normalization Graph for Instrument B
[8 empty] | TABLE NO. 1 |  | CROSS CALIBRATION TABLE
| PEAK # | CH # | MECSB | MECSB LOG | CALC. | RESIDUAL | CALC. MECSB | 1024 REL. CH# |  | FOR UNKNOWN SAMPLES |  |  |  |  | PEAK # | CH # | MECSB | MECSB LOG | CALC. | RESIDUAL | CALC. MECSB | CROSS CALIBRATION TABLE
| 1 | 115.7625 |  |  | 2.4184 |  | 262.0763 | to 256 REL. CH# |  | Sample | CH# | Calc. | Calc. MECSB |  | 1 | 0 | 2.1404 | 0.3305 | #VALUE! | #VALUE! | #VALUE! | FOR NORMALIZATION GRAPH
| 2 | 129.8753 | 480 | 2.6812 | 2.673 | 0.3094% | 470.9448 | CONVERSION |  |  |  | 0.3305 | 2.1404 |  | 2 | 0 | 2.1404 | 0.3305 | #VALUE! | #VALUE! | #VALUE! | Sample | CH# | Calc. | Calc. MECSB
| 3 | 139.136 | 698 | 2.8439 | 2.84 | 0.1358% | 691.828 | 1024 CH# | 256 CH# |  |  | 0.3305 | 2.1404 |  | 3 | 0 | 2.1404 | 0.3305 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 4 | 152.2824 | 1192 | 3.0763 | 3.0771 | 0.02714% | 1194.2947 |  | 0 |  |  | 0.3305 | 2.1404 |  | 4 | 0 | 2.1404 | 0.3305 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 5 | 173.9893 | 2947 | 3.4694 | 3.4686 | 0.02187% | 2941.858 |  | 0 |  |  | 0.3305 | 2.1404 |  | 5 | 0 | 2.1404 | 0.3305 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 6 | 193.2184 | 6546 | 3.816 | 3.8154 | 0.01396% | 6537.9768 |  | 0 |  |  | 0.3305 | 2.1404 |  | 6 | 0 | 2.1404 | 0.3305 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 7 | 214.5902 | 15893 | 4.2012 | 4.2009 | 0.007% | 15882.2424 |  | 0 |  |  | 0.3305 | 2.1404 |  | 7 | 0 | 2.1404 | 0.3305 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 8 | 227.7472 | 27382 | 4.4375 | 4.4382 | 0.0169% | 27429.32 |  | 0 |  |  | 0.3305 | 2.1404 |  | 8 | 0 | 2.1404 | 0.3305 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
|  |  |  | Ave Residual |  | 0.01737% |  |  | 0 |  |  | 0.3305 | 2.1404 |  |  |  |  | Ave Residual |  | #VALUE! |  |  |  | #VALUE! | #VALUE!
[6 empty] | Slope: | 0.018036 |  | 0 |  |  | 0.3305 | 2.1404 | [6 empty] | Slope: | #VALUE! |  |  | #VALUE! | #VALUE!
[6 empty] | Intercept: | 0.3305 |  | 0 |  |  | 0.3305 | 2.1404 | [6 empty] | Intercept: | #VALUE! |  |  | #VALUE! | #VALUE!
[6 empty] | Rsq: | 1 |  |  |  |  | 0.3305 | 2.1404 | [6 empty] | Rsq: | #VALUE! |  |  | #VALUE! | #VALUE!
[12 empty] | 0.3305 | 2.1404 | [10 empty] | #VALUE! | #VALUE!
[8 empty] | TABLE NO. 2 | [15 empty] | #VALUE! | #VALUE!
[8 empty] | 1024 MEAN CH# |  | CONVERTED VALUES
[8 empty] | to 256 REL. CH# |  | CAN BE COPIED TO
[8 empty] | CONVERSION |  | THE CH# COLUMN BY
[8 empty] | 1024 CH# | 256 CH# | SELECTING THE CELLS
[9 empty] | #VALUE! | TO BE COPIED; THEN,
[9 empty] | #VALUE! | CLICKING [COPY],
[9 empty] | #VALUE! | [PASTE SPECIAL], AND
[9 empty] | #VALUE! | FINALLY [PASTE VALUE]
#VALUE!
#VALUE!
#VALUE!
#VALUE!
[8 empty] | TABLE NO. 3 |  | TABLE NO. 5
[8 empty] | 104 MEAN CH# |  | Determination of the
[8 empty] | to 256 REL. CH# |  | MECSB/CH# for the
[8 empty] | CONVERSION |  | normalization cell or particle
[8 empty] | 104 CH# | 256 CH# | 256 CH# | 104 CH# | Calc. MECSB | MECSB/CH#
[9 empty] | #VALUE! | 0 | 1 | 2.1404 | 2.1404
[9 empty] | #VALUE! | 0 | 1 | 2.1404 | 2.1404
[9 empty] | #VALUE! | 0 | 1 | 2.1404 | 2.1404
[9 empty] | #VALUE! | 0 | 1 | 2.1404 | 2.1404
[9 empty] | #VALUE! | 0 | 1 | 2.1404 | 2.1404
#VALUE!
[9 empty] | #VALUE! | TABLE NO. 6
Rainbow Calibration Particles (RCP-30-5A) |  |  |  | Lot No.: |  | File # |  |  | #VALUE! | Determination of New MECSB
Acceptable: | [9 empty] | values for RCP-30-5A
Action taken if not linear: |  |  | By: |  |  | Date: |  | TABLE NO. 4 |  | 256 CH# | 104 CH# | New MECSB
[8 empty] | 105 MEAN CH# |  |  | 1 | 2.1404
[8 empty] | to 256 REL. CH# |  |  | 1 | 2.1404
[8 empty] | CONVERSION |  |  | 1 | 2.1404
[8 empty] | 105 CH# | 256 CH# |  | 1 | 2.1404
[8 empty] | 282 | 115.7625 |  | 1 | 2.1404
[8 empty] | 561 | 129.8753 |  | 1 | 2.1404
[8 empty] | 881 | 139.136 |  | 1 | 2.1404
[8 empty] | 1672 | 152.2824 |  | 1 | 2.1404
[8 empty] | 4816 | 173.9893
[8 empty] | 12294 | 193.2184
[8 empty] | 34838 | 214.5902
[8 empty] | 66151 | 227.7472
Note on J20: Use this Table to convert Beckman-Coulter 1024 Mean CH # to 256 Relative CH#
Note on J35: Use this Table to convert BD-FACS 104 Mean CH # to 256 Relative CH#
Note on J50: Use this Table to convert BD-FACS Canto 105 Mean CH # to 384 Relative CH#

## MEBFP
TYPE THE NAME OF YOUR LAB HERE
| PMT LINEARITY QC RECORD | [12 empty] | Normalization Graph for Instrument B
[8 empty] | TABLE NO. 1 |  | CROSS CALIBRATION TABLE
| PEAK # | CH # | MEBFP | MEBFP LOG | CALC. | RESIDUAL | CALC. MEBFP | 1024 REL. CH# |  | FOR UNKNOWN SAMPLES |  |  |  |  | PEAK # | CH # | MEBFP | MEBFP LOG | CALC. | RESIDUAL | CALC. MEBFP | CROSS CALIBRATION TABLE
| 1 | 110.6682 |  |  | 2.7552 |  | 569.0575 | to 256 REL. CH# |  | Sample | CH# | Calc. | Calc. MEBFP |  | 1 | 0 | 4.6721 | 0.66951 | #VALUE! | #VALUE! | #VALUE! | FOR NORMALIZATION GRAPH
| 2 | 128.9016 | 1295 | 3.1123 | 3.0988 | 0.4353% | 1255.399 | CONVERSION |  |  |  | 0.66951 | 4.6721 |  | 2 | 0 | 4.6721 | 0.66951 | #VALUE! | #VALUE! | #VALUE! | Sample | CH# | Calc. | Calc. MEBFP
| 3 | 143.4095 | 2398 | 3.3798 | 3.3722 | 0.2269% | 2356.1141 | 1024 CH# | 256 CH# |  |  | 0.66951 | 4.6721 |  | 3 | 0 | 4.6721 | 0.66951 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 4 | 160.2221 | 4884 | 3.6888 | 3.689 | 0.007321% | 4887.0381 |  | 0 |  |  | 0.66951 | 4.6721 |  | 4 | 0 | 4.6721 | 0.66951 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 5 | 184.3046 | 13920 | 4.1436 | 4.1429 | 0.01777% | 13896.4286 |  | 0 |  |  | 0.66951 | 4.6721 |  | 5 | 0 | 4.6721 | 0.66951 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 6 | 204.9402 | 34027 | 4.5318 | 4.5318 | 0.0005105% | 34025.1873 |  | 0 |  |  | 0.66951 | 4.6721 |  | 6 | 0 | 4.6721 | 0.66951 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 7 | 228.7537 | 95282 | 4.979 | 4.9806 | 0.03171% | 95629.1447 |  | 0 |  |  | 0.66951 | 4.6721 |  | 7 | 0 | 4.6721 | 0.66951 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 8 | 242.2903 | 172500 | 5.2368 | 5.2357 | 0.02082% | 172067.4791 |  | 0 |  |  | 0.66951 | 4.6721 |  | 8 | 0 | 4.6721 | 0.66951 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
|  |  |  | Ave Residual |  | 0.01563% |  |  | 0 |  |  | 0.66951 | 4.6721 |  |  |  |  | Ave Residual |  | #VALUE! |  |  |  | #VALUE! | #VALUE!
[6 empty] | Slope: | 0.018846 |  | 0 |  |  | 0.66951 | 4.6721 | [6 empty] | Slope: | #VALUE! |  |  | #VALUE! | #VALUE!
[6 empty] | Intercept: | 0.66951 |  | 0 |  |  | 0.66951 | 4.6721 | [6 empty] | Intercept: | #VALUE! |  |  | #VALUE! | #VALUE!
[6 empty] | Rsq: | 1 |  |  |  |  | 0.66951 | 4.6721 | [6 empty] | Rsq: | #VALUE! |  |  | #VALUE! | #VALUE!
[12 empty] | 0.66951 | 4.6721 | [10 empty] | #VALUE! | #VALUE!
[8 empty] | TABLE NO. 2 | [15 empty] | #VALUE! | #VALUE!
[8 empty] | 1024 MEAN CH# |  | CONVERTED VALUES
[8 empty] | to 256 REL. CH# |  | CAN BE COPIED TO
[8 empty] | CONVERSION |  | THE CH# COLUMN BY
[8 empty] | 1024 CH# | 256 CH# | SELECTING THE CELLS
[9 empty] | #VALUE! | TO BE COPIED; THEN,
[9 empty] | #VALUE! | CLICKING [COPY],
[9 empty] | #VALUE! | [PASTE SPECIAL], AND
[9 empty] | #VALUE! | FINALLY [PASTE VALUE]
#VALUE!
#VALUE!
#VALUE!
#VALUE!
[8 empty] | TABLE NO. 3 |  | TABLE NO. 5
[8 empty] | 104 MEAN CH# |  | Determination of the
[8 empty] | to 256 REL. CH# |  | MEBFP/CH# for the
[8 empty] | CONVERSION |  | normalization cell or particle
[8 empty] | 104 CH# | 256 CH# | 256 CH# | 104 CH# | Calc. MEBFP | MEBFP/CH#
[9 empty] | #VALUE! | 0 | 1 | 4.6721 | 4.6721
[9 empty] | #VALUE! | 0 | 1 | 4.6721 | 4.6721
[9 empty] | #VALUE! | 0 | 1 | 4.6721 | 4.6721
[9 empty] | #VALUE! | 0 | 1 | 4.6721 | 4.6721
[9 empty] | #VALUE! | 0 | 1 | 4.6721 | 4.6721
#VALUE!
[9 empty] | #VALUE! | TABLE NO. 6
Rainbow Calibration Particles (RCP-30-5A) |  |  |  | Lot No.: |  | File # |  |  | #VALUE! | Determination of New MEBFP
Acceptable: | [9 empty] | values for RCP-30-5A
Action taken if not linear: |  |  | By: |  |  | Date: |  | TABLE NO. 4 |  | 256 CH# | 104 CH# | New MEBFP
[8 empty] | 105 MEAN CH# |  |  | 1 | 4.6721
[8 empty] | to 256 REL. CH# |  |  | 1 | 4.6721
[8 empty] | CONVERSION |  |  | 1 | 4.6721
[8 empty] | 105 CH# | 256 CH# |  | 1 | 4.6721
[8 empty] | 220 | 110.6682 |  | 1 | 4.6721
[8 empty] | 535 | 128.9016 |  | 1 | 4.6721
[8 empty] | 1085 | 143.4095 |  | 1 | 4.6721
[8 empty] | 2462 | 160.2221 |  | 1 | 4.6721
[8 empty] | 7962 | 184.3046
[8 empty] | 21767 | 204.9402
[8 empty] | 69477 | 228.7537
[8 empty] | 134387 | 242.2903
Note on J20: Use this Table to convert Beckman-Coulter 1024 Mean CH # to 256 Relative CH#
Note on J35: Use this Table to convert BD-FACS 104 Mean CH # to 256 Relative CH#
Note on J50: Use this Table to convert BD-FACS Canto 105 Mean CH # to 384 Relative CH#

## MEFL
TYPE THE NAME OF YOUR LAB HERE
| PMT LINEARITY QC RECORD | [12 empty] | Normalization Graph for Instrument B
[8 empty] | TABLE NO. 1 |  | CROSS CALIBRATION TABLE
| PEAK # | CH # | MEFL | MEFL LOG | CALC. | RESIDUAL | CALC. MEFL | 1024 REL. CH# |  | FOR UNKNOWN SAMPLES |  |  |  |  | PEAK # | CH # | MEFL | MEFL LOG | CALC. | RESIDUAL | CALC. MEFL | CROSS CALIBRATION TABLE
| 1 | 49.5691 |  |  | 2.335 |  | 216.2516 | to 256 REL. CH# |  | Sample | CH# | Calc. | Calc. MEFL |  | 1 | 0 | 35.3215 | 1.548 | #VALUE! | #VALUE! | #VALUE! | FOR NORMALIZATION GRAPH
| 2 | 83.6386 | 789 | 2.8971 | 2.8758 | 0.7391% | 751.3124 | CONVERSION |  |  |  | 1.548 | 35.3215 |  | 2 | 0 | 35.3215 | 1.548 | #VALUE! | #VALUE! | #VALUE! | Sample | CH# | Calc. | Calc. MEFL
| 3 | 108.8229 | 1896 | 3.2778 | 3.2756 | 0.06755% | 1886.3648 | 1024 CH# | 256 CH# |  |  | 1.548 | 35.3215 |  | 3 | 0 | 35.3215 | 1.548 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 4 | 134.8614 | 4872 | 3.6877 | 3.689 | 0.03486% | 4886.4472 |  | 0 |  |  | 1.548 | 35.3215 |  | 4 | 0 | 35.3215 | 1.548 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 5 | 169.1942 | 15619 | 4.1937 | 4.234 | 0.9537% | 17140.8969 |  | 0 |  |  | 1.548 | 35.3215 |  | 5 | 0 | 35.3215 | 1.548 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 6 | 196.8982 | 47116 | 4.6732 | 4.6738 | 0.01438% | 47188.9491 |  | 0 |  |  | 1.548 | 35.3215 |  | 6 | 0 | 35.3215 | 1.548 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 7 | 228.8978 | 143912 | 5.1581 | 5.1818 | 0.4582% | 151998.7343 |  | 0 |  |  | 1.548 | 35.3215 |  | 7 | 0 | 35.3215 | 1.548 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 8 | 247.6743 | 333068 | 5.5225 | 5.4799 | 0.7776% | 301940.176 |  | 0 |  |  | 1.548 | 35.3215 |  | 8 | 0 | 35.3215 | 1.548 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
|  |  |  | Ave Residual |  | 0.4351% |  |  | 0 |  |  | 1.548 | 35.3215 |  |  |  |  | Ave Residual |  | #VALUE! |  |  |  | #VALUE! | #VALUE!
[6 empty] | Slope: | 0.015875 |  | 0 |  |  | 1.548 | 35.3215 | [6 empty] | Slope: | #VALUE! |  |  | #VALUE! | #VALUE!
[6 empty] | Intercept: | 1.548 |  | 0 |  |  | 1.548 | 35.3215 | [6 empty] | Intercept: | #VALUE! |  |  | #VALUE! | #VALUE!
[6 empty] | Rsq: | 0.99922 |  |  |  |  | 1.548 | 35.3215 | [6 empty] | Rsq: | #VALUE! |  |  | #VALUE! | #VALUE!
[12 empty] | 1.548 | 35.3215 | [10 empty] | #VALUE! | #VALUE!
[8 empty] | TABLE NO. 2 | [15 empty] | #VALUE! | #VALUE!
[8 empty] | 1024 MEAN CH# |  | CONVERTED VALUES
[8 empty] | to 256 REL. CH# |  | CAN BE COPIED TO
[8 empty] | CONVERSION |  | THE CH# COLUMN BY
[8 empty] | 1024 CH# | 256 CH# | SELECTING THE CELLS
[9 empty] | #VALUE! | TO BE COPIED; THEN,
[9 empty] | #VALUE! | CLICKING [COPY],
[9 empty] | #VALUE! | [PASTE SPECIAL], AND
[9 empty] | #VALUE! | FINALLY [PASTE VALUE]
#VALUE!
#VALUE!
#VALUE!
#VALUE!
[8 empty] | TABLE NO. 3 |  | TABLE NO. 5
[8 empty] | 104 MEAN CH# |  | Determination of the
[8 empty] | to 256 REL. CH# |  | MEFL/CH# for the
[8 empty] | CONVERSION |  | normalization cell or particle
[8 empty] | 104 CH# | 256 CH# | 256 CH# | 104 CH# | Calc. MEFL | MEFL/CH#
[8 empty] | 5.95 | 49.5691 | 0 | 1 | 35.3215 | 35.3215
[8 empty] | 20.27 | 83.6386 | 0 | 1 | 35.3215 | 35.3215
[8 empty] | 50.16 | 108.8229 | 0 | 1 | 35.3215 | 35.3215
[8 empty] | 128 | 134.8614 | 0 | 1 | 35.3215 | 35.3215
[8 empty] | 440.21 | 169.1942 | 0 | 1 | 35.3215 | 35.3215
[8 empty] | 1192.71 | 196.8982
[8 empty] | 3771.62 | 228.8978 | TABLE NO. 6
Rainbow Calibration Particles (RCP-30-5A) |  |  |  | Lot No.: |  | File # |  | 7411.58 | 247.6743 | Determination of New MEFL
Acceptable: | [9 empty] | values for RCP-30-5A
Action taken if not linear: |  |  | By: |  |  | Date: |  | TABLE NO. 4 |  | 256 CH# | 104 CH# | New MEFL
[8 empty] | 105 MEAN CH# |  |  | 1 | 35.3215
[8 empty] | to 256 REL. CH# |  |  | 1 | 35.3215
[8 empty] | CONVERSION |  |  | 1 | 35.3215
[8 empty] | 105 CH# | 256 CH# |  | 1 | 35.3215
[8 empty] | 25 | 66.046 |  | 1 | 35.3215
[8 empty] | 152 | 103.0816 |  | 1 | 35.3215
[8 empty] | 414 | 123.6407 |  | 1 | 35.3215
[8 empty] | 1078 | 143.2767 |  | 1 | 35.3215
[8 empty] | 3868 | 169.4915
[8 empty] | 10282 | 189.5514
[8 empty] | 32712 | 213.2982
[8 empty] | 65004 | 227.3883
Note on J20: Use this Table to convert Beckman-Coulter 1024 Mean CH # to 256 Relative CH#
Note on J35: Use this Table to convert BD-FACS 104 Mean CH # to 256 Relative CH#
Note on J50: Use this Table to convert BD-FACS Canto 105 Mean CH # to 384 Relative CH#

## MEPE
TYPE THE NAME OF YOUR LAB HERE
| PMT LINEARITY QC RECORD | [12 empty] | Normalization Graph for Instrument B
[8 empty] | TABLE NO. 1 |  | CROSS CALIBRATION TABLE
| PEAK # | CH # | MEPE | MEPE LOG | CALC. | RESIDUAL | CALC. MEPE | 1024 REL. CH# |  | FOR UNKNOWN SAMPLES |  |  |  | PEAK # | CH # | MEPE | MEPE LOG | CALC. | RESIDUAL | CALC. MEPE | CROSS CALIBRATION TABLE
| 1 | 31.4471 |  |  | 1.9888 |  | 97.4445 | to 256 REL. CH# |  | Sample | CH# | Calc. | Calc. MEPE | 1 | 0 | 30.6169 | 1.486 | #VALUE! | #VALUE! | #VALUE! | FOR NORMALIZATION GRAPH
| 2 | 71.6112 | 507 | 2.705 | 2.6309 | 2.816% | 427.4901 | CONVERSION |  |  |  | 1.486 | 30.6169 | 2 | 0 | 30.6169 | 1.486 | #VALUE! | #VALUE! | #VALUE! | Sample | CH# | Calc. | Calc. MEPE
| 3 | 100.7528 | 1204 | 3.0806 | 3.0969 | 0.5242% | 1249.8554 | 1024 CH# | 256 CH# |  |  | 1.486 | 30.6169 | 3 | 0 | 30.6169 | 1.486 | #VALUE! | #VALUE! | #VALUE! |  | 200 | #VALUE! | #VALUE!
| 4 | 128 | 3171 | 3.5012 | 3.5325 | 0.8863% | 3408.0401 |  | 0 |  |  | 1.486 | 30.6169 | 4 | 0 | 30.6169 | 1.486 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 5 | 163.0087 | 10440 | 4.0187 | 4.0922 | 1.797% | 12366.477 |  | 0 |  |  | 1.486 | 30.6169 | 5 | 0 | 30.6169 | 1.486 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 6 | 191.3717 | 34385 | 4.5364 | 4.5457 | 0.206% | 35134.328 |  | 0 |  |  | 1.486 | 30.6169 | 6 | 0 | 30.6169 | 1.486 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 7 | 223.999 | 114122 | 5.0574 | 5.0674 | 0.1979% | 116787.4474 |  | 0 |  |  | 1.486 | 30.6169 | 7 | 0 | 30.6169 | 1.486 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 8 | 246.4686 | 311207 | 5.493 | 5.4267 | 1.223% | 267088.1318 |  | 0 |  |  | 1.486 | 30.6169 | 8 | 0 | 30.6169 | 1.486 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
|  |  |  | Ave Residual |  | 1.093% |  |  | 0 |  |  | 1.486 | 30.6169 |  |  |  | Ave Residual |  | #VALUE! |  |  |  | #VALUE! | #VALUE!
[6 empty] | Slope: | 0.015989 |  | 0 |  |  | 1.486 | 30.6169 | [5 empty] | Slope: | #VALUE! |  |  | #VALUE! | #VALUE!
[6 empty] | Intercept: | 1.486 |  | 0 |  |  | 1.486 | 30.6169 | [5 empty] | Intercept: | #VALUE! |  |  | #VALUE! | #VALUE!
[6 empty] | Rsq: | 0.99738 |  |  |  |  | 1.486 | 30.6169 | [5 empty] | Rsq: | #VALUE! |  |  | #VALUE! | #VALUE!
[12 empty] | 1.486 | 30.6169 | [9 empty] | #VALUE! | #VALUE!
[8 empty] | TABLE NO. 2 | [14 empty] | #VALUE! | #VALUE!
[8 empty] | 1024 MEAN CH# |  | CONVERTED VALUES
[7 empty] | 21 | to 256 REL. CH# |  | CAN BE COPIED TO
[7 empty] | 56.5 | CONVERSION |  | THE CH# COLUMN BY | [9 empty] | 21
[8 empty] | 1024 CH# | 256 CH# | SELECTING THE CELLS | [9 empty] | 56.5
[9 empty] | #VALUE! | TO BE COPIED; THEN,
[9 empty] | #VALUE! | CLICKING [COPY],
[9 empty] | #VALUE! | [PASTE SPECIAL], AND
[9 empty] | #VALUE! | FINALLY [PASTE VALUE]
#VALUE!
#VALUE!
#VALUE!
#VALUE!
[8 empty] | TABLE NO. 3 |  | TABLE NO. 5
[8 empty] | 104 MEAN CH# |  | Determination of the
[8 empty] | to 256 REL. CH# |  | MEPE/CH# for the
[8 empty] | CONVERSION |  | normalization cell or particle
[8 empty] | 104 CH# | 256 CH# | 256 CH# | 104 CH# | Calc. MEPE | MEPE/CH#
[8 empty] | 3.1 | 31.4471 | 0 | 1 | 30.6169 | 30.6169
[8 empty] | 13.15 | 71.6112 | 0 | 1 | 30.6169 | 30.6169
[8 empty] | 37.52 | 100.7528 | 0 | 1 | 30.6169 | 30.6169
[8 empty] | 100 | 128 | 0 | 1 | 30.6169 | 30.6169
[8 empty] | 352.38 | 163.0087 | 0 | 1 | 30.6169 | 30.6169
[8 empty] | 977.65 | 191.3717
[8 empty] | 3162.16 | 223.999 | TABLE NO. 6
Rainbow Calibration Particles (RCP-30-5A) |  |  |  | Lot No.: |  | File # |  | 7096.95 | 246.4686 | Determination of New MEPE
Acceptable: | [9 empty] | values for RCP-30-5A
Action taken if not linear: |  |  | By: |  |  | Date: |  | TABLE NO. 4 |  | 256 CH# | 104 CH# | New MEPE
[8 empty] | 105 MEAN CH# |  |  | 1 | 30.6169
[8 empty] | to 256 REL. CH# |  |  | 1 | 30.6169
[8 empty] | CONVERSION |  |  | 1 | 30.6169
[8 empty] | 105 CH# | 256 CH# |  | 1 | 30.6169
[8 empty] | 81 | 90.1668 |  | 1 | 30.6169
[8 empty] | 176 | 106.0897 |  | 1 | 30.6169
[8 empty] | 419 | 123.887 |  | 1 | 30.6169
[8 empty] | 1031 | 142.362 |  | 1 | 30.6169
[8 empty] | 3439 | 167.0794
[8 empty] | 9604 | 188.1517
[8 empty] | 31498 | 212.5223
[8 empty] | 74628 | 230.2212
Note on J20: Use this Table to convert Beckman-Coulter 1024 Mean CH # to 256 Relative CH#
Note on J35: Use this Table to convert BD-FACS 104 Mean CH # to 256 Relative CH#
Note on J50: Use this Table to convert BD-FACS Canto 105 Mean CH # to 384 Relative CH#
Note on T5: RCP-30-5 Relative Channel Numbers obtained with your Instrument in 256 Channel Scale.

## MEPTR
TYPE THE NAME OF YOUR LAB HERE
| PMT LINEARITY QC RECORD | [12 empty] | Normalization Graph for Instrument B
[8 empty] | TABLE NO. 1 |  | CROSS CALIBRATION TABLE
[8 empty] | 1024 REL. CH# |  | FOR UNKNOWN SAMPLES |  |  |  |  | PEAK # | CH # | MEPTR | MEPTR LOG | CALC. | RESIDUAL | CALC. MEPTR | CROSS CALIBRATION TABLE
| PEAK # | CH # | MEPTR | MEPTR LOG | CALC. | RESIDUAL | CALC. MEPTR | to 256 REL. CH# |  | Sample | CH# | Calc. | Calc. MEPTR |  | 1 | 0 | 16.8853 | 1.2275 | #VALUE! | #VALUE! | #VALUE! | FOR NORMALIZATION GRAPH
| 1 | 19.8163 |  |  | 1.5544 |  | 35.8392 | CONVERSION |  |  |  | 1.2275 | 16.8853 |  | 2 | 0 | 16.8853 | 1.2275 | #VALUE! | #VALUE! | #VALUE! | Sample | CH# | Calc. | Calc. MEPTR
| 2 | 62.2506 | 187 | 2.2718 | 2.2543 | 0.7795% | 179.5852 | 1024 CH# | 256 CH# |  |  | 1.2275 | 16.8853 |  | 3 | 0 | 16.8853 | 1.2275 | #VALUE! | #VALUE! | #VALUE! |  | 200 | #VALUE! | #VALUE!
| 3 | 91.669 | 543 | 2.7348 | 2.7395 | 0.1715% | 548.906 |  | 0 |  |  | 1.2275 | 16.8853 |  | 4 | 0 | 16.8853 | 1.2275 | #VALUE! | #VALUE! | #VALUE! |  | 125 | #VALUE! | #VALUE!
| 4 | 118.5665 | 1536 | 3.1864 | 3.1831 | 0.1019% | 1524.5677 |  | 0 |  |  | 1.2275 | 16.8853 |  | 5 | 0 | 16.8853 | 1.2275 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 5 | 153.8601 | 5423 | 3.7342 | 3.7653 | 0.8244% | 5824.7764 |  | 0 |  |  | 1.2275 | 16.8853 |  | 6 | 0 | 16.8853 | 1.2275 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 6 | 182.7838 | 17825 | 4.251 | 4.2423 | 0.2046% | 17472.2345 |  | 0 |  |  | 1.2275 | 16.8853 |  | 7 | 0 | 16.8853 | 1.2275 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 7 | 218.2715 | 63989 | 4.8061 | 4.8277 | 0.447% | 67248.5202 |  | 0 |  |  | 1.2275 | 16.8853 |  | 8 | 0 | 16.8853 | 1.2275 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 8 | 246.2712 | 207649 | 5.3173 | 5.2895 | 0.5259% | 194765.1678 |  | 0 |  |  | 1.2275 | 16.8853 |  |  |  |  | Ave Residual |  | #VALUE! |  |  |  | #VALUE! | #VALUE!
|  |  |  | Ave Residual |  | 0.4364% |  |  | 0 |  |  | 1.2275 | 16.8853 | [6 empty] | Slope: | #VALUE! |  |  | #VALUE! | #VALUE!
[6 empty] | Slope: | 0.016494 |  | 0 |  |  | 1.2275 | 16.8853 | [6 empty] | Intercept: | #VALUE! |  |  | #VALUE! | #VALUE!
[6 empty] | Intercept: | 1.2275 |  |  |  |  | 1.2275 | 16.8853 | [6 empty] | Rsq: | #VALUE! |  |  | #VALUE! | #VALUE!
[6 empty] | Rsq: | 0.99964 |  |  |  |  | 1.2275 | 16.8853 | [10 empty] | #VALUE! | #VALUE!
[8 empty] | TABLE NO. 2 | [15 empty] | #VALUE! | #VALUE!
[8 empty] | 1024 MEAN CH# |  | CONVERTED VALUES
[8 empty] | to 256 REL. CH# |  | CAN BE COPIED TO
[8 empty] | CONVERSION |  | THE CH# COLUMN BY
[8 empty] | 1024 CH# | 256 CH# | SELECTING THE CELLS
[9 empty] | #VALUE! | TO BE COPIED; THEN,
[9 empty] | #VALUE! | CLICKING [COPY],
[9 empty] | #VALUE! | [PASTE SPECIAL], AND
[9 empty] | #VALUE! | FINALLY [PASTE VALUE]
#VALUE!
#VALUE!
#VALUE!
#VALUE!
[8 empty] | TABLE NO. 3 |  | TABLE NO. 5
[8 empty] | 104 MEAN CH# |  | Determination of the
[8 empty] | to 256 REL. CH# |  | MEPTR/CH# for the
[8 empty] | CONVERSION |  | normalization cell or particle
[8 empty] | 104 CH# | 256 CH# | 256 CH# | 104 CH# | Calc. MEPTR | MEPTR/CH#
[8 empty] | 2.04 | 19.8163 | 0 | 1 | 16.8853 | 16.8853
[8 empty] | 9.39 | 62.2506 | 0 | 1 | 16.8853 | 16.8853
[8 empty] | 27.06 | 91.669 | 0 | 1 | 16.8853 | 16.8853
[8 empty] | 71.22 | 118.5665 | 0 | 1 | 16.8853 | 16.8853
[8 empty] | 253.55 | 153.8601 | 0 | 1 | 16.8853 | 16.8853
[8 empty] | 717.79 | 182.7838
[8 empty] | 2573.31 | 218.2715 | TABLE NO. 6
[8 empty] | 7046.74 | 246.2712 | Determination of New MEPTR
Rainbow Calibration Particles (RCP-30-5A) |  |  |  | Lot No.: |  | File # |  |  |  | values for RCP-30-5A
Acceptable:
[8 empty] | TABLE NO. 4 |  | 256 CH# | 104 CH# | New MEPTR
Action taken if not linear: |  |  | By: |  |  | Date: |  | 105 MEAN CH# |  |  | 1 | 16.8853
[8 empty] | to 256 REL. CH# |  |  | 1 | 16.8853
[8 empty] | CONVERSION |  |  | 1 | 16.8853
[8 empty] | 105 CH# | 256 CH# |  | 1 | 16.8853
[8 empty] | 2 | 14.2222 |  | 1 | 16.8853
[8 empty] | 57 | 82.9567 |  | 1 | 16.8853
[8 empty] | 201 | 108.815 |  | 1 | 16.8853
[8 empty] | 563 | 129.9483 |  | 1 | 16.8853
[8 empty] | 1970 | 155.6477
[8 empty] | 5687 | 177.4002
[8 empty] | 19483 | 202.6656
[8 empty] | 49482 | 221.7901
Note on J20: Use this Table to convert Beckman-Coulter 1024 Mean CH # to 256 Relative CH#
Note on J35: Use this Table to convert BD-FACS 104 Mean CH # to 256 Relative CH#
Note on J50: Use this Table to convert BD-FACS Canto 105 Mean CH # to 384 Relative CH#

## MECY
TYPE THE NAME OF YOUR LAB HERE
| PMT LINEARITY QC RECORD | [12 empty] | Normalization Graph for Instrument B
[8 empty] | TABLE NO. 1 |  | CROSS CALIBRATION TABLE
| PEAK # | CH # | MECY | MECY LOG | CALC. | RESIDUAL | CALC. MECY | 1024 REL. CH# |  | FOR UNKNOWN SAMPLES |  |  |  |  | PEAK # | CH # | MECY | MECY LOG | CALC. | RESIDUAL | CALC. MECY | CROSS CALIBRATION TABLE
| 1 | 25.7997 |  |  | 2.4908 |  | 309.6037 | to 256 REL. CH# |  | Sample | CH# | Calc. | Calc. MECY |  | 1 | 0 | 122.4976 | 2.0881 | #VALUE! | #VALUE! | #VALUE! | FOR NORMALIZATION GRAPH
| 2 | 60.7297 | 998 | 2.9991 | 3.036 | 1.214% | 1086.3975 | CONVERSION |  |  |  | 2.0881 | 122.4976 |  | 2 | 0 | 122.4976 | 2.0881 | #VALUE! | #VALUE! | #VALUE! | Sample | CH# | Calc. | Calc. MECY
| 3 | 88.2407 | 3064 | 3.4863 | 3.4654 | 0.6035% | 2919.959 | 1024 CH# | 256 CH# |  |  | 2.0881 | 122.4976 |  | 3 | 0 | 122.4976 | 2.0881 | #VALUE! | #VALUE! | #VALUE! |  | 200 | #VALUE! | #VALUE!
| 4 | 115.4431 | 8614 | 3.9352 | 3.8899 | 1.163% | 7761.5389 |  | 0 |  |  | 2.0881 | 122.4976 |  | 4 | 0 | 122.4976 | 2.0881 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 5 | 153.0074 | 28030 | 4.4476 | 4.4762 | 0.6395% | 29939.6409 |  | 0 |  |  | 2.0881 | 122.4976 |  | 5 | 0 | 122.4976 | 2.0881 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 6 | 183.6822 | 90459 | 4.9565 | 4.955 | 0.02899% | 90160.2438 |  | 0 |  |  | 2.0881 | 122.4976 |  | 6 | 0 | 122.4976 | 2.0881 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 7 | 216.5642 | 298273 | 5.4746 | 5.4682 | 0.1167% | 293921.9118 |  | 0 |  |  | 2.0881 | 122.4976 |  | 7 | 0 | 122.4976 | 2.0881 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 8 | 246.6389 | 849431 | 5.9291 | 5.9376 | 0.1433% | 866231.7784 |  | 0 |  |  | 2.0881 | 122.4976 |  | 8 | 0 | 122.4976 | 2.0881 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
|  |  |  | Ave Residual |  | 0.5585% |  |  | 0 |  |  | 2.0881 | 122.4976 |  |  |  |  | Ave Residual |  | #VALUE! |  |  |  | #VALUE! | #VALUE!
[6 empty] | Slope: | 0.015608 |  | 0 |  |  | 2.0881 | 122.4976 | [6 empty] | Slope: | #VALUE! |  |  | #VALUE! | #VALUE!
[6 empty] | Intercept: | 2.0881 |  | 0 |  |  | 2.0881 | 122.4976 | [6 empty] | Intercept: | #VALUE! |  |  | #VALUE! | #VALUE!
[6 empty] | Rsq: | 0.9993 |  |  |  |  | 2.0881 | 122.4976 | [6 empty] | Rsq: | #VALUE! |  |  | #VALUE! | #VALUE!
[12 empty] | 2.0881 | 122.4976 | [10 empty] | #VALUE! | #VALUE!
[8 empty] | TABLE NO. 2 | [15 empty] | #VALUE! | #VALUE!
[8 empty] | 1024 MEAN CH# |  | CONVERTED VALUES
[8 empty] | to 256 REL. CH# |  | CAN BE COPIED TO
[8 empty] | CONVERSION |  | THE CH# COLUMN BY
[8 empty] | 1024 CH# | 256 CH# | SELECTING THE CELLS
[9 empty] | #VALUE! | TO BE COPIED; THEN,
[9 empty] | #VALUE! | CLICKING [COPY],
[9 empty] | #VALUE! | [PASTE SPECIAL], AND
[9 empty] | #VALUE! | FINALLY [PASTE VALUE]
#VALUE!
#VALUE!
#VALUE!
#VALUE!
[8 empty] | TABLE NO. 3 |  | TABLE NO. 5
[8 empty] | 104 MEAN CH# |  | Determination of the
[8 empty] | to 256 REL. CH# |  | MECY/CH# for the
[8 empty] | CONVERSION |  | normalization cell or particle
[8 empty] | 104 CH# | 256 CH# | 256 CH# | 104 CH# | Calc. MECY | MECY/CH#
[8 empty] | 2.53 | 25.7997 | 0 | 1 | 122.4976 | 122.4976
[8 empty] | 8.89 | 60.7297 | 0 | 1 | 122.4976 | 122.4976
[8 empty] | 23.92 | 88.2407 | 0 | 1 | 122.4976 | 122.4976
[8 empty] | 63.65 | 115.4431 | 0 | 1 | 122.4976 | 122.4976
[8 empty] | 245.89 | 153.0074 | 0 | 1 | 122.4976 | 122.4976
[8 empty] | 741.37 | 183.6822
[8 empty] | 2420 | 216.5642 | TABLE NO. 6
Rainbow Calibration Particles (RCP-30-5A) |  |  |  | Lot No.: |  | File # |  | 7140.57 | 246.6389 | Determination of New MECY
Acceptable: | [9 empty] | values for RCP-30-5A
Action taken if not linear: |  |  | By: |  |  | Date: |  | TABLE NO. 4 |  | 256 CH# | 104 CH# | New MECY
[8 empty] | 105 MEAN CH# |  |  | 1 | 122.4976
[8 empty] | to 256 REL. CH# |  |  | 1 | 122.4976
[8 empty] | CONVERSION |  |  | 1 | 122.4976
[8 empty] | 105 CH# | 256 CH# |  | 1 | 122.4976
[8 empty] | 7 | 39.9268 |  | 1 | 122.4976
[8 empty] | 84 | 90.913 |  | 1 | 122.4976
[8 empty] | 297 | 116.8259 |  | 1 | 122.4976
[8 empty] | 875 | 138.9958 |  | 1 | 122.4976
[8 empty] | 3234 | 165.8184
[8 empty] | 8665 | 186.0407
[8 empty] | 21089 | 204.2909
[8 empty] | 55019 | 223.9665
Note on J20: Use this Table to convert Beckman-Coulter 1024 Mean CH # to 256 Relative CH#
Note on J35: Use this Table to convert BD-FACS 104 Mean CH # to 256 Relative CH#
Note on J50: Use this Table to convert BD-FACS Canto 105 Mean CH # to 384 Relative CH#

## MEPCY7
TYPE THE NAME OF YOUR LAB HERE
| PMT LINEARITY QC RECORD | [12 empty] | Normalization Graph for Instrument B
[8 empty] | TABLE NO. 1 |  | CROSS CALIBRATION TABLE
| PEAK # | CH # | MEPCY7 | MEPCY7 LOG | CALC. | RESIDUAL | CALC. MEPCY7 | 1024 REL. CH# |  | FOR UNKNOWN SAMPLES |  |  |  |  | PEAK # | CH # | MEPCY7 | MEPCY7 LOG | CALC. | RESIDUAL | CALC. MEPCY7 | CROSS CALIBRATION TABLE
| 1 | 50.488 | [5 empty] | to 256 REL. CH# |  | Sample | CH# | Calc. | Calc. MEPCY7 |  | 1 | 0 | 14.3205 | 1.156 | #VALUE! | #VALUE! | #VALUE! | FOR NORMALIZATION GRAPH
| 2 | 64.8486 | 106 |  |  |  |  | CONVERSION |  |  |  | 1.156 | 14.3205 |  | 2 | 0 | 14.3205 | 1.156 | #VALUE! | #VALUE! | #VALUE! | Sample | CH# | Calc. | Calc. MEPCY7
| 3 | 80.6446 | 343 |  |  |  |  | 1024 CH# | 256 CH# |  |  | 1.156 | 14.3205 |  | 3 | 0 | 14.3205 | 1.156 | #VALUE! | #VALUE! | #VALUE! |  | 200 | #VALUE! | #VALUE!
| 4 | 102.5874 | 1088 | 3.0366 | 3.0275 | 0.3007% | 1065.4311 |  | 0 |  |  | 1.156 | 14.3205 |  | 4 | 0 | 14.3205 | 1.156 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 5 | 136.922 | 4215 | 3.6248 | 3.6539 | 0.7969% | 4507.2782 |  | 0 |  |  | 1.156 | 14.3205 |  | 5 | 0 | 14.3205 | 1.156 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 6 | 166.4845 | 15949 | 4.2027 | 4.1932 | 0.2263% | 15604.2207 |  | 0 |  |  | 1.156 | 14.3205 |  | 6 | 0 | 14.3205 | 1.156 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 7 | 198.022 | 62905 | 4.7987 | 4.7686 | 0.6309% | 58694.8074 |  | 0 |  |  | 1.156 | 14.3205 |  | 7 | 0 | 14.3205 | 1.156 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 8 | 229.2489 | 208319 | 5.3187 | 5.3383 | 0.3665% | 217917.6791 |  | 0 |  |  | 1.156 | 14.3205 |  | 8 | 0 | 14.3205 | 1.156 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
|  |  |  | Ave Residual |  | 0.4643% |  |  | 0 |  |  | 1.156 | 14.3205 |  |  |  |  | Ave Residual |  | #VALUE! |  |  |  | #VALUE! | #VALUE!
[6 empty] | Slope: | 0.018244 |  | 0 |  |  | 1.156 | 14.3205 | [6 empty] | Slope: | #VALUE! |  |  | #VALUE! | #VALUE!
[6 empty] | Intercept: | 1.156 |  | 0 |  |  | 1.156 | 14.3205 | [6 empty] | Intercept: | #VALUE! |  |  | #VALUE! | #VALUE!
[6 empty] | Rsq: | 0.9993 |  |  |  |  | 1.156 | 14.3205 | [6 empty] | Rsq: | #VALUE! |  |  | #VALUE! | #VALUE!
[12 empty] | 1.156 | 14.3205 | [10 empty] | #VALUE! | #VALUE!
[8 empty] | TABLE NO. 2 | [15 empty] | #VALUE! | #VALUE!
[8 empty] | 1024 MEAN CH# |  | CONVERTED VALUES
[8 empty] | to 256 REL. CH# |  | CAN BE COPIED TO
[8 empty] | CONVERSION |  | THE CH# COLUMN BY
[8 empty] | 1024 CH# | 256 CH# | SELECTING THE CELLS
[9 empty] | #VALUE! | TO BE COPIED; THEN,
[9 empty] | #VALUE! | CLICKING [COPY],
[9 empty] | #VALUE! | [PASTE SPECIAL], AND
[9 empty] | #VALUE! | FINALLY [PASTE VALUE]
#VALUE!
#VALUE!
#VALUE!
#VALUE!
[8 empty] | TABLE NO. 3 |  | TABLE NO. 5
[8 empty] | 104 MEAN CH# |  | Determination of the
[8 empty] | to 256 REL. CH# |  | MEAP/CH# for the
[8 empty] | CONVERSION |  | normalization cell or particle
[8 empty] | 104 CH# | 256 CH# | 256 CH# | 104 CH# | Calc. MEPCY7 | MEPCY7/CH#
[8 empty] | 6.15 | 50.488 | 0 | 1 | 14.3205 | 14.3205
[8 empty] | 10.31 | 64.8486 | 0 | 1 | 14.3205 | 14.3205
[8 empty] | 18.2 | 80.6446 | 0 | 1 | 14.3205 | 14.3205
[8 empty] | 40.08 | 102.5874 | 0 | 1 | 14.3205 | 14.3205
[8 empty] | 137.85 | 136.922 | 0 | 1 | 14.3205 | 14.3205
[8 empty] | 399.32 | 166.4845
[8 empty] | 1241.92 | 198.022 | TABLE NO. 6
Rainbow Calibration Particles (RCP-30-5A) |  |  |  | Lot No.: |  | File # |  | 3819.57 | 229.2489 | Determination of New MEPCY7
Acceptable: | [9 empty] | values for RCP-30-5A
Action taken if not linear: |  |  | By: |  |  | Date: |  | TABLE NO. 4 |  | 256 CH# | 104 CH# | New MEPCY7
[8 empty] | 105 MEAN CH# |  |  | 1 | 14.3205
[8 empty] | to 256 REL. CH# |  |  | 1 | 14.3205
[8 empty] | CONVERSION |  |  | 1 | 14.3205
[8 empty] | 105 CH# | 256 CH# |  | 1 | 14.3205
[8 empty] | 8 | 42.6667 |  | 1 | 14.3205
[8 empty] | 75 | 88.5876 |  | 1 | 14.3205
[8 empty] | 245 | 112.8766 |  | 1 | 14.3205
[8 empty] | 745 | 135.6956 |  | 1 | 14.3205
[8 empty] | 2913 | 163.6735
[8 empty] | 7831 | 183.9642
[8 empty] | 16545 | 199.3118
[8 empty] | 43215 | 219.0115
Note on J20: Use this Table to convert Beckman-Coulter 1024 Mean CH # to 256 Relative CH#
Note on J35: Use this Table to convert BD-FACS 104 Mean CH # to 256 Relative CH#
Note on J50: Use this Table to convert BD-FACS Canto 105 Mean CH # to 384 Relative CH#

## MEAP
TYPE THE NAME OF YOUR LAB HERE
| PMT LINEARITY QC RECORD | [12 empty] | Normalization Graph for Instrument B
[8 empty] | TABLE NO. 1 |  | CROSS CALIBRATION TABLE
| PEAK # | CH # | MEAP | MEAP LOG | CALC. | RESIDUAL | CALC. MEAP | 1024 REL. CH# |  | FOR UNKNOWN SAMPLES |  |  |  |  | PEAK # | CH # | MEAP | MEAP LOG | CALC. | RESIDUAL | CALC. MEAP | CROSS CALIBRATION TABLE
| 1 | 51.7255 |  |  | 1.2589 |  | 18.15 | to 256 REL. CH# |  | Sample | CH# | Calc. | Calc. MEAP |  | 1 | 0 | 1.7199 | 0.23551 | #VALUE! | #VALUE! | #VALUE! | FOR NORMALIZATION GRAPH
| 2 | 101.5704 | 736 | 2.8669 | 2.245 | 27.7% | 175.8073 | CONVERSION |  |  |  | 0.23551 | 1.7199 |  | 2 | 0 | 1.7199 | 0.23551 | #VALUE! | #VALUE! | #VALUE! | Sample | CH# | Calc. | Calc. MEAP
| 3 | 136.8413 | 1892 | 3.2769 | 2.9429 | 11.35% | 876.7118 | 1024 CH# | 256 CH# |  |  | 0.23551 | 1.7199 |  | 3 | 0 | 1.7199 | 0.23551 | #VALUE! | #VALUE! | #VALUE! |  | 200 | #VALUE! | #VALUE!
| 4 | 167.8217 | 4804 | 3.6816 | 3.5558 | 3.538% | 3595.7709 |  | 0 |  |  | 0.23551 | 1.7199 |  | 4 | 0 | 1.7199 | 0.23551 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 5 | 206.69 | 14248 | 4.1538 | 4.3248 | 3.955% | 21124.4225 |  | 0 |  |  | 0.23551 | 1.7199 |  | 5 | 0 | 1.7199 | 0.23551 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 6 | 231.9806 | 42425 | 4.6276 | 4.8252 | 4.094% | 66857.5483 |  | 0 |  |  | 0.23551 | 1.7199 |  | 6 | 0 | 1.7199 | 0.23551 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 7 | 241.2993 | 113026 | 5.0532 | 5.0095 | 0.8716% | 102215.4272 |  | 0 |  |  | 0.23551 | 1.7199 |  | 7 | 0 | 1.7199 | 0.23551 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 8 | 248.755 | 227044 | 5.3561 | 5.157 | 3.86% | 143556.6759 |  | 0 |  |  | 0.23551 | 1.7199 |  | 8 | 0 | 1.7199 | 0.23551 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
|  |  |  | Ave Residual |  | 3.264% |  |  | 0 |  |  | 0.23551 | 1.7199 |  |  |  |  | Ave Residual |  | #VALUE! |  |  |  | #VALUE! | #VALUE!
[6 empty] | Slope: | 0.019785 |  | 0 |  |  | 0.23551 | 1.7199 | [6 empty] | Slope: | #VALUE! |  |  | #VALUE! | #VALUE!
[6 empty] | Intercept: | 0.23551 |  | 0 |  |  | 0.23551 | 1.7199 | [6 empty] | Intercept: | #VALUE! |  |  | #VALUE! | #VALUE!
[6 empty] | Rsq: | 0.93086 |  |  |  |  | 0.23551 | 1.7199 | [6 empty] | Rsq: | #VALUE! |  |  | #VALUE! | #VALUE!
[12 empty] | 0.23551 | 1.7199 | [10 empty] | #VALUE! | #VALUE!
[8 empty] | TABLE NO. 2 | [15 empty] | #VALUE! | #VALUE!
[8 empty] | 1024 MEAN CH# |  | CONVERTED VALUES
[8 empty] | to 256 REL. CH# |  | CAN BE COPIED TO
[8 empty] | CONVERSION |  | THE CH# COLUMN BY
[8 empty] | 1024 CH# | 256 CH# | SELECTING THE CELLS
[9 empty] | #VALUE! | TO BE COPIED; THEN,
[9 empty] | #VALUE! | CLICKING [COPY],
[9 empty] | #VALUE! | [PASTE SPECIAL], AND
[9 empty] | #VALUE! | FINALLY [PASTE VALUE]
#VALUE!
#VALUE!
#VALUE!
#VALUE!
[8 empty] | TABLE NO. 3 |  | TABLE NO. 5
[8 empty] | 104 MEAN CH# |  | Determination of the
[8 empty] | to 256 REL. CH# |  | MEAP/CH# for the
[8 empty] | CONVERSION |  | normalization cell or particle
[8 empty] | 104 CH# | 256 CH# | 256 CH# | 104 CH# | Calc. MEAP | MEAP/CH#
[8 empty] | 6.43 | 51.7255 | 0 | 1 | 1.7199 | 1.7199
[8 empty] | 38.64 | 101.5704 | 0 | 1 | 1.7199 | 1.7199
[8 empty] | 137.45 | 136.8413 | 0 | 1 | 1.7199 | 1.7199
[8 empty] | 419 | 167.8217 | 0 | 1 | 1.7199 | 1.7199
[8 empty] | 1696.41 | 206.69 | 0 | 1 | 1.7199 | 1.7199
[8 empty] | 4214.03 | 231.9806
[8 empty] | 5892.53 | 241.2993 | TABLE NO. 6
Rainbow Calibration Particles (RCP-30-5A) |  |  |  | Lot No.: |  | File # |  | 7705.42 | 248.755 | Determination of New MEAP
Acceptable: | [9 empty] | values for RCP-30-5A
Action taken if not linear: |  |  | By: |  |  | Date: |  | TABLE NO. 4 |  | 256 CH# | 104 CH# | New MEAP
[8 empty] | 105 MEAN CH# |  |  | 1 | 1.7199
[8 empty] | to 256 REL. CH# |  |  | 1 | 1.7199
[8 empty] | CONVERSION |  |  | 1 | 1.7199
[8 empty] | 105 CH# | 256 CH# |  | 1 | 1.7199
[8 empty] | 35 | 72.9498 |  | 1 | 1.7199
[8 empty] | 227 | 111.3109 |  | 1 | 1.7199
[8 empty] | 773 | 136.4526 |  | 1 | 1.7199
[8 empty] | 2401 | 159.7073 |  | 1 | 1.7199
[8 empty] | 9283 | 187.4542
[8 empty] | 22295 | 205.4319
[8 empty] | 31325 | 212.4093
[8 empty] | 42061 | 218.4561
Note on J20: Use this Table to convert Beckman-Coulter 1024 Mean CH # to 256 Relative CH#
Note on J35: Use this Table to convert BD-FACS 104 Mean CH # to 256 Relative CH#
Note on J50: Use this Table to convert BD-FACS Canto 105 Mean CH # to 384 Relative CH#

## MEAXL700
TYPE THE NAME OF YOUR LAB HERE
| PMT LINEARITY QC RECORD | [12 empty] | Normalization Graph for Instrument B
[8 empty] | TABLE NO. 1 |  | CROSS CALIBRATION TABLE
| PEAK # | CH # | MEALX700 | MEAXL700 LOG | CALC. | RESIDUAL | CALC. MEAXL700 | 1024 REL. CH# |  | FOR UNKNOWN SAMPLES |  |  |  |  | PEAK # | CH # | MEALX700 | MEAXL700 LOG | CALC. | RESIDUAL | CALC. MEAXL700 | CROSS CALIBRATION TABLE
| 1 | 52.6285 |  |  | 2.2132 |  | 163.3865 | to 256 REL. CH# |  | Sample | CH# | Calc. | Calc. MEAXL700 |  | 1 | 0 | 30.4843 | 1.4841 | #VALUE! | #VALUE! | #VALUE! | FOR NORMALIZATION GRAPH
| 2 | 91.633 | 682 | 2.8338 | 2.7536 | 2.912% | 567.0261 | CONVERSION |  |  |  | 1.4841 | 30.4843 |  | 2 | 0 | 30.4843 | 1.4841 | #VALUE! | #VALUE! | #VALUE! | Sample | CH# | Calc. | Calc. MEAXL700
| 3 | 116.8259 | 1276 | 3.1059 | 3.1026 | 0.1036% | 1266.5943 | 1024 CH# | 256 CH# |  |  | 1.4841 | 30.4843 |  | 3 | 0 | 30.4843 | 1.4841 | #VALUE! | #VALUE! | #VALUE! |  | 200 | #VALUE! | #VALUE!
| 4 | 140.1581 | 2352 | 3.3714 | 3.4259 | 1.59% | 2666.2063 |  | 0 |  |  | 1.4841 | 30.4843 |  | 4 | 0 | 30.4843 | 1.4841 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 5 | 168.0751 | 4724 | 3.6743 | 3.8127 | 3.629% | 6496.3487 |  | 0 |  |  | 1.4841 | 30.4843 |  | 5 | 0 | 30.4843 | 1.4841 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 6 | 186.2855 | 9284 | 3.9677 | 4.065 | 2.392% | 11613.5199 |  | 0 |  |  | 1.4841 | 30.4843 |  | 6 | 0 | 30.4843 | 1.4841 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 7 | 193.8753 | 17217 | 4.236 | 4.1701 | 1.579% | 14795.0865 |  | 0 |  |  | 1.4841 | 30.4843 |  | 7 | 0 | 30.4843 | 1.4841 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 8 | 202.4869 | 26930 | 4.4302 | 4.2894 | 3.283% | 19472.6994 |  | 0 |  |  | 1.4841 | 30.4843 |  | 8 | 0 | 30.4843 | 1.4841 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
|  |  |  | Ave Residual |  | 2.212% |  |  | 0 |  |  | 1.4841 | 30.4843 |  |  |  |  | Ave Residual |  | #VALUE! |  |  |  | #VALUE! | #VALUE!
[6 empty] | Slope: | 0.013854 |  | 0 |  |  | 1.4841 | 30.4843 | [6 empty] | Slope: | #VALUE! |  |  | #VALUE! | #VALUE!
[6 empty] | Intercept: | 1.4841 |  | 0 |  |  | 1.4841 | 30.4843 | [6 empty] | Intercept: | #VALUE! |  |  | #VALUE! | #VALUE!
[6 empty] | Rsq: | 0.9703 |  |  |  |  | 1.4841 | 30.4843 | [6 empty] | Rsq: | #VALUE! |  |  | #VALUE! | #VALUE!
[12 empty] | 1.4841 | 30.4843 | [10 empty] | #VALUE! | #VALUE!
[8 empty] | TABLE NO. 2 | [15 empty] | #VALUE! | #VALUE!
[8 empty] | 1024 MEAN CH# |  | CONVERTED VALUES
[8 empty] | to 256 REL. CH# |  | CAN BE COPIED TO
[8 empty] | CONVERSION |  | THE CH# COLUMN BY
[8 empty] | 1024 CH# | 256 CH# | SELECTING THE CELLS
[9 empty] | #VALUE! | TO BE COPIED; THEN,
[9 empty] | #VALUE! | CLICKING [COPY],
[9 empty] | #VALUE! | [PASTE SPECIAL], AND
[9 empty] | #VALUE! | FINALLY [PASTE VALUE]
#VALUE!
#VALUE!
#VALUE!
#VALUE!
[8 empty] | TABLE NO. 3 |  | TABLE NO. 5
[8 empty] | 104 MEAN CH# |  | Determination of the
[8 empty] | to 256 REL. CH# |  | MEAXL700/CH# for the
[8 empty] | CONVERSION |  | normalization cell or particle
[8 empty] | 104 CH# | 256 CH# | 256 CH# | 104 CH# | Calc. MEAXL700 | MEAXL700/CH#
[9 empty] | #VALUE! | 0 | 1 | 30.4843 | 30.4843
[9 empty] | #VALUE! | 0 | 1 | 30.4843 | 30.4843
[9 empty] | #VALUE! | 0 | 1 | 30.4843 | 30.4843
[9 empty] | #VALUE! | 0 | 1 | 30.4843 | 30.4843
[9 empty] | #VALUE! | 0 | 1 | 30.4843 | 30.4843
#VALUE!
[9 empty] | #VALUE! | TABLE NO. 6
Rainbow Calibration Particles (RCP-30-5A) |  |  |  | Lot No.: |  | File # |  |  | #VALUE! | Determination of New MEAXL700
Acceptable: | [9 empty] | values for RCP-30-5A
Action taken if not linear: |  |  | By: |  |  | Date: |  | TABLE NO. 4 |  | 256 CH# | 104 CH# | New MEAXL700
[8 empty] | 105 MEAN CH# |  |  | 1 | 30.4843
[8 empty] | to 256 REL. CH# |  |  | 1 | 30.4843
[8 empty] | CONVERSION |  |  | 1 | 30.4843
[8 empty] | 105 CH# | 256 CH# |  | 1 | 30.4843
[8 empty] | 13 | 52.6285 |  | 1 | 30.4843
[8 empty] | 87 | 91.633 |  | 1 | 30.4843
[8 empty] | 297 | 116.8259 |  | 1 | 30.4843
[8 empty] | 926 | 140.1581 |  | 1 | 30.4843
[8 empty] | 3610 | 168.0751
[8 empty] | 8769 | 186.2855
[8 empty] | 12694 | 193.8753
[8 empty] | 19314 | 202.4869
Note on J20: Use this Table to convert Beckman-Coulter 1024 Mean CH # to 256 Relative CH#
Note on J35: Use this Table to convert BD-FACS 104 Mean CH # to 256 Relative CH#
Note on J50: Use this Table to convert BD-FACS Canto 105 Mean CH # to 384 Relative CH#

## MEAPCY7
TYPE THE NAME OF YOUR LAB HERE
| PMT LINEARITY QC RECORD | [12 empty] | Normalization Graph for Instrument B
[8 empty] | TABLE NO. 1 |  | CROSS CALIBRATION TABLE
| PEAK # | CH # | MEAPCY7 | MEAPCY7 LOG | CALC. | RESIDUAL | CALC. MEAPCY7 | 1024 REL. CH# |  | FOR UNKNOWN SAMPLES |  |  |  |  | PEAK # | CH # | MEAPCY7 | MEAPCY7 LOG | CALC. | RESIDUAL | CALC. MEAPCY7 | CROSS CALIBRATION TABLE
| 1 | 53.887 |  |  | 2.0503 |  | 112.2799 | to 256 REL. CH# |  | Sample | CH# | Calc. | Calc. MEAPCY7 |  | 1 | 0 | 20.5106 | 1.312 | #VALUE! | #VALUE! | #VALUE! | FOR NORMALIZATION GRAPH
| 2 | 98.693 | 558 | 2.7466 | 2.6642 | 3.094% | 461.5325 | CONVERSION |  |  |  | 1.312 | 20.5106 |  | 2 | 0 | 20.5106 | 1.312 | #VALUE! | #VALUE! | #VALUE! | Sample | CH# | Calc. | Calc. MEAPCY7
| 3 | 132.7929 | 1417 | 3.1514 | 3.1314 | 0.6372% | 1353.3681 | 1024 CH# | 256 CH# |  |  | 1.312 | 20.5106 |  | 3 | 0 | 20.5106 | 1.312 | #VALUE! | #VALUE! | #VALUE! |  | 200 | #VALUE! | #VALUE!
| 4 | 163.7035 | 3224 | 3.5084 | 3.5549 | 1.309% | 3588.6559 |  | 0 |  |  | 1.312 | 20.5106 |  | 4 | 0 | 20.5106 | 1.312 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 5 | 204.0765 | 8309 | 3.9195 | 4.1081 | 4.59% | 12826.0769 |  | 0 |  |  | 1.312 | 20.5106 |  | 5 | 0 | 20.5106 | 1.312 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 6 | 230.8701 | 20779 | 4.3176 | 4.4752 | 3.521% | 29867.626 |  | 0 |  |  | 1.312 | 20.5106 |  | 6 | 0 | 20.5106 | 1.312 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 7 | 242.7222 | 48391 | 4.6848 | 4.6376 | 1.017% | 43410.1009 |  | 0 |  |  | 1.312 | 20.5106 |  | 7 | 0 | 20.5106 | 1.312 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
| 8 | 247.8015 | 89183 | 4.9503 | 4.7072 | 5.164% | 50954.6433 |  | 0 |  |  | 1.312 | 20.5106 |  | 8 | 0 | 20.5106 | 1.312 | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE!
|  |  |  | Ave Residual |  | 2.762% |  |  | 0 |  |  | 1.312 | 20.5106 |  |  |  |  | Ave Residual |  | #VALUE! |  |  |  | #VALUE! | #VALUE!
[6 empty] | Slope: | 0.013701 |  | 0 |  |  | 1.312 | 20.5106 | [6 empty] | Slope: | #VALUE! |  |  | #VALUE! | #VALUE!
[6 empty] | Intercept: | 1.312 |  | 0 |  |  | 1.312 | 20.5106 | [6 empty] | Intercept: | #VALUE! |  |  | #VALUE! | #VALUE!
[6 empty] | Rsq: | 0.96672 |  |  |  |  | 1.312 | 20.5106 | [6 empty] | Rsq: | #VALUE! |  |  | #VALUE! | #VALUE!
[12 empty] | 1.312 | 20.5106 | [10 empty] | #VALUE! | #VALUE!
[8 empty] | TABLE NO. 2 | [15 empty] | #VALUE! | #VALUE!
[8 empty] | 1024 MEAN CH# |  | CONVERTED VALUES
[8 empty] | to 256 REL. CH# |  | CAN BE COPIED TO
[8 empty] | CONVERSION |  | THE CH# COLUMN BY
[8 empty] | 1024 CH# | 256 CH# | SELECTING THE CELLS
[9 empty] | #VALUE! | TO BE COPIED; THEN,
[9 empty] | #VALUE! | CLICKING [COPY],
[9 empty] | #VALUE! | [PASTE SPECIAL], AND
[9 empty] | #VALUE! | FINALLY [PASTE VALUE]
#VALUE!
#VALUE!
#VALUE!
#VALUE!
[8 empty] | TABLE NO. 3 |  | TABLE NO. 5
[8 empty] | 104 MEAN CH# |  | Determination of the
[8 empty] | to 256 REL. CH# |  | MEAPCY7/CH# for the
[8 empty] | CONVERSION |  | normalization cell or particle
[8 empty] | 104 CH# | 256 CH# | 256 CH# | 104 CH# | Calc. MEAPC7 | MEAPCY7/CH#
[8 empty] | 6.95 | 53.887 | 0 | 1 | 20.5106 | 20.5106
[8 empty] | 34.84 | 98.693 | 0 | 1 | 20.5106 | 20.5106
[8 empty] | 118.82 | 132.7929 | 0 | 1 | 20.5106 | 20.5106
[8 empty] | 361.3 | 163.7035 | 0 | 1 | 20.5106 | 20.5106
[8 empty] | 1544.17 | 204.0765 | 0 | 1 | 20.5106 | 20.5106
[8 empty] | 4048.97 | 230.8701
[8 empty] | 6202.04 | 242.7222 | TABLE NO. 6
Rainbow Calibration Particles (RCP-30-5A) |  |  |  | Lot No.: |  | File # |  | 7445.58 | 247.8015 | Determination of New MEAPCY7
Acceptable: | [9 empty] | values for RCP-30-5A
Action taken if not linear: |  |  | By: |  |  | Date: |  | TABLE NO. 4 |  | 256 CH# | 104 CH# | New MEAPCY7
[8 empty] | 105 MEAN CH# |  |  | 1 | 20.5106
[8 empty] | to 256 REL. CH# |  |  | 1 | 20.5106
[8 empty] | CONVERSION |  |  | 1 | 20.5106
[8 empty] | 105 CH# | 256 CH# |  | 1 | 20.5106
[8 empty] | 30 | 69.7869 |  | 1 | 20.5106
[8 empty] | 232 | 111.758 |  | 1 | 20.5106
[8 empty] | 812 | 137.4626 |  | 1 | 20.5106
[8 empty] | 2524 | 160.7324 |  | 1 | 20.5106
[8 empty] | 10098 | 189.1809
[8 empty] | 25055 | 207.8266
[8 empty] | 36721 | 215.6703
[8 empty] | 51343 | 222.5476
Note on J20: Use this Table to convert Beckman-Coulter 1024 Mean CH # to 256 Relative CH#
Note on J35: Use this Table to convert BD-FACS 104 Mean CH # to 256 Relative CH#
Note on J50: Use this Table to convert BD-FACS Canto 105 Mean CH # to 384 Relative CH#